## BSSGH PANIPAT
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-GH Name of the Facility-BSSGH PANIPAT
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | RADIOLOGY | X-RAY MACHINE(300MA) | 1 | SIEMENS | PLEOPHOS - D | 01866-01422S24 | 1993-01-04 | 0 | NA | 0 | NA |  | Nw
2 | RADIOLOGY | X-RAY MACHINE(500MA) | 1 | ALLENGER | MARS - 40 | 2K130340124/X/HF | 2013-02-05 | 0 | NA | 1 | 1/5/2015 To 1/5/2016 | W
3 | RADIOLOGY | X-RAY MACHINE(150MA) | 1 | ALLENGER | MARS - 15 | 2K130115010/X/HF | 2013-05-02 | 0 | NA | 1 | 5/2/2015 To 5/2/2016 | W
4 | RADIOLOGY | CR SYSTEM | 1 | AFGA | CR 30 - XM DIGITIZER | 8362L1301100059 | 2013-06-08 | 1 | 2015-06-15 | 1 |  | W
5 | RADIOLOGY | ULTRASOUND MACHINE | 1 | PHILIPS | HD - 3 | B01202300006466 | 16/10/2010 | 0 | NA | 1 | 16/8/2014 To 16/8/2015 | W
6 | RADIOLOGY | ECG MACHINE | 1 | SHENZHEN | 1203B | CB1407100154 | 27/10/2014 | 1 | 27/10/2015 | 0 |  | W
7 | DENTAL | DENTAL CHAIR | 2 | CONFIDENT | NA | NA | 2013-10-04 | 0 | 2015-10-04 | 0 | 10/4/2015 TO 10/4/2016 | W
8 | DENTAL | DENTAL X-RAY | 1 | GOMAX | 10DRS | NA | NA | 0 | NA | 0 | NA | W
9 | DENTAL | NEEDLE DESTROYER | 1 | MICROSIL | ND-100 | NA | NA | 0 | NA | 0 | NA |  | NW
10 | DENTAL | STERLIZER | 1 | VERTICAL | NA | NA | NA | 0 | NA | 0 | NA | W
11 | DENTAL | AUTOCLAVE | 1 | SURGICOIN | CMP-32 | NA | 21-12-09 | 0 | NA | 0 | NA |  | NW
12 | EMERGENCY | SUCTION MACHINE | 1 | MEDIPP-55 | NA | NA | NA | 0 | NA | 0 | NA | W
13 | EMERGENCY | STERLIZER | 1 | SMALL | NA | NA | NA | 0 | NA | 0 | NA | W
14 | EMERGENCY | NEEDLE DESTROYER | 1 | PIONEER | NA | NA | NA | 0 | NA | 0 | NA | W
15 | EMERGENCY | DEFIBRILLATOR | 1 | SCHILLER | DEFIGARD-400 | J10B143 | NA | 0 | NA | 0 | NA | W
16 | EMERGENCY | OXYGEN CONCENTRATOR | 1 | NIDEK | NUVO | NA | NA | 0 | NA | 0 | NA | W
17 | EMERGENCY | PULSE OXYMETER (FINGER TIP) | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
18 | EMERGENCY | EMERGENCY RESUSCITATION KIT | 1 | SURGICOIN |  | NA | NA | 0 | NA | 0 | NA | W
19 | EMERGENCY | PATIENT MONITOR | 2 | SRI SRI ENTERPRISES | CMS8000 | AX1408100122/143 | 17/10/2014 | 0 | 16/10/2016 | 0 | NA | W
20 | LABORATORY | SEMI AUTO ANALYZER | 1 | TRANSASIA | CHEM -5 | 90376 | 2009-06-08 | 0 | NA | 1 | NA | W
21 | LABORATORY | CELL COUNTER | 1 | URIT MEDICAL | URIT 2900 PLUS | 1387 | 2014-09-04 | 1 | 2016-09-04 | 0 | NA | W
22 | LABORATORY | WATER BATH | 2 | YORKO | NA | NA | NA | 0 | NA | 0 | NA | W
23 | LABORATORY | CENTRIFUGE MACHINE | 3 | NETTICH | D-78532 | 143562 | NA | 0 | NA | 0 | NA | W
24 | LABORATORY | CENTRIFUGE MACHINE |  | REMI | R4C | NA | NA | 0 | NA | 0 | NA | W
25 | LABORATORY | CENTRIFUGE MACHINE |  | REMI | R4C | NA | NA | 0 | NA | 0 | NA |  | NW
26 | LABORATORY | HOT PLATE READER | 2 | TEMPSTAR | NA | NA | NA | 0 | NA | 0 | NA | W
27 | LABORATORY | INCUBATOR | 1 | BACTERIOLOGICAL | NA | NA | NA | 0 | NA | 0 | NA | W
28 | LABORATORY | HOT AIR OVEN | 1 | UNIVERSAL | MICROSIL | NA | NA | 0 | NA | 0 | NA | W
29 | LABORATORY | AUTOCLAVE MACHINE | 1 | HORIZONTAL | NA | NA | NA | 0 | NA | 0 | NA | W
30 | LABORATORY | MICROSCOPE | 1 | BINOCULAR | LABO | 95752 | NA | 0 | NA | 0 | NA | W
31 | LABORATORY | REFRIGRATOR | 1 | LG | 181-PP | 611NLDA088146 | NA | 0 | NA | 0 | NA | W
32 | LABORATORY | VDRL ROTATOR | 1 | YORKO | YSI -148 |  | NA | 0 | NA | 0 | NA | W
33 | LABORATORY | E.S.R STAND | 2 |  |  |  | NA | 0 | NA | 0 | NA | W
34 | LABORATORY | FIBER OPTIC ILLUMINATOR | 1 | PARALENS | 5353006 | 3500317008 | NA | 0 | NA | 0 | NA | W
35 | LABORATORY | HB METER | 4 | NETTICH | 2075 | 2066 | NA | 0 | NA | 0 | NA | W
36 | LABORATORY | NEEDLE DESTROYER | 3 | DISPOSAFE |  |  | NA | 0 | NA | 0 | NA | W
37 | LABORATORY | DIGITAL BALANCE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
38 | LABORATORY | GLUCOMETER | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
39 | OT | ANASTHESIA MACHINE | 1 | MEDITECH ENGLAND | GALAXY-110 | 10110 | 2010-11-08 | 0 | NA | 0 | NA | W
40 | OT | DEFIBRILLATOR | 1 | BPL LIMITED | DF-2509 | BZMA5G1151 |  | 0 | NA | 0 | NA | W
41 | OT | DEFIBRILLATOR | 1 | PHILIPHS | HEARTSTART-XL | US0045470 | 2009 | 0 | NA | 0 | NA | W
42 | OT | BOYLES APPRATUS | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
43 | OT | C-ARM | 1 | ALLENGERS | HF-46 | 200607171MK-3 | NA | 0 | NA | 0 | NA | W
44 | OT | OT TABLE | 1 | COGNATE | SS-1000 | NA | NA | 0 | NA | 0 | NA | W
45 | OT | OT TABLE | 1 | COGNATE | SS-1000 | NA | NA | 0 | NA | 0 | NA | W
46 | OT | OT TABLE | 1 | COGNATE | SS-2000 | NA | NA | 0 | NA | 0 | NA | W
47 | OT | OT TABLE | 1 | COGNATE | SS-2000 | NA | NA | 0 | NA | 0 | NA | W
48 | OT | OT TABLE | 1 | COGNATE | SS-1000 | NA | NA | 0 | NA | 0 | NA | W
49 | OT | AUTOCLAVE MACHINE | 1 | HORIZONTAL | STAINSTEEL | NA | NA | 0 | NA | 0 | NA | W
50 | OT | AUTOCLAVE MACHINE | 1 | HORIZONTAL | NA | NA | NA | 0 | NA | 0 | NA | W
51 | OT | LAPROSCOPE SINGLE PUNCTURE | 1 | CARL STORZ | NA | 1308174 | 2010-12-04 | 0 | NA | 0 | NA | W
52 | OT | OT LIGHT | 3 | COGNATE | NA | NA |  | 0 | NA | 0 | NA | W
53 | OT | OPERATING MICROSCOPE(EYE) | 1 | MOLLER-WELLER | MICROFLEX-F | 540SN39600025 | 2010-12-04 | 0 | NA | 0 | NA | W
54 | OT | OPERATING MICROSCOPE(EYE) | 1 | CE | NA | 1309174 | NA | 0 | NA | 0 | NA | W
55 | OT | PHECO MACHINE | 1 | SWISSTECH | NA | 39600025 | NA | 0 | NA | 0 | NA | W
56 | OT | AC | 1 | SAMSUNG | WINDOW | NA | NA | 0 | NA | 0 | NA | W
57 | OT | AC | 1 | SAMSUNG | WINDOW | NA | NA | 0 | NA | 0 | NA | W
58 | OT | ORTHO DRILL | 1 | MANMUN | NA | NA | NA | 0 | NA | 0 | NA |  | NW
59 | OT | ORTHO DRILL | 1 | BOSS (BATTARY) | NA | NA | NA | 0 | NA | 0 | NA | W
60 | OT | ORTHO DRILL | 1 | MANUAL | NA | NA | NA | 0 | NA | 0 | NA | W
61 | OT | SURGICAL DIATHERMY-EYE | 1 | JANGIR | NA | NA | NA | 0 | NA | 0 | NA | W
62 | OT | SURGICAL DIATHERMY-EYE | 1 | DIVLABS | TRINITY | TY-00B052 | NA | 0 | NA | 0 | NA |  | NW
63 | OT | PULSE OXYMETER | 2 | NA | NA | NA | 2010-08-01 | 0 | NA | 0 | NA | W
64 | OT | MULTIPAPAR MONITER | 1 | INSTROMEDIX | MEC2000 | CV 2A109242 | 26/2/2013 | 0 | NA | 0 | NA | W
65 | OT | OT LIGHT PORTABLE | 1 | COAGNET | VISION 6M | NA | 31/10/2014 | 1 | 31/10/2016 | 0 | NA | W
66 | OT | SKIN GRAFT MASHER | 1 | SOUTH INDIA SURGICAL | NA | 49910100-4 | 28/2/2013 | 0 | NA | 0 | NA | W
67 | SNCU | PATIENT MONITOR | 8 | MINDRAY | MEC2000 | CV21107524 To 31 | 26/2/2013 | 0 | NA | 0 | NA | W
68 | SNCU | RADIENT WARMER | 1 | SS TECHNOMED | NA | NA | 26/2/2013 | 0 | NA | 0 | NA | W
69 | SNCU | RADIENT WARMER | 1 | MEDITRAIN INSTRUMENT | NA | NA | 26/2/2013 | 0 | NA | 0 | NA | W
70 | SNCU | OPENCARE SYSTEM | 8 | PHOENIX | NRC100 | TU1105 ToTU1112 | 2013-12-08 | 0 | NA | 0 | NA | W
71 | SNCU | SYRINGE PUMP | 8 | SCHILLER | EVADROP SP-300 | WB11113118 To25 | 2013-06-03 | 0 | NA | 0 | NA | W
72 | SNCU | SUCTION MACHINE | 1 | ANAND | NA | 3AJ5646 | 2013-06-03 | 0 | NA | 0 | NA | W
73 | SNCU | SUCTION MACHINE | 1 | DEEPAK ENTERPRISES | DEO 3030 | 482 | 2013-06-03 | 0 | NA | 0 | NA | W
74 | SNCU | OXYGEN CONCENTRATOR | 1 | TAURUS HEALTHCARE | OXYWAVE | 2000461 | 2013-02-08 | 0 | NA | 0 | NA | W
75 | SNCU | OXYGEN CONCENTRATOR | 1 | BPL HEALTHCARE | OG 4203 | AXTG3K10118 | 2014-05-07 | 0 | NA | 0 | NA | W
76 | SNCU | BABY INCUBATOR | 1 | NA | NA | NA | 26/2/2013 | 0 | NA | 0 | NA | W
77 | SNCU | BILLIBNOMETER | 1 | CARDIOCARE | DRAEGER JM-103 | 3204483 | 24/9/2013 | 0 | NA | 0 | NA | W
78 | SNCU | LIGHT METER | 1 | WIPRO GE | NA | NA | 2013-02-08 | 0 | NA | 0 | NA | W
79 | SNCU | ROOM HEATER OIL | 2 | RF SYSTEM PLUS | 11269-70 | 11269-70 | 28/2/2013 | 0 | NA | 0 | NA | W
80 | SNCU | PHOTOTHERAPY UNIT | 6 | SS TECHNOMED | CFL SINGLE SURFACE | 0028,44,67,38,36 | 2013-12-08 | 0 | NA | 0 | NA | W
81 | MALE WARD | PULSE OXYMETER(FINGER TIP) | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
82 | MALE WARD | BP APPRATUS | 1 | NAMATT | NA | NA | NA | 0 | NA | 0 | NA | W
83 | MALE WARD | NEEDLE DESTROYER | 1 | PIONEER | NA | NA | NA | 0 | NA | 0 | NA | W
84 | LABOUR ROOM | DELEIVERY TABLE | 5 | NA | AUTOMATIC | HBW072-008 | NA | 0 | NA | 0 | NA | W
85 | LABOUR ROOM |  |  | NA | MANUAL | NA | NA | 0 | NA | 0 | NA | W
86 | LABOUR ROOM | RADIENT WARMER | 3 | NEO TECH | 2007s | 1374 | 19/11/2014 | 19/11/2016 | NA | 1 | NA | W
87 | LABOUR ROOM | RADIENT WARMER |  | NEO TECH | 2007s | 1389 | 19/11/2014 | 19/11/2016 | NA | 1 | NA | W
88 | LABOUR ROOM | RADIENT WARMER |  | PHONIX | NRC100 | 1108 | 2013-11-09 | 2015-11-09 | NA | 1 | NA | W
89 | LABOUR ROOM | OXYGEN CONCENTRATOR | 1 | BPL | NA | NA | NA | 0 | NA | 0 | NA | W
90 | LABOUR ROOM | OT LIGHT PORTABLE | 1 | PORTABLE | NA | NA | NA | 0 | NA | 0 | NA | W
91 | LABOUR ROOM | OT LIGHT PORTABLE | 1 | PORTABLE | NA | NA | NA | 0 | NA | 0 | NA | W
92 | LABOUR ROOM | SUCTION MACHINE | 1 | ANAND INTERNATIONAL | SURGIX | NA | NA | 0 | NA | 0 | NA | W
93 | LABOUR ROOM | SUCTION MACHINE | 1 | MONARCH | MSI-RG2 | NA | NA | 0 | NA | 0 | NA | W
94 | LABOUR ROOM | FOETAL DOPPLER | 5 | EURO-CARE | TOUCH-DOPP | NA | NA | 0 | NA | 0 | NA | W
95 | LABOUR ROOM | STEHESCOPE | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
96 | LABOUR ROOM | STERLIZER | 2 | SMALL | NA | NA | NA | 0 | NA | 0 | NA | W
97 | LABOUR ROOM | WEIGHING MACHINE | 4 | CROWN | NA | NA | NA | 0 | NA | 0 | NA | W
98 | LABOUR ROOM | BP APPRATUS | 2 | DIAMOND | NA | NA | NA | 0 | NA | 0 | NA | W
99 | LABOUR ROOM | BP APPRATUS |  | DIAMOND | NA | NA | NA | 0 | NA | 0 | NA | W
100 | LABOUR ROOM | NEEDLE DESTROYER | 1 | PIONEER | NA | NA | NA | 0 | NA | 0 | NA | W
101 | LABOUR ROOM | NEEDLE DESTROYER | 1 | PIONEER | NA | NA | NA | 0 | NA | 0 | NA | W
102 | LABOUR ROOM | IV STAND | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
103 | LABOUR ROOM | PATIENT BED | 6 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
104 | LABOUR ROOM | PULSE OXYMETER FINGER TIP | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
105 | BURN ICU | SKIN GRAFT MASHER | 1 | SISCO | 4 MED | 1433 | 16/4/2013 | 0 | NA | 0 | NA | W
106 | BURN ICU | HUMBYS KNIFE | 1 | JOLLY TECHNOCRATS | NA | NA | 16/1/2013 | 0 | NA | 0 | NA | W
107 | BURN ICU | PORTABLE LIGHT | 1 | JOLLY TECHNOCRATS | NA | NA | 16/1/2013 | 0 | NA | 0 | NA | W
108 | BURN ICU | MULTIPARA MONITER | 2 | INSTROMEDIX | NA | NA | 18/1/2013 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :MEDICAL SUPERINTENDENT DR.S.K GUPTA 8295936181
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## CHC AHAR
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-CHC Name of the Facility-AHAR
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | DENTAL CHAIR | 1 | CONFIDENT | NA | 1608 | 28/03/1998 | 0 | 0 | 0 |  | W
2 | DENTAL | STARLIZER | 1 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
3 | RADIOLOGY | X-RAY MACHINE(50MA) | 1 | WIPRO GE | Stallion-50 | NA | Before 1995 | 0 | 0 | 0 |  | W
4 | RADIOLOGY | ECG MACHINE | 1 | BIONET | Cardiocare 2000 | EGO400028 | NA | 0 | 0 | 0 |  | W
5 | LABOUR ROOM | RADIENT WARMER | 2 | PHONIX | NRC100 | 1109 | 27/1/2013 | 0 | 0 | 0 |  | W
6 | LABOUR ROOM | OPENCARE SYSTEM | 2 | NEOTECH | 2010BC | 141506001434/52 | 17/11/2014 | 1 | 17/11/2016 | 0 |  | W
7 | LABOUR ROOM | FEOTAL DOPPLER | 2 | EURO-CARE | TOUCH-DOPP | NA | NA | 0 | 0 | 0 |  | W
8 | EYE OPD | Opthalmoscope | 2 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
9 | EYE OPD | Tonometer | 2 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
10 | EYE OPD | Lansometer | 1 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
11 | LABORATORY | BinocularMicroscope | 2 | Ajay Optik | NA | NA | NA | 0 | 0 | 0 |  | W
12 | LABORATORY |  |  | Olympus | NA | 3400006 | NA | 0 | 0 | 0 |  | W
13 | LABORATORY | Centrifuge M/C | 1 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
14 | LABORATORY | HB Meter | 1 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
15 | LABORATORY | Blood bank Refrigerator | 1 | Rajas enterprises | NA | NA | NA | 0 | 0 | 0 |  | W
16 | LABORATORY | Galucometer | 1 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
17 | LABOUR ROOM | Cylinder(O2) | 6 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
18 | LABOUR ROOM | BP Appratus Stand mode | 2 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
19 | OT | Vertical autoclave M/C(Single drum) | 3 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
20 | OT | Foot Suction M/C | 1 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
21 | OT | OT Light Portable | 1 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
22 | OT | Exmination table | 2 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
23 | LABOUR ROOM | Dilivery table | 1 | NA | NA | NA | NA | 0 | 0 | 0 |  | W
Contact details :
Facility Incharge :SMO INCHARGE DR.ABHAY VATS 8053165155
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## CHC BAPOLI
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-CHC Name of the Facility-AHAR
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Sterliser | 1 | Techno india | NA | NA | NA | 0 |  | 0 |  | W
2 | DENTAL | Dental Chair | 1 | Coinfident | NA | NA | NA | 0 |  | 0 |  | W
3 | LABOUR ROOM | RADIENT WARMER | 1 | PHONIX | NRC100 | NA | 25/1/2013 | 0 |  | 0 |  | W
4 | LABOUR ROOM | FEOTAL DOPPLER | 2 | EURO-CARE | TOUCH-DOPP | NA | 24/7/2014 | 1 | 24/7/2016 | 0 |  | W
5 | LABOUR ROOM | B.P Appratus | 2 | diamond | NA | NA | NA | 0 |  | 0 |  | W
6 | LABOUR ROOM | Inverter | 2 | Microtek | NA | NA | NA | 0 |  | 0 |  | W
7 | LABOUR ROOM | Baby Weighing scale | 1 | crown | NA | NA | NA | 0 |  | 0 |  | W
8 | LABOUR ROOM | suction machine | 1 | Jai vaccuva | NA | NA | NA | 0 |  | 0 |  | W
9 | LABOUR ROOM | suction machine Electrical | 1 |  | NA | NA | NA | 0 |  | 0 |  | W
10 | LABOUR ROOM | Needle destroyer | 1 | Microsil | nd-120 | 1531 | NA | 0 |  | 0 |  | W
11 | LABORATORY | microscope | 2 | Olympus | ch-21 | 3g00354 | NA | 0 |  | 0 |  | W
12 |  | Autoclave | 1 | Not mention | NA | NA | NA | 0 |  | 0 |  | W
13 | LABORATORY | HB meter | 5 |  | NA | NA | NA | 0 |  | 0 |  | W
14 | LABORATORY | Centrifuge machine | 2 | Remi | NA | NA | NA | 0 |  | 0 |  | W
15 | LABOUR ROOM | Delivery Table |  | Not Mention | NA | NA | NA | 0 |  | 0 |  | W
16 | LABOUR ROOM | Foetal Dopler | 1 | Crown | NA | NA | NA | 0 |  | 0 |  | W
Contact details :
Facility Incharge :MO INCHARGE DR.HARNEET KAUR 9729542502
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## CHC SAMALKHA
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-CHC Name of the Facility-AHAR
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Dental Chair | 1 | Confident | NA | NA | NA | 0 |  | 0 |  | W
2 | DENTAL | Electric Sterlizer | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
3 | RADIOLOGY | ECG MACHINE | 1 | Bionet | Cardiocare-2000 | EG040002 | NA | 0 |  | 0 |  | W
4 | LABOUR ROOM | RADIENT WARMER | 2 | PHONIX | NRC100 | 1109 | 25/1/2013 | 0 |  | 0 |  | W
5 | LABOUR ROOM | OPENCARE | 2 | NEOTECH | NEOTECH | 2010BC | 17/11/2014 |  | 17/11/2016 | 0 |  | W
6 | LABOUR ROOM | FEOTAL DOPPLER | 2 | EURO-CARE | TOUCH-DOPP | NA | 22/9/2014 | 1 | 17/11/2016 | 0 |  | W
7 | RADIOLOGY | X-ray M/C | 1 | Allengers | NA | 9910006 | NA | 0 |  | 0 |  | W
8 | LABOUR ROOM | Feetal Doppler | 1 | Crown-DX | NA | NA | NA | 0 |  | 0 |  | W
9 | LABOUR ROOM | Room Heater | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
10 | LABOUR ROOM | Weighing MACHINE | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
11 | LABOUR ROOM | Delivery Table | 2 | NA | NA | NA | NA | 0 |  | 0 |  | W
12 | OT | Autoclave | 2 | NA | NA | NA | NA | 0 |  | 0 |  | W
13 | OT | Foot Operated Suction M/C | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
14 | OT | Suction M/C Electrical | 2 | NA | NA | NA | NA | 0 |  | 0 |  | W
15 | OT | Cylinder-B Type | 15 | NA | NA | NA | NA | 0 |  | 0 |  | W
16 | OT | OT Light Portable | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
17 | OT | Boyle'Appratus | 1 | ME | ANESI-15 | NA | NA | 0 |  | 0 |  | W
18 | LABORATORY | Microscope | 2 | Olympus | NA | NA | NA | 0 |  | 0 |  | W
19 | LABORATORY |  |  | Ajay Optik | NA | NA | NA | 0 |  | 0 |  | W
20 | LABORATORY | Glucometer | 2 |  | NA | NA | NA | 0 |  | 0 |  | W
21 | LABORATORY | Centrifuge M/C | 1 | Hettich | NA | NA | NA | 0 |  | 0 |  | W
22 | LABORATORY | Blood bank Refrigrator | 1 | rajas Enterprises | NA | NA | NA | 0 |  | 0 |  | W
23 | OT | OT Table | 3 | Cognate | NA | NA | NA | 0 |  | 0 |  | W
24 | OT | AC | 1 | Samsung | NA | NA | NA | 0 |  | 0 |  | W
25 | OT | Invertyer & battery(Double) | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
26 | OT | Autoclave(Vertical) | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
Contact details :
Facility Incharge :SMO INCHARGE DR.J.K TYAGI 9416427715
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## PHC ATTA
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-ATTA
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | LABOUR ROOM | Delivery Table | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
2 | LABOUR ROOM | B.P Appratus | 5 | NA | NA | NA | NA | 0 |  | 0 |  | W
3 | LABOUR ROOM | FOETAL DOPPLER | 1 | EURO-CARE | TOUCH-DOPP | NA | NA | 0 |  | 0 |  | W
4 | LABORATORY | Microscope | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
5 | LABORATORY | ILR | 1 | Haier | Haier | NA | NA | 0 |  | 0 |  | W
6 | LABORATORY | NEEDLE DESTROYER | 1 | MICROSIL | MICROSIL | ND-100 | NA | 0 |  | 0 |  | W
7 | DENTAL | STERLIZER | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
8 | DENTAL | DENTAL CHAIR | 1 | CONFIDENT | NA | NA | NA | 0 |  | 0 |  | W
9 | LABORATORY | Deepfridger | 1 | Haier | Haier | NA | NA | 0 |  | 0 |  | W
Contact details :
Facility Incharge :DR.R.N BOORA946644827
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## PHC KABRI
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-KABRI
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | LABOUR ROOM | B.P Appratus | 2 | Diamond | NA | NA | NA | 0 |  | 0 |  | W
2 | LABOUR ROOM | Suction Machine | 1 | Anand Surgical | NA | NA | NA | 0 |  | 0 |  | W
3 | DENTAL | Dental Chair | 1 | Confident | NA | NA | NA | 0 |  | 0 |  | W
4 | DENTAL | Sterliser | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
5 | LABOUR ROOM | Needle Distroyer | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
6 | LABOUR ROOM | Deleivery Table | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
7 | LABOUR ROOM | Baby Weinghing machine | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
8 | LABORATERY | ILR | 1 | Haier | NA | NA | NA | 0 |  | 0 |  | W
9 | LABORATERY | Deepfridger | 1 | Haier | NA | NA | NA | 0 |  | 0 |  | W
10 | LABORATERY | Microscope | 1 | Olympus | NA | NA | NA | 0 |  | 0 |  | W
11 | LABORATERY | H.B. Meter | 2 | NA | NA | NA | NA | 0 |  | 0 |  | W
12 | LABOUR ROOM | Room Heater(Oil Filled | 2 | NA | NA | NA | NA | 0 |  | 0 |  | W
13 | LABOUR ROOM | O2 Cylinder | 2 | NA | NA | NA | NA | 0 |  | 0 |  | W
14 |  | PC System | 1 | NA | NA | NA | NA | 0 |  | 0
Contact details :
Facility Incharge :DR.ROHIT 9468187911
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## PHC MATHLODHA
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-MATHLODHA
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | DENTAL CHAIR | 1 | SUZ DENT | NA | NA |  | 0 |  | 0 |  | W
2 | DENTAL | Sterliser | 2 | Techno india | NA | NA |  | 0 |  | 0 |  | W
3 | LABOUR ROOM | RADIENT WARMER |  | PHONIX | NRC100 | 1204 | 2013-08-02 | 0 |  | 0 |  | W
4 | LABOUR ROOM | B.P Appratus | 4 | NA | Diamond | NA |  | 0 |  | 0 |  | W
5 | LABOUR ROOM | Suction Machine | 1 | JAI Vaccuva | NA | NA |  | 0 |  | 0 |  | W
6 | LABOUR ROOM | Delievery table | 1 | NA | NA | NA |  | 0 |  | 0 |  | W
7 | LABOUR ROOM | Examnation Table | 1 | NA | NA | NA |  | 0 |  | 0 |  | W
8 | LABORATORY | Microscope | 1 | Labo | NA | NA |  | 0 |  | 0 |  | W
9 | LABORATORY | HB meter | 1 | NA | NA | NA |  | 0 |  | 0 |  | W
10 | LABOUR ROOM | Inverter | 2 | Microtek | NA | NA |  | 0 |  | 0 |  | W
11 | LABOUR ROOM | Boiler | 1 | Stericlave | NA | NA |  | 0 |  | 0 |  | W
12 | LABOUR ROOM | Baby Weighing Scale | 1 | NA | NA | NA |  | 0 |  | 0 |  | W
Contact details :
Facility Incharge :DR.NARESH RATHI 9991219074
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## NAULTHA
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-NAULTHA
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Dental Chair | 1 | Confident | NA | NA | NA | 0 |  | 0 |  | W
2 | DENTAL | Sterlizer | 1 | Techno India | NA | NA | NA | 0 |  | 0 |  | W
3 | LABOUR ROOM | Suction Machine | 2 | Anand Surigcal | NA | NA | NA | 0 |  | 0 |  | W
4 | LABOUR ROOM |  |  | Manual | NA | NA | NA | 0 |  | 0 |  | W
5 | LABOUR ROOM | B.P Appratus | 2 | Elite | NA | NA | NA | 0 |  | 0 |  | W
6 | LABOUR ROOM | Delivery Table | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
7 | LABOUR ROOM | Baby weighing scale | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
8 | LABOUR ROOM | Needle Distroyer | 2 | Microsil | NA | NA | NA | 0 |  | 0 |  | W
9 | LABOUR ROOM | Auto Clave Machine | 1 | Elcon | NA | NA | NA | 0 |  | 0 |  | W
10 | LABOUR ROOM | Nebulizer | 1 | Bio Plus | NA | NA | NA | 0 |  | 0 |  | W
11 | LABOUR ROOM | RADIENT WARMER | 1 | PHOINX | NRC100 | 1204 | 15/1/2013 | 0 |  | 0 |  | W
12 | LABORATORY | HB meter | 1 | Microsil | NA | NA | NA | 0 |  | 0 |  | W
13 | LABORATORY | MicroScope | 2 | Olympus | NA | NA | NA | 0 |  | 0 |  | W
14 | LABORATORY |  |  | Labo | NA | NA | NA | 0 |  | 0 |  | W
15 | LABORATORY | ILR | 2 | Vestfrost | NA | NA | NA | 0 |  | 0 |  | W
16 | LABORATORY |  |  | Haier | NA | NA | NA | 0 |  | 0 |  | W
17 | LABORATORY | Deepfridger | 1 | Vestfrost | NA | NA | NA | 0 |  | 0 |  | W
Contact details :
Facility Incharge :DR.PARVEEN 8222871444
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## UGRAKHERI
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-UGRAKHERI
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Dental Chair | 1 | SUZDENT | NA | NA | NA | 0 |  | 0 |  | W
2 | DENTAL | Sterliser | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
3 | LABOUR ROOM | Delivery Table | 2 | NA | NA | NA | NA | 0 |  | 0 |  | W
4 | LABOUR ROOM | Foot Suction Machine | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
5 | LABOUR ROOM | Weighing Machine | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
6 | LABOUR ROOM | BP Appratas | 2 | NA | NA | NA | NA | 0 |  | 0 |  | W
7 | LABOUR ROOM | Needle Distroyer | 2 | Microsil | NA | NA | NA | 0 |  | 0 |  | W
8 | LABOUR ROOM | Doppler | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
9 | LABOUR ROOM | Autoclave | 1 | Techno India | NA | NA | NA | 0 |  | 0 |  | W
10 | LABOUR ROOM | RADIENT WARMER | 1 | PHOINX | NRC100 | 2013-06-02 | 1210 | 0 |  | 0 |  | W
11 | LABORATERY | Microscope | 2 | Labo | NA | NA | NA | 0 |  | 0 |  | W
12 | LABORATERY | HB meter | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
13 | LABORATERY | Glucometer | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
14 | LABORATERY | Centrifuge Machine | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
15 | LABORATERY | ILR | 1 | Haier | NA | NA | NA | 0 |  | 0 |  | W
16 | LABORATERY | Deepfridger | 1 | Haier | NA | NA | NA | 0 |  | 0 |  | W
Contact details :
Facility Incharge :DR.PALAK 9467052642
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## MANDI
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-MANDI
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Dental Chair | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
2 | DENTAL | Sterliser | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 | LABOUR ROOM | FOETAL DOPPLER | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 | LABOUR ROOM | Weighing Machine | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 | LABOUR ROOM | Needle Distroyer | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 | LABOUR ROOM | Foot Suction Machine | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 | LABOUR ROOM | B.P Appratus | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 | LABOUR ROOM | Delivery Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :DR.RAJIV 8059521044
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## CHULKANA
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-CHULKANA
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Dental Chair | 1 | Suzzdent | NA | NA | NA | 0 |  | O | O | W
2 | DENTAL | Sterliser | 2 | Techno india | NA | NA | NA | 1 |  | O | O | W
3 | LABORATORY | Microscope | 1 | Labo | NA | 88R401 | NA | 2 |  | O | O | W
4 | LABORATORY | HB meter | 1 |  | NA | NA | NA | 3 |  | O | O | W
5 | LABOUR ROOM | B.P Appratus | 4 | Diamond | DLX | NA | NA | 4 |  | O | O | W
6 | LABOUR ROOM | Suction Machine | 1 | JAI Vaccuva | NA | NA | NA | 5 |  | O | O | W
7 | LABOUR ROOM | Delievery table | 1 | NA | NA | NA | NA | 6 |  | O | O | W
8 | LABOUR ROOM | Examnation Table | 1 | NA | NA | NA | NA | 7 |  | O | O | W
9 | LABOUR ROOM | Inverter | 2 | Microtek | NA | NA | NA | 8 |  | O | O | W
10 | LABOUR ROOM | Boiler | 1 | Stericlave | ST1212ME | 11011 | NA | 9 |  | O | O | W
11 | LABOUR ROOM | Baby Weighing Scale | 1 | NA | NA | NA | NA | 10 |  | O | O | W
12 | LABOUR ROOM | RADIENT WARMER | 1 | PHOINX | NRC100 | 1903-04-16 | 25/1/2013 | 11 |  | O | O | W
Contact details :
Facility Incharge :DR.MANJEET RATHI 9467717008
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## KAWI
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-KAWI
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Dental Chair | 1 | Suzzdent | NA | NA | NA | 0 |  | O |  | W
2 | DENTAL | Sterliser | 2 | Techno india | NA | NA | NA | 0 |  | O |  | W
3 | LABORATORY | Microscope | 1 | Labo | NA | NA | NA | 0 |  | O |  | W
4 | LABORATORY | HB meter | 1 | NA | NA | NA | NA | 0 |  | O |  | W
5 | LABOUR ROOM | B.P Appratus | 4 | Diamond | NA | NA | NA | 0 |  | O |  | W
6 | LABOUR ROOM | Suction Machine | 1 | JAI Vaccuva | NA | NA | NA | 0 |  | O |  | W
7 | LABOUR ROOM | Delievery table | 1 | NA | NA | NA | NA | 0 |  | O |  | W
8 | LABOUR ROOM | Examnation Table | 1 | NA | NA | NA | NA | 0 |  | O |  | W
9 | LABOUR ROOM | Inverter | 2 | Microtek | NA | NA | NA | 0 |  | O |  | W
10 | LABOUR ROOM | Boiler | 1 | Stericlave | NA | NA | NA | 0 |  | O |  | W
11 | LABOUR ROOM | Baby Weighing Scale | 1 | NA | NA | NA | NA | 0 |  | O |  | W
12 | LABOUR ROOM | FOETAL DOPPLER | 2 | NA | NA | NA | NA | 0 |  | O |  | W
Contact details :
Facility Incharge :DR. AMRIT PAL 8930310103
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## NARAINA
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-NARAINA
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | LABOUR ROOM | Delivery Table | 2 | cardiac care | NA | NA | NA | 0 |  | 0 |  | W
2 | LABOUR ROOM | B.P Appratus | 3 | diamond | NA | NA | NA | 0 |  | 0 |  | W
3 | LABORATORY | Microscope | 2 | ajay optics | NA | NA | NA | 0 |  | 0 |  | W
4 | LABORATORY |  |  | microplan | NA | NA | NA | 0 |  | 0 |  | W
5 | LABOUR ROOM | Suction Machine | 1 | foot operated | NA | NA | NA | 0 |  | 0 |  | W
6 | LABOUR ROOM | Needle Destroyer | 1 | microsil | NA | NA | NA | 0 |  | 0 |  | W
7 | LABOUR ROOM | Dental Chair | 1 |  | NA | NA | NA | 0 |  | 0 |  | W
8 | LABOUR ROOM | RO System | 1 | kent | NA | NA | NA | 0 |  | 0 |  | W
9 | LABOUR ROOM | Inverter | 1 | microtek | NA | NA | NA | 0 |  | 0 |  | W
10 | LABOUR ROOM | Autoclave vertical | 1 | NA | NA | NA | NA | 0 |  | 0 |  | W
11 | LABOUR ROOM | RADIENT WARMER | 1 | NEO TECH | 2007s | 1374 | 19/11/2014 | 19/11/2016
12 | LABOUR ROOM | FOETAL DOPPLER | 2 | NA | NA | NA | NA | 0 |  | 0 |  | W
Contact details :
Facility Incharge :DR. SUSHIL 9050616906
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## PATTIKALYANA
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-PATTIKALYANA
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Dental Chair | 1 | Confident | NA | 2060 | 18.01.2007 | 0 |  |  |  | W
2 | DENTAL | Sterliser | 1 | Techno India | NA | NA | 18.07.06 | 0 |  |  |  | W
3 | LABOUR ROOM | Needle Distroyer | 3 | Microsil | NA | nd-100 | 18.07.06 | 0 |  |  |  | W
4 | LABOUR ROOM | B.P Appratus | 5 | NA | NA | NA | NA | 0 |  |  |  | W
5 | LABORATORY | Centrifuge Machine | 1 | Microsil | NA | T10/10 | NA | 0 |  |  |  | W
6 | LABORATORY | Microscope | 1 | Usand | NA | CX21FSI | NA | 0 |  |  |  | W
7 | LABOUR ROOM | Delivery Table | 1 | NA | NA | NA | NA | 0 |  |  |  | W
8 | LABOUR ROOM | Suction Machine | 1 | NA | NA | NA | NA | 0 |  |  |  | W
9 | LABOUR ROOM | Baby weighing Scale | 1 | NA | NA | NA | NA | 0 |  |  |  | W
10 | LABOUR ROOM | FOETAL DOPPLER | 2 | NA | NA | NA | NA | 0 |  |  |  | W
Contact details :
Facility Incharge :DR.AJIT 9896324636
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## SEWHA
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-SEWHA
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | DENTAL CHAIR | 1 | COINFIDENT | NA | NA | NA | 0 |  |  |  | W
2 | DENTAL | STERLIZER | 2 | Techno India | NA | NA | NA | 0 |  |  |  | W
3 | LABOUR ROOM | SUCTION MACHINE | 2 | NA | NA | NA | NA | 0 |  |  |  | W
4 | LABOUR ROOM |  |  | Anand Surgical | NA | NA | NA | 0 |  |  |  | W
5 | LABOUR ROOM | NEEDLE DESTROYER | 2 | MICROSIL | ND-100 | NA | NA | 0 |  |  |  | W
6 |  |  | 2 | NA | ND120 |  |  | 0 |  |  |  | W
7 | LABOUR ROOM | AUTOCLAVE | 1 | Techno India | NA | NA | NA | 0 |  |  |  | W
8 | LABORATORY | HB Meter | 2 | NA | NA | NA | NA | 0 |  |  |  | W
9 | LABOUR ROOM | Delivery Table | 1 | NA | NA | NA | NA | 0 |  |  |  | W
10 | LABOUR ROOM | BP Appratus | 4 | Diamond | NA | NA | NA | 0 |  |  |  | W
11 | LABORATORY | MicroScope | 2 | Labo | NA | NA | NA | 0 |  |  |  | W
12 | LABORATORY |  |  | Olympus | NA | NA | NA | 0 |  |  |  | W
13 | LABORATORY | centrifuge Machine | 1 | NA | NA | NA | NA | 0 |  |  |  | W
14 | LABOUR ROOM | RADIENT WARMER | 1 | PHONIX | OCW 100 | 25/1/2013 | NA | 0 |  |  |  | W
15 | LABOUR ROOM | FOETAL DOPPLER | 2 | NA | NA | NA | NA | 0 |  |  |  | W
Contact details :
Facility Incharge :DR MANDEEP 9802727509
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## UJHA
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-CHC Name of the Facility-AHAR
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | DENTAL CHAIR | 1 | SUZ-DENT | NA | NA | NA | 0 |  |  |  | W
2 | LABOUR ROOM | SUCTION MACHINE | 2 | NA | NA | NA | NA | 0 |  |  |  | W
3 | LABOUR ROOM |  |  | Monarch | NA | NA | NA | 0 |  |  |  | W
4 | LABOUR ROOM | NEEDLE DESTROYER | 1 | MICROSIL | ND-100 | NA | NA | 0 |  |  |  | W
5 | DENTAL | STERLIZER | 1 | VERTICAL | NA | NA | NA | 0 |  |  |  | W
6 | LABOUR ROOM | AUTOCLAVE | 1 | SURGICOIN | CMP-32 | NA | NA | 0 |  |  |  | W
7 | LABOUR ROOM | Foetal Dopler | 1 | EuroDop | NA | NA | NA | 0 |  |  |  | W
8 | LABOUR ROOM | OT Table | 1 | NA | NA | NA | NA | 0 |  |  |  | W
9 | LABOUR ROOM | O2 Cyclinder | 2 | NA | NA | NA | NA | 0 |  |  |  | W
10 | LABOUR ROOM | Baby Weighing machine | 1 | Crown | NA | NA | NA | 0 |  |  |  | W
11 | LABORATORY | Centrifuge Machine | 1 | Remi | NA | NA | NA | 0 |  |  |  | W
12 | LABORATORY | Micro Scope | 3 | Labo | NA | NA | NA | 0 |  |  |  | W
13 | LABORATORY |  |  | Olympus | NA | NA | NA | 0 |  |  |  | W
14 | LABORATORY | HB Meter | 2 | NA | NA | NA | NA | 0 |  |  |  | W
15 |  | OT light Portable | 1 | NA | NA | NA | NA | 0 |  |  |  | W
16 | LABORATORY | ILR | 1 | Haier | NA | NA | NA | 0 |  |  |  | W
17 | LABORATORY | Deepfridger | 1 | Vestfrost | NA | NA | NA | 0 |  |  |  | W
18 | LABOUR ROOM | RADIENT WARMER | 1 | PHONIX | OCW100 | 1211 | 2013-08-02 | 0 |  |  |  | W
19 | LABOUR ROOM | RADIENT WARMER | 1 | NEOTECH | 2007S | 1392 | 2014-05-11 | 1 | 2016-05-11 |  |  | W
Contact details :
Facility Incharge :DR. NISHI JINDAL 9466029502
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## SEENK
MASTER EQUIPMENT BASE
Name of District- PANIPAT Type of facility-PHC Name of the Facility-SEENK
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | DENTAL | Dental Chair | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
2 | DENTAL | Sterliser | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 | LABOUR ROOM | FOETAL DOPPLER | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 | LABOUR ROOM | Weighing Machine | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 | LABOUR ROOM | Needle Distroyer | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 | LABOUR ROOM | Foot Suction Machine | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 | LABOUR ROOM | B.P Appratus | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 | LABOUR ROOM | Delivery Table | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :DR.PARTEEK DAHIYA 8397834187
Store Incharge :
Store keeper :
Biomedical Engineer :VINOD NIRBAN 8295936191

## Consolidate
Equipment Name | Quantity
X-RAY MACHINE(300MA) | 1
X-RAY MACHINE(500MA) | 1
X-RAY MACHINE(150MA) | 1
CR SYSTEM | 1
ULTRASOUND MACHINE | 1
Electric Sterlizer | 1
ECG MACHINE | 2
Sterliser | 9
DENTAL CHAIR | 18
DENTAL X-RAY | 1
suction machine Electrical | 1
NEEDLE DESTROYER | 11
STERLIZER | 5
O2 Cyclinder | 2
Baby Weighing machine | 1
Centrifuge Machine | 3
microscope | 6
AUTOCLAVE | 4
BP Appratas | 2
Needle Distroyer | 12
Foot Suction Machine | 7
B.P Appratus | 37
Delievery table | 3
Examnation Table | 3
RO System | 1
Inverter | 9
Baby Weighing scale | 2
SUCTION MACHINE | 18
STERLIZER | 4
DEFIBRILLATOR | 1
OXYGEN CONCENTRATOR | 4
PULSE OXYMETER (FINGER TIP) | 2
EMERGENCY RESUSCITATION KIT | 1
PATIENT MONITOR | 10
SEMI AUTO ANALYZER | 1
CELL COUNTER | 1
WATER BATH | 2
HB meter | 6
CENTRIFUGE MACHINE | 6
HOT PLATE READER | 2
INCUBATOR | 1
HOT AIR OVEN | 1
AUTOCLAVE MACHINE | 3
Boyle'Appratus | 1
MICROSCOPE | 13
REFRIGRATOR | 1
VDRL ROTATOR | 1
E.S.R STAND | 2
FIBER OPTIC ILLUMINATOR | 1
OPENCARE | 2
FEOTAL DOPPLER | 6
Opthalmoscope | 2
Tonometer | 2
Lansometer | 1
BinocularMicroscope | 2
Centrifuge M/C | 2
Micro Scope | 3
HB METER | 13
NEEDLE DESTROYER | 3
DIGITAL BALANCE | 1
GLUCOMETER | 4
ANASTHESIA MACHINE | 1
DEFIBRILLATOR | 2
BOYLES APPRATUS | 1
C-ARM | 1
OT TABLE | 5
LAPROSCOPE SINGLE PUNCTURE | 1
OT LIGHT | 3
OPERATING MICROSCOPE(EYE) | 2
PHECO MACHINE | 1
Blood bank Refrigrator | 1
Foetal Dopler | 1
OT Table | 4
AC | 3
ORTHO DRILL | 3
SURGICAL DIATHERMY-EYE | 2
PULSE OXYMETER | 2
MULTIPAPAR MONITER | 1
Blood bank Refrigerator | 1
Galucometer | 1
Cylinder(O2) | 6
BP Appratus Stand mode | 2
Vertical autoclave M/C(Single drum) | 3
Foot Suction M/C | 1
Doppler | 1
Autoclave | 3
Foot Operated Suction M/C | 1
Suction M/C Electrical | 2
Cylinder-B Type | 15
OT LIGHT PORTABLE | 5
SKIN GRAFT MASHER | 2
STARLIZER | 1
X-RAY MACHINE(50MA) | 1
ECG MACHINE | 1
Boiler | 3
Baby Weighing Scale | 4
Autoclave vertical | 1
Auto Clave Machine | 1
Nebulizer | 1
RADIENT WARMER | 17
OPENCARE SYSTEM | 10
SYRINGE PUMP | 8
BABY INCUBATOR | 1
BILLIBNOMETER | 1
LIGHT METER | 1
ROOM HEATER OIL | 2
PHOTOTHERAPY UNIT | 6
PULSE OXYMETER(FINGER TIP) | 1
BP APPRATUS | 7
DELEIVERY TABLE | 6
Sterliser | 3
FOETAL DOPPLER | 18
STEHESCOPE | 2
X-ray M/C | 1
Feetal Doppler | 1
Room Heater | 1
WEIGHING MACHINE | 10
IV STAND | 2
PATIENT BED | 6
PULSE OXYMETER FINGER TIP | 3
HUMBYS KNIFE | 1
PORTABLE LIGHT | 1
MULTIPARA MONITER | 2
Exmination table | 2
Dilivery table | 1
Delivery Table | 8
Foetal Dopler | 1
Invertyer & battery(Double) | 1
Autoclave(Vertical) | 1
Delivery Table | 4
OT light Portable | 1
ILR | 4
Baby Weinghing machine | 1
ILR | 2
Deepfridger | 5
H.B. Meter | 2
Room Heater(Oil Filled | 2
O2 Cylinder | 2
PC System | 1