## DH RATLAM
Name of Consultant :- | [6 empty] | Date:- |  | 2015-08-09
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | D.H. Ratlam (ratlam)
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | O.T. | horizontal autoclave | instech | * | * | 1 |  | 1 | 55000 | 55000
# |  | boyels app | G.I. | * | * | 1 |  | 1 | 65000 | 65000
# |  | refrigrator | tropicana | * | * |  | 1 | 1 | 15000 | 15000
# |  | suction machine | * | * | * |  | 1 | 1 | 6500 | 6500
# | X-Ray room | x-ray machine | allengers | mars 50 | * |  | 1 | 1 | 450000 | 450000
# |  | x-ray machine | siemens | heliophos D | 03107 | 1 |  | 1 | 450000 | 450000
# | C.C.U | x-ray machine | allengers | * | * | 1 |  | 1 | 450000 | 450000
# | CHILDREN WARD | x-ray machine | allengers | * | * | 1 |  | 1 | 450000 | 450000
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# | O.T. | horizontal autoclave | * | * | * |  | 1 | 1 | 55000 | 55000
# |  | horizontal autoclave | surgicoin | * | * | 1 |  | 1 | 55000 | 55000
# |  | horizontal autoclave | instech system | * | * |  | 1 | 1 | 55000 | 55000
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | fumigator | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | multipara monitor | aspen v1 | * | v112052617 | 1 |  | 1 | 80000 | 80000
# |  | boyels app | allied medical | * |  | 1 |  | 1 | 65000 | 65000
# |  | O.T. light | philips | * | 3560 | 1 |  | 1 | 45000 | 45000
# |  | radiant warmer | zeal | * | rswns/10081202 | 1 |  | 1 | 38000 | 38000
# |  | suction machine | G.I. | * | * | 1 |  | 1 | 6500 | 6500
# |  | baby weighing machine | perfect | * | * | 1 |  | 1 | 3500 | 3500
# |  | needle cutter | life care | * | * |  | 1 | 1 | 1200 | 1200
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | boyels app | allied medical | * | jupiter/2001146 |  | 1 | 1 | 65000 | 65000
# |  | O.T. light | * | * | * | 1 |  | 1 | 45000 | 45000
# |  | boiler (drum type) | * | * | * | 1 |  | 1 | 6500 | 6500
# | ECG | ecg machine | contec medical | ecg 3004 | 06AP000668 | 1 |  | 1 | 52000 | 52000
# |  | ecg machine | uni-EM electro medicals | cardio min 3c | 11K103 |  | 1 | 1 | 52000 | 52000
# |  | ecg machine | uni-EM electro medicals | * | 0K866 |  | 1 | 1 | 52000 | 52000
# |  | ecg machine | uni-EM electro medicals | * | 8E3757 |  | 1 | 1 | 52000 | 52000
# | Troma O.T. | vertical autoclave | modis | * | MEV41777 | 1 |  | 1 | 65000 | 65000
# |  | horizontal autoclave | modis | * | MEC60778 | 1 |  | 1 | 55000 | 55000
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | boyels app | * | * | * | 1 |  | 1 | 65000 | 65000
# |  | multipara monitor | aspen v1 | * | v112101995 | 1 |  | 1 | 80000 | 80000
# |  | hydralic table | * | * | * |  | 1 | 1 | 70000 | 70000
# |  | hydralic table | * | * | * |  | 1 | 1 | 70000 | 70000
# |  | c-arm | meditronics | surgico hf | g10b034 | 1 |  | 1 | 850000 | 850000
# |  | O.T. light | philips | * | * | 1 |  | 1 | 45000 | 45000
# |  | suction machine | universe surgical | * | * | 1 |  | 1 | 6500 | 6500
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | needle cutter | suit life | * | * | 1 |  | 1 | 1200 | 1200
# |  | portable light | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | portable light | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | boyels app | G.I. | * | * | 1 |  | 1 | 65000 | 65000
# |  | boyels app | GE datex ohmeda | 9100c | ME13070434 | 1 |  | 1 | 65000 | 65000
# |  | multipara monitor | life vision | * | LV-121 | 1 |  | 1 | 80000 | 80000
# |  | O.T.table hydralic | * | * | * | 1 |  | 1 | 70000 | 70000
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | fumigator | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | multipara monitor | schiller | * | * |  | 1 | 1 | 80000 | 80000
# |  | refrigrator | LG | GL-255VM5/2010 | * | 1 |  | 1 | 15000 | 15000
# |  | fumigator | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | B.P. App | profix | * | 71098 | 1 |  | 1 | 650 | 650
# |  | refrigrator | LG | * | * | 1 |  | 1 | 15000 | 15000
# |  | digital bp.app | acon | * | 903A0007CCA |  | 1 | 1 | 1100 | 1100
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# | Vaccine Room | deep freezer | haier | hbd-286 | BE04F4E2600B2A8T0117 | 1 |  | 1 | 250000 | 250000
# |  | deep freezer | haier | hbd-286 | BE04F4E2600B2A8T0049 | 1 |  | 1 | 250000 | 250000
# |  | ILR | haier | hbc-70 | BE07F4E0N00B2A480020 | 1 |  | 1 | 250000 | 250000
# |  | ILR | haier | hbc-70 | BE0581E0100B288J0384 | 1 |  | 1 | 250000 | 250000
# |  | deep freezer | vestfrost | mf-304 | 90300492 | 1 |  | 1 | 250000 | 250000
# |  | deep freezer | vestfrost | sb302 | 64918541 | 1 |  | 1 | 250000 | 250000
# |  | deep freezer | vestfrost | mf-114 | 20071022452 | 1 |  | 1 | 250000 | 250000
# |  | ILR | vestfrost | mk-304 | 91202561 | 1 |  | 1 | 250000 | 250000
# |  | deep freezer | vestfrost | mf-304 | 90300499 | 1 |  | 1 | 250000 | 250000
# |  | deep freezer | vestfrost | mf-114 | 20071022487 |  | 1 | 1 | 250000 | 250000
# |  | deep freezer | haier | hbd-286 | BE04F4E2600B2A850111 | 1 |  | 1 | 250000 | 250000
# |  | deep freezer | haier | hbd-286 | BE04F0E0100B29300047 | 1 |  | 1 | 250000 | 250000
# |  | deep freezer | haier | hbd-116 | BE04G4E2600B2A5E0089 | 1 |  | 1 | 250000 | 250000
# |  | deep freezer | haier | hbd-116 | BE094E2600B2A8D0117 | 1 |  | 1 | 250000 | 250000
# |  | ILR | vestfrost | mk-144 | 20032001063 | 1 |  | 1 | 250000 | 250000
# |  | ILR | vestfrost | mk-144 | 20034001103 |  | 1 | 1 | 250000 | 250000
# |  | deep freezer | haier | hbd-116 | BE04G0E0100B296C0157 | 1 |  | 1 | 250000 | 250000
# | Lab | binoculer microscope | suswox | skc-400 | 4664 | 1 |  | 1 | 30000 | 30000
# |  | refrigrator | godrej | * | * | 1 |  | 1 | 15000 | 15000
# |  | semiauto analyser | beacon | tp | * | 1 |  | 1 | 200000 | 200000
# |  | Na/K analyser | easy lyte | medica | 14356 | 1 |  | 1 | 200000 | 200000
# |  | centrifuge | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | centrifuge | remi | * | * | 1 |  | 1 | 6500 | 6500
# |  | biomass analyser | * | * | * | 1 |  | 1 | 200000 | 200000
# |  | analyser | gsk | duali system | * |  | 1 | 1 | 200000 | 200000
# |  | semiauto analyser | beacon | tp | * | 1 |  | 1 | 200000 | 200000
# |  | analyser | hemostal | xf-10 | F06155456 | 1 |  | 1 | 200000 | 200000
# |  | Elisha washer | robonik | * | * | 1 |  | 1 | 200000 | 200000
# |  | colorimeter | simco | violet | * |  | 1 | 1 | 1400 | 1400
# | Blood Bank | refrigrator | L.G. | GL-314 | * | 1 |  | 1 | 15000 | 15000
# |  | blood tube sealer | hicare | hts-10 | 12062700 | 1 |  | 1 | 4500 | 4500
# |  | refrigrator | electrolux | oxycool | * |  | 1 | 1 | 15000 | 15000
# |  | blood bank refrigrator | jewett | dtpm-1 | 55621295 |  | 1 | 1 | 250000 | 250000
# |  | deep freezer | haier | hbd-270 | * | 1 |  | 1 | 250000 | 250000
# |  | centrifuge | diamond | 6s | 1001937 |  | 1 | 1 | 6500 | 6500
# |  | centrifuge | indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | binoculer microscope | suswax | skc-400 | * | 1 |  | 1 | 30000 | 30000
# |  | blood bank refrigrator | haier | hxc-608 | 601120018 |  | 1 | 1 | 250000 | 250000
# |  | blood bank refrigrator | haier | hxc-608 | BE06P/E1T66B2A720024 | 1 |  | 1 | 250000 | 250000
# |  | weighing machine | H&F | * | * | 1 |  | 1 | 2500 | 2500
# |  | BCM | labtop | lcm-13 | 09096N8 |  | 1 | 1 | 65000 | 65000
# |  | blood weighing machine | docbel braun | * | * | 1 |  | 1 | 3500 | 3500
# | Haemotology | sterilizer | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | water bath | indian | * | * |  | 1 | 1 | 4500 | 4500
# |  | incubator | lab-hosp | * | * |  | 1 | 1 | 375000 | 375000
# |  | binoculer microscope | suswax | skc-400 | * | 1 |  | 1 | 30000 | 30000
# |  | incubator | old | * | * | 1 |  | 1 | 375000 | 375000
# |  | incubator | * | * | * |  | 1 | 1 | 375000 | 375000
# |  | incubator | * | * | * |  | 1 | 1 | 375000 | 375000
# |  | VDRL shaker | * | * | * |  | 1 | 1 | 4500 | 4500
# |  | needle cutter | sai life | * | * | 1 |  | 1 | 1200 | 1200
# |  | lamirar air flow | indian | * | * |  | 1 | 1 | 250000 | 250000
# |  | blood storage cabine | remi | * | BDI-2303 |  | 1 | 1 | 250000 | 250000
# |  | hot air oven | yavco | * | * |  | 1 | 1 | 4500 | 4500
# | C.C.U | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | needle cutter | sai life | * | * | 1 |  | 1 | 1200 | 1200
# |  | nebulizer | smart care | * | * | 1 |  | 1 | 6500 | 6500
# |  | multipara monitor | aspen v1 | * | v1120224076 |  | 1 | 1 | 80000 | 80000
# |  | multipara monitor | aspen v1 | * | v112052640 |  | 1 | 1 | 80000 | 80000
# |  | defibrilator | BPL | DF 2509 | BYNF2K5577 | 1 |  | 1 | 170000 | 170000
# |  | x-ray machine | allengers | mars-6R | 2k131206425-x/hf | 1 |  | 1 | 450000 | 450000
# |  | infusion pump | akas | * | H04123325 | 1 |  | 1 | 40000 | 40000
# |  | infusion pump | akas | * | H05123371 | 1 |  | 1 | 40000 | 40000
# |  | multipara monitor | aspen v1 | * | V112101983 | 1 |  | 1 | 80000 | 80000
# |  | multipara monitor | aspen v1 | * | V112052634 | 1 |  | 1 | 80000 | 80000
# |  | infusion pump | akas | * | H05123358 | 1 |  | 1 | 40000 | 40000
# |  | infusion pump | akas | * | H04123314 | 1 |  | 1 | 40000 | 40000
# |  | multipara monitor | aspen v1 | * | V112052607 | 1 |  | 1 | 80000 | 80000
# |  | infusion pump | akas | * | H01123141 | 1 |  | 1 | 40000 | 40000
# |  | ventilator | philips | trilogy | TV112121268 | 1 |  | 1 | 600000 | 600000
# |  | infusion pump | akas | * | H05123355 | 1 |  | 1 | 40000 | 40000
# |  | ventilator | philips | * | TV112121270 | 1 |  | 1 | 600000 | 600000
# |  | ecg machine | dr. bansal | * | 06AD001300 | 1 |  | 1 | 52000 | 52000
# |  | ecg machine | dr. bansal | * | 06AD001338 | 1 |  | 1 | 52000 | 52000
# |  | BP-App | smart care | sch-108 | * | 1 |  | 1 | 650 | 650
# |  | BP-App | smart care | sch-108 | * |  | 1 | 1 | 650 | 650
# |  | BP-App | smart care | sch-108 | * |  | 1 | 1 | 650 | 650
# |  | BP-App | smart care | sch-108 | * |  | 1 | 1 | 650 | 650
# |  | pluse oximeter | smart care | * | 032801A5309 | 1 |  | 1 | 55000 | 55000
# |  | glucometer | abbott | * | xcgu031-pisb8 | 1 |  | 1 | 1500 | 1500
# |  | TMT machine | candurust | s94xl | 60111403208 | 1 |  | 1 | 850000 | 850000
# |  | TMT machine | candurust | s94xl | 60111403207 | 1 |  | 1 | 850000 | 850000
# | Dental OPD | dental chair | hicare | * | * | 1 |  | 1 | 150000 | 150000
# |  | scaler | art | p6 | * | 1 |  | 1 | 4500 | 4500
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# | SCNU Out Born Unit | radiant warmer | BIRD MEDITECH | innova | BM/RW/151/0910 | 1 |  | 1 | 38000 | 38000
# |  | radiant warmer | zeal | * | RWSUNI/1108/1B1 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | BIRD MEDITECH | innova | BM/RW/14510910 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | zeal | * | RWSUNI/1108/176 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | BIRD MEDITECH | innova | BM/RW/149/6910 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | BIRD MEDITECH | innova | BM/RW/147/0910 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | zeal | * | RWSUNI/1008/203 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | zeal | NRU2101A | NRU2101A10313/80 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | brid meditech | innova | BM/RW/146/0910 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | zeal | * | RWSUNI/1108/177 |  | 1 | 1 | 38000 | 38000
# |  | photo therapy | hicare | HCFL-101 | H1046 | 1 |  | 1 | 15500 | 15500
# |  | infusion pump | techno care | * | * | 1 |  | 1 | 40000 | 40000
# |  | pluse oximeter | EMCO | oxi-sat 2060 | 1208545 |  | 1 | 1 | 55000 | 55000
# |  | pluse oximeter | EMCO | oxi-sat 2060 | 1208543 |  | 1 | 1 | 55000 | 55000
# |  | infusion pump | akas | * | H06123391 |  | 1 | 1 | 40000 | 40000
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | C-pap | zeal | HHD-01 | * | 1 |  | 1 | 55000 | 55000
# |  | pluse oximeter | maestros mediline | lotus 500 | 100372-273 |  | 1 | 1 | 55000 | 55000
# |  | infusion pump | aspen v1 | sp-1 | 0907101 |  | 1 | 1 | 40000 | 40000
# |  | o2 concentrator | BPL | * | 0G4203 | 1 |  | 1 | 45000 | 45000
# |  | o2 concentrator | BPL | * | 0G4203 | 1 |  | 1 | 45000 | 45000
# |  | infusion pump | aspen v1 | SP-1 | 0907115 | 1 |  | 1 | 40000 | 40000
# |  | photo therapy | phoenix | PT-104 | 2816 | 1 |  | 1 | 15500 | 15500
# |  | infusion pump | aspen v1 | sp-1 | 907137 | 1 |  | 1 | 40000 | 40000
# |  | infusion pump | techno care | * | * | 1 |  | 1 | 40000 | 40000
# |  | infusion pump | aspen v1 | sp-1 | 907139 | 1 |  | 1 | 40000 | 40000
# |  | ventilator | dragon | babylog 80008105 | 8418097 | 1 |  | 1 | 600000 | 600000
# |  | baby weighing machine | nova | bs-1250 | nu-20100001-0968 | 1 |  | 1 | 3500 | 3500
# |  | multipara monitor | smart care | mp1210 | axis12200197 |  | 1 | 1 | 80000 | 80000
# |  | ABG machine | nova | * | yo4c10290 |  | 1 | 1 | 200000 | 200000
# | SCNU In Born Unit | radiant warmer | zeal | * | RWSUNI/1108/168 | 1 |  | 1 | 38000 | 38000
# |  | radiant warmer | BIRD MEDITECH | innova | BM/RW/148/0910 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | BIRD MEDITECH | innova | BM/RW/1468/0910 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | zeal | * | RWSUNI/1008/199 | 1 |  | 1 | 38000 | 38000
# |  | radiant warmer | zeal | * | RWSUNI/1108/113 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | zeal | * | RWSUNI/1008/194 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | zeal | * | RWSUNI/1008/200 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | BIRD MEDITECH | innova | BM/RW/20/0910 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | BIRD MEDITECH | innova | BM/RW/153/0910 | 1 |  | 1 | 38000 | 38000
# |  | pluse oximeter | maestros mediline | lotus 500 | * |  | 1 | 1 | 55000 | 55000
# |  | pluse oximeter | EMCO | oxi-sat 2060 | 1208546 |  | 1 | 1 | 55000 | 55000
# |  | pluse oximeter | maestros mediline | lotus 500 | 100372-314 |  | 1 | 1 | 55000 | 55000
# |  | infusion pump | techno care | * | * | 1 |  | 1 | 40000 | 40000
# |  | infusion pump | maestros mediline | lotus 500 | 100372-304 | 1 |  | 1 | 40000 | 40000
# |  | infusion pump | techno care | * | * | 1 |  | 1 | 40000 | 40000
# |  | pluse oximeter | * | oxi-sat 2060 | 1208348 | 1 |  | 1 | 55000 | 55000
# |  | o2 concentrator | BPL | OG4203 | AXTC0C49536 |  | 1 | 1 | 45000 | 45000
# |  | o2 concentrator | BPL | OG4203 | AXTCOC4953 | 1 |  | 1 | 45000 | 45000
# |  | C-pap | zeal | * | * | 1 |  | 1 | 55000 | 55000
# |  | infusion pump | aspen v1 | sp-1 | * | 1 |  | 1 | 40000 | 40000
# |  | photo therapy | BIRD MEDITECH | * | * | 1 |  | 1 | 15500 | 15500
# |  | infusion pump | techno care | * | * | 1 |  | 1 | 40000 | 40000
# |  | needle cutter | sai life | * | * | 1 |  | 1 | 1200 | 1200
# |  | infusion pump | aspen v1 | sp-1 | 907104 | 1 |  | 1 | 40000 | 40000
# |  | photo therapy | BIRD MEDITECH | * | BM/RW/25/0809 | 1 |  | 1 | 15500 | 15500
# |  | multipara monitor | smart care | HP-1210 | AX1311200079 | 1 |  | 1 | 80000 | 80000
# |  | baby weighing machine | nova | * | * | 1 |  | 1 | 3500 | 3500
# | SCNU Step Down Unit | radiant warmer | zeal | * | RWSUNI/1108/156 |  | 1 | 1 | 38000 | 38000
# |  | photo therapy | phoenix | PB100 | 3125 |  | 1 | 1 | 15500 | 15500
# |  | radiant warmer | hicare | HNO-106 | H1010 |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | hicare | HNO-06 | H1009 |  | 1 | 1 | 38000 | 38000
# |  | photo therapy | phoenix | PT-104 | 2838 | 1 |  | 1 | 15500 | 15500
# |  | radiant warmer | BIRD MEDITECH | innova | BM/RWO/19/0910 |  | 1 | 1 | 38000 | 38000
# |  | photo therapy | BIRD MEDITECH | * | * | 1 |  | 1 | 15500 | 15500
# |  | photo therapy | phoenix | PT-104 | 2803 | 1 |  | 1 | 15500 | 15500
# |  | radiant warmer | phoenix | PT-104 | 2830 | 1 |  | 1 | 38000 | 38000
# |  | radiant warmer | BIRD MEDITECH | innova | BM/RW/150/0910 |  | 1 | 1 | 38000 | 38000
# |  | suction machine | * | * | * |  | 1 | 1 | 6500 | 6500
# | Labour Room | baby weighing machine | nova | * | * | 1 |  | 1 | 3500 | 3500
# |  | radiant warmer | zeal | * | * |  | 1 | 1 | 38000 | 38000
# |  | radiant warmer | zeal | * | * |  | 1 | 1 | 38000 | 38000
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | needle cutter | sai life | * | * | 1 |  | 1 | 1200 | 1200
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | multipara monitor | techno care | TM-9009 | 1402M030 |  | 1 | 1 | 80000 | 80000
# |  | labour table | * | * | * |  | 1 | 1 | 14000 | 14000
# |  | labour table | * | * | * |  | 1 | 1 | 14000 | 14000
# |  | labour table | * | * | * |  | 1 | 1 | 14000 | 14000
# |  | labour table | * | * | * | 1 |  | 1 | 14000 | 14000
# | U.S.G | ultra sound machine | CHISON | ivi530 | 1409047 | 1 |  | 1 | 450000 | 450000
# | Male Ward | suction machine | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | suction machine | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | needle cutter | sai life | * | * | 1 |  | 1 | 1200 | 1200
# |  | needle cutter | * | * | * |  | 1 | 1 | 1200 | 1200
# |  | needle cutter | * | * | * |  | 1 | 1 | 1200 | 1200
# |  | digital bp.app | acon | * | 903A0008B7B |  | 1 | 1 | 1100 | 1100
# |  | digital bp.app | acon | * | * |  | 1 | 1 | 1100 | 1100
# |  | glucometer | abbott | * | * | 1 |  | 1 | 1500 | 1500
# |  | nebulizer | smart care | * | * | 1 |  | 1 | 6500 | 6500
# |  | nebulizer | smart care | * | * |  | 1 | 1 | 6500 | 6500
# |  | BP-App | novaphon | * | 374475 | 1 |  | 1 | 650 | 650
# |  | BP-App | * | * | * |  | 1 | 1 | 650 | 650
# |  | BP-App | * | * | * |  | 1 | 1 | 650 | 650
# |  | BP-App | * | * | * |  | 1 | 1 | 650 | 650
# |  | BP-App | * | * | * |  | 1 | 1 | 650 | 650
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# | I.C.C.U | nebulizer | safe NEB | * | 2013064017 | 1 |  | 1 | 6500 | 6500
# |  | nebulizer | new | * | * | 1 |  | 1 | 6500 | 6500
# |  | nebulizer | new | * | * | 1 |  | 1 | 6500 | 6500
# |  | needle cutter | robonik | * | * |  | 1 | 1 | 1200 | 1200
# |  | needle cutter | sai life | * | * |  | 1 | 1 | 1200 | 1200
# |  | multipara monitor | contee | CMS8000 | 05AG001126 |  | 1 | 1 | 80000 | 80000
# |  | defibrilator | schiller | * | A10A015 |  | 1 | 1 | 170000 | 170000
# |  | needle cutter | sai life | * | * | 1 |  | 1 | 1200 | 1200
# |  | multipara monitor | aspen v1 | * | V112052651 | 1 |  | 1 | 80000 | 80000
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | suction machine | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | digital bp.app | acon | * | 903A00050FE | 1 |  | 1 | 1100 | 1100
# |  | digital bp.app | acon | * | 903A00066D3 | 1 |  | 1 | 1100 | 1100
# |  | glucometer | abbott | * | * | 1 |  | 1 | 1500 | 1500
# |  | refrigrator | kelvinator | * | * | 1 |  | 1 | 15000 | 15000
# | Emergency Ward | needle cutter | sai life | * | * |  | 1 | 1 | 1200 | 1200
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | suction machine | * | * | * |  | 1 | 1 | 6500 | 6500
# |  | BP-App | profix | * | * | 1 |  | 1 | 650 | 650
# |  | BP-App | life-o-line | * | 98135804 |  | 1 | 1 | 650 | 650
# | Minor O.T | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# | Eye OPD | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | tonometer | * | * | * | 1 |  | 1 | 45000 | 45000
# | Eye O.T | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | ultrasonic diatherapy | appasonic | galaxy-1 | * | 1 |  | 1 |  | 0
# |  | bipolor coagulator | TL instrument | * | * | 1 |  | 1 |  | 0
# |  | fumigator | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | microscope | topcon | oms-90 | 314597 | 1 |  | 1 | 30000 | 30000
# |  | microscope | leico | m690 | 140896037 | 1 |  | 1 | 30000 | 30000
# |  | microscope | topcon | oms-90 | 312860 | 1 |  | 1 | 30000 | 30000
# |  | OT table | * | * | * | 1 |  | 1 | 45000 | 45000
# |  | spot light | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | vertical autoclave | * | * | * | 1 |  | 1 | 65000 | 65000
# | Female Ward | BP-App | profix | * | 71198 | 1 |  | 1 | 650 | 650
# |  | needle cutter | sai life | * | * | 1 |  | 1 | 1200 | 1200
# |  | nebulizer | BPL | l2038506102 | air jolie | 1 |  | 1 | 6500 | 6500
# |  | nebulizer | BPL | l2038506102 | air jolie | 1 |  | 1 | 6500 | 6500
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | glucometer | abbott | optium xceed | * | 1 |  | 1 | 1500 | 1500
# | TB lab | binoculer microscope | mlw | * | * | 1 |  | 1 | 30000 | 30000
# |  | binoculer microscope | mlw | * | * | 1 |  | 1 | 30000 | 30000
# | ENT | spot light | max | * | * | 1 |  | 1 | 6500 | 6500
# | ORTHO | sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# | TB WARD | needle cutter | life care | * | * | 1 |  | 1 | 1200 | 1200
# |  | needle cutter | life care | * | * |  | 1 | 1 | 1200 | 1200
# |  | needle cutter | life care | * | * |  | 1 | 1 | 1200 | 1200
# |  | needle cutter | life care | * | * |  | 1 | 1 | 1200 | 1200
# |  | suction machine | indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | BP-App | blue cross | delux | * | 1 |  | 1 | 650 | 650
# | Male Surgical ward | needle cutter | * | * | * | 1 |  | 1 | 1200 | 1200
# |  | BP-App | profix | * | 71170 |  | 1 | 1 | 650 | 650
# |  | suction machine | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# | Female Surgical Ward | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | boiler | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | BP-App | profix | * | * |  | 1 | 1 | 650 | 650
# |  | BP-App | profix | * | * |  | 1 | 1 | 650 | 650
# |  | needle cutter | * | * | * |  | 1 | 1 | 1200 | 1200
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 305
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 22703650
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 1589255.5

## PHC SAKRAVADA
Name of Consultant :- | [6 empty] | Date:- |  | 14/9/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC Sakravda
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | B.P.Apparatus | safe in | RI-999 | 201104038 | 1 |  | 1 | 650 | 650
# |  | Weighing Machine | virgo | * | * | 1 |  | 1 | 2500 | 2500
# |  | Nebulizer | cd | * | * | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 3
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 9650
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 675.5

## PHC BERDA
Name of Consultant :- | [6 empty] | Date:- |  | 14/9/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC Berda
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | Weighing Machine | cross | * | * | 1 |  | 1 | 2500 | 0
# |  | Nebulizer | cd | * | * | 1 |  | 1 | 6500 | 0
# |  | B.P.Apparatus(Dg.) | safe in | RI-999 | * | 1 |  | 1 | 1100 | 0
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 3
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 0

## PHC SARWAN
Name of Consultant :- | [6 empty] | Date:- |  | 14/9/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC Sarwan
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | N.R.C | Baby weighing machine | swisser | * | * | 1 |  | 1 | 3500 | 3500
# |  | refrigrator | LG | super cool | * | 1 |  | 1 | 15000 | 15000
# |  | weighing machine | * | bps-k-1131 | 1131011403 | 1 |  | 1 | 2500 | 2500
# | Lab | binoculer microscope | lap tpo | * | 22316 | 1 |  | 1 | 30000 | 30000
# |  | centrifuge | indian | * | * | 1 |  | 1 | 6500 | 6500
# |  | semiauto analyzer | beacon | tp | BS3FK021E | 1 |  | 1 | 200000 | 200000
# |  | water bath | * | * | * | 1 |  | 1 | 4500 | 4500
# |  | colorimeter | scientex | * | 141119 | 1 |  | 1 | 1400 | 1400
# |  | glucometer | abbott | optinum | xcgp-194-p1099 | 1 |  | 1 | 1500 | 1500
# | Labour Room | labour table | * | * | * | 1 |  | 1 | 14000 | 14000
# |  | baby weighing machine | nova | * | * | 1 |  | 1 | 3500 | 3500
# |  | sterilizer | * | * | * | 1 |  | 1 | 6500 | 6500
# |  | radiant warmer | bird meditech | innova | * | 1 |  | 1 | 38000 | 38000
# |  | suction machine | G.I. | * | * | 1 |  | 1 | 6500 | 6500
# |  | needle cutter | indian | * | * | 1 |  | 1 | 1200 | 1200
# | O.T | OT table | * | * | * | 1 |  | 1 | 45000 | 45000
# |  | OT table | * | * | * | 1 |  | 1 | 45000 | 45000
# |  | OT table | * | * | * | 1 |  | 1 | 45000 | 45000
# | Cold Chain | ILR | vestfrost | * | * |  | 1 | 1 | 250000 | 250000
# |  | deep freezer | vestfrost | * | * | 1 |  | 1 | 250000 | 250000
# | O.P.D | bp-app | blue cross | * | * | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 21
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 970250
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 67917.5

## PHC CHANDRA GARH
Name of Consultant :- | [6 empty] | Date:- |  | 14/9/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC Chandra garh
Equipment ID | Department | Equipment Description | Manufacturer | Model No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
closed at 12:35 pm

## PHC BARKHEDA KALAN
Name of Consultant :- | [5 empty] | Date:- |  | 15/9/2015
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | BARKH(RATLAM)
Equipment ID | Department | Equipment Description | Manufacturer | Model & Serial N0. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | Labour Room | radiant warmer | Bird Meditech, | Innova | 1 |  | 1 | 38000 | 38000
# |  | baby weighing machine | crown | * | 1 |  | 1 | 3500 | 3500
# |  | sterilizer | * | * | 1 |  | 1 | 6500 | 6500
# |  | digital bp-app | dr. diaz | BP-13118 | 1 |  | 1 | 1100 | 1100
# |  | bp-app | comet | * |  | 1 | 1 | 650 | 650
# |  | weighing machine | * | * | 1 |  | 1 | 2500 | 2500
# |  | nebulizer | tru check | kaw-4A | 1 |  | 1 | 6500 | 6500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 117507
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 58750
* | Not Available |  |  |  | Total CMC Value |  |  |  | 4112.5

## JAVRA C.H
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-11
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | JAVRA CIVIL HOSP.(RATLAM)
Equipment ID | Department | Equipment Description | Manufacturer | Model & Serial N0. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | Radiant Warmer | Bird Meditech, | Innova | 1 |  | 1 | 38000 | 38000
# |  | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500
# |  | Suction Machine | Foot Type | * | 1 |  | 1 | 6500 | 6500
# |  | Suction Machine | G.I | * | 1 |  | 1 | 6500 | 6500
# |  | Baby Weighing Machine | * | * | 2 |  | 2 | 3500 | 7000
# |  | Labour Table | * | * | 2 |  | 2 | 14000 | 28000
# |  | Domestic Refrigerator | Electrolux, | E&P163/2013 | 1 |  | 1 | 15000 | 15000
# |  | Foetal Doppler | Technocare | ,2D/FD2D140 |  | 1 | 1 | 80000 | 80000
# |  | Foetal Doppler | Vcomin, | FD200D | 1 |  | 1 | 80000 | 80000
# |  | B.P.Appaaratus(Hg) | Namatt, | 76971 | 1 |  | 1 | 1100 | 1100
# |  | B.P.Appaaratus(Dg) | * | * | 1 |  | 1 | 1100 | 1100
# |  | Needle Destroyer | * | * | 2 |  | 2 | 1200 | 2400
# | M.T.P O.T | O.T.TABLE(Hydrolic) | * | * | 1 |  | 1 | 70000 | 70000
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500
# |  | Spot Light | * | * | 1 |  | 1 | 6500 | 6500
# |  | Boyles Apparatus | * | * | 1 |  | 1 | 65000 | 65000
# |  | Multipara Monitor | Technocare, | TM-90091405M085 | 1 |  | 1 | 80000 | 80000
# |  | Boiler | * | * | 1 |  | 1 | 6500 | 6500
# |  | Vertical Autoclave | * | * | 2 |  | 2 | 65000 | 130000
# |  | Needle Destroyer | * | * | 1 |  | 1 | 1200 | 1200
# | MATERNITY STORE | Multipara Monitor | * | * | 1 |  | 1 | 80000 | 80000
# |  | B.P.Apparatus(Hg) | * | * | 2 |  | 2 | 1100 | 2200
# |  | B.P.Apparatus(Hg) | ElkoMeter | ,1454 | 1 |  | 1 | 1100 | 1100
# | N.B.S.U | Radiant Warmer | Zeal | * | 1 |  | 1 | 38000 | 38000
# |  | Radiant Warmer | Zeal | ,RSWMU/1008/196 | 1 |  | 1 | 38000 | 38000
# |  | Radiant Warmer | Zeal | * | 1 |  | 1 | 38000 | 38000
# |  | Radiant Warmer | Zeal | * | 1 |  | 1 | 38000 | 38000
# |  | Phototherapy | Phoenix | ,PB-100-3313 | 1 |  | 1 | 15500 | 15500
# |  | Needle Destroyer | * | * | 1 |  | 1 | 1200 | 1200
# |  | Adult Weighing Machine | * | * | 1 |  | 1 | 2500 | 2500
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500
# | EYE O.P.D | Slit Lamp | Apparsony Asso.x | ,PB-100-3313 | 1 |  | 1 | 13000 | 13000
# |  | Opthethoscope | Heir,Beta200 | * | 1 |  | 1 |  | 0
# |  | Tono Meter | Teufel | * | 1 |  | 1 | 45000 | 45000
# | DRESSING ROOM | Boiller | * | * | 1 |  | 1 | 6500 | 6500
# | T.B.UNIT | Adult Weighing Machine | Tian Shan | ,2003B | 1 |  | 1 | 2500 | 2500
# | N.C.D CLINIC | B.P.Apparatus(Dg) | Dr. diaz, | BP1318 | 1 |  | 1 | 1100 | 1100
# |  | Glucometer | Abbot, | XCGU025 | 1 |  | 1 | 1500 | 1500
# |  | B.P.Apparatus(Hg) | Profix, | 13Mo136 | 1 |  | 1 | 1100 | 1100
# |  | E.C.G Machine | Contec | ECG300G,C&130520023 | 1 |  | 1 | 52000 | 52000
# |  | E.C.G Monitor | Uniex | * | 1 |  | 1 | 52000 | 52000
# |  | E.C.G Monitor | Uniex | * | 1 |  | 1 | 52000 | 52000
# |  | E.C.G Machine | Concept | Cadiograph-iii | 1 |  | 1 | 52000 | 52000
# |  | E.C.G Machine | Uniex | Cardiomin2K | 1 |  | 1 | 52000 | 52000
# |  | Multipara Monitor | Technocare | TM-9009 | 1 |  | 1 | 80000 | 80000
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500
# | O.T | Boyles Apparatus | Allied Jupiter | * | 1 |  | 1 | 65000 | 65000
# |  | Microscope | Arvind | 14120409 | 1 |  | 1 | 30000 | 30000
# |  | Boyles Apparatus | * | * | 1 |  | 1 | 65000 | 65000
# |  | Spot Light | * | * | 1 |  | 1 | 6500 | 6500
# |  | Couglation Machine | L&T | EO552153 | 1 |  | 1 |  | 0
# |  | O.T.TABLE(Hydrolic) | * | * | 2 |  | 2 | 70000 | 140000
# |  | Multipara Defibrilator | Schiller | Cardio Plus | 1 |  | 1 | 170000 | 170000
# |  | Multipar Monitor | Technocare | TM-9009,1405M087 | 1 |  | 1 | 80000 | 80000
# |  | Boiller | * | * | 1 |  | 1 | 6500 | 6500
# |  | Autoclave(Vertical) | * | * | 1 |  | 1 | 65000 | 65000
# |  | Autoclave(Vertical) | * | * | 1 |  | 1 | 65000 | 65000
# |  | Autoclave(Horizontal) | * | * | 1 |  | 1 | 55000 | 55000
# | COMMON WARD | Nebulizer | Smart Care | 5047 | 1 |  | 1 | 6500 | 6500
# |  | Baby Weighing Machine | Crown | * | 1 |  | 1 | 3500 | 3500
# |  | B.P.Apparatus | Profix,13Mo136 | 13M0259 | 1 |  | 1 | 650 | 650
# |  | B.P.Apparatus | Gold Superme | 98130015 |  | 1 | 1 | 650 | 650
# |  | Nebulizer | Smart Care | 5950 |  | 1 | 1 | 6500 | 6500
# |  | Nebulizer | Nulife | Handyneb,NGM204910 |  | 1 | 1 | 6500 | 6500
# |  | Suction Machine | Foot Type | * | 1 |  | 1 | 6500 | 6500
# |  | Baby Weighing Machine | Double Braun | * | 1 |  | 1 | 3500 | 3500
# |  | Adult Weighing Machine | Dr. Morpen | * |  | 1 | 1 | 2500 | 2500
# |  | B.P.Apparatus(Hg) | * | * |  | 2 | 2 | 1100 | 2200
# |  | B.P.Apparatus(Dg) | Dr. diaz,BP1318 | * |  | 3 | 3 | 1100 | 3300
# |  | B.P.Apparatus(Dg) | Dr. diaz,BP1318 | * | 1 |  | 1 | 1100 | 1100
# | PATHOLOGY LAB | Calorimeter | Scientrix | 0139216 | 1 |  | 1 | 1400 | 1400
# |  | Needle Destroyer | Lab Line | * | 1 |  | 1 | 1200 | 1200
# |  | Analyser(Biochemistry) | Beacon | TurbianPlus,BS3FJ022E | 1 |  | 1 | 200000 | 200000
# |  | Refrigerator | Remi | BDI-3302 | 1 |  | 1 | 15000 | 15000
# |  | Domestic Refrigerator | Kalvinator | * |  | 1 | 1 | 15000 | 15000
# |  | Hot Air Oven | * | * | 1 |  | 1 | 4500 | 4500
# |  | Incubator | * | * | 1 |  | 1 | 375000 | 375000
# |  | Microscope | Osmo | PZ-22,54343 |  | 1 | 1 | 30000 | 30000
# |  | Microscope | Labomed | Vission2000 | 1 |  | 1 | 30000 | 30000
# |  | Microscope | Osmo | PZ-22,56287 | 1 |  | 1 | 30000 | 30000
# |  | Water bath | * | * | 1 |  | 1 | 4500 | 4500
# |  | Centrifuge (8 tube) | Hettich | EBA8,146218 | 1 |  | 1 | 6500 | 6500
# | BLOOD STORAGE UNIT | Centrifuge (8 tube) | * | * | 1 |  | 1 | 6500 | 6500
# |  | Cell Counter | Docbel Braun | * | 1 |  | 1 | 350000 | 350000
# |  | B.B.R | Haier | * | 1 |  | 1 | 250000 | 250000
# |  | I.L.R | Electrolix | MRB2000920681120 | 1 |  | 1 | 250000 | 250000
# |  | Needle Destroyer | * | * | 1 |  | 1 | 1200 | 1200
# | X-RAY ROOM | X-Ray | Allenger | AMS325,0510300312 | 1 |  | 1 | 450000 | 450000
# | COLD CHAIN ROOM | I.L.R | Haier | HBC-200,BEo059 | 1 |  | 1 | 250000 | 250000
# |  | Deep Freezer | Haier | HBD-286,0B2A80040 | 1 |  | 1 | 250000 | 250000
# |  | Deep Freezer | Vestfrost | MF-30490300572 | 1 |  | 1 | 250000 | 250000
# |  | I.L.R | Vestfrost | MK-304,65000207 | 1 |  | 1 | 250000 | 250000
# | MATERNITY | Ultrasound Machine | Chison | IVIS301409049 | 1 |  | 1 | 450000 | 450000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 103
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 5577700
* | Not Available |  |  |  | Total CMC Value |  |  |  | 390439

## BAJNA CHC
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-11
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | BAJNA C.H.C(RATLAM)
Equipment ID | Department | Equipment Description | Manufacturer | Model & Serial N0. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
| POSTMARTOM WARD | Foetal Ward | Techno Care | 2D,FDD140101 | 1 |  | 1 | 80000 | 80000
|  | B.P.Apparatus | Dr. Diaz | BP-1318 | 1 |  | 1 | 650 | 650
|  | Pulse Oximeter | Accumax | FPO-7134,133337100965 | 1 |  | 1 | 55000 | 55000
| LAB | Glucometer | Abbot | Option Xceea | 1 |  | 1 | 1500 | 1500
| LABOUR ROOM | Labour Table |  |  | 2 |  | 2 | 14000 | 28000
|  | Radiant Warmer | Bird Meditech |  | 1 |  | 1 | 38000 | 38000
|  | Suction Machine |  |  | 1 |  | 1 | 6500 | 6500
|  | Baby Weighing Machine | Docbel Braun |  | 1 |  | 1 | 3500 | 3500
|  | Suction Machine |  |  | 1 |  | 1 | 6500 | 6500
| N.B.S.U | Multipara Monitor | Techno Care | Tm-9009,1405M092 | 1 |  | 1 | 80000 | 80000
|  | Needle Destroyer | Life Guard |  | 1 |  | 1 | 1200 | 1200
|  | Radiant Warmer | Bird Meditech |  | 1 |  | 1 | 38000 | 38000
|  | Phototherapy | Phoenix | PT-1042922 |  | 1 | 1 | 15500 | 15500
|  | Radiant Warmer | Hi Care |  | 1 |  | 1 | 38000 | 38000
| PATHOLOGY LAB | I.L.R | Vestfrost | MK144,91208731 | 1 |  | 1 | 250000 | 250000
|  | Incubator |  |  | 1 |  | 1 | 375000 | 375000
|  | Microscope | Ajay Optic | M-5880 | 1 |  | 1 | 30000 | 30000
|  | Cell Counter | Mindray | BC-2300RT5410 | 1 |  | 1 | 350000 | 350000
|  | Biochemistry Analyser | Rayto | RT-1904C,401237013 | 1 |  | 1 | 200000 | 200000
|  | Water bath |  |  | 1 |  | 1 | 4500 | 4500
|  | Microscope | Magnus | 739043 | 1 |  | 1 | 30000 | 30000
|  | UDRL Shaker |  | T-030 | 1 |  | 1 | 4500 | 4500
|  | Microscope | Ajay Optic | 06-M-5881 | 1 |  | 1 | 30000 | 30000
|  | Centrifuse | Hettich | Heamotokrit24 | 1 |  | 1 | 6500 | 6500
|  | B.B.R | Hit Care | BBR-150,CB2 |  | 1 | 1 | 250000 | 250000
|  | Adult Weighing Machine |  |  | 1 |  | 1 | 2500 | 2500
|  | Adult Weighing Machine | Krups |  |  | 1 | 1 | 2500 | 2500
| ANC CLINIC | B.P.Apparatus(Hg) | Gold Supreme | 98130178 | 1 |  | 1 | 1100 | 1100
|  | B.P.Apparatus(Hg) | Gold Supreme | 98130185 | 1 |  | 1 | 1100 | 1100
|  | Adult Weighing Machine | Vigo |  | 1 |  | 1 | 2500 | 2500
| O.T | Autoclave(Horizontal) | Surgician |  | 1 |  | 1 | 55000 | 55000
|  | O.T.Light | Indo Medica |  | 1 |  | 1 | 45000 | 45000
|  | Boyles Apparatus | Allied Jupiter |  | 1 |  | 1 | 65000 | 65000
|  | O.T.Table(Hydrolic) |  |  | 3 |  | 3 | 70000 | 210000
|  | Spot Light |  |  | 2 |  | 2 | 6500 | 13000
|  | Spot Light(4 Bulb |  |  |  | 1 | 1 | 6500 | 6500
|  | Fumigator |  |  | 1 |  | 1 | 6500 | 6500
| COLD CHAIN | I.L.R | Haier | HBC-200 | 1 |  | 1 | 250000 | 250000
|  | Deep Freezer | Electrolux | MRB-200 | 1 |  | 1 | 250000 | 250000
|  | Deep Freezer | Vestfrost | MF-304,200304052 | 1 |  | 1 | 250000 | 250000
| X-RAY ROOM | X Ray Machine | Siemens | Lider E |  | 1 | 1 | 450000 | 450000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 45
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 3533550
* | Not Available |  |  |  | Total CMC Value |  |  |  | 247348.5

## RAWTI PHC
Name of Consultant :- |  |  | PURANENDU SINGH |  |  | Date:- |  | 2015-09-12
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | RAWTI P.H.C(RATLAM)
Equipment ID | Department | Equipment Description | Manufacturer | Model & Serial N0. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | PATHLAB | Domestic Refrigertor | Videocon | Chillmart | 1 |  | 1 | 15000 | 15000
# |  | Microscope(Binocluar) | Olympus | 61604 | 1 |  | 1 | 30000 | 30000
# |  | Adult Weighing Machine | Healthmeter | * | 1 |  | 1 | 2500 | 2500
# |  | Microscope(Binocluar) | Magnus | 520068 | 1 |  | 1 | 30000 | 30000
# |  | Centrifuge(8Tube) | Indian | * | 1 |  | 1 | 6500 | 6500
# |  | Biochemistry Analyser | Beacon | T.P,BS3FK016E | 1 |  | 1 | 200000 | 200000
# |  | Water Bath | Indian | * | 1 |  | 1 | 4500 | 4500
# |  | Calorimeter | Scientex | 0136118 | 1 |  | 1 | 1400 | 1400
# | M.C.H | I.L.R | Haier | NPC-70,OB2A80017 |  | 1 | 1 | 250000 | 250000
# |  | I.L.R | Vestfrost | MK07V05117189 | 1 |  | 1 | 250000 | 250000
# | LABOUR ROOM | Radiant Warmer | Bird Meditech | Innova1112 | 1 |  | 1 | 38000 | 38000
# |  | Baby Weighing Machine | Swissor | * | 1 |  | 1 | 3500 | 3500
# |  | Labour Table | * | * | 2 |  | 2 | 14000 | 28000
# |  | Suction Machine | * | * | 1 |  | 1 | 6500 | 6500
# |  | Foetal Doppler | Vcouun | FW-2000,FD20124204` | 1 |  | 1 | 80000 | 80000
# |  | Needle Cutter | Sai Life | * | 1 |  | 1 | 1200 | 1200
# |  | Pulse Oximeter | Easy Care | ECP-250E300185 | 1 |  | 1 | 55000 | 55000
# |  | B.P.Apparatus(Hg) | Diamond | Deluxe,0196042 | 1 |  | 1 | 1100 | 1100
# |  | Deep Freezer | Haier | HW116042 | 1 |  | 1 | 250000 | 250000
# |  | Deep Freezer | Haier | 2A890097 | 1 |  | 1 | 250000 | 250000
# |  | Domestic Refrigertor | Videocon | Chillmart | 1 |  | 1 | 15000 | 15000
# |  | Suction Machine | Unicef | Foot Type | 1 |  | 1 | 6500 | 6500
# |  | Spot Light | * | * | 1 |  | 1 | 6500 | 6500
# |  | Adult Weighing Machine | Virgo | * | 1 |  | 1 | 2500 | 2500
# |  | Nebulizer | Smart care | 0618 | 1 |  | 1 | 6500 | 6500
# | O.T | Autoclave(Vertical) | * | * | 1 |  | 1 | 65000 | 65000
# |  | Fumigator | * | * | 1 |  | 1 | 6500 | 6500
# |  | O.T.Table | * | * | 2 |  | 2 | 45000 | 90000
# | O.P.D | Sterilizer | Diamond | Regular,0196043 | 1 |  | 1 | 6500 | 6500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 31
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1708200
* | Not Available |  |  |  | Total CMC Value |  |  |  | 119574

## KHARWA KALAM PHC
Name of Consultant :- |  |  | PURANENDU SINGH |  |  | Date:- |  | 2015-09-15
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | KHARWA KALAM P.H.C(RATLAM)
Equipment ID | Department | Equipment Description | Manufacturer | Model & Serial N0. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
| VACCINE ROOM | I.L.R | Haier | HBC-70,OB2A98006 | 1 |  | 1 | 250000 | 250000
|  | Deep Freezer | Haier | HBD,116,082A510174 | 1 |  | 1 | 250000 | 250000
| LAB | Needle Destroyer |  |  | 1 |  | 1 | 1200 | 1200
|  | Centrifuge(8Tube) |  |  | 1 |  | 1 | 6500 | 6500
|  | Microscope | Ajay Optic | 06-M-5885 | 1 |  | 1 | 30000 | 30000
|  | Photo Calorimeter | Scientx | 0139186 | 1 |  | 1 | 1400 | 1400
|  | Domestic Refrigerator | Kelvinator | KWE163 | 1 |  | 1 | 15000 | 15000
|  | Water Bath |  |  | 1 |  | 1 | 4500 | 4500
|  | Microscope |  |  | 1 |  | 1 | 30000 | 30000
|  | Radiant Warmer |  |  | 1 |  | 1 | 38000 | 38000
|  | Spot Light |  |  | 1 |  | 1 | 6500 | 6500
| LABOUR ROOM | Labour Table(Fodling) |  |  | 1 |  | 1 | 14000 | 14000
|  | Suction Machine |  |  | 1 |  | 1 | 6500 | 6500
|  | Sterilizer |  |  | 1 |  | 1 | 6500 | 6500
|  | Baby Weighing Machine | Digital |  | 1 |  | 1 | 3500 | 3500
|  | Foetal Doppler | Techno Care | 2D,FD2D140101778 | 1 |  | 1 | 80000 | 80000
| INJECTION ROOM | Sterilizer |  |  | 1 |  | 1 | 6500 | 6500
|  | Needle Destroyer |  |  | 1 |  | 1 | 1200 | 1200
| ANC | Weighing Machine | Digital |  | 1 |  | 1 | 2500 | 2500
|  | Adult weighing Machine | Virgo |  | 1 |  | 1 | 2500 | 2500
| O.P.D | B.P.Apparatus | Dr. Diaz | BP-1318 | 1 |  | 1 | 650 | 650
|  | Nebulizer | Tru Check | KQW-4A | 1 |  | 1 | 6500 | 6500
|  | Nebulizer | Smart Care | 2346 | 1 |  | 1 | 6500 | 6500
| STORE | Sterilizer |  |  | 3 |  | 3 | 6500 | 19500
|  | B.P.Apparatus(Hg) |  |  |  | 1 | 1 | 1100 | 1100
|  | Adult weighing Machine |  |  | 3 |  | 3 | 2500 | 7500
|  | Autoclave |  |  |  | 1 | 1 | 65000 | 65000
|  | O.T.Table(Folding) |  |  |  | 1 | 1 | 45000 | 45000
|  | X-Ray Machine | GE | Stallion 60 |  | 1 | 1 | 450000 | 450000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 33
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1358050
* | Not Available |  |  |  | Total CMC Value |  |  |  | 95063.5

## PHC PANCHEWA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-01
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC PANCHEWA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | ZEAS | RWS/1108/04 |  | 1 |  | 1 | 38000 | 38000
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BABY WEIGHING MACHINE | * | * |  | 1 |  | 1 | 3500 | 3500
# | OPD | BP-APP DIGITAL | TRUE CHECK | BP-1318 |  | 1 |  | 1 | 1100 | 1100
# |  | GLUCOMETER | ABBOT5T | OPTIMUM/XCGP-194-P2030 |  | 1 |  | 1 | 1500 | 1500
# |  | WEIGHING MACHINE | KRUPS | * |  | 1 |  | 1 | 2500 | 2500
# |  | NEEDLE CUTTER | * | * |  | 1 |  | 1 | 1200 | 1200
# |  | STERILIZER | * | * |  |  | 1 | 1 | 6500 | 6500
# | STORE | BP-APP | PAGODA | * |  |  | 1 | 1 | 650 | 650
# |  | NEBULIZER | CN | 434 |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | * | * |  |  | 1 | 1 | 1200 | 1200
# |  | GLUCOMETER | SD | GM11/M03B03EAA33111 |  | 1 |  | 1 | 1500 | 1500
# |  | INFARED | MEDIGOLD | * |  | 1 |  | 1 |  | 0
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 84650
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 5925.5

## PHC DHARAD
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-09
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DHARAD (RATLAM)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BABY WEIGHING MACHINE | SMART CARE | * |  | 1 |  | 1 | 3500 | 3500
# |  | NEEDLE CUTTER | SAILIFE | * |  | 1 |  | 1 | 1200 | 1200
# |  | SPOT LIGHT | * | * |  | 1 |  | 1 | 6500 | 6500
# | OPD | DIGITAL BP-APP | TRUE CHECK | * |  | 1 |  | 1 | 1100 | 1100
# |  | WEIGHING MACHINE | KRUPS | * |  |  | 1 | 1 | 2500 | 2500
# |  | DIGITAL WEIGHING MACHINE | * | * |  | 1 |  | 1 | 2500 | 2500
# | LAB | REFRIGERATOR | LG | GL-220 |  | 1 |  | 1 | 15000 | 15000
# |  | COLORIMETER | SCIENTEX | 40150 |  | 1 |  | 1 | 1400 | 1400
# |  | CENTRIFUGE | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTOCLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | LOABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 12
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 133200
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 9324

## PHC DHAMNOD
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-09
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DHAMNOD (RATLAM)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OT | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | EXAMINATION TABLE | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE | SUVARNA | * |  | 1 |  | 1 | 3500 | 3500
# |  | BP-APP | NAMOTT | * |  | 1 |  | 1 | 650 | 650
# | LAB | ANALYZER | BEACON | TP |  | 1 |  | 1 | 200000 | 200000
# | OPD | BP-APP | DISH | RFO701664 |  | 1 |  | 1 | 650 | 650
# |  | DIGITAL WEIGHING MACHINE | PERSONEL SCAB | * |  | 1 |  | 1 | 2500 | 2500
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 9
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 245300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 17171

## PHC BILPANK
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-09
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BILPANK (RATLAM)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LAB | INCUBATOR | BC | * |  | 1 |  | 1 | 375000 | 375000
# |  | REFRIGERATOR | PANASONIC | ECO SENSE |  | 1 |  | 1 | 15000 | 15000
# |  | NEEDLE CUTTER | SAI LIFE | * |  | 1 |  | 1 | 1200 | 1200
# |  | CENTRIFUGE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | ANALYZER | BEACON | IP/BS3FK0209F |  | 1 |  | 1 | 200000 | 200000
# |  | CELL COUNTER | MINDRAY | BC-2300 |  | 1 |  | 1 | 350000 | 350000
# |  | BINOCULER MICROSCOPE | SUSWOX | SKC-400 |  | 1 |  | 1 | 30000 | 30000
# |  | GLUCOMETER | ABBOTT | XCEED/XCGP-193 |  | 1 |  | 1 | 1500 | 1500
# |  | COLORIMETER | SCIENTEX | 130184 |  | 1 |  | 1 | 1400 | 1400
# | OPD | BP-APP | NAMETT | * |  | 1 |  | 1 | 650 | 650
# |  | NEBULIZER | CN | 434 |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | SAI LIFE | * |  |  | 1 | 1 | 1200 | 1200
# | SNCU | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | RADIANT WARMER | HICARE | OPEN |  | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | BRAUN | DEBEL |  | 1 |  | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE | BRAUN | DEBEL |  | 1 |  | 1 | 3500 | 3500
# |  | SUCTION MACHINE | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | * | * |  | 1 |  | 1 | 1200 | 1200
# |  | WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 2500 | 2500
# |  | WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 2500 | 2500
# | OT | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT LIGHT | SPARX | * |  | 1 |  | 1 | 45000 | 45000
# |  | FUMIGATOR | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP-APP | GOLD SUPERME | 5914 |  | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 26
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1209300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 84651

## PHC BIRMAWAL
Name of Consultant :- | [5 empty] | Date:- |  | 2015-09-09
Name of Dist./Type of Facility/Name of the Facility :-
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LAB | CENTRIFUGE | * | * | 1 |  | 1 | 650 | 650
# |  | COLORIMETER | SCIENTEX | 0/38120 | 1 |  | 1 | 1400 | 1400
# |  | NEEDLE CUTTER | SAI LIFE | * | 1 |  | 1 | 1200 | 1200
# |  | MONOCULER MICROSCOPE | MAGNUS | MLX |  | 1 | 1 | 18500 | 18500
# |  | BINOCULER MICROSCOPE | MAGNUS | MLX 100/519990 | 1 |  | 1 | 30000 | 30000
# |  | ANALYZER | BEACON | TP/BS3FL008E | 1 |  | 1 | 200000 | 200000
# |  | GLUCOMETER | CODEFREE | SD/00310006 | 1 |  | 1 | 1500 | 1500
# |  | REFRIGERATOR | LG | GL-245 | 1 |  | 1 | 15000 | 15000
# |  | DEEP FREEZER | VESTFROST | * |  | 1 | 1 | 250000 | 250000
# |  | VERTICAL AUTOCLAVE | INDIAN | * |  | 1 | 1 | 65000 | 65000
# |  | MINI STERILIZER | * | * |  | 1 | 1 | 6500 | 6500
# | LABOUR ROOM | BABY WEIGHING MACHINE | MISAKI | * | 1 |  | 1 | 3500 | 3500
# |  | DIGITAL BABY WEIGHING MACHINE | SWISSER | * |  | 1 | 1 | 3500 | 3500
# |  | LABOUR TABLE | * | * | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | * | * | 1 |  | 1 | 14000 | 14000
# |  | BP-APP | DISHA | RBO703000 | 1 |  | 1 | 650 | 650
# |  | WEIGHING MACHINE | M&H | * |  | 1 | 1 | 2500 | 2500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 17
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 627900
* | Not Available |  |  |  | Total CMC Value |  |  |  | 43953

## CHC NAMLI
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC NAMLI (RATLAM)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BP-APP | GOLD | 134453 |  |  | 1 | 1 | 650 | 650
# | LAB | RFRIGERATOR | VIDEOCON | VAE183/2012 |  | 1 |  | 1 | 15000 | 15000
# |  | INCUBATOR | * | * |  | 1 |  | 1 | 375000 | 375000
# |  | SEMIAUTO ANALYZER | RAYTO | RT-1904C/401237025FGE2 |  | 1 |  | 1 | 200000 | 200000
# |  | CELL COUNTER | MINDRAY | BC-2300/RT-54108555 |  | 1 |  | 1 | 350000 | 350000
# |  | CENTRIFUGE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BINOCULER MICROSCOPE | QUASMO | 61494 |  | 1 |  | 1 | 30000 | 30000
# |  | BINOCULER MICROSCOPE | OLYMPUS | 520177 |  | 1 |  | 1 | 30000 | 30000
# |  | WATER BATH | * | * |  | 1 |  | 1 | 4500 | 4500
# | LABOUR ROOM | SPOT LIGHT | * | * |  |  | 1 | 1 | 6500 | 6500
# |  | RADIANT WARMER | BIRD MEDITECH | INNOVA/BM/RW/041/05/1213 |  | 1 |  | 1 | 38000 | 38000
# |  | BOILER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | SMART CARE | * |  |  | 1 | 1 | 3500 | 3500
# |  | DOPPLER | DIPEL | DFM-051 |  | 1 |  | 1 | 80000 | 80000
# | OPD | NEBULIZER | SMART CARE | 3653 |  | 1 |  | 1 | 6500 | 6500
# | NCU | SHORT WAVE DIATHERMY | DR. BANSAL | DB-SW-260/SWDA-0913001 |  | 1 |  | 1 | 650000 | 650000
# |  | MULTIPARA MONITOR | TECHNO CARE | TM-9009/1405M086 |  | 1 |  | 1 | 80000 | 80000
# |  | ECG MACHINE | CONTEE | ECG-300G/CB1301300076 |  | 1 |  | 1 | 52000 | 52000
# | OPD | DIGITAL BP-APP | NIKKEI | RI-999 |  | 1 |  | 1 | 1100 | 1100
# | COLD CHAIN | DEEP FREEZER | VESTFROST | MF-1423/65113658 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | VESTFROST | MK-144/65115240 |  | 1 |  | 1 | 250000 | 250000
# | NC ROOM | WEIGHING MACHINE | * | * |  | 1 |  | 1 | 2500 | 2500
# | STORE | WEIGHING MACHINE | * | * |  |  | 1 | 1 | 2500 | 2500
# |  | WEIGHING MACHINE | * | * |  |  | 1 | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 24
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 2443250
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 171027.5

## PHC BANGROD
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-09
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BANGROD (RATLAM)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | MINI STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# | WARD | SUCTION MACHINE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * |  |  | 1 | 1 | 3500 | 3500
# | LAB | MONOCULER MICROSCOPE | LABO | 88T482 |  | 1 |  | 1 | 18500 | 18500
# |  | BP-APP | DISHA | RB0700341 |  | 1 |  | 1 | 650 | 650
# |  | WEIGHING MACHINE | SAMCO | DELUXE |  | 1 |  | 1 | 2500 | 2500
# | STORE | DIGITAL BABY WEIGHING MACHINE | ALISTON | AL-1530 |  | 1 |  | 1 | 3500 | 3500
# |  | INFARED | MEDIGOLD | * |  | 1 |  | 1 |  | 0
# |  | MINI STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | STERILIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | VERTICAL AUTOCLAVE | * | * |  |  | 1 | 1 | 65000 | 65000
# |  | BABY WEIGHING MACHINE | BRAUN | DEBEL |  | 1 |  | 1 | 3500 | 3500
# |  | NEBULIZER | SMART CARE | PLUS/2972 |  | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 147150
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 10300.5