## General Hospital Rewari
MASTER EQUIPMENT BASE
Name of District- Rewari Type of facility-General Hospital Name of the Facility-General Hospital Rewari
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Radiology Deptt | X-Ray Machine - 300mA | 1 | Siemens | 5340 | 01149S24 | 1998-05-01 | 0 | NA | 0 | NA |  | NW
2 |  | X-Ray Machine-100mA (Portable ) | 1 | Allengers Medical System Ltd. | 100.OBM | 20510813 | 2003-08-01 | 0 | NA | 0 | NA | W
3 |  | X-Ray Machine - 500 REX High frequency | 1 | Listem | BS - 20 | N423 | jan, 2007 | 0 | NA | 0 | NA |  | NW
4 |  | X-ray Machine(150MA) | 1 | Allengers Medical System Ltd. | Mars-15 | 2k130115023-xIHF | feb, 2013 | 0 | NA | 1 | 2016-02-01 | W
5 |  | X-Ray Machine(500MA) | 1 | Allengers Medical System Ltd. | MARS-40 | 2k131340112-xIHF | oct, 2013 | 1 | 2015-10-01 | 0 | NA | W
6 |  | CR System | 1 | Agfa | CR30-XM/DS-Axys | 1228/663 | Aug, 2013 | 1 | Aug,2015 | 0 | NA | W
7 |  | Ultrasound | 1 | Phillips | HD - 3 | B01202300006458 | july, 2007 | 0 | NA | 1 | july,2015 | W
8 |  | CT Scan Machine | 1 | Philips India Ltd | MX-16 Slice | EP16E110100 | feb, 2012 | 0 | NA | 1 | 2016-02-01 | W
9 | OT Trauma center Rewari | C - Arm | 1 | Meditronics healthcare pvt. Ltd | Surgico 60 DHF | G9K116 | feb, 2010 | 0 | NA | 1 | 2016-04-01 | W
10 |  | C - Arm | 1 | Allengers Medical System ltd. | HF - 46 | 6E653 | sep, 2006 | 0 | NA | 1 | 2015-09-01 | W
11 |  | OT Light Portable | 4 | Surgicoin Medequip Pvt. Ltd & Saira ltd. | Surgicoin | NA | oct, 2009 | 0 | NA | 0 | NA | W
12 |  | Suction m/c | 1 | Hospiquip | AS20 | NA | dec, 2009 | 0 | NA | 0 | NA | W
13 |  | OT Table(Remotge Control) | 1 | Cognate | SS200 | NA | dec, 2009 | 0 | NA | 0 | NA | W
14 |  | Autoclave - H | 1 | Yorco Scientific | Steri | 6B1054 | jan,2010 | 0 | NA | 0 | NA | W
15 |  | Autoclave - V | 1 | Yorco Scientific | Steri | 8D-028-37 | feb,2009 | 0 | NA | 0 | NA | W
16 |  | Pulse oximeter | 1 | Bionics co.ltd | BPM-200 | 125-U5021 | aug,2004 | 0 | NA | 0 | NA | W
17 |  | Anesthesia Machine | 1 | Allied Medical Services | Jupiter | 2001383 | aug,2008 | 0 | NA | 0 | NA | W
18 |  | ortho Drill | 1 | NA | NA | NA | dec, 2009 | 0 | NA | 0 | NA | W
19 |  | Cautery Machine | 1 | Apex Mediteck System | Divlabs | TY-B-014095 | nov, 2014 | 1 | Nov,2016 | 0 | NA | W
20 |  | Double Dome Operation Theater Light | 2 | Surgitek/Hospitek | Hospilite600 | H600454 | nov, 2015 | 1 | Nov,2016 | 0 | NA | W
21 |  | OT Table | 1 | Hospitek | NA | NA | nov, 2016 | 1 | Nov,2016 | 0 | NA | W
22 |  | Patient Monitor | 3 | Sri sri Enterprises/Contec medical System | CMS 8000 | AX 1408100016,99,46 | nov, 2017 | 1 | Nov,2016 | 0 | NA | W
23 | OT General Hospital Rewari | Defibrilator | 1 | Schiller India | DG400 | J10B144 | july, 2007 | 1 | 2015-07-01 | 0 | NA | W
24 |  |  | 1 | Philips | Heartstart XL | US00452734 | jan,2004 | 0 | NA | 0 | NA | W
25 |  | Anaesthesia m/c | 1 | Allied Medical Services | jupiter200 | 2001382 | aug,2008 | 0 | NA | 0 | NA | W
26 |  |  | 1 | Meditec International | Galaxy | GALX1011 | july,2010 | 0 | NA | 1 | july,2015 | W
27 |  | OT Light (Portable ) | 1 | Multilux Hospital Technology Pvt. Ltd. | Dicro Coolex | DMS20 | sep,2009 | 0 | NA | 0 | NA | W
28 |  |  | 2 | Saira | NA | NA | sep,2009 | 0 | NA | 0 | NA | W
29 |  |  | 2 | Surgicoin Mediequip | Surgicoin | NA | oct, 2009 | 0 | NA | 0 | NA | W
30 |  | Cautery | 2 | Elite Healthcare Pvt. Ltd. | Force FX | F6J50279A | feb,2007 | 0 | NA | 0 | NA | W
31 |  | Suction machine | 3 | Anand Medicaids Pvt. Ltd | HI - VAC | 0AJ0 - 744 | 2010 | 0 | NA | 0 | NA | W
32 |  | OT Table | 3 | COGNATE | SS 1000 | NA | dec, 2009 | 0 | NA | 0 | NA | W
33 |  |  |  | COGNATE | SS 2000 | NA | dec, 2009 | 0 | NA | 0 | NA | W
34 |  |  |  | Hospitek | Hospi | NA | nov,2014 | 1 | 2015-11-01 | 0 | NA | W
35 |  | Pulse Oxymeter | 1 | Bioincs Co.Ltd | BPM-200 | 125-U5022 | aug,2004 | 0 | NA | 0 | NA | W
36 |  | Autoclave Horizontal | 1 | Yorco Scientific | Steri | NA | jan,2010 | 0 | NA | 0 | NA | W
37 |  | TURP Set | 1 | M/s Karl Storz Endoscopy India Pvt. Ltd. | NA | NA | april, 2004 | 0 | NA | 0 | NA | W
39 |  | Laproscope | 3 | KLI-2,Karl's Storz | CIRCON | 000720-501 | may, 2000 | 0 | NA | 0 | NA | W
40 |  | Needle Cutter | 2 | MICROSIL | MICROSIL | NA | june,2003 | 0 | NA | 0 | NA | W
41 |  | Light Source | 1 | Servo Scientific Co. | Insuffalator | 004218-901 | may,2010 | 0 | NA | 0 | NA | W
42 |  | Radiant Warmer | 1 | Meditrin | NA | 760/med | april, 2004 | 0 | NA | 0 | NA | W
43 |  | Boyle App. | 1 | Medical Engineers | Fluotec3 | 390214 | aug,2008 | 0 | NA | 0 | NA | W
44 |  | Anaesthesia m/c | 1 | Allied Medical Services | jupiter | 2002880 | march, 2014 | 1 | 2016-03-01 | 0 | NA | W
45 |  | Patient Monitor | 1 | Contek Medical System | CMS 8000 | AX 1312300163 | may,2014 | 1 | 2016-05-01 | 0 | NA | W
46 |  | Patient Monitor | 5 | Contek Medical System | CMS 8000 | AX1408100112,139,94,134,127 | oct,2014 | 1 | 2016-10-01 | 0 | NA | W
47 |  | Mobile LED OT Light | 2 | Coagnate | Vision 6M |  | oct,2014 | 1 | Oct, 2015 | 0 | NA | W
48 |  | Cautery Machine | 1 | Divlabs India | Divlabs Trinity | TY-B-014035 | oct,2014 | 1 | 2016-10-01 | 0 | NA | W
49 | Eye Deptt. | A - Scan | 1 | Deepak Enterprises | DGH3000B | 2245 | aug,2010 | 0 | NA | 0 | NA | W
50 |  | Phaco Machine | 1 | M/s Toshbro Medicals Pvt Ltd. | Microflex - F | 533 | april,2010 | 0 | NA | 1 | 2015-06-01 | W
51 |  | Opthalmic Chair | 1 | Rolex | Rolex | NA | oct,2001 | 0 | NA | 0 | NA | W
52 |  | Slit lamp | 1 | Toshbro Medicals Pvt. Ltd. | CSO SL990 - 5X | 10070075 | aug,2010 | 0 | NA | 1 | 2015-06-01 | W
54 |  | Operating Microscope | 1 | HS Moller-Wedel international | FS1-12 | 857 | aug,2010 | 0 | NA | 1 | 2015-06-01 | W
56 |  | Opthalmoscope direct | 1 | Heine | Heine | Beta 300 | march, 2014 | 1 | 2016-03-01 | 0 | NA | W
58 |  | Autorefractometer | 1 | NA | NA | NA | aug,2012 | 0 | NA | 0 | NA | W
|  | Opthalmoscope Indirect | 1 | Heine | Omega 500 | 1121010588 | 2015-02-01 | 1 | 2017-02-01 | 0 | NA | W
59 |  | Eye OT Table | 1 | NA | NA | NA | aug,2012 | 0 | NA | 0 | NA | W
60 | Blood Bank Deptt. | Centrifuge m/c | 2 | Laboratory Centrifuge | MICROSIL | 506/07 | jan, 2009 | 0 | NA | 0 | NA | W
61 | [5 empty] | 504/07 | jan, 2009 | 0 | NA | 0 | NA | W
62 |  | Incubator | 1 | Incubator Universal | NA | GS/inc-01 | jan, 2010 | 0 | NA | 0 | NA | W
63 |  | Microscope | 1 | Labovision | Labex XR20 | NA | aug,2012 | 0 | NA | 0 | NA | W
66 |  | Hot Air Oven | 1 | Oven Universal | NA | NA | 2004-03-01 | 0 | NA | 0 | NA | W
67 |  | Haemoglobino meter | 2 | NA | NA | NA | 2004-04-01 | 0 | NA | 0 | NA | W
68 |  | Glucometer | 2 | NA | NA | NA | jan, 2009 | 0 | NA | 0 | NA | W
70 |  | Blood Bank Refigerator | 3 | Jewett | NA | NA | 2009 | 0 | NA | 1 | Oct, 2015 | W
71 |  |  |  | Haier | NA | NA | Jan, 2011 | 0 | NA | 1 | Oct, 2015 | W
72 |  | Blood Collection Meter | 1 | Terumo Penpol | D601 | 12111279 | 2013-01-01 | 0 | NA | 1 | 2016-01-01 | W
73 |  | Tube Sealer | 1 | Terumo Penpol | XS1000T | 1210136 | 2013-02-01 | 0 | NA | 1 | 2016-01-01 | W
74 |  | Elisa Reader & Washer | 1 | Transasia Biomedicals Pvt Ltd | Lisa Scan | 121106 | oct,2013 | 1 | Oct, 2015 | 0 | NA | W
75 | Laboratory | Centrifuge machine | 1 | Microsil Laboratory Centrifuge | T - 10 | 1510 | jan, 2009 | 0 | NA | 0 | NA | W
76 |  | Binocular Microscope | 1 | Olympus Corporation Pvt. Ltd. | CH201 | 3G00003 | aug,2012 | 0 | NA | 0 | NA | W
78 |  | Needle Cutter | 1 | Microsil | ND 350 | NA | 2012 | 0 | NA | 0 | NA | W
80 |  | Haemoglobino meter | 2 | NA | NA | NA | May, 2004 | 0 | NA | 0 | NA | W
81 |  | Glucometer | 2 | NA | NA | NA | july, 2009 | 0 | NA | 0 | NA | W
82 |  | Semi Autoanalyzer | 1 | M/sTransaisa Bio-medicals Ltd | ERBA CHEM-5X | N100323 | Nov,2010 | 0 | NA | 1 | 2015-11-01 | W
83 |  | Cell counter machine | 1 | urit medical electronics | Urit2900 | PE01098 | June,2014 | 1 | 2016-06-01 | 0 | NA | W
84 |  | Electrolyte Analyser Machine | 1 | Fortune Co Ltd | FT-300 | 300A1409015 | aug,2014 | 1 | 2016-08-01 | 0 | NA | W
85 |  | Centrifuse Machine | 2 | Laboratory Instruments & Chemicals | T-8BL | 2014-15/27, 34, 26 | nov,2014 | 1 | Nov,2016 | 0 | NA | W
86 | SNCU Deptt | Sunction Machine | 1 | Deepak Enterprises | DEO5030 | 487 | 2012 | 0 | NA | 0 | NA | W
87 |  | Bed Side Patient Monitoring System | 8 | M/s Instromedix | (Model : MEC 2000) | CV21107532-39 | may,2012 | 0 | NA | 1 | 2015-06-01 | W
89 |  | Nebulizer | 2 | M/s Yorco Sales Pvt Ltd | YSI-1510 | 10051620 | Jan, 2012 | 0 | NA | 0 | NA | W
90 |  | Laryngoscope Set, Neonate | 1 | M/s System Plus | NA | NA | Dec, 2012 | 0 | NA | 0 | NA | W
91 |  | Room Heater Oil | 8 | M/s System Plus | Oil filled | 11001- 8 | Dec, 2013 | 0 | NA | 0 | NA | W
92 |  | Glucometer with strips | 1 | M/s Biomediare Laboratories | GLUTOUCH | NA | Nov,2012 | 0 | NA | 0 | NA | W
93 |  | Oxygen Concentrator | 1 | M/s Taurus Healthcare | OXYWAVE | THC/OQY-02/462 | April,2012 | 0 | NA | 1 | 2018-04-01 | W
94 |  | Photo Therapy single Head | 6 | M/s Manchanda Medicos/SS.Technomed pvt ltd | single Surface Head | SST/PT/1213/0098,0017,0024,0057,0079,0028 | June,2012 | 0 | NA | 0 | NA | W
95 |  | Light meter | 1 | M/s Wipro GE healthcare | BILIBanket | 40003774 | Nov,2011 | 0 | NA | 0 | NA | W
96 |  | Syringe Pump | 8 | M/s Schiller India | SP300 | 11113126-3133 | Feb,2012 | 0 | NA | 1 | 2016-02-01 | W
98 |  | Refrigerator | 1 | Terra India | 701 | C301956 | April,2012 | 0 | NA | 0 | NA | W
99 |  | Open Care System | 8 | Phoenix Medical System | NCR-100 | 1089-96 | feb,2013 | 0 | NA | 1 | 2016-02-01 | W
100 |  | Radient Warmer | 1 | Phoenix Medical System | OCW-100 | TU1170 | feb,2013 | 0 | NA | 1 | 2016-02-01 | W
101 |  | X-ray machine | 1 | Allengers Medical System | Mars15 |  | feb,2013 | 0 | NA | 1 | 2016-02-01 | W
102 |  | Weighing Machine | 3 | System plus | Ordinary | 1757 | feb,2013 | 0 | NA | 0 | NA | W
103 |  | Suction Machine (Foot operated) | 9 | Deepak Enterprises | DEO8060 | UNDP/2013/21-30 | 2012 | 0 | NA | 0 | NA | W
104 |  | Billurbin meter (TCB) | 1 | Cardicare | JM103 | 3204515 | oct,2013 | 1 | Oct, 2015 | 0 | NA | W
105 |  | Open Care System | 8 | Nice Neotech Medical Systems Pvt Ltd | 2010 BC | 141506001593, 1611, 1629, 1670, 1658, 1636, 1645, 1617 | Aug,2014 | 1 | 2016-08-01 | 0 | NA | W
106 |  | Radiant Warmer | 2 | Nice Neotech Medical Systems Pvt Ltd | 2007 S | 141506001536, 1576 | Aug,2014 | 1 | 2016-08-01 | 0 | NA | W
107 | Casualty | ECG m/c | 1 | Bionet | Cardiocare | EG0300123 | March,2003 | 0 | NA | 0 | NA | W
108 |  | ECG m/c | 1 | Bionet | Cardiocare | EG0300227 | March,2004 | 0 | NA | 0 | NA | W
110 |  | Oxygen Conc. | 1 | Aicil Lab Instruments | GAHIK | 7F3 | March,2007 | 0 | NA | 0 | NA | W
111 |  | Suction m/c | 2 | Supreme Enterprises | NA | NA | March,2007 | 0 | NA | 0 | NA | W
112 |  | Needle Cutter | 1 | microsil | NA | NA | 2006 | 0 | NA | 0 | NA | W
113 |  | Boiler | 1 | NA | NA | NA | 2008 | 0 | NA | 0 | NA | W
114 |  | Neublizer | 1 | NA | NA | NA | 2010 | 0 | NA | 0 | NA | W
115 |  | Mobile LED OT Light | 1 | Coagnate | Vision 6M | NA | Oct,2014 | 1 | 2016-10-01 | 0 | NA | W
116 |  | Patient Monitor | 1 | Contec Medical System | CMS 8000 |  | Oct,2014 | 1 | 2016-10-01 | 0 | NA | W
117 | Maternity Deptt. | O2 Conc. | 2 | Aicil Lab Instrument | SAW | 612314 | March,2007 | 0 | NA | 0 | NA | W
119 |  | Radiant Warmer Unit | 1 | Cardiocare | NA | NA | 2004 | 0 | NA | 0 | NA | W
120 |  | Suction m/c | 3 | Anand surgical | NA | NA | March,2010 | 0 | NA | 0 | NA | W
121 |  | Labour table | 4 | NA | NA | NA | 2006 | 0 | NA | 0 | NA | W
122 |  | Needle destroyer | 2 | Microsil | NA | NA | 2006 | 0 | NA | 0 | NA | W
123 |  | Verticle Autoclave Machine | 1 | Aggarwal surgicals | NA | NA | Aug, 2012 | 0 | NA | 0 | NA | W
124 |  | OT Light (Portable) | 2 | Surgicoin | NA | NA | sep,2009 | 0 | NA | 0 | NA | W
125 |  |  |  | Multilux | NA | NA | sep,2009 | 0 | NA | 0 | NA | W
127 |  | Fetal Doppler(Pocket) | 3 | Contec Medical System | sonoline-B | FB 1311401239, | Sep,2014 | 0 | NA | 0 | NA | W
128 |  | Mobile LED OT Light | 1 | Coagnate | Vision 6M | NA | oct,2014 | 1 | 2016-10-01 | 0 | NA | W
129 |  | Patient Monitor | 1 | Contec Medical System | CMS 8000 |  | oct,2015 | 1 | 2016-10-01 | 0 | NA | W
130 | Medical Ward & Cardiology Deptt | Oxygen Concentrator | 1 | Medi-waves inc. | Optium | 9030009 | 2009 | 0 | NA | 0 | NA | W
131 |  | Needle Cutter | 1 | LINCO Scientific Instruments & Chemical (P) ltd. | ND-120 | 731/07-08 | 2010 | 0 | NA | 0 | NA | W
132 |  | Neubulizer | 1 | Ready Mist (Piston Compressor) | Ready Mist | 73218 | 2010 | 0 | NA | 0 | NA | W
133 |  | ECG Machine | 2 | Bionet | BP-200 | EG0300124-125 | 2006 | 0 | NA | 0 | NA | W
134 |  | ECG Machine | 1 | Allengers Medical System | Pises A-103 | 2K1303524029-P | April,2013 | 0 | NA | 0 | NA | W
135 | Dental Deptt. | Dental Chair & Unit | 2 | Confident Dental Equipment Pvt. Ltd. | Mukumbhika | NA | June,2013 | 1 | 2015-06-01 | 0 | NA | W
136 |  | Dental Unit & Chair | 1 | Suzi Dent | Suzy | NA | Aug,2009 | 0 | NA | 0 | NA | W
137 | ENT Deptt | ENT Operation set including headlight , Tonsils | 1 | NA | NA | NA | 2008 | 0 | NA | 0 | NA | W
138 |  | ENT Nasal Set (SMR, Septoplasty , Poly petcomy , DNS , Rhinoplasty) | 1 | NA | NA | NA | 2008 | 0 | NA | 0 | NA | W
139 | ICU Deptt | Electric Bed | 2 | Huntleigh Healthcare Pvt Ltd | Contoura 805-398 | 522205 CEL | Aug,2009 | 0 | NA | 0 | NA | W
140 |  |  |  | Huntleigh Healthcare Pvt Ltd | Contoura 805-398 | 521338 CEL | Aug,2009 | 0 | NA | 0 | NA | W
141 |  | Patient Monitor | 2 | Contec Medical System | CMS 8000 |  | Oct,2014 | 1 | 2016-10-01 | 0 | NA | W
142 | Mortuary Deptt. | Deep freezer | 1 | NA | NA | NA | 2009 | 0 | NA | 0 | NA | W
Contact details :8295936771
Facility Incharge :Dr. Sudharshan Panwar
Store Incharge :Sh.Rajender Gupta
Store keeper :Sh.Ramkishor
Biomedical Engineer :Prem Chand

## SDH Kosli
MASTER EQUIPMENT BASE
Name of District- Rewari Type of facility- SDH Name of the Facility-Kosli
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Maternity Deptt | OT table | 1 | Coagnate | SS-1000 | NA | 2010-08-01 | 0 | NA | 0 | NA | W | NA
2 |  | OT Light |  | Arko | NA | NA | 2010-09-01 | 0 | NA | 0 | NA | W | NA
3 |  | Radient Warmer unit | 1 | SS technomed P.Ltd | IRW-1723 | SST/09-10/321 | 2008-06-01 | 0 | NA | 0 | NA | W | NA
4 |  | Photo Therapy Unit | 1 | SS technomed P.Ltd | CFL | PH/09-10/121 | 2008-06-01 | 0 | NA | 0 | NA | W | NA
5 |  | Verticle Autoclave(portrable) | 1 | NA | NA | NA | 2006 | 0 | NA | 0 | NA | W | NA
6 |  | Laryngoscope | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W | NA
7 |  | Suction Machine(foot operated) | 1 | Deepak Enterprises | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W | NA
8 |  | Suction Machine(Elect.) | 2 | Anand | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W | NA
9 |  | Baby Weighing Scale | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W | NA
10 |  | Radiant Warmer Unit | 1 | Phoenix Medical System | OCW 100 | TU1191 | Feb,2003 | 0 | NA | 1 | 2016-02-01 | W | NA
11 |  | Radiant Warmer Unit | 1 | Nice Neotech Medical System | 2007S | 141506001541 | Aug,2014 | 1 | 2016-08-01 | 0 | NA | W | NA
12 | Radiology Deptt | X-ray Machine(300MA) | 1 | Allengers Medical System | Mars30 | 2K140330127 | Aug,2014 | 1 | 2016-08-01 | 0 | NA | W | NA
13 | Laboratory | Cell Counter Machine | 1 | Sri Sri Enterprises | Urit2900 | PE01099 | Aug,2014 | 1 | 2016-08-01 | 0 | NA | W | NA
14 |  | Electrolyte Analyser Machine | 1 | Sri Sri Enterprises | FT300 | 300A1409016 | Nov,2014 | 1 | 2016-11-01 | 0 | NA | W | NA
15 |  | Centrifuse Machine | 2 | Laboratory Instruments | T-8BL | 2014-15/27, 34, 26 | nov,2014 | 1 | Nov,2016 | 0 | NA | W | NA
16 |  | Heamoglobin Meter | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W | NA
17 |  | Glucometer | 1 | NA | NA | NA | Feb,2014 | 0 | NA | 0 | NA | W | NA
18 |  | Microscope | 1 | Olympus | Microlux | NA | 2010 | 0 | NA | 0 | NA | W | NA
19 | Dental Deptt | Dental chair & unit | 1 | Confident Pvt Ltd | Mukhumbhika | NA | june,2013 | 1 | jun, 2015 | 0 | NA | W | NA
Contact details :8295936771
Facility Incharge : Dr Vijay Parkash
Store Incharge : Sh. Rajender Gupta
Store keeper :
Biomedical Engineer : Prem Chand

## CHC Bawal
MASTER EQUIPMENT BASE
Name of District- Rewari Type of facility- CHC Name of the Facility-Bawal
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | X-Ray Deptt | X-Ray machine(60ma) | 1 | Elpro International Ltd. | Collimax | EP4501 | Feb, 1990 | 0 | NA | 0 | NA | W
2 | Dental Deptt | Dental Chair & unit | 1 | Confident Equioment Pvt Ltd | Mukhumbhika | NA | 2013-06-01 | 1 | jun, 2015 | 0 | NA | W
3 |  | Dental X-Ray machine | 1 | Meditronics co.pvt ltd | Medico-100 | 6j127 | 2010-07-01 | 0 | NA | 0 | NA | W
4 | Laboratory | Oxygen Conc. | 1 | Aicil Lab Instruments Pvt Ltd | 5AW | 6120163 | 2009-09-01 | 0 | NA | 0 | NA | W
5 |  | Centrifuse Machine | 1 | Hettich | ERAB | NA | 2010 | 0 | NA | 0 | NA | W
6 |  | Semi Auto Analyser | 1 | Transasia | EC-5PLUS | 10934 | 2009-12-01 | 0 | NA | 0 | NA | W
7 |  | Microscope | 1 | Olympus | CX21F1 | 3G00188 | 2011 | 0 | NA | 0 | NA | W
8 |  | Glucometer | 1 | Biomedicare Laboratory Pvt Ltd | GLUTOCH | NA | sep, 2011 | 0 | NA | 0 | NA | W
9 | OT Deptt | OT table | 1 | Coagnate | SS1000 | NA | 2010-09-01 | 0 | NA | 0 | NA | W
10 |  | Needle Cutter | 4 | Microsil | NA | NA | 2012 | 0 | NA | 0 | NA | W
11 |  | OT light(Portable) | 2 | Saira | NA | NA | 2009-07-01 | 0 | NA | 0 | NA | W
12 |  | Autoclave(Portable) | 1 | NA | NA | NA | 2010-06-01 | 0 | NA | 0 | NA | W
13 |  | Laryngoscope Set | 2 | System Plus | Neonate | NA | sep, 2011 | 0 | NA | 0 | NA | W
14 |  | Baby Weighing Machine | 3 | System Plus | Ordinary | NA | sep, 2012 | 0 | NA | 0 | NA | W
15 |  | Suction Machine(Foot operated) | 3 | Deepak Enterprises | Deo8060 | NA | sep, 2013 | 0 | NA | 0 | NA | W
16 | Labour Deptt | Labour Table | 2 | NA | NA | NA | 2010-06-01 | 0 | NA | 0 | NA | W
17 |  | Electric Suction Machine | 2 | Anand | NA | NA | 2010-06-01 | 0 | NA | 0 | NA | W
18 |  | Radiant Warmer | 2 | Phonix medical System | OCW100 | TU1211 | 2012-12-01 | 0 | NA | 1 | 2015-12-01 | W
19 |  | Open Care System | 2 | Nice Neotech Medical System | 2010BC | 141506001542-43 | aug, 2014 | 1 | 2016-08-01 | 0 | NA | W
20 |  | Warmer unit | 1 | Meditrin Instrument | NA | NA | 2008 | 0 | NA | 0 | NA | W
Contact details :8295936771
Facility Incharge :Dr. Rajbir Singh
Store Incharge : Sh. Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## CHC Meerpur
MASTER EQUIPMENT BASE
Name of District- Rewari Type of facility-CHC Name of the Facility-Meerpur
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | X-Ray Deptt | X-Ray machine(100ma) | 1 | Allenger medical Syatem | FCF100 | 96291 | feb,2002 | 0 | NA | 0 | NA | W
2 | Dental Deptt | Dental Chair & unit | 1 | Goadent | NA | HK74626 | june,2004 | 0 | NA | 0 | NA | W
3 | Maternity Deptt | Baby Weighing Machine | 1 | Tanita | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Ultrasonic Micro Doppler | 1 | Neocare | Neo | NA | feb,2014 | 0 | NA | 0 | NA | W
5 |  | Suction Machine | 1 | Supreme Enterprises | NA | NA | june,2011 | 0 | NA | 0 | NA | W
6 |  | OT Light | 1 | Surgicoin | NA | NA | june,2011 | 0 | NA | 0 | NA | W
7 |  | Laboue Table | 1 | NA | NA | NA | 2010 | 0 | NA | 0 | NA | W
8 |  | Radiant Warmer Unit | 1 | Jain Surgical | NA | 2012/445 | jan,2011 | 0 | NA | 0 | NA | W
9 |  | Portable Autoclave | 1 | NA | NA | NA | 2009 | 0 | NA | 0 | NA | W
10 |  | Needle Cutter | 2 | Scientific Instruments | ND100 | NA | Feb,2011 | 0 | NA | 0 | NA | W
11 |  |  |  | MRK Healthcare | Nulife Dots | NA | jan,2009 | 0 | NA | 0 | NA | W
12 | Laboratory | Colorimeter | 1 | Premier Industries Corp. | Oxford | NA | aug,2009 | 0 | NA | 0 | NA | W
13 |  | Centrifuse Machine | 1 | Microsil | NA | T1405 | Sep,2010 | 0 | NA | 0 | NA | W
14 |  | Microscope | 2 | Olympus | NA | NA | Sep,2010 | 0 | NA | 0 | NA | W
15 |  | Needle Cutter(Manual) | 2 | BD | Destruclip | NA | NA | 0 | NA | 0 | NA | W
16 |  | Glucometer | 2 | Infopia co.Ltd | Easy Gluco | NA | 2012 | 0 | NA | 0 | NA | W
17 |  |  |  | Zydus pathline | Moniter-G | 1964 | 2012 | 0 | NA | 0 | NA | W
18 |  | portable Autoclave | 1 | Geeta | Na | NA | 2010 | 0 |  | 0 | NA | W
Contact details :
Facility Incharge :Dr. Dharmender Singh
Store Incharge :Sh. Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## chc Khol
MASTER EQUIPMENT BASE
Name of District- Rewari Type of facility- CHC Name of the Facility-Khol
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental Deptt | Dental Chair & unit | 1 | Confident Equipment pvt ltd | NA | NA | Aug,2008 | 0 | NA | 0 | NA | W
2 | Laboratory Deptt | Hemoglobinometer | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | Sterlizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | Laryngoscopoe | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Electric Sterlizer | 5 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | Centrifuse Machine | 1 | Microsil | NA | NA | Jan,2010 | 0 | NA | 0 | NA | W
7 |  | Binocular Microscope | 1 | Olympus | NA | NA | March,2011 | 0 | NA | 0 | NA | W
8 | Imunization | Deep Freezer | 2 | Vest Frost | NA | NA | Sep,2006 | 0 | NA | 0 | NA | W
9 |  | ILR | 1 | Vest Frost | NA | NA | Sep,2006 | 0 | NA | 0 | NA | W
10 | Maternity Deptt & Labour Room | Open Care System | 2 | Nice Neotech Medical System | 2010BC | 141506001542-43 | Sep,2014 | 1 | Sep, 2016 | 0 | NA | W
11 |  | Radiant Warmer Unit | 1 | Phoenix Medical System | OCW100 | TU1211 | feb,2013 | 0 | NA | 1 | Feb, 2016 | W
12 |  | Fetal Doppler Monitor | 1 | Neocare | Neuro Dopp |  | jan,2012 | 0 | NA | 0 | NA | W
13 |  | BP Apparatus | 10 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
14 |  | Needle Distroyer | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
15 |  | Suction Machine(Electric) | 2 | NA | NA | NA | oct,2012 | 0 | NA | 0 | NA | W
16 |  | Adult Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
17 |  | Suction Machine (Foot Operated) | 6 | System plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
18 |  | Weighing Machine(ordinary) | 6 | System plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Vijay Pal
Store Incharge :Sh. Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## CHC Gurawara
MASTER EQUIPMENT BASE
Name of District- Rewari Type of facility-CHC Name of the Facility-Gurawara
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | X-Ray Deptt | X-Ray Machine(100ma) | 1 | Indrays | Ind60 | NA | 1998 | 0 | NA | 0 | NA | W
2 | Dental Deptt | Dental Chair & unit | 1 | Goadent | NA | NA | 2001 | 0 | NA | 0 | NA |  | NW
3 | Labour Room & Maternity Deptt | Ultrasonic Micro Doppler | 1 | Neocare | NA | NA | 2010 | 0 | NA | 0 | NA | W
4 |  | Oxygen Conc. | 1 | Aicil Lab Instruments Pvt Ltd | NA | NA | Jan,2010 | 0 | NA | 0 | NA | W
5 |  | Suction Machine | 1 | Supreme Enterprises | NA | NA | May,2011 | 0 | NA | 0 | NA | W
6 |  | Radiant Warmer Unit | 1 | Nice Neotech Medical System | 2007S | 14150600 15454 | Aug, 2014 | 1 |  | 0 | NA | W
7 |  | Radiant Warmer Unit | 1 | Meditrin | NA | NA | june,2007 | 0 | NA | 0 | NA | W
8 |  | OT Light | 1 | Surgicoin | NA | NA | dec,2008 | 0 | NA | 0 | NA | W
9 |  | Laboue Table | 1 | NA | NA | NA | 2010 | 0 | NA | 0 | NA | W
10 |  | Baby Weighing Machine | 1 | Tanita | NA | NA | NA | 0 | NA | 0 | NA | W
11 | Laboratory | Needle Cutter | 2 | Scientific Instruments | ND100 | NA | NA | 0 | NA | 0 | NA | W
12 |  |  |  | MRK Healthcare | Nulife Dots | NA | NA | 0 | NA | 0 | NA | W
13 |  | Microscope | 2 | Olympus | NA | NA | sep,2011 | 0 | NA | 0 | NA | W
14 |  | Centrifuse Machine | 1 | Microsil | NA | NA | sep,2011 | 0 | NA | 0 | NA | W
15 |  | Glucometer |  | Zydus pathline | Moniter-G | NA | sep,2011 | 0 | NA | 0 | NA | W
16 |  | Autoclave | 1 | Geeta | NA | NA | sep,2011 |  | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Chander Shekhar
Store Incharge :Sh. Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## CHC Nahar
MASTER EQUIPMENT BASE
Name of District- Rewari Type of facility-CHC Name of the Facility-Nahar
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | X-Ray Deptt. | X-Ray 300MA | 1 | Medford Medical System p.ltd | MXD-3000 | 70910 | 2007 | 0 | NA | 0 | NA | W
2 | Laboratory Deptt | Glucometer | 2 | Acon laboratory | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  |  |  | biomedicare laboratory p. ltd | Glutouch | NA | Nov,2009 | 0 | NA | 0 | NA | W
4 |  | Microscope | 2 | Olympus Corp. | CX21FS1 | 3G00260 | sep,2008 | 0 | NA | 0 | NA | W
5 |  |  |  | Lebo Optic | VJ-5 | NA | 2007 | 0 | NA | 0 | NA | W
6 |  | Water bath | 1 | Yorco serological water bath | NA | NA | 2007 | 0 | NA | 0 | NA | W
7 |  | centrifuse Machine | 1 | hettich | EBA-8 | NA | may,2010 | 0 | NA | 0 | NA | W
8 |  | Haemoglobino meter | 1 | Linco | Biomed | NA | NA | 0 | NA | 0 | NA | W
9 |  | Needle Cutter(Elect.) | 3 | Microsil | ND-350 | NA | NA | 0 | NA | 0 | NA | W
10 | Dental Deptt | Dental X-Ray machine | 1 | Meditronics Pvt. Ltd | Medico-10D | 31617 | June,2010 | 0 | NA | 0 | NA | W
11 |  | Dental chair & unit | 1 | Confident Equipment pvt ltd | Mukhumbhika | NA | June,2013 | 1 | june, 2015 | 0 | NA | W
12 | OT Deptt | OT table | 1 | Coagnate | NA | NA | 2009 | 0 | NA | 0 | NA | W
13 |  | OT Light | 2 | Technica | NA | NA | 2009 | 0 | NA | 0 | NA | W
15 | Imunization Deptt | Deep Freezer | 1 | Haier | NA | NA | Aug,2010 | 0 | NA | 0 | NA | W
16 |  | ILR | 1 | Haier | NA | NA | Aug,2010 | 0 | NA | 0 | NA | W
17 | Labour Room & Maternity Deptt | Sterilzer | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
18 |  | Labour table | 3 | NA | NA | NA | Feb,2008 | 0 | NA | 0 | NA | W
19 |  | Manual Needle Cutter | 1 | BD | NA | NA | NA | 0 | NA | 0 | NA | W
20 |  | Suction Machine | 3 | Shiva | NA | NA | NA | 0 | NA | 0 | NA | W
21 |  | Baby weighing Machine | 2 | System plus | NA | NA | NA | 0 | NA | 0 | NA | W
22 |  | Resusciator,Hand operated,Neonate-240ml | 2 | System plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
23 |  | Resusciator,Hand operated,Neonate-500ml | 2 | System plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
24 |  | Suction Machine(foot operated) | 2 | Deepak Enterprises | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
25 |  | Baby weighing Machine | 1 | Tanita | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
26 |  | Adult Weighing Machine | 1 | NA | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
27 |  | Radiant Warmer Unit | 1 | Phoenix Medical System | OCW100 | K12145 | Feb,2013 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Sarvjeet Singh
Store Incharge :Sh Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC Dahina
MASTER EQUIPMENT BASE
Name of District-Rewari Type of facility-PHC Name of the Facility-Dahina
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental Deptt | Dental Chair & unit | 1 | Confident Equipment Pvt Ltd | Confident | NA | feb, 2006 | 0 | NA | 0 | NA | W
2 | Labour Room & Maternity Deptt | Boiler | 4 | NA | NA | NA | 2010 | 0 | NA | 0 | NA | W
3 |  | Suction Machine(Electric) | 2 | Anand | NA | NA | Aug, 2010 | 0 | NA | 0 | NA | W
4 |  | Autoclave(Portable) | 1 | Hettich | ERAB | NA | 2011 | 0 | NA | 0 | NA | W
5 |  | Electric Hub Cutter | 3 | Microsil | NA | NA | Sep, 2012 | 0 | NA | 0 | NA | W
6 |  | Resuscitator,hand operated,neonate,240ml | 4 | System Plus | NA | NA | Sep, 2011 | 0 | NA | 0 | NA | W
7 |  | Resuscitator,hand operated,neonate,500ml | 4 | System Plus | NA | NA | Sep, 2011 | 0 | NA | 0 | NA | W
8 |  | Baby Weighing Machine | 4 | System Plus | Ordinary | NA | Sep, 2011 | 0 | NA | 0 | NA | W
9 |  | Suction Machine(Foot operated) | 4 | Deepak Enterprises | Deo8060 | NA | Sep, 2011 | 0 | NA | 0 | NA | W
10 |  | Radiant Warmer Unit | 1 | Phoenix Medical System | OCW100 | T154421 | march, 2012 | 0 | NA | 0 | NA | W
11 |  | Radiant Warmer Unit | 1 | GME | NA | R560 | jan,2012 | 0 | NA | 0 | NA | W
12 |  | Delievery Table | 1 | NA | NA | NA | 2011 | 0 | NA | 0 | NA | W
13 |  | Doppler | 1 | Neuro Dopp | NA | NA | jan,2011 | 0 | NA | 0 | NA | W
14 | Imunization Deptt | D/F | 1 | Haier | NA | NA | march,2010 | 0 | NA | 0 | NA | W
15 |  | ILR | 1 | Haier | NA | NA | march,2010 | 0 | NA | 0 | NA | W
16 | Laboratory Deptt. | Binocular Microscope | 2 | Olympus | NA | NA | Oct,2011 | 0 | NA | 0 | NA | W
17 |  | Centrifuse machine | 1 | Microsil | NA | NA | Oct,2011 | 0 | NA | 0 | NA | W
18 |  | Heamoglobin Meter | 1 | NA | NA | NA | Oct,2011 | 0 | NA | 0 | NA | W
19 | [5 empty] | NA |  | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr.Gajender Yadav
Store keeper :Sh Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC BAsduda
MASTER EQUIPMENT BASE
Name of District-Rewari Type of facility-PHC Name of the Facility-Basduda
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental Deptt | Dental Chair & unit | 1 | Suzy Dent | Suzy | NA | Aug,2009 | 0 | NA | 0 | NA | W
2 | Labour Room & Maternity Deptt | Resuscitator,hand operated,neonate,240ml | 1 | System Plus | NA | NA | Sep, 2011 | 0 | NA | 0 | NA | W
3 |  | Resuscitator,hand operated,neonate,500ml | 1 | System Plus | NA | NA | Sep, 2011 | 0 | NA | 0 | NA | W
4 |  | Baby Weighing Machine | 1 | System Plus | Ordinary | NA | Sep, 2011 | 0 | NA | 0 | NA | W
5 |  | Suction Machine(Foot operated) | 1 | Deepak Enterprises | Deo8060 | NA | Sep, 2011 | 0 | NA | 0 | NA | W
6 |  | Sterlizer | 3 | NA | NA | NA | 2012 | 0 | NA | 0 | NA | W
7 |  | BP App. | 3 | NA | NA | NA | 2012 | 0 | NA | 0 | NA | W
8 |  | Delievery Table | 1 | NA | NA | NA | Jun,2011 | 0 | NA | 0 | NA | W
9 |  | Radiant Warmer unit | 1 | GME | NA | NA | 2012 | 0 | NA | 0 | NA | W
10 |  | Doppler | 1 | Contec Medical system | Sonolin B | NA | Dec, 2013 | 0 | NA | 0 | NA | W
11 |  | Suction Machine(Electric) | 1 | Anand | NA | NA | oct,2012 | 0 | NA | 0 | NA | W
12 | Imunization Deptt | ILR | 1 | Haier | NA | NA | Nov,2010 | 0 | NA | 0 | NA | W
13 |  | D/F | 1 | Haier | NA | NA | Nov,2010 | 0 | NA | 0 | NA | W
14 | Lab | Hemoglobin Meter | 1 | NA | NA | NA | feb, 2011 | 0 | NA | 0 | NA | W
15 |  | Centrifuse Machine | 1 | Microsil | NA | NA | aug,2013 | 0 | NA | 0 | NA | W
16 |  | Microscope | 1 | Olympus | NA | NA | aug,2013 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Ajit Kumar
Store Incharge :Sh Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC Bharawas
MASTER EQUIPMENT BASE
Name of District-Rewari Type of facility-PHC Name of the Facility-Bharawas
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental Deptt | Dental Chair & unit | 1 | Confident Equioment Pvt Ltd | Confident | NA | Aug,2009 | 0 | NA | 0 | NA | W
2 | Labour Room | Resuscitator,hand operated,neonate,240ml | 1 | System Plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
3 |  | Resuscitator,hand operated,neonate,500ml | 1 | System Plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
4 |  | Baby Weighing Machine | 1 | System Plus | Ordinary | NA | Sep,2011 | 0 | NA | 0 | NA | W
5 |  | Suction Machine(Foot operated) | 1 | Deepak Enterprises | Deo8060 | NA | Sep,2011 | 0 | NA | 0 | NA | W
6 |  | Sterlizer | 2 | NA | NA | NA | 2012 | 0 | NA | 0 | NA | W
7 |  | BP App. | 3 | NA | NA | NA | 2012 | 0 | NA | 0 | NA | W
8 |  | Delivery Table | 1 | NA | NA | NA | Jun,2010 | 0 | NA | 0 | NA | W
9 |  | OT Light | 1 | Saira | NA | NA | oct,2013 | 0 | NA | 0 | NA | W
10 |  | Radiant Warmer Unit | 1 | GME | NA | NA | 2012 | 0 | NA | 0 | NA | W
11 |  | Suction Machine(Electric) | 1 | NA | NA | NA | dec, 2011 | 0 | NA | 0 | NA | W
12 | Lab | Microscope | 1 | Olympus | Na | NA | jan,2012 | 0 | NA | 0 | NA | W
13 |  | centrifuse Machine | 1 | Microsil | NA | NA | jan,2012 | 0 | NA | 0 | NA | W
14 |  | Heamoglobin Meter |  | NA | NA | NA | jan,2012 | 0 | NA | 0 | NA | W
15 | Imunization Deptt | ILR | 1 | Haier | NA | NA | Jun,2010 | 0 | NA | 0 | NA | W
16 |  | D/F | 1 | Haier | NA | NA | Jun,2010 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Ashok Kumar
Store Incharge :Sh Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC Jatusana
MASTER EQUIPMENT BASE
Name of District-Rewari Type of facility-PHC Name of the Facility-Jatusana
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 |  | Suction Machine(Electric) | 1 | NA | NA | NA | 2010 | 0 | NA | 0 | NA | W
2 | Dental Deptt | Dental Chair & unit | 1 | Confident Equioment Pvt Ltd | Confident | NA | Aug,2009 | 0 | NA | 0 | NA | W
3 | Labour room | Resuscitator,hand operated,neonate,240ml | 2 | System Plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
4 |  | Resuscitator,hand operated,neonate,500ml | 2 | System Plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
5 |  | Baby Weighing Machine | 2 | System Plus | Ordinary | NA | Sep,2011 | 0 | NA | 0 | NA | W
6 |  | Suction Machine(Foot operated) | 2 | Deepak Enterprises | Deo8060 | NA | Sep,2011 | 0 | NA | 0 | NA | W
7 |  | Sterlizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | BP App. | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | Inverter/Battery | 1 | Luminous | NA | NA | Feb,2011 | 0 | NA | 0 | NA | W
10 |  | Delievery Table | 1 | NA | NA | NA | Feb,2011 | 0 | NA | 0 | NA | W
11 |  | Radiant Warmer Unit | 1 | Jain Surgical Traders Pvt Ltd | NA | NA | Jan,2012 | 0 | NA | 0 | NA | W
12 |  | Doppler | 1 | Contec Medical System | Sonolin B | NA | Jan,2013 | 0 | NA | 0 | NA | W
13 | Imunization Deptt | ILR | 1 | Haier | NA | NA | 2010 | 0 | NA | 0 | NA | W
14 |  | D/F | 1 | Haier | NA | NA | 2010 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Naveen Kumar
Store Incharge :Sh. Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC TAnkri
MASTER EQUIPMENT BASE
Name of District-Rewari Type of facility-PHC Name of the Facility-Tankri
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Dental Deptt | Dental Chair & unit | 1 | Suzy Dent | Suzy | NA | Sep,2008 | 0 | NA | 0 | NA | W
2 |  | Baby Weighing Machine | 1 | NA | NA | NA |  | 0 | NA | 0 | NA | W
3 | Cold Chain Deptt | ILR | 1 | Haier | NA | NA | Dec,2010 | 0 | NA | 0 | NA | W
4 |  | D/f | 1 | Haier | NA | NA | Dec,2010 | 0 | NA | 0 | NA | W
5 | Labour Room | Sterlizer | 1 | NA | NA | NA | 2011 | 0 | NA | 0 | NA | W
6 |  | Generator | 1 | NA | NA | NA | 2011 | 0 | NA | 0 | NA | W
7 |  | BP App. | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | OT Light | 1 | NA | NA | NA | Jan,2012 | 0 | NA | 0 | NA | W
9 |  | Delievery Table | 1 | NA | NA | NA | Feb,2012 | 0 | NA | 0 | NA | W
10 |  | Room Heater(oil Filled) | 1 | System Plus | NA | NA | 2012 | 0 | NA | 0 | NA | W
11 |  | Radiant Warmer Unit | 1 | Phoenix Medical System | NA | NA | Feb,2012 | 0 | NA | 0 | NA | W
12 |  | Micro Doppler | 2 | Contec Medical System | Sonolin B | NA | March,2014 | 0 | NA | 0 | NA | W
13 |  | Suction Machine(Electric) | 1 | Anand | NA | NA | 2011 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Ritu
Store Incharge :Sh. Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC Sangwari
MASTER EQUIPMENT BASE
Name of District- Type of facility- Name of the Facility-
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Labour Room & OPD | Suction Machine(Electric) | 1 | Agarwal Surgical | NA | NA | oct,2010 | 0 | NA | 0 | NA | W
2 |  | Warmer Unit | 1 | SS Technomed | IRW-1723 | SST/09-10/313 | 2009 | 0 | NA | 0 | NA | W
3 |  | Photo Therapy | 1 | SS Technomed | NA | NA | 2009 | 0 | NA | 0 | NA | W
4 |  | Resuscitator,hand operated,neonate,240ml | 1 | System Plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
5 |  | Resuscitator,hand operated,neonate,500ml | 1 | System Plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
6 |  | Baby Weighing Machine | 2 | System Plus | Ordinary | NA | Sep,2011 | 0 | NA | 0 | NA | W
7 |  | Suction Machine(Foot operated) | 1 | Deepak Enterprises | Deo8060 | NA | Sep,2011 | 0 | NA | 0 | NA | W
8 |  | Sterlizer | 1 | NA | NA | NA | 2010 | 0 | NA | 0 | NA | W
9 |  | BP App. | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Inverter/Battery | 1 | NA | NA | NA | Luminous | 0 | NA | 0 | NA | W
11 |  | Delievery Table | 1 | NA | NA | NA | 2010 | 0 | NA | 0 | NA | W
13 | Dental Deptt. | Dental Chair & Unit | 1 | Suzy Dent | Suzy | NA | Aug,2008 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Anju Yadav
Store Incharge :Sh. Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC Kasola
MASTER EQUIPMENT BASE
Name of District-Rewari Type of facility-PHC Name of the Facility-Kasola
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Labour Room & OPD | Suction Machine(Electric) | 1 | Supreme | NA |  | oct, 2010 | 0 | NA | 0 | NA | W
2 |  | Warmer Unit | 1 | SS Technomed | IRW-1723 | SST/09-10/354 | 2009 | 0 | NA | 0 | NA | W
3 |  | Resuscitator,hand operated,neonate,240ml | 1 | System Plus | NA | NA | sep,2011 | 0 | NA | 0 | NA | W
4 |  | Resuscitator,hand operated,neonate,500ml | 1 | System Plus | NA | NA | sep,2011 | 0 | NA | 0 | NA | W
5 |  | Baby Weighing Machine | 2 | System Plus | Ordinary | NA | sep,2011 | 0 | NA | 0 | NA | W
6 |  | Suction Machine(Foot operated) | 1 | Deepak Enterprises | Deo8060 | NA | sep,2011 | 0 | NA | 0 | NA | W
7 |  | Sterlizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | OT Light | 1 | NA | NA | NA | nov,2012 | 0 | NA | 0 | NA | W
9 |  | BP App. | 4 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Inverter/Battery | 1 | Luminous | NA | NA | oct,2011 | 0 | NA | 0 | NA | W
11 |  | Delievery Table | 1 | NA | NA | NA | jan,2009 | 0 | NA | 0 | NA | W
12 |  | Micro Doppler | 1 | Euro Dopp | Euro | NA | may,2011 | 0 | NA | 0 | NA | W
13 | Lab | Microscope | 1 | Olympus | NA | NA | aug,2011 | 0 | NA | 0 | NA | W
14 |  | Centrifuse Machine | 1 | Microsil | NA | NA | aug,2011
15 | Dental Deptt. | Dental Chair & Unit | 1 | Suzy Dent | Suzy | NA | 2009 | 0 | NA | 0 | NA | W
16 | Cold Chain Deptt | ILR | 1 | Haier | NA | NA | Aug,2010 | 0 | NA | 0 | NA | W
17 |  | D/F | 1 | Haier | NA | NA | Aug,2010 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Pardeep Rao
Store Incharge :Sh Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC Dharuhera
MASTER EQUIPMENT BASE
Name of District- Rewari Type of facility-PHC Name of the Facility-Dharuhera
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Labour Room/OPD | Suction Machine(Electric) | 1 | Agarwal Surgical | NA | NA | 2010 | 0 | NA | 0 | NA | W
2 |  | Warmer Unit | 1 | Jain Surgical Traders Pvt Ltd | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
3 |  | Radiant Warmer Unit | 1 | Phoenix Medical System | OCW100 | T12478 | Jan,2012 | 0 | NA | 0 | NA | W
4 |  | Resuscitator,hand operated,neonate,240ml | 3 | System Plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
5 |  | Resuscitator,hand operated,neonate,500ml | 3 | System Plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
6 |  | Baby Weighing Machine | 3 | System Plus | Ordinary | NA | Sep,2011 | 0 | NA | 0 | NA | W
7 |  | Suction Machine(Foot operated) | 3 | Deepak Enterprises | Deo8060 | NA | Sep,2011 | 0 | NA | 0 | NA | W
8 |  | Sterlizer | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | BP App. | 4 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Inverter/Battery | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Delievery Table | 1 | NA | NA | NA | 2010 | 0 | NA | 0 | NA | W
12 |  | Examination Table | 2 | NA | NA | NA | 2010 | 0 | NA | 0 | NA | W
13 |  | Foetal Doppler | 1 | Medigold | NA | NA | 2011 | 0 | NA | 0 | NA | W
14 | Lab | Centrifuse Machine | 1 | Microsil | NA | NA | feb,2011 | 0 | NA | 0 | NA | W
15 |  | Binocular Microscope | 1 | Olympus | CH201BIMF | NA | feb,2011 | 0 | NA | 0 | NA | W
16 |  | Glucometer | 1 | NA | NA | NA | feb,2011 | 0 | NA | 0 | NA
17 | Dental Deptt | Dental Chair & Unit | 1 | Confident | NA | NA | Aug,2009 | 0 | NA | 0 | NA | W
18 | Cold Chain Deptt | ILR | 1 | Haier | NA | NA | Oct,2010 | 0 | NA | 0 | NA | W
19 |  | D/F | 1 | Haier | NA | NA | Oct,2010 | 0 | NA | 0 | NA | W
20 |  | ILR | 1 | Vastoforast | NA | NA | 2007 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Saroj
Store Incharge :Sh Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC Masani
MASTER EQUIPMENT BASE
Name of District-Rewari Type of facility-PHC Name of the Facility-Masani
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Labour Room & OPD | Suction Machine(Electric) | 1 | NA | NA | NA | 2012 | 0 | NA | 0 | NA | W
2 |  | Resuscitator,hand operated,neonate,240ml | 1 | System Plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
3 |  | Resuscitator,hand operated,neonate,500ml | 1 | System Plus | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
4 |  | Baby Weighing Machine | 2 | System Plus | Ordinary | NA | Sep,2011 | 0 | NA | 0 | NA | W
5 |  | Suction Machine(Foot operated) | 1 | Deepak Enterprises | Deo8060 | NA | Sep,2011 | 0 | NA | 0 | NA | W
6 |  | Sterlizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | Hub Cutter | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | BP App. | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | Inverter/Battery | 1 | NA | NA | NA | march,2012 | 0 | NA | 0 | NA | W
10 |  | Delievery Table | 1 | NA | NA | NA | march,2012 | 0 | NA | 0 | NA | W
11 |  | Radiant Warmer Unit | 1 | Phoenix Medical System | OCW100 | T12851 | feb,2012 | 0 | NA | 0 | NA | W
12 |  | Room Heater(oil Filled) | 1 | System Plus | NA | NA | feb,2012 |  | NA | 0 | NA | W
13 | Cold Chain | ILR | 1 | Haier | NA | NA | sep,2009 | 0 | NA | 0 | NA | W
14 |  | D/F | 1 | Haier | NA | NA | sep,2009 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Rajneesh Kumar
Store Incharge :Sh Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC Bawwa
MASTER EQUIPMENT BASE
Name of District-Rewari Type of facility-PHC Name of the Facility-Bawwa
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Labour Room & OPD | Suction Machine(Electric) | 1 | Agarwal Surgical |  | NA | 2010 | 0 | NA | 0 | NA | W
2 |  | Resuscitator,hand operated,neonate,240ml | 1 | System Plus |  | NA | Sep,2011 | 0 | NA | 0 | NA | W
3 |  | Resuscitator,hand operated,neonate,500ml | 1 | System Plus |  | NA | Sep,2011 | 0 | NA | 0 | NA | W
4 |  | Baby Weighing Machine | 2 | System Plus | Ordinary | NA | Sep,2011 | 0 | NA | 0 | NA | W
5 |  | Suction Machine(Foot operated) | 1 | Deepak Enterprises | Deo8060 | NA | Sep,2011 | 0 | NA | 0 | NA | W
6 |  | Sterlizer | 1 | NA |  | NA | NA | 0 | NA | 0 | NA | W
7 |  | Hub Cutter | 1 | NA |  | NA | NA | 0 | NA | 0 | NA | W
8 |  | BP App. | 2 | NA |  | NA | NA | 0 | NA | 0 | NA | W
9 |  | Inverter/Battery | 1 | NA |  | NA | may,2012 | 0 | NA | 0 | NA | W
10 |  | Delievery Table | 1 | NA |  | NA | Jun,2011 | 0 | NA | 0 | NA | W
11 |  | Radiant Warmer Unit | 1 | Phoenix Medical System | OCW100 | T125456 | 2012 | 0 | NA | 0 | NA | W
12 |  | Room Heater(oil Filled) | 1 | System Plus | NA | NA | 2012 | 0 | NA | 0 | NA | W
13 | Dental Deptt | Dental Chair | 1 | Goa Dent | NA | NA | Jan,2004 | 0 | NA | 0 | NA |  | NW
14 | Cold Chain | ILR | 1 | Haier | NA | NA | aug,2009 | 0 | NA | 0 | NA | W
15 |  | D/F | 1 | Haier | NA | NA | aug,2009 | 0 | NA | 0 | NA | W
16 | Lab | Centrifuse Machine | 1 | Microsil | NA | NA | sep,2010 | 0 | NA | 0 | NA | W
17 |  | Glucometer | 1 | NA | NA | NA | sep,2010 | 0 | NA | 0 | NA | W
18 |  | Heamoglobin Meter | 1 | NA | NA | NA | sep,2010 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Amit
Store Incharge :Sh Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC Fatehpuri
MASTER EQUIPMENT BASE
Name of District- Rewari Type of facility-PHC Name of the Facility-Fatehpuri
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Labour/OPD | Suction Machine(Electric) | 1 |  |  | NA | 2010 | 0 | NA | 0 | NA | W
2 |  | Resuscitator,hand operated,neonate,240ml | 1 | System Plus |  | NA | oct,2011 | 0 | NA | 0 | NA | W
3 |  | Resuscitator,hand operated,neonate,500ml | 1 | System Plus |  | NA | oct,2011 | 0 | NA | 0 | NA | W
4 |  | Baby Weighing Machine | 2 | System Plus | Ordinary | NA | oct,2011 | 0 | NA | 0 | NA | W
5 |  | Suction Machine(Foot operated) | 1 | Deepak Enterprises | Deo8060 | NA | oct,2011 | 0 | NA | 0 | NA | W
6 |  | Sterlizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | Hub Cutter | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | BP App. | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | Inverter/Battery | 1 | Luminous | NA | NA | 2012 | 0 | NA | 0 | NA | W
10 |  | Delievery Table | 1 | NA | NA | NA | May,2011 | 0 | NA | 0 | NA | W
11 |  | Radiant Warmer Unit | 1 | GME | NA | NA | 2012 | 0 | NA | 0 | NA | W
12 |  | Room Heater(oil Filled) | 1 | System Plus | NA | NA | 2012 | 0 | NA | 0 | NA | W
13 | Dental Deptt | Dental Chair | 1 | Confident | NA | NA | Jun,2004 | 0 | NA | 0 | NA |  | NW
14 | Cold Chain | ILR | 1 | Haier | NA | NA | nov,2009 | 0 | NA | 0 | NA | W
15 |  | D/F | 1 | Haier | NA | NA | nov,2009 | 0 | NA |  | NA | W
Contact details :
Facility Incharge :Dr. Sarita
Store Incharge :Sh Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## PHC Gudiyani
MASTER EQUIPMENT BASE
Name of District-Rewari Type of facility-PHC Name of the Facility-Gudiyani
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
1 | Labour Room | Suction Machine(Electric) | 1 | Anand | NA | NA | Feb,2012 | 0 | NA | 0 | NA | W
2 |  | Warmer Unit | 1 | Phonix Medical System | OCW100 | T215124 | Feb,2012 | 0 | NA | 0 | NA | W
3 |  | Dental Chair & Unit | 1 | Suzy Dent | Suzy | NA | 2009 | 0 | NA | 0 | NA | W
4 |  | Baby Weighing Machine | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | Suction Machine(Foot operated) | 1 | Deepak Enterprises | NA | NA | Sep,2011 | 0 | NA | 0 | NA | W
6 | Cold Chain | ILR | 1 | Haier | NA | NA | aug,2008 | 0 | NA | 0 | NA | W
7 |  | D/F | 1 | Haier | NA | NA | aug,2008 | 0 | NA | 0 | NA | W
8 | OPD | Sterlizer | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | BP App. | 4 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Inverter/Battery | 2 | NA | NA | NA | 2012 | 0 | NA | 0 | NA | W
11 |  | Delievery Table | 1 | NA | NA | NA | sep,2010 | 0 | NA | 0 | NA | W
12 | Lab | Centrifuse Machine | 1 | Microsil | NA | NA | june,2012 | 0 | NA | 0 | NA | W
13 |  | Micrpscope | 1 | Olympus | NA | NA | june,2012 | 0 | NA | 0 | NA | W
14 |  | Heamoglobin Meter | 1 | NA | NA | NA | june,2012 | 0 | NA | 0 | NA | W
15 |  | Glucometer | 1 | NA | NA | NA | june,2012 | 0 | NA | 0 | NA | W
Contact details :
Facility Incharge :Dr. Vivek Sharma
Store Incharge :Sh Rajender Gupta
Store keeper :
Biomedical Engineer :Prem Chand

## Sheet19
MASTER EQUIPMENT BASE
Name of District- Type of facility- Name of the Facility-
S.no | Equipment category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation date(m-yy) | Under Warranty(Y=1/N=0) | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0) | AMC/CMC upto(m/yy) | Working status
[12 empty] | W | NW
Contact details :
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :

## consolidate
Equipment Name | Quantity
X-Ray machine(60ma) | 1
X-Ray Machine(100ma) | 2
Neubulizer | 1
ECG Machine | 3
Dental Chair & unit | 17
Hot Air Oven | 1
Haemoglobino meter | 5
Needle Cutter(Elect.) | 3
Dental X-Ray machine | 2
Ultrasonic Micro Doppler | 2
ECG m/c | 2
Oxygen Conc. | 3
Hemoglobinometer | 2
Sterlizer | 17
Laryngoscopoe | 2
Electric Sterlizer | 5
Colorimeter | 1
Water bath | 1
Semi Autoanalyzer | 1
X-ray Machine(300MA) | 1
Cell counter machine | 2
Electrolyte Analyser Machine | 2
D/F | 11
Hemoglobin Meter | 1
Examination Table | 2
Foetal Doppler | 1
Centrifuse Machine | 16
Semi Auto Analyser | 1
A - Scan | 1
Phaco Machine | 1
Opthalmic Chair | 1
Slit lamp | 1
Operating Microscope | 1
Opthalmoscope direct | 1
Autorefractometer | 1
Opthalmoscope Indirect | 1
Eye OT Table | 1
Centrifuge m/c | 2
Incubator | 1
Micro Doppler | 3
Microscope | 12
Needle Cutter(Manual) | 2
X-Ray 300MA | 1
Glucometer | 13
X-Ray Machine - 300mA | 1
X-Ray Machine-100mA (Portable ) | 1
X-Ray Machine - 500 REX High frequency | 1
X-ray Machine(150MA) | 1
X-Ray Machine(500MA) | 1
CR System | 1
Ultrasound | 1
CT Scan Machine | 1
C - Arm | 2
OT Light Portable | 4
Suction m/c | 6
OT Table(Remotge Control) | 1
Autoclave - H | 1
Autoclave - V | 1
Pulse oximeter | 1
Anesthesia Machine | 1
ortho Drill | 1
Boiler | 5
Neublizer | 1
Needle destroyer | 2
Verticle Autoclave Machine | 1
OT Light (Portable) | 2
Fetal Doppler(Pocket) | 3
Mobile LED OT Light | 4
Cautery Machine | 2
Double Dome Operation Theater Light | 2
OT table | 7
Portable Autoclave | 1
Pulse Oxymeter | 1
Autoclave Horizontal | 1
TURP Set | 1
Laproscope | 3
Needle Cutter | 13
OT light(Portable) | 2
Autoclave(Portable) | 2
Laryngoscope Set | 2
Manual Needle Cutter | 1
Dental Unit & Chair | 1
ENT Operation set including headlight , Tonsils | 1
ENT Nasal Set (SMR, Septoplasty , Poly petcomy , DNS , Rhinoplasty) | 1
Electric Bed | 2
Patient Monitor | 13
Defibrilator | 1
Boyle App. | 1
Anaesthesia m/c | 2
OT Light (Portable ) | 1
Cautery | 2
Suction Machine | 8
O2 Conc. | 2
Hub Cutter | 3
Generator | 1
BP App. | 33
Inverter/Battery | 10
Delievery Table | 11
Suction Machine(Elect.) | 2
Baby Weighing Scale | 1
Radiant Warmer Unit | 18
Delivery Table | 1
OT Light | 7
Laboue Table | 2
Resusciator,Hand operated,Neonate-240ml | 2
Resusciator,Hand operated,Neonate-500ml | 2
Radient Warmer unit | 1
Photo Therapy Unit | 1
Verticle Autoclave(portrable) | 1
Laryngoscope | 2
Suction Machine(foot operated) | 3
Electric Hub Cutter | 3
Photo Therapy | 1
Resuscitator,hand operated,neonate,240ml | 16
Resuscitator,hand operated,neonate,500ml | 16
Baby Weighing Machine | 32
Suction Machine(Foot operated) | 20
Sterilzer | 2
Labour Table | 9
Electric Suction Machine | 2
Light Source | 1
Radiant Warmer | 5
Blood Bank Refigerator | 3
Blood Collection Meter | 1
Tube Sealer | 1
Elisa Reader & Washer | 1
Centrifuge machine | 1
Binocular Microscope | 5
Deep Freezer | 4
Room Heater(oil Filled) | 4
Dental Chair | 2
ILR | 14
Sunction Machine | 1
Bed Side Patient Monitoring System | 8
Nebulizer | 2
Laryngoscope Set, Neonate | 1
Room Heater Oil | 8
Glucometer with strips | 1
Oxygen Concentrator | 2
Photo Therapy single Head | 6
Light meter | 1
Syringe Pump | 8
Refrigerator | 1
Radient Warmer | 1
X-ray machine | 1
Weighing Machine | 3
Suction Machine (Foot operated) | 9
Billurbin meter (TCB) | 1
Open Care System | 20
Warmer unit | 5
Autoclave | 1
Fetal Doppler Monitor | 1
BP Apparatus | 10
Needle Distroyer | 3
Doppler | 3
Suction Machine(Electric) | 15
Adult Weighing Machine | 2
Suction Machine (Foot Operated) | 6
Weighing Machine(ordinary) | 6
portable Autoclave | 1
Micrpscope | 1
Heamoglobin Meter | 4