## PHC SHAHPUR
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SHAHPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | X-RAY ROOM | X-RAY MACHINE | BHARAT ELECTRONICS | * |  | 1 | 1 | 450000 | 450000
# | PATHLOGY | HOT AIR OVEN | YORCO | * | 1 |  | 1 | 4500 | 4500
# |  | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# |  | MICROSCOPE(MONOCULAR) | OLYMPUS | HB/84056 |  | 1 | 1 | 18500 | 18500
# |  | MICROSCOPE(MONOCULAR) | OLYMPUS | GB/258025 | 1 |  | 1 | 18500 | 18500
# |  | MICROSCOPE(BINOCULAR) | PUNJAB SCIENTIFIC | YOGER/1019 |  | 1 | 1 | 30000 | 30000
# |  | COLORIMETER | EYSTONIC | * | 1 |  | 1 | 1400 | 1400
# |  | DOMESTIC REFRIGERATOR | KALVINATOR | NUTRIAL/PLUS | 1 |  | 1 | 15000 | 15000
# | LABOUR ROOM | LABOUR TABLE | INIDAN | * | 1 |  | 1 | 14000 | 14000
# |  | STERLIZER | INIDAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MICROSIL | * | 1 |  | 1 | 1200 | 1200
# |  | LABOUR TABLE | INIDAN | * | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | INIDAN | * | 1 |  | 1 | 14000 | 14000
# |  | PEDDLE SUCTION MACHINE | INIDAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | OT | STAND TYPE BP | INIDAN | * |  | 1 | 1 | 1100 | 1100
# |  | OT TABLE | INIDAN | * | 1 |  | 1 | 45000 | 45000
# |  | BP APPARATUS | DIAMOND | 41897 | 1 |  | 1 | 650 | 650
# |  | ADULT WEIGHING MACHINE | KOHINOOR | * | 1 |  | 1 | 2500 | 2500
# |  | ILR | HAIER | HBC-70/0595 |  | 1 | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/00183 | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | VESTFROST/50213163 | 1 |  | 1 | 250000 | 250000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 22
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 905350
* | Not Available |  |  |  | Total CMC Value |  |  |  | 63374.5

## PHC SAHAJPUR
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SAHAJPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | DIAMOND | 63460 | 1 |  | 1 | 650 | 650
# | # | ADULT WEIGHING MACHINE | KRUPS | * | 1 |  | 1 | 2500 | 2500
# | # | DOMESTIC REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# | # | BP APPARATUS | NAMATT | /063477 |  | 1 | 1 | 650 | 650
# | LABOUR ROOM | BABY WEIGHING MACHINE | CROWN | * |  | 1 | 1 | 3500 | 3500
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | NEEDLE CUTTER | SAI LIFE | * | 1 |  | 1 | 1200 | 1200
# | LAB | NEEDLE CUTTER | MICROSIL | * | 1 |  | 1 | 1200 | 1200
# |  | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | GLUCOMETER | ONE TOUCH | SIMPLE/SAFF53JK | 1 |  | 1 | 1500 | 1500
# |  | MICROSCOPE(BINOCULAR) | AJAY OPTIK | 12E/06-M-594 | 1 |  | 1 | 30000 | 30000
# |  | COLORIMETER | SYSTEM IC | * | 1 |  | 1 | 1400 | 1400
# |  | ADULT WEIGHING MACHINE | HOM | * | 1 |  | 1 | 2500 | 2500
# |  | NEBULIZER | MICEFLUSS | * |  | 1 | 1 | 6500 | 6500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 87100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 6097

## CHC MANDI BAMORA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC MANDI BAMORA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | REFRIGERATOR | GODREJ | * | 1 |  | 1 | 15000 | 15000
# | # | BP APPARATUS | NAMATT | * | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | RADIANT WARMER | SS TECHNOMED | TIANA-1RW/1723SST/1RW/11-12/201 | 1 |  | 1 | 38000 | 38000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | ADULT WEIGHING MACHINE | SAMSU | * | 1 |  | 1 | 2500 | 2500
# | LAB | OVEN | INDIAN | * |  | 1 | 1 | 4500 | 4500
# |  | AUTO ANALYSER | ROBONIK | A90460914RBK | 1 |  | 1 | 200000 | 200000
# |  | MICROSCOPE(BINOCULAR) | QUASMO | * | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE(BINOCULAR) | QUASMO | * |  | 1 | 1 | 30000 | 30000
# |  | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# |  | COLORIMETER | SYSTONIK | * | 1 |  | 1 | 1400 | 1400
# |  | ADULT WEIGHING MACHINE | SASMO | * | 1 |  | 1 | 2500 | 2500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | DEEP FREEZER | UNICEF | VESTFROST | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | VESTFROST | 1 |  | 1 | 250000 | 250000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 18
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 850050
* | Not Available |  |  |  | Total CMC Value |  |  |  | 59503.5

## PHC SIHORA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SIHORA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | COLD CHAIN ROOM | ILR | HAIER | BE0581E0100B288J1241 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | BE04G44E2600B2A8J0077 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | VESTFROST 24517758 | 1 |  | 1 | 250000 | 250000
# |  | BP APPARATUS | NAMATT | * |  | 1 | 1 | 650 | 650
# | STORE ROOM | REFRIGERATOR | VIDEOCON | VAE19312009 | 1 |  | 1 | 15000 | 15000
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | SS TECHNOMED | TAINA/RW1723SST/1RW/11-12/198 | 1 |  | 1 | 38000 | 38000
# | OT | AUTO CLAVE | INDIAN | * |  | 1 | 1 | 65000 | 65000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | BP APPARATUS | EGLITE | 50A-BP-1003 | 1 |  | 1 | 650 | 650
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 962800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 67396

## CHC RAHATGARH
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC RAHATGARH
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | NEEDLE CUTTER | DUSTRAY | * | 1 |  | 1 | 1200 | 1200
# |  | BABY WEIGHING MACHINE | POWER TECH | * | 1 |  | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE | SUVARNA | * | 1 |  | 1 | 3500 | 3500
# |  | SUCTINE MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | ZEAL MEDITECH | * | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | ZEAL MEDITECH | * | 1 |  | 1 | 15500 | 15500
# | OT | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | GLUCOMETER | ACCUCHEK | ACTIVE 55309236266 | 1 |  | 1 | 1500 | 1500
# | LAB | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | AUTO ANALYSER | ROBONIK | AT0470914RBK | 1 |  | 1 | 200000 | 200000
# |  | MICROSCOPE(BINOCULAR) | INDIAN | 2967 | 1 |  | 1 | 30000 | 30000
# |  | COLORIMETER | QUASMO | * | 1 |  | 1 | 1400 | 1400
# |  | MICROSCOPE(MONOCULAR) | SYSTONIK | 5-91013034954 | 1 |  | 1 | 18500 | 18500
# | VACCINE ROOM | ILR | UNICEF | VESTFROST65115085 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | BE04G4E260-6M2A7-50010 | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | VESTFROST 65113256 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | BE04F0E0100B293R0004 | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | 20031501996 | 1 |  | 1 | 250000 | 250000
# |  | RADIANT WARMER | PHEONIX | PLA-RG123 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | * | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | * | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | * | 1 |  | 1 | 38000 | 38000
# |  | NEEDLE CUTTER | DUSTRAY | * |  | 1 | 1 | 1200 | 1200
# |  | NEEDLE CUTTER | NULIFE | * | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS | EECO | * | 1 |  | 1 | 650 | 650
# |  | LABOUR TABLE | * | * | 1 |  | 1 | 14000 | 14000
# |  | BP APPARATUS | OMRON | HEM-711120120433863VG | 1 |  | 1 | 650 | 650
# |  | REFRIGERATOR | VIDEOCON | * | 1 |  | 1 | 15000 | 15000
# | X-RAY ROOM | X-RAY MACHINE | SIEMENS | 5201017 318524 |  | 1 | 1 | 450000 | 450000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 37
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1903200
* | Not Available |  |  |  | Total CMC Value |  |  |  | 133224

## PHC AGASAUD
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC AGASAUD
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# |  | BP APPARATUS | NAMATT | 63327 | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 | 1 | 3500 | 3500
# |  | BP APPARATUS | NAMATT | * |  | 1 | 1 | 650 | 650
# |  | REFRIGERATOR | GODREJ | * | 1 |  | 1 | 15000 | 15000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 57800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 4046

## CHC MALTHONE
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC MALTHONE
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LAB | ANALYSER | ROBONIK | AT0450914RBK | 1 |  | 1 | 200000 | 200000
# |  | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | MICROSCOPE(BOINOCULAR) | OLYMPUS | 21719 | 1 |  | 1 | 30000 | 30000
# |  | COLORIMETER | SYSTONIK | S-91013034946 | 1 |  | 1 | 1400 | 1400
# |  | REFRIGERATOR | ELECTROLUX | * | 1 |  | 1 | 15000 | 15000
# |  | GLUCOMETER | ACCUCHEK | GG03592569 | 1 |  | 1 | 1500 | 1500
# |  | WATER BATH | INDIAN | * |  | 1 | 1 | 4500 | 4500
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | * | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | * | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | * | 1 |  | 1 | 38000 | 38000
# | STORE ROOM | REFRIGERATOR | VIDEOCON | * | 1 |  | 1 | 15000 | 15000
# |  | REFRIGERATOR | VIDEOCON | * |  | 1 | 1 | 15000 | 15000
# | NRC | BABY WEIGHING MACHINE | PHEONIX | * | 1 |  | 1 | 3500 | 3500
# |  | REFRIGERATOR | WHIRLPOOL | * | 1 |  | 1 | 15000 | 15000
# | OT | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | OPD | BP APPARATUS | DIAMOND | 814 | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | EXTRACARE | A/C130001033 | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | RADIANT WARMER | SS TEHCNOMED | TIANA-1RW1723SSTARW/11-12/552 | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | SMART CARE | * | 1 |  | 1 | 35000 | 35000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | OT LIGHT | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | ADULT WEIGHING MACHINE | KRUPS | * | 1 |  | 1 | 2500 | 2500
# |  | NEEDLE CUTTER | INDIAN | * | 1 |  | 1 | 1200 | 1200
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | X-RAY ROOM | X-RAY MACHINE | SIEMENS | 520101 7916524 | 1 |  | 1 | 450000 | 450000
# |  | ILR | UNICEF | VESTFROST 20013902409 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | VESTFROST 65114904 | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | VESTFROST 24525312 |  | 1 | 1 | 250000 | 250000
# |  | BP APPARATUS | DIAMOND | DELUX 0196043 |  | 1 | 1 | 650 | 650
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 36
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2043050
* | Not Available |  |  |  | Total CMC Value |  |  |  | 143013.5

## PHC BANDRI
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BANDRI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | STERLIZER | INDIAN | * |  | 1 | 1 | 6500 | 6500
# | # | ILR | HAIER | BS07F4E0N0102AH | 1 |  | 1 | 250000 | 250000
# | # | DEEP FREEZER | UNICEF | VESTFROST 65114904 | 1 |  | 1 | 250000 | 250000
# | # | REFRIGERATOR | WHIRLPOOL | * | 1 |  | 1 | 15000 | 15000
# | # | BP APPARATUS | DIAMOND | * | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | RADIANT WARMER | INDIAN | * |  | 1 | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | SMART CARE | * | 1 |  | 1 | 3500 | 3500
# |  | NEEDLE CUTTER | HOUMOSAFE | * | 1 |  | 1 | 1200 | 1200
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | GLUCOMETER | INDIAN | B103BA-14F1-0374 | 1 |  | 1 | 1500 | 1500
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | INDIAN | * |  | 1 | 1 | 14000 | 14000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | AUTO CLAVE | INDIAN | * |  | 1 | 1 | 65000 | 65000
# |  | AUTO CLAVE | INDIAN | * |  | 1 | 1 | 65000 | 65000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 17
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 834850
* | Not Available |  |  |  | Total CMC Value |  |  |  | 58439.5

## PHC RAJWANS
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC RAJWANS
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | BP APPARATUS | OMRON | HEM-871220131101652VGI | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | REFRIGERATOR | WHIRLPOOL | DC19/2013 |  | 1 | 1 | 15000 | 15000
# | LAB | MICROSCOPE(BINOCULAR) | OLYMPUS | 99073 | 1 |  | 1 | 30000 | 30000
# |  | BP APPARATUS | GOLD SUPREME | 98102983 |  | 1 | 1 | 650 | 650
# |  | COLORIMETER | SYSTONIC | 5-91013039973 | 1 |  | 1 | 1400 | 1400
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 7
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 65200
* | Not Available |  |  |  | Total CMC Value |  |  |  | 4564

## PHC RODA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC RODA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | ADULT WEIGHING MACHINE | HEALTH METER | * | 1 |  | 1 | 2500 | 2500
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 2
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 6000
* | Not Available |  |  |  | Total CMC Value |  |  |  | 420

## PHC BARODIA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BARODIA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | LABOUR TABLE | IMDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | SUCTION MACHINE | IMDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | SUVARNA | * | 1 |  | 1 | 3500 | 3500
# |  | ADULT WEIGHING MACHINE | LIBNE | * | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS | INDIAN | * |  | 1 | 1 | 650 | 650
# | VACCINE ROOM | ILR | HAIER | BE07F4E0N0-0B2A8R-0035 | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | VESTFROST 91209225 |  | 1 | 1 | 250000 | 250000
# |  | BP APPARATUS | OMRON | HEM-871220131100184VGI | 1 |  | 1 | 650 | 650
# |  | DEEP FREEZER | HAIER | BE04G0E010082969004 | 1 |  | 1 | 250000 | 250000
# |  | REFRIGERATOR | WHIRLPOOL | * | 1 |  | 1 | 15000 | 15000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 12
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 864300
* | Not Available |  |  |  | Total CMC Value |  |  |  | 60501

## CHC GARHAKOTA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC GARHAKOTA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | NRC | BABY WEIGHING MACHINE | INDIAN | * | 1 |  | 1 | 3500 | 3500
# |  | ADULT WEIGHING MACHINE | SAMSO | * | 1 |  | 1 | 2500 | 2500
# |  | REFRIGERATOR | VIDEOCON | D-245DX | 1 |  | 1 | 15000 | 15000
# | OT | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | PAGODA | 183853 | 1 |  | 1 | 650 | 650
# | STORE | REFRIGERATOR | SAMSUNG | RR1914BC-ARH/TL12014 | 1 |  | 1 | 15000 | 15000
# | LAB | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# |  | ANALYSER | RAYTO | RT-1904C401502007E | 1 |  | 1 | 200000 | 200000
# |  | COLORIMETER | SYSTONIC | S-91013034962 | 1 |  | 1 | 1400 | 1400
# |  | MICROSCOPE(BINOCULAR) | OLYMPUS | 21725 | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE(MONOCULAR) | OLYMPUS | 227458 | 1 |  | 1 | 18500 | 18500
# |  | COLORIMETER | LABMED | * | 1 |  | 1 | 1400 | 1400
# |  | GLUCOMETER | CODEFREE | M08B10EAA08295 | 1 |  | 1 | 1500 | 1500
# |  | NEEDLE CUTTER | HL HEOMOSAFE | * | 1 |  | 1 | 1200 | 1200
# | VACCINE ROOM | ILR | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | VESTFROST 91004475 | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | BE0581E010B288J1385 | 1 |  | 1 | 250000 | 250000
# | OPD | BP APPARATUS | NAMATT | 63410 | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | BABY WEIGHING MACHINE | SMART CARE | * | 1 |  | 1 | 3500 | 3500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | OT LIGHT | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA IRW 1723 |  | 1 | 1 | 38000 | 38000
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 34
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 1839300
* | Not Available |  |  |  | Total CMC Value |  |  |  | 128751

## CHC KESLI
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC KESLI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | VACCINE ROOM | DEEP FREEZER | UNICEF | 64918515 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | BE04T4E260082A8J00140 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | 91005229 | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | 65115269 | 1 |  | 1 | 250000 | 250000
# | LAB | CALORIMETER | SYSTONIC | 5-91013034952 | 1 |  | 1 | 1400 | 1400
# |  | AUTO ANALYSER | ROBONIK | AT0420914RBK | 1 |  | 1 | 200000 | 200000
# |  | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | INDIAN | * |  | 1 | 1 | 650 | 650
# |  | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# |  | MICROSCOPE(BINOCULAR) | OLYMPUS | * | 1 |  | 1 | 30000 | 30000
# |  | GLUCOMETER | ACCUCHEK | * | 1 |  | 1 | 1500 | 1500
# |  | INCUBATOR | INDIAN | * |  | 1 | 1 | 375000 | 375000
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | BP APPARATUS | SUPREME | T6100262 | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | PHEOLIX | 13J0152 |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | SUPREME | GOLD 98119231 |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | NAMATT | 63431 |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | SUPREME | GOLD 98110854 |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | NAMATT | 33008 |  | 1 | 1 | 650 | 650
# |  | REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# |  | BP APPARATUS | ELITE | * |  | 1 | 1 | 650 | 650
# | LABOUR ROOM | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# |  | OT LIGHT | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | BP APPARATUS | DIAMOND | REGULAR 32301 | 1 |  | 1 | 650 | 650
# | OT | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | RADIANT WARMER | PHEONIX | * | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | * | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | * | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | * | 1 |  | 1 | 38000 | 38000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 40
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2311250
* | Not Available |  |  |  | Total CMC Value |  |  |  | 161787.5

## PHC TADA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC TADA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | NEEDLE CUTTER | DUSTRAY | * | 1 |  | 1 | 1200 | 1200
# | # | BP APPARATUS | NOSSMAX | 120014 | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | BP APPARATUS | ECOMETER | * | 1 |  | 1 | 650 | 650
# |  | REFRIGERATOR | KELVINATOR | NUTRICOOL | 1 |  | 1 | 15000 | 15000
# |  | ILR | UNICEF | VETSFROST 20013902716 |  | 1 | 1 | 250000 | 250000
# | STORE | CALORIMETER | INDIAN | S-91013034987 | 1 |  | 1 | 1400 | 1400
# |  | MICROSCOPE(BINOCULAR) | OLMPUS | 82860 | 1 |  | 1 | 30000 | 30000
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | GLUCOMETER | DR. MOREPEN | BG-03 | 1 |  | 1 | 1500 | 1500
# |  | ADULT WEIGHING MACHINE | SAMSO | * | 1 |  | 1 | 2500 | 2500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 13
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 388900
* | Not Available |  |  |  | Total CMC Value |  |  |  | 27223

## CHC JAISI NAGAR
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC JAISI NAGAR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | DIAMOND | 15120002100 025 | 1 |  | 1 | 650 | 650
# | # | BP APPARATUS | NAMATT | 63487 | 1 |  | 1 | 650 | 650
# | LAB | AUTO ANALYSER | ROBONIK | AT0480914RBK | 1 |  | 1 | 200000 | 200000
# |  | REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# |  | CALORIMETER | SYSTONIK | S-91013034953 | 1 |  | 1 | 1400 | 1400
# |  | OVEN | INDIAN | * | 1 |  | 1 | 4500 | 4500
# |  | MICROSCOPE(MONUCULAR) | OLYMPUS | 227456 | 1 |  | 1 | 18500 | 18500
# |  | GLUCOMETER | COMFORT | 82114079621 | 1 |  | 1 | 1500 | 1500
# | LABOUR ROOM | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# |  | OT LIGHT | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | DR. TRUST | * | 1 |  | 1 | 650 | 650
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | X-RAY MACHINE | GEELPRO | GRID/90-2R | 1 |  | 1 | 450000 | 450000
# | OT ROOM | AUTO CLAVE | INDIAN | * |  | 1 | 1 | 65000 | 65000
# |  | BP APPARATUS | DIAMOND | DELUX 29731 | 1 |  | 1 | 650 | 650
# |  | AUTO CLAVE | INDIAN | * |  | 1 | 1 | 65000 | 65000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# | VACCINE ROOM | DEEP FREEZER | HAIER | BE04G4E2600B2A8H0035 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | ROCKWELL 7804 | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | VESTFROST 24511171 | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | VESTFROST 20013902512 | 1 |  | 1 | 250000 | 250000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 28
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2131000
* | Not Available |  |  |  | Total CMC Value |  |  |  | 149170

## PHC KANNARPUR
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KANNARPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | NAMATT | 63341 | 1 |  | 1 | 650 | 650
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# | OT | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 5
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 109150
* | Not Available |  |  |  | Total CMC Value |  |  |  | 7640.5

## PHC CHAKERA VIVEKA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC CHAKERA VIVEKA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
CLOSED AT 9:20 AM
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 0
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available |  |  |  | Total CMC Value |  |  |  | 0

## CHC BANDA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC BANDA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | MINOR OT | BP APPARATUS | DIAMOND | REGULAR 39188 | 1 |  | 1 | 650 | 650
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | BP APPARATUS | DIAMOND | * |  | 1 | 1 | 650 | 650
# |  | STERLIZER | INDIAN | * |  | 1 | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * |  | 1 | 1 | 65000 | 65000
# |  | REFRIGERATOR | VEDIOCON | CHILL MATE | 1 |  | 1 | 15000 | 15000
# | LABOUR ROOM | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA -IRW 1733 SSTHRW/11-12/209 | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | A.N.C | BP APPARATUS | DIAMOND | DELUX 53096 | 1 |  | 1 | 650 | 650
# | N.R.C | BABY WEIGHING MACHINE | INDIAN | * | 1 |  | 1 | 3500 | 3500
# |  | REFRIGERATOR | VIDEOCON | * | 1 |  | 1 | 15000 | 15000
# |  | NEBULIZER | HADNY NUB | * | 1 |  | 1 | 6500 | 6500
# | LAB | MICROSCOPE(MONOCULAR) | OLYMPUS | 22069 |  | 1 | 1 | 18500 | 18500
# |  | MICROSCOPE(BINOCULAR) | OLYMPUS | VISION 200022063 | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE | REMI MOTORS | * | 1 |  | 1 | 6500 | 6500
# |  | WATER BATH | INDIAN | * | 1 |  | 1 | 4500 | 4500
# |  | REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# |  | ANALYSER | ROBONIK | AT040094RBK | 1 |  | 1 | 200000 | 200000
# |  | X--RAY MACHINE | ALLENNGERS | 2K150501840FE | 1 |  | 1 | 450000 | 450000
# |  | ECG MACHINE | INDIAN | * |  | 1 | 1 | 52000 | 52000
# |  | ILR | HAIER | HBD-116/BE404G0E0100B29600166 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | VESTFROST | 1 |  | 1 | 250000 | 250000
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | GLUCOMETER | ACCUCHEK | ACTIVE | 1 |  | 1 | 1500 | 1500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 32
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2010450
* | Not Available |  |  |  | Total CMC Value |  |  |  | 140731.5

## PHC BRAITHA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BRAITHA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | ADULT WEIGHING MACHINE | SAMSO | * | 1 |  | 1 | 2500 | 2500
# | # | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | NEEDLE CUTTER | INDIAN | * | 1 |  | 1 | 1200 | 1200
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | BP APPARATUS | VITAL | LA-578 | 1 |  | 1 | 650 | 650
# | # | BP APPARATUS | SUMO | SBP-4006 |  | 1 | 1 | 650 | 650
# | # | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# | # | REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 57000
* | Not Available |  |  |  | Total CMC Value |  |  |  | 3990

## CHC SHAHGARH
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC SHAHGARH
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | GENERAL OPD | BP APPARATUS | SUPREME | GOLD 98110771 | 1 |  | 1 | 650 | 650
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | ADULT WEIGHING MACHINE | SAMSO | * | 1 |  | 1 | 2500 | 2500
# | OT | BP APPARATUS | GISSION | BPM131201 | 1 |  | 1 | 650 | 650
# |  | STERLIZER | INDIAN | * |  | 1 | 1 | 6500 | 6500
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | LABOUR ROOM | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | OT LIGHT | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | BP APPARATUS | MEDICHEK | * |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | MEDICHEK | * |  | 1 | 1 | 650 | 650
# | LAB | MICROSCOPE(MONOCULAR) | OLYMPUS | 24649 | 1 |  | 1 | 18500 | 18500
# |  | MICROSCOPE(BINOCULAR) | OLYMPUS | * | 1 |  | 1 | 30000 | 30000
# |  | AUTO ANALYSER | ROBONIK | AT0390914RBK | 1 |  | 1 | 200000 | 200000
# |  | CENTRIFUGE | REMI MOTORS | * | 1 |  | 1 | 6500 | 6500
# |  | REFRIGERATOR | GODREJ | AXIS | 1 |  | 1 | 15000 | 15000
# |  | CALORIMETER | SYSTONIC | S-910 | 1 |  | 1 | 1400 | 1400
# |  | INCUBATOR | INDIAN | * | 1 |  | 1 | 375000 | 375000
# | NBSU | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | ILR | HAIER | HBC-70BE0714E0NO | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | 65113708 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | VESTFROST 65115042 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | VESTFROST 31600708 | 1 |  | 1 | 250000 | 250000
# |  | REFRIGERATOR | VIDEOCON | D245DX | 1 |  | 1 | 15000 | 15000
# | X-RAY ROOM | X-RAY MACHINE | INDIAN | * | 1 |  | 1 | 450000 | 450000
# | N.R.C | BABY WEIGHING MACHINE | PHEONIX | * | 1 |  | 1 | 3500 | 3500
# |  | ADULT WEIGHING MACHINE | SUVARNA | * | 1 |  | 1 | 2500 | 2500
# |  | REFRIGERATOR | GODREJ | AXIS | 1 |  | 1 | 15000 | 15000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 36
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2568000
* | Not Available |  |  |  | Total CMC Value |  |  |  | 179760

## CHC REHLI
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC REHLI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | BP APPARATUS | DIAMOND | * | 1 |  | 1 | 650 | 650
# | LAB | CENTRIFUGE | DUSTRAY | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | INDIAN | * | 1 |  | 1 | 1200 | 1200
# |  | REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# |  | MICROSCOPE(BINOCULAR) | OLYMPUS | 21726 | 1 |  | 1 | 30000 | 30000
# |  | GLUCOMETER | DR. MOREPEN | * | 1 |  | 1 | 1500 | 1500
# |  | ADULT WEIGHING MACHINE | SAMSO | BG-03 | 1 |  | 1 | 2500 | 2500
# |  | AUTO ANALYSER | INDIAN | AT-6440914RBK | 1 |  | 1 | 200000 | 200000
# |  | CALORIMETER | SYSTONIC | S-71013034973 |  | 1 | 1 | 1400 | 1400
# |  | CALORIMETER | SYSTONIC | * |  | 1 | 1 | 1400 | 1400
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | PHEONIX | PLA/RG-23 | 1 |  | 1 | 38000 | 38000
# |  | BP APPARATUS | DIAMOND | REGULAR 36365 | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | DIAMOND | REGULAR 30424 | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 | 1 | 3500 | 3500
# | OT | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * | 1 |  | 1 | 45000 | 45000
# |  | AUTO CLAVE | INDIAN | * |  | 1 | 1 | 65000 | 65000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | REFRIGERATOR | VIDEOCON | * | 1 |  | 1 | 15000 | 15000
# |  | REFRIGERATOR | GODREJ | * | 1 |  | 1 | 15000 | 15000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 28
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 703950
* | Not Available |  |  |  | Total CMC Value |  |  |  | 49276.5

## PHC CHILLARI
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC CHILLARI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | DIAMOND | * | 1 |  | 1 | 650 | 650
# | # | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | STERLIZER | INDIAN | * |  | 1 | 1 | 6500 | 6500
# | # | REFRIGERATOR | GODREJ | * | 1 |  | 1 | 15000 | 15000
# | # | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# | # | ADULT WEIGHING MACHINE | SAMSO | * | 1 |  | 1 | 2500 | 2500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 6
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 45150
* | Not Available |  |  |  | Total CMC Value |  |  |  | 3160.5

## PHC CHHULA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC CHHULA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | REFRIGERATOR | GODREJ | * | 1 |  | 1 | 15000 | 15000
# | LABOUR ROOM | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | ADULT WEIGHING MACHINE | SMART CARE | * | 1 |  | 1 | 2500 | 2500
# |  | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | BP APPARATUS | DIAMOND | * |  | 1 | 1 | 650 | 650
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 6
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 42150
* | Not Available |  |  |  | Total CMC Value |  |  |  | 2950.5

## PHC BHILERA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BHILERA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | NEEDLE CUTTER | DUSTRAY | * | 1 |  | 1 | 1200 | 1200
# | # | BP APPARATUS | DIAMOND | REGULAR 16182 | 1 |  | 1 | 650 | 650
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | LABOUR TABLE | INDIAN | * |  | 1 | 1 | 14000 | 14000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 162350
* | Not Available |  |  |  | Total CMC Value |  |  |  | 11364.5

## PHC GUNJARA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC GUNJARA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OPD | BP APPARATUS | ASPEN | BF1110 | 1 |  | 1 | 650 | 650
# | LABOUR TABLE | LABOUR TABLE | INDIAN | * | 1 |  | 1 | 14000 | 14000
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# |  | NEBULIZER | NICENEB | VM-17 | 1 |  | 1 | 6500 | 6500
# |  | GLUCOMETER | ACCUCHEK | * | 1 |  | 1 | 1500 | 1500
# |  | SUCTION MACHINE | * | * | 1 |  | 1 | 6500 | 6500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 7
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 47650
* | Not Available |  |  |  | Total CMC Value |  |  |  | 3335.5

## PHC DEORI
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DEORI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | RADIANT WARMER | HICARE | 1W4100NTD102K130110 | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | MISOKI | * | 1 |  | 1 | 3500 | 3500
# |  | SUCTION MACHINE | INDIAN | MSI/R082 | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MICROSIL | * | 1 |  | 1 | 1200 | 1200
# |  | STERLIZER | INDIAN | * | 2 |  | 2 | 6500 | 13000
# |  | ILR | HAIER | BE0581E0100B-288 | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | BE07F4E0 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | BE04G0E010 | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | BE0581E0100B-288 | 1 |  | 1 | 250000 | 250000
# | X-RAY ROOM | X-RAY MACHINE | ALLENGERS | MARS-6R | 1 |  | 1 | 450000 | 450000
# |  | X-RAY MACHINE | SIENENS | 5201/011627 |  | 1 | 1 | 450000 | 450000
# | N.R.C | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | NEEDLE CUTTER | MICROSIL | * | 1 |  | 1 | 1200 | 1200
# | S.N.C.U | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# | OT | AUTO CLAVE(VERTICAL) | INDIAN | * | 2 |  | 2 | 65000 | 130000
# | LAB | SEMI AUTO ANALYSER | BOENIK | A1-043914RB-K | 1 |  | 1 | 200000 | 200000
# |  | MICROSCOPE | ALYMPUS | 82875 | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE | ALYMPUS | 82826 | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | PRONEB | * | 1 |  | 1 | 6500 | 6500
# | FEMALE WARD | BP APPARATUS | DIAMOND | 17145 | 1 |  | 1 | 650 | 650
# |  | FETAL DOPPLER | NIDEK | 212FQ332663 | 1 |  | 1 | 80000 | 80000
# |  | BP APPARATUS | DIAMOND | 141747 | 1 |  | 1 | 650 | 650
# |  | RADIANT WARMER | HEALTH CARE | NT.D102K130110126/0 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | HEALTH CARE | 110/26/02 |  | 1 | 1 | 38000 | 38000
# |  | RADIANT WARMER | HEALTH CARE | 110/26/01 | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 31
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 2619700
* | Not Available |  |  |  | Total CMC Value |  |  |  | 183379

## CHC SURKHI
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC SURKHI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | STERLIZER | INDIAN | * |  | 3 | 3 | 6500 | 19500
# | # | MICROSCOPE | PUNJAB SCIENTIFIC | * |  | 1 | 1 | 30000 | 30000
# | # | MICROSCOPE(MONOCULAR) | MAGNUS | MLXR/5908 |  | 1 | 1 | 18500 | 18500
# | # | MICROSCOPE(MONOCULAR) | AJAY OPTIC | 9010250 |  | 1 | 1 | 18500 | 18500
# | # | MICROSCOPE(MONOCULAR) | OLYMPUS | * |  | 1 | 1 | 18500 | 18500
# | # | REFRIGERATOR | VIDEOCON | * | 1 |  | 1 | 15000 | 15000
# | # | SEMI AUTO ANALYSER | ROBONIK | AT04190141RBK | 1 |  | 1 | 200000 | 200000
# | # | GLUCOMETER | ACCUCHEK | GU02719002 | 1 |  | 1 | 1500 | 1500
# | # | GLUCOMETER | ACCUCHEK | 59105094955 | 1 |  | 1 | 1500 | 1500
# | # | WATER BATH | INDIAN | * | 1 |  | 1 | 4500 | 4500
# | # | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | BP APPARATUS | GOLD SUPREME | * | 1 |  | 1 | 650 | 650
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | SOPT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | RADIANT WARMER | SS TECHNOMED | * | 1 |  | 1 | 38000 | 38000
# | # | AUTO CLAVE(VERTICAL) | INDIAN | * |  | 2 | 2 | 65000 | 130000
# | # | SOPT LIGHT | INDIAN | * |  | 1 | 1 | 6500 | 6500
# | # | BP APPARATUS | DIAMOND | * |  | 1 | 1 | 650 | 650
# | # | AUTO CLAVE(COOKER TYPE) | INDIAN | * |  | 1 | 1 | 65000 | 65000
# | # | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | SUCTION MACHINE | INDIAN | * |  | 1 | 1 | 6500 | 6500
# | # | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | FUMIGATOR | INDIAN | * | 1 |  | 1 | 4500 | 4500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 26
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 608800
* | Not Available |  |  |  | Total CMC Value |  |  |  | 42616

## PHC DHANA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DHANA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | BP APPARATUS | DIAMOND | * | 3 |  | 3 | 650 | 1950
# | # | STERLIZER | DIAMOND | * | 1 |  | 1 | 6500 | 6500
# | # | AUTO CLAVE(COOKER TYPE) | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | ADULT WEIGHING MACHINE | SAMSO | * | 1 |  | 1 | 2500 | 2500
# | # | DEEP FREEZER | HAIER | HBC-70 | 1 |  | 1 | 250000 | 250000
# | # | BP APPARATUS | DIAMOND | * |  | 1 | 1 | 650 | 650
# | # | ILR | HAIER | * | 1 |  | 1 | 250000 | 250000
# | # | REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# | # | NEEDLE CUTTER | MCP | * | 1 |  | 1 | 1200 | 1200
# | # | FUMIGATOR | INDIAN | * | 1 |  | 1 | 4500 | 4500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 607300
* | Not Available |  |  |  | Total CMC Value |  |  |  | 42511

## PHC MAHARAJPUR
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC MAHARAJPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | WEIGHING MACHINE | KRUPS | * | 1 |  | 1 | 2500 | 2500
# | # | BP APPARATUS | NAMATT | * | 1 |  | 1 | 650 | 650
# | # | REFRIGERATOR | VIDEOCON | * |  | 1 | 1 | 15000 | 15000
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | DEEP FREEZER | HAIER | HBD116 | 1 |  | 1 | 250000 | 250000
# | # | ILR | UNICEF | * | 1 |  | 1 | 250000 | 250000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 7
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 528150
* | Not Available |  |  |  | Total CMC Value |  |  |  | 36970.5

## PHC GOURJHAMAR
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC GOURJHAMAR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | AUTO CLAVE(VERTICAL) | INDIAN | * |  | 1 | 1 | 65000 | 65000
# | # | SPOT LIGHT | INDIAN | * |  | 1 | 1 | 6500 | 6500
# | # | REFRIGERATOR | VIDEOCON | * | 1 |  | 1 | 15000 | 15000
# | # | NEEDLE CUTTER | MICROSIL | * | 1 |  | 1 | 1200 | 1200
# | # | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | ILR | UNICEF | MK-142/25116751 | 1 |  | 1 | 250000 | 250000
# | # | DEEP FREEZER | HAIER | * | 1 |  | 1 | 250000 | 250000
# | # | BP APPARATUS | GOLD SUPREME | * |  | 1 | 1 | 650 | 650
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 604850
* | Not Available |  |  |  | Total CMC Value |  |  |  | 42339.5

## PHC BARKOTI
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BARKOTI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | DIAMOND | * |  | 2 | 2 | 650 | 1300
# | # | BP APPARATUS | KARMA | 271401377 | 1 |  | 1 | 650 | 650
# | # | BP APPARATUS | DOCTOR | * |  | 1 | 1 | 650 | 650
# | # | SPOT LIGHT | INDIAN | * |  | 1 | 1 | 6500 | 6500
# | # | AUTO CLAVE(COOKER TYPE) | INDIAN | * |  | 1 | 1 | 65000 | 65000
# | # | REFRIGERATOR | VIDEOCON | * |  | 1 | 1 | 15000 | 15000
# | # | REFRIGERATOR | KELVINATOR | * | 1 |  | 1 | 15000 | 15000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 104100
* | Not Available |  |  |  | Total CMC Value |  |  |  | 7287

## CHC KHURAI
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC KHURAI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | OT | STERILIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | BP APPARATUS | DIAMOND | * | 1 |  | 1 | 650 | 650
# |  | MULTIPARA MONITOR | MOETROS | IRIS-50110497007 | 1 |  | 1 | 80000 | 80000
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | ANNESTHEISA MACHINE | ALLIED | * | 1 |  | 1 | 450000 | 450000
# |  | ANNESTHEISA MACHINE | ETHER | * | 1 |  | 1 | 450000 | 450000
# | LABOUR ROOM | STERLIZER | INDIAN | * | 2 |  | 2 | 6500 | 13000
# |  | AUTO CLAVE(VERTICAL) | INDIAN | * | 2 |  | 2 | 65000 | 130000
# |  | FUMIGATOR | INDIAN | * | 1 |  | 1 | 4500 | 4500
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# |  | REFRIGERATOR | LG | * | 1 |  | 1 | 15000 | 15000
# |  | FETAL DOPPLER | EASY CARE | ECF DT-106 | 1 |  | 1 | 80000 | 80000
# |  | WEIGHING MACHINE | PHEONIX | * |  | 1 | 1 | 2500 | 2500
# |  | GLUCOMETER | DR. MOREPEN | BG-03 | 1 |  | 1 | 1500 | 1500
# |  | REFRIGERATOR | VIDEOCON | * | 1 |  | 1 | 15000 | 15000
# | PATHOLOGY LAB | MICROSCOPE(BINOCULAR) | LABOMED | VISSION-20003002 | 1 |  | 1 | 30000 | 30000
# |  | MICROSCOPE(MONOCULAR) | OLYMPUS | OIC83003 | 1 |  | 1 | 18500 | 18500
# |  | CENTRIFUGE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | INCUBATOR | SONAS | * | 1 |  | 1 | 375000 | 375000
# |  | BBR | HITECH | * |  | 2 | 2 | 250000 | 500000
# |  | ILR | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | SEMI AUTO ANALYSER | MERCK | MICROLAB-300 | 1 |  | 1 | 200000 | 200000
# |  | SEMI AUTO ANALYSER | RAYTO | RT-1904C | 1 |  | 1 | 200000 | 200000
# |  | CALORIMETER | EI | * |  | 1 | 1 | 1400 | 1400
# |  | CALORIMETER | SYSTONIC | * | 1 |  | 1 | 1400 | 1400
# | X-RAY ROOM | X-RAY MACHINE | ALLENGERS | A-300 | 1 |  | 1 | 450000 | 450000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 32
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 3339450
* | Not Available |  |  |  | Total CMC Value |  |  |  | 233761.5

## NEW DISTRICT HOSPITAL SAUGOR
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | NEW DH SAGAR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | LABOUR ROOM | RADIANT WARMER | SS TECHNOMED | * | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE | MEDE VAC | * | 2 |  | 2 | 6500 | 13000
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | INDIAN | * | 1 |  | 1 | 3500 | 3500
# |  | FETAL DOPPLER | BPL | DTB4L12339 | 1 |  | 1 | 80000 | 80000
# |  | BP APPARATUS | DR. GENE | * | 1 |  | 1 | 650 | 650
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | SUPREME INTERPRISES | * | 1 |  | 1 | 6500 | 6500
# |  | SPO2 METER | INDIAN | * | 1 |  | 1 | 54000 | 54000
# |  | REFRIGERATOR | VIDEOCON | * | 1 |  | 1 | 15000 | 15000
# | OT | CAUTERY MACHINE | L&T | * | 1 |  | 1 | 160000 | 160000
# |  | CAUTERY MACHINE | NEW PARCHA | * | 1 |  | 1 | 160000 | 160000
# |  | SUCTION MACHINE | SUPREME INTERPRISES | * | 2 |  | 2 | 6500 | 13000
# |  | RADIANT WARMER | SS TECHNOMED | * | 1 |  | 1 | 38000 | 38000
# |  | SPO2 METER | INDIAN | * | 1 |  | 1 | 54000 | 54000
# | X-RAY ROOM | X-RAY MACHINE | ALLENGERS | * | 1 |  | 1 | 450000 | 450000
# |  | X-RAY MACHINE | ALLENGERS | * | 1 |  | 1 | 450000 | 450000
# |  | X-RAY MACHINE | ALPRO | * | 1 |  | 1 | 450000 | 450000
# |  | X-RAY MACHINE | SIEMENS | * | 1 |  | 1 | 450000 | 450000
# |  | X-RAY MACHINE | SIEMENS | * | 1 |  | 1 | 450000 | 450000
# |  | ULTRASOUND MACHINE | L&T | * |  | 1 | 1 | 450000 | 450000
# |  | ULTRASOUND MACHINE | SONOSCOPE | A-818007905 | 1 |  | 1 | 450000 | 450000
# | N.C.P | BP APPARATUS | GOLD SUPREME | * | 1 |  | 1 | 650 | 650
# | GENERAL OPD | BP APPARATUS | OMRON | HEM-817220150118243VGI | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | GOLD SUPREME | * | 1 |  | 1 | 650 | 650
# |  | GLUCOMETER | SD CODE FREE | MOF22AA1348 | 1 |  | 1 | 1500 | 1500
# |  | BP APPARATUS | OMRON | HEM-871220150108812VGI | 1 |  | 1 | 650 | 650
# | DENTAL OPD | DENTAL CHAIR | TECHNODENT | T-16 | 1 |  | 1 | 150000 | 150000
# |  | DENTAL CHAIR | ALPHA | * | 1 |  | 1 | 150000 | 150000
# |  | DENTAL CHAIR | INDIAN | * | 1 |  | 1 | 150000 | 150000
# |  | SUCTION MACHINE | DYNAMIC | * | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | HERMO SAFE | * | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS | DOCTOR | * | 1 |  | 1 | 650 | 650
# | ICTC | AUTO CLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# |  | MICROSCOPE(BINOCULAR) | LABOMED | * | 1 |  | 1 | 30000 | 30000
# |  | NEEDLE CUTTER | HERMO SAFE | * | 1 |  | 1 | 1200 | 1200
# |  | REFRIGERATOR | SAMSUNG | * | 1 |  | 1 | 15000 | 15000
# |  | MICROSCOPE | INDIAN | * | 1 |  | 1 | 30000 | 30000
# |  | HOT AIR OVEN | JINDEL | * | 1 |  | 1 | 4500 | 4500
# |  | VDRL | REMI | * | 1 |  | 1 | 4500 | 4500
# | MALE SURGICAL WARD | BP APPARATUS | HEALTH CARE | * | 1 |  | 1 | 650 | 650
# |  | SUCTION MACHINE | DYNAMIC | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MCP | * | 3 |  | 3 | 1200 | 3600
# |  | STERLIZER | INDIAN | * | 3 |  | 3 | 6500 | 19500
# |  | SUCTION MACHINE | SUPREME INTERPRISES | * | 3 |  | 3 | 6500 | 19500
# |  | AUTO CLAVE(VERTICAL) | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | NEBULIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | GOLD SUPREME | * | 1 |  | 1 | 650 | 650
# | MEDICAL WARD | SUCTION MACHINE | MEDICARE | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MCP | * | 1 |  | 1 | 1200 | 1200
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | GOLD SUPREME | * | 1 |  | 1 | 650 | 650
# |  | NEEDLE CUTTER | NULIFE | PCB-1049998 | 1 |  | 1 | 1200 | 1200
# | FEMALE MEDICAL WARD | SUCTION MACHINE | INDIAN | * | 2 |  | 2 | 6500 | 13000
# |  | BP APPARATUS | GOLD SUPREME | * | 1 |  | 1 | 650 | 650
# |  | NEEDLE CUTTER | INDIAN | * | 1 |  | 1 | 1200 | 1200
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | FOBIAS SRL | N-30 | 1 |  | 1 | 6500 | 6500
# |  | ECG MACHINE | BPL | CARDIART 108T | 1 |  | 1 | 52000 | 52000
# | MALE MEDICAL WARD | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MCP | * | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS | GOLD SUPREME | * | 1 |  | 1 | 650 | 650
# |  | NEBULIZER | MRK HEALTH CARE | HANDY NEB PCB 104997 | 1 |  | 1 | 6500 | 6500
# |  | ECG MACHINE | BPL | * |  | 1 | 1 | 52000 | 52000
# | PATHOLOGY LAB | CELL COUNTER | ERMA | PCE-21024345 | 1 |  | 1 | 350000 | 350000
# |  | INCUBATOR | INDIAN | * | 1 |  | 1 | 375000 | 375000
# |  | MICROSCOPE(MONOCULAR) | OPTIX | 4059 |  | 1 | 1 | 18500 | 18500
# |  | MICROSCOPE(MONOCULAR) | OLYMPUS | * | 1 |  | 1 | 18500 | 18500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | SEMI AUTO ANALYSER | RAYTO | RT-1904C40150E009E | 1 |  | 1 | 200000 | 200000
# |  | CALORIMETER | SYSTONIC | S-910 | 1 |  | 1 | 1400 | 1400
# |  | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | HERMO SAFE | * | 1 |  | 1 | 1200 | 1200
# |  | NEEDLE CUTTER | HERMO SAFE | * |  |  | 1 | 1200 | 1200
# |  | REFRIGERATOR | KELVINATOR | * | 1 |  | 1 | 15000 | 15000
# |  | REFRIGERATOR | GODREJ | * | 2 |  | 2 | 15000 | 30000
# |  | CALORIMETER | SYSTONIC | * |  | 5 | 5 | 1400 | 7000
# |  | NEEDLE CUTTER | INDIAN | * |  | 1 | 1 | 1200 | 1200
# |  | BIO CHEMISTRY ANALYSER | ERBA | CHEM 5X |  | 1 | 1 | 200000 | 200000
# |  | HOT AIR OVEN | INDIAN | * |  | 1 | 1 | 4500 | 4500
# |  | INCUBATOR | INDIAN | * | 1 |  | 1 | 375000 | 375000
# |  | WEIGHING MACHINE | INDIAN | * |  | 1 | 1 | 2500 | 2500
# |  | NEEDLE CUTTER | MCP | * |  | 1 | 1 | 1200 | 1200
# |  | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | SPO2 METER | MOESTROS | ASTER-20070552019 | 1 |  | 1 | 54000 | 54000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | MEDE VAC | * | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | MEDIGARD | 0.2 | 1 |  | 1 | 6500 | 6500
# |  | ADULT WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 2500 | 2500
# | N.R.C | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | MEDICARE | M-90178425 | 1 |  | 1 | 6500 | 6500
# |  | GLUCOMETER | ACCUCHEK | GG-04219710 | 1 |  | 1 | 1500 | 1500
# | GYNAE OPD | BP APPARATUS | OMRON | HEM-8712 | 1 |  | 1 | 650 | 650
# |  | WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS | DR. GENE | * | 1 |  | 1 | 650 | 650
# | ISOLATION WARD | SUCTION MACHINE | MEDE VAC | * | 1 |  | 1 | 6500 | 6500
# |  | VENTILATOR | DRAGGER | * | 1 |  | 1 | 600000 | 600000
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MEDITRIN | * | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS | GOLD SUPREME | * | 1 |  | 1 | 650 | 650
# |  | NEBULIZER | BIO-PLUS | * | 1 |  | 1 | 6500 | 6500
# | NEW PRIVATE WARD | BP APPARATUS | GOLD SUPREME | * | 1 |  | 1 | 650 | 650
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | HERMO SAFE | * | 1 |  | 1 | 1200 | 1200
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 122
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 7064650
* | Not Available |  |  |  | Total CMC Value |  |  |  | 494525.5

## DH SAGAR
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | DH SAGAR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | SNCU | RADIANT WARMER | SS TECHNOMED | SST/IRW11-12/205 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | SST/IRW/11-12/208 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | SST/IRW/11-12/200 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | SST/IRW/1723 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | 1195 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | SST/IRW/11-12/197 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | SST/IRW/11-12/199 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | SST/IRW/11-12/204 | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | PHOENIX MEDICAL SYSTEM | 2711 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX MEDICAL SYSTEM | 2716 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX MEDICAL SYSTEM | 2720 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX MEDICAL SYSTEM | 2719 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX MEDICAL SYSTEM | 2728 | 1 |  | 1 | 15500 | 15500
# |  | NEBULIZER | MEDIGAURD | * | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | * | * | 1 |  | 1 | 3500 | 3500
# |  | INFUSION PUMP | AKAS | 9131554 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | AKAS | K09131563 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | AKAS | K08131539 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | AKAS | K09131564 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | SIMTEK | 0951145A504 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | SIMTEK | 0951145A508 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | SIMTEK | 0951145A505 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | SIMTEK | 0951145A507 | 1 |  | 1 | 40000 | 40000
# |  | PULSE OXIMETER | CARTEC MEDICAL SYSTEM | 49 | 1 |  | 1 | 55000 | 55000
# |  | PATIENT MONITOR | CARTEC MEDICAL SYSTEM | 161 | 1 |  | 1 | 80000 | 80000
# |  | PATIENT MONITOR | CARTEC MEDICAL SYSTEM | 200147 | 1 |  | 1 | 80000 | 80000
# |  | PATIENT MONITOR | CARTEC MEDICAL SYSTEM | 47 | 1 |  | 1 | 80000 | 80000
# |  | INFUSION PUMP | AKAS | K08131544 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | AKAS | K08131523 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | AKAS | K08131544 | 1 |  | 1 | 40000 | 40000
# |  | INFUSION PUMP | AKAS | K09131552 | 1 |  | 1 | 40000 | 40000
# |  | RADIANT WARMER | SS TECHNOMED | 11-12/549 | 1 |  | 1 | 38000 | 38000
# |  | GLUCOMETER | SSD BIOSENSOR | 3F21F136 | 1 |  | 1 | 1500 | 1500
# |  | NEEDLE CUTTER | HL HOMEOSAFE | * | 1 |  | 1 | 1200 | 1200
# |  | PATIENT MONITOR | TECHNOCARE | TM9009C/1310C092 | 1 |  | 1 | 80000 | 80000
# |  | PATIENT MONITOR | TECHNOCARE | TM9000C1310C070 | 1 |  | 1 | 80000 | 80000
# |  | PULSE OXIMETER | CARTEC MEDICAL SYSTEM | CMS/5000 | 1 |  | 1 | 55000 | 55000
# |  | PATIENT MONITOR | SS TECHNOMED | 1307000025 | 1 |  | 1 | 80000 | 80000
# |  | PATIENT MONITOR | SS TECHNOMED | 13-720005 | 1 |  | 1 | 80000 | 80000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12/96 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12.558 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12/211 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12.551 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12/193 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12/203 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12/194 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12/112 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12.565 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12.566 | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA/IRW/723/11-12.567 | 1 |  | 1 | 38000 | 38000
# |  | BOYLE'S APPARATUS | INDIAN | 117000 | 1 |  | 1 | 65000 | 65000
# |  | MICROSCOPE | * | 13900 |  | 1 | 1 | 30000 | 30000
# |  | PULSE OXIMETER | CANCEB | CI/80JA5/70 | 1 |  | 1 | 55000 | 55000
# | OT | PULSE OXIMETER | MEATROS | S2360 | 5 |  | 5 | 55000 | 275000
# |  | OT LIGHT | INDO MEDICAL | * | 2 |  | 2 | 45000 | 90000
# |  | BOYLE'S APPARATUS | * | 112000 | 1 |  | 1 | 65000 | 65000
# |  | AUTOCLAVE | SURGIX | * | 2 |  | 2 | 65000 | 130000
# |  | AUTOCLAVE | SURGIX | * |  | 1 | 1 | 65000 | 65000
# |  | ADULT WEIGHING MACHINE | SMART CARE | * | 1 |  | 1 | 2500 | 2500
# |  | DEFIBRILLATOR | ALC | 881495 | 1 |  | 1 | 170000 | 170000
# |  | PULSE OXIMETER | MAESTROS | * | 3 |  | 3 | 55000 | 165000
# | BLOOD BANK | ILR | HAIER | HXC/608A | 2 |  | 2 | 250000 | 500000
# |  | CENTRIFUGE | REMI | * | 2 |  | 2 | 6500 | 13000
# |  | CENTRIFUGE | DIAMED | 1001935 | 1 |  | 1 | 6500 | 6500
# |  | PLATE WASHER | ROCONIK | AW0/9009RBK1322 | 1 |  | 1 | 200000 | 200000
# |  | ELISA READER | ROCONIK | AT0908RBK023 | 1 |  | 1 | 200000 | 200000
# |  | ILR | HAIER | * | 1 |  | 1 | 250000 | 250000
# |  | DOMESTIC REFRIGERATOR | KELVINATOR | * | 1 |  | 1 | 15000 | 15000
# |  | ILR | JEWETT | * | 1 |  | 1 | 250000 | 250000
# |  | MICROSCOPE | OPTK | 9475803 | 3 |  | 3 | 30000 | 90000
# |  | ADULT WEIGHING MACHINE | SMART CARE | * | 1 |  | 1 | 2500 | 2500
# |  | NEEDLE CUTTER | HL HOMEOSAFE | 1920 | 1 |  | 1 | 1200 | 1200
# |  | CENTRIFUGE | REMI | * | 1 |  | 1 | 6500 | 6500
# |  | TUBE SEALER | CANN/HE/M | * | 1 |  | 1 | 4500 | 4500
# |  | MICROSCOPE | * | * | 1 |  | 1 | 30000 | 30000
# |  | INCUBATOR | * | * | 1 |  | 1 | 375000 | 375000
# |  | DOMESTIC REFRIGERATOR | ZENETH | * | 1 |  | 1 | 15000 | 15000
# | ICTC | CENTRIFUGE | BD INSTRUMENT | BDI/152 | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFRIGERATOR | ELECTROLUX | * | 1 |  | 1 | 15000 | 15000
# |  | NEEDLE CUTTER | LABLIVE | * | 1 |  | 1 | 1200 | 1200
# | OT | CAUTERY MACHINE | JOHNSON & JOHNSON | DIGITAL E0652833 | 1 |  | 1 | 160000 | 160000
# |  | OT LIGHT | INDO MEDICAL | * | 1 |  | 1 | 45000 | 45000
# |  | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | PULSE OXIMETER | MAESTROS | ASTER/30 | 1 |  | 1 | 55000 | 55000
# |  | BOYLE'S APPARATUS | INDIAN | * | 1 |  | 1 | 65000 | 65000
# |  | X RAY MACHINE | ADONIS | AE/60HFS | 1 |  | 1 | 450000 | 450000
# |  | STERLIZER | INDIAN | * | 4 |  | 4 | 6500 | 26000
# |  | AUTOCLAVE | SUSWOX | VANLIAL |  | 5 | 5 | 65000 | 325000
# |  | DEFIBRILLATOR | BPL | RX MA/5K1282 | 1 |  | 1 | 170000 | 170000
# |  | NEBULIZER | MEDIGAURD | JE-01 | 1 |  | 1 | 6500 | 6500
# |  | CPR | SSS INTERNATIONAL MEDICAL | SWCL/3852 | 1 |  | 1 | 4500 | 4500
# |  | SUCTION MACHINE | ANANDA | 8E/7073 | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | * | * | 1 |  | 1 | 6500 | 6500
# |  | DEFIBRILLATOR | APEX | * | 1 |  | 1 | 170000 | 170000
# | ICU | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | INDIAN | * | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS | GOLD SUPREME | 8262373 | 1 |  | 1 | 650 | 650
# |  | TMT MACHINE | RMS TREADMILL | * | 1 |  | 1 | 850000 | 850000
# |  | PULSE OXIMETER | MAESTROS | ASTER 20/080352048 | 1 |  | 1 | 55000 | 55000
# |  | ECG MACHINE | BPL | AGR/50055CARDIART 6208 | 1 |  | 1 | 52000 | 52000
# |  | ECG MACHINE | CANCEB INTERNATIONAL | * | 1 |  | 1 | 52000 | 52000
# |  | ECG MACHINE | BPL | * | 1 |  | 1 | 52000 | 52000
# |  | ECG MACHINE | BPL | AHIG/0630 | 1 |  | 1 | 52000 | 52000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 122
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 7712450
* | Not Available |  |  |  | Total CMC Value |  |  |  | 539871.5

## PHC KHIMLASA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KHIMLASA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | BP APPAARTUS | * | * | 1 |  | 1 | 650 | 650
# | # | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | DEEP FREEZER | HAIER | 6022 | 1 |  | 1 | 250000 | 250000
# | # | ILR | VESTFRONT | 257 | 1 |  | 1 | 250000 | 250000
# | # | DOMESTIC REFRIGERATOR | KELVINATOR | * | 1 |  | 1 | 15000 | 15000
# | # | BP APPARTUS | NAMATT | * | 1 |  | 1 | 650 | 650
# | # | NEEDLE CUTTER | MICROSIL | * | 1 |  | 1 | 1200 | 1200
# | # | SUCTION MACHINE | INDIAN | * |  | 1 | 1 | 6500 | 6500
# | # | WEIGHING MACHINE | * | * | 1 |  | 1 | 2500 | 2500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 543000
* | Not Available |  |  |  | Total CMC Value |  |  |  | 38010

## CH BINA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CH BINA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | DIAMOND | DELUX | 1 |  | 1 | 650 | 650
# | # | SUCTION MACHINE | MONARCH | * | 1 |  | 1 | 6500 | 6500
# | # | DOMESTIC REFRIGERATOR | GODREJ | * | 1 |  | 1 | 15000 | 15000
# | # | INCUBATOR | INDIAN | * | 1 |  | 1 | 375000 | 375000
# | # | SEMI AUTO ANALYZER | RAYTO | * | 1 |  | 1 | 200000 | 200000
# | # | BBR | HI CARE | * | 1 |  | 1 | 250000 | 250000
# | # | MICROSCOPE | PUNJAB SCIENTIFIC | * | 1 |  | 1 | 30000 | 30000
# | # | NEEDLE CUTTER | LABLINE | * |  | 1 | 1 | 1200 | 1200
# | # | CENTRIFUGE | INDIAN | 8 TUBE | 1 |  | 1 | 6500 | 6500
# | # | ILR | VESTFRONT | MK 142 | 1 |  | 1 | 250000 | 250000
# | # | DEEP FREEZER | HAIER | HB-116 | 1 |  | 1 | 250000 | 250000
# | # | DEEP FREEZER | HAIER | * | 1 |  | 1 | 250000 | 250000
# | # | BP APPARATUS | DIAMOND | DELUX | 1 |  | 1 | 650 | 650
# | # | WEIGHING MACHINE | SAMSO | * | 1 |  | 1 | 2500 | 2500
# | # | CEILING LIGHT | INDO MEDICAL | MEDILIFE | 1 |  | 1 | 150000 | 150000
# | # | KERATOMETER | * | * | 1 |  | 1 | 45000 | 45000
# | # | KERATOMETER | INNOMED INCLINED | SM-400P | 1 |  | 1 | 45000 | 45000
# | # | KERATOMETER | INDIAN | * | 1 |  | 1 | 45000 | 45000
# | # | AUTOCLAVE(VERTICAL) | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | GLUCOMETER | ACCUCHEK | ACTIVE/GC03489955 | 1 |  | 1 | 1500 | 1500
# | # | BABY WEIGHIMG MACHINE | * | * | 1 |  | 1 | 3500 | 3500
# | # | WEIGHING MACHINE | PHOENIX | * | 1 |  | 1 | 2500 | 2500
# | # | BABY WEIGHIMG MACHINE | SECA | * | 1 |  | 1 | 3500 | 3500
# | # | SUCTION MACHINE | MONARCH | * | 1 |  | 1 | 6500 | 6500
# | # | SUCTION MACHINE | INDIAN | * | 1 |  | 1 | 6500 | 6500
# | # | CEILING LIGHT | INDO MEDICAL | * | 1 |  | 1 | 150000 | 150000
# | # | ANESTHESIA MACHINE | ALLIED | JUPITER | 1 |  | 1 | 450000 | 450000
# | # | MIULTI PARA MONITOR | MAESTROS | IRIS-50 | 1 |  | 1 | 80000 | 80000
# | # | BP APPARATUS | NAMATT | * | 1 |  | 1 | 650 | 650
# | # | AUTOCLAVE | DYNAMIC | * |  | 1 | 1 | 65000 | 65000
# | # | DEFIBRILLATOR | BPL | DF2509-R/BKMASKK70 |  | 1 | 1 | 170000 | 170000
# | # | ANESTHESIA MACHINE | ETHER | * |  | 1 | 1 | 450000 | 450000
# | # | AUTOCLAVE | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | STERLIZER | INDIAN | * |  | 1 | 1 | 6500 | 6500
# | # | STERLIZER | INDIAN | * |  | 1 | 1 | 6500 | 6500
# | # | BP APPARATUS | DIANRA | DELUXE | 1 |  | 1 | 650 | 650
# | SNCU | RADIANT WARMER | MEDITRIN | SHW-01/MP/U | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | MEDITRIN | SHW-01/MP/11/120 | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | PHOENIX MEDICAL SYSTEM | 2610 | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | MEDITRIN | 142301 | 1 |  | 1 | 15500 | 15500
# |  | MULTI PARA MONITOR | MAESTROS | 500/1107123230 | 1 |  | 1 | 80000 | 80000
# |  | BABY WEIGHIMG MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | GLUCOMETER | ACCUCHEK | 6083489250 | 1 |  | 1 | 1500 | 1500
# |  | BABY WEIGHIMG MACHINE | CROWN | * |  | 1 | 1 | 3500 | 3500
# |  | BABY WEIGHIMG MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | MEDITRIN | * | 1 |  | 1 | 38000 | 38000
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
# |  | X RAY MACHINE | MEDITRONICS | * | 1 |  | 1 | 450000 | 450000
# | DENTAL OPD | DENTAL CHAIR | ALPHA | * | 1 |  | 1 | 150000 | 150000
# |  | STERLIZER | INDIAN | * |  | 1 | 1 | 6500 | 6500
# |  | BBR | HI CARE | * |  | 1 | 1 | 250000 | 250000
# |  | CENTRIFUGE | INDIAN | * |  | 2 | 2 | 6500 | 13000
# |  | CENTRIFUGE | REMI | RM-14C | 1 |  | 1 | 6500 | 6500
# |  | COLORIMETER | SYSTONC | * | 1 |  | 1 | 1400 | 1400
# |  | SEMIAUTO ANALYZER | * | * |  | 1 | 1 | 200000 | 200000
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 58
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 4790200
* | Not Available |  |  |  | Total CMC Value |  |  |  | 335314

## PHC JABUWAKHERA
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC JABUWAKHERA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | GOLD | * | 1 |  | 1 | 650 | 650
# | # | DOMESTIC REFRIGERATOR | WHIRLPOOL | GENIUS | 1 |  | 1 | 15000 | 15000
# | # | ILR | VESTFRONT | * | 1 |  | 1 | 250000 | 250000
# | # | DEEP FREEZER | VESTFRONT | * | 1 |  | 1 | 250000 | 250000
# | # | NEEDLE CUTTER | MCP | * | 1 |  | 1 | 1200 | 1200
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | RADIANT WARMER | SS TECHNOMED | TIANA/IRW1723 |  | 1 | 1 | 38000 | 38000
# | # | STERILIZER | INDIAN | * | 1 |  | 1 | 6500 | 6500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 564850
* | Not Available |  |  |  | Total CMC Value |  |  |  | 39539.5

## PHC NARAYWALI
Name of Consultant :-
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC NARAYWALI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
# | # | BP APPARATUS | LIFELINE | * | 1 |  | 1 | 650 | 650
# | # | DOMESTIC REFRIGERATOR | KELVINATOR | NUTRICOOL | 1 |  | 1 | 15000 | 15000
# | # | NEEDLE CUTTER | INDIAN | * | 1 |  | 1 | 1200 | 1200
# | # | AUTOCLAVE(COOKER) | INDIAN | * | 1 |  | 1 | 65000 | 65000
# | # | DEEP FREEZER | HAIER | HBD 116 | 1 |  | 1 | 250000 | 250000
# | # | ILR | VESTFRONT | MK-142 | 1 |  | 1 | 250000 | 250000
# | # | MICROSCOPE | PUNJAB SCIENTIFIC | * | 1 |  | 1 | 30000 | 30000
# | # | MICROSCOPE(MONOCULAR) | OLYMPUS | * | 1 |  | 1 | 18500 | 18500
# | # | BABY WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 3500 | 3500
# | # | ADULT WEIGHING MACHINE | CROWN | * | 1 |  | 1 | 2500 | 2500
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 636350
* | Not Available |  |  |  | Total CMC Value |  |  |  | 44544.5