## PHC HOTA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-01
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC HOTA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | RADIANT WARMER | HICARE | INC-1002425 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | HICARE | * |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | MEDITRIN | E/4 |  | 1 |  | 1 | 38000 | 38000
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | CHILL MATE |  | 1 |  | 1 | 15000 | 15000
# |  | BP APPARATUS | DIAMOND | REGULAR/1122607842123 |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | DIAMOND | * |  |  | 1 | 1 | 650 | 650
# |  | NEBULIZER | * | * |  | 1 |  | 1 | 6500 | 6500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 201800
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 14126

## PHC TEHARKA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-02
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC TEHARKA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | RADIANT WARMER | ZEAL MEDITECH | RHW2004B/1213157 |  | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | MINI STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | AUTO CLAVE | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | NEEDLE CUTTER | LIFE CARE | * |  | 1 |  | 1 | 1200 | 1200
# |  | ADULT WEIGHING MACHINE | CAMRY | * |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS | MEDI GUARD | 82836 |  | 1 |  | 1 | 650 | 650
# | OT | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | ADULT WEIGHING MACHINE | * | * |  | 1 |  | 1 | 2500 | 2500
# |  | ADULT WEIGHING MACHINE | VICTORIA DX | * |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS | DELUX | * |  | 1 |  | 1 | 650 | 650
# |  | ILR | UNICEF | 6C11542 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G4E260082A7T009 |  | 1 |  | 1 | 250000 | 250000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 15
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 727000
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 50890

## CHC NIWARI
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-02
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC NIWARI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | PHOTOTHERAPY | MEDITRIN | 2911 |  |  | 1 | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | HICARE | * |  |  | 1 | 1 | 15500 | 15500
# |  | BP APPARATUS | DIAMOND | 81468 |  | 1 |  | 1 | 650 | 650
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | RADIANT WARMER | MEDITRIN | 2211 |  |  | 1 | 1 | 38000 | 38000
# |  | ADULT WEIGHING MACHINE | CAMRY | * |  | 1 |  | 1 | 2500 | 2500
# |  | SUCTION MACHINE | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | INDIAN | * |  | 1 |  | 1 | 14000 | 14000
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | INDIAN | * |  | 1 |  | 1 | 3500 | 3500
# |  | SPOT LIGHT | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# | OT ROOM | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT LIGHT | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# | N.R.C | BABY WEIGHING MACHINE | UNICEF | SECA |  | 1 |  | 1 | 3500 | 3500
# |  | DOMESTIC REFRIGERATOR | GODREJ | EXCEL |  | 1 |  | 1 | 15000 | 15000
# | LAB | DOMESTIC REFRIGERATOR | VIDEOCON | CHILLMATE |  | 1 |  | 1 | 15000 | 15000
# |  | MONOCULAR MICROSCOPE | OLYMPUS | 912399 |  | 1 |  | 1 | 18500 | 18500
# |  | MONOCULAR MICROSCOPE | OLYMPUS | MLX 9514518 |  | 1 |  | 1 | 18500 | 18500
# |  | BINOCULAR MICROSCOPE | OLYMPUS | MLX 3519860 |  | 1 |  | 1 | 30000 | 30000
# |  | MONOCULAR MICROSCOPE | OLYMPUS | 95034322 |  | 1 |  | 1 | 18500 | 18500
# |  | MONOCULAR MICROSCOPE | OLYMPUS | 51689 |  |  | 1 | 1 | 18500 | 18500
# |  | CENTRIFUGE |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | CENTRIFUGE |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | INCUBATOR |  | * |  | 1 |  | 1 | 375000 | 375000
# |  | GLUCOMETER | DR. MOREPEN | BG-03 |  | 1 |  | 1 | 1500 | 1500
# |  | COLORIMETER | BIOCON | * |  | 1 |  | 1 | 1400 | 1400
# |  | COLORIMETER | BIOCON | * |  | 1 |  | 1 | 1400 | 1400
# |  | GLUCOMETER | SD-CHECK | N/A |  | 1 |  | 1 | 1500 | 1500
# |  | AUTO ANALYSER | ASPEN | STAR-11E650187 |  | 1 |  | 1 | 200000 | 200000
# | VACCINE ROOM | DEEP FREEZER | UNICEF | 65113980 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | 65115059 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | 91401333 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | 90409398 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-286/BE04F4E2600B2A800024 |  | 1 |  | 1 | 250000 | 250000
# | STORE ROOM | BP APPARATUS | DIAMOND | 19646 |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | NAMATT | 833933 |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | SMART CARE | SCH 108 |  |  | 1 | 1 | 650 | 650
# | X-RAY ROOM | X-RAY MACHINE | ALLENGERS | E040506 |  | 1 |  | 1 | 450000 | 450000
# |  | X-RAY MACHINE | INDIAN | * |  |  | 1 | 1 | 450000 | 450000
# | STORE ROOM | BP APPARATUS | ABCO | * |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | DIAMOND | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | NAMATT | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | NAMATT | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | DIAMOND | * |  | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 46
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3240650
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 226845.5

## PHC ORCHHA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-01
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC ORCHHA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BP APPARATUS | MCP | * |  | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | RADIANT WARMER | ZEAL MEDITECH | * |  |  | 1 | 1 | 38000 | 38000
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | MINI STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | DUSTRAY | * |  | 1 |  | 1 | 1200 | 1200
# |  | SPOT LIGHT | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# | LAB | DOMESTIC REFRIGERATOR | VIDEOCON | CHILL MATE |  | 1 |  | 1 | 15000 | 15000
# |  | CENTRIFUGE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BINOCULAR MICROSCOPE | OLYMPUS | 22940 |  | 1 |  | 1 | 30000 | 30000
# |  | MONOCULAR MICROSCOPE | OLYMPUS | 5908 |  | 1 |  | 1 | 18500 | 18500
# |  | GLUCOMETER | DR. MOREPEN | BG-03 |  | 1 |  | 1 | 1500 | 1500
# |  | DIGITAL BP APPARATUS | SMART CARE | SET-332 |  | 1 |  | 1 | 1100 | 1100
# | VACCINE ROOM | ILR | UNICEF | 24513346 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | 20032109589 |  |  | 1 | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | 20032108744 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | 65114011 |  |  | 1 | 1 | 250000 | 250000
# |  | GLUCOMETER | SD- CHEK | M01B13EAA2511 |  | 1 |  | 1 | 1500 | 1500
# |  | COLORIMETER | BIOCON INDIA | * |  | 1 |  | 1 | 1400 | 1400
# | STORE ROOM | DOMESTIC REFRIGERATOR | VIDEOCON | CHILL MATE |  | 1 |  | 1 | 15000 | 15000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 21
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1225850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 85809.5

## PHC CHANDAWANI
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-01
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC CHANDAWANI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHIE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | DIGITAL BP APPARATUS | OMRON | HEN8712/201501036024G1 |  | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS | SMART CARE | SCH108 |  | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 5
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 25750
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 1802.5

## PHC TARICHAR
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-01
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC TARICHAR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | PATHOLOGY | DOMESTIC REFRIGERATOR | LG | EVERCOOL/ 403PRL0023456 |  | 1 |  | 1 | 15000 | 15000
# |  | CALORIMETER | BIOCON | * |  | 1 |  | 1 | 1400 | 1400
# |  | BINOCULAR MICROSCOPE | OLYMPUS | 520070 |  | 1 |  | 1 | 30000 | 30000
# |  | MONOCULAR MICROSCOPE | OLYMPUS | 108540 |  | 1 |  | 1 | 18500 | 18500
# | LABOUR ROOM | SUCTION MACHINE |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | MCP | * |  | 1 |  | 1 | 650 | 650
# |  | ADULT WEIGHING MACHINE | TAMERY | * |  | 1 |  | 1 | 2500 | 2500
# |  | RADIANT WARMER | ZEAL MEDITECH | RHW20048/1213152 |  | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | NEEDLE CUTTER | DUSTRAY | * |  | 1 |  | 1 | 1200 | 1200
# |  | STERLIZER |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE |  | * |  | 1 |  | 1 | 14000 | 14000
# | OPD | NEEDLE CUTTER | LITE CARE | * |  | 1 |  | 1 | 1200 | 1200
# |  | BP APPARATUS | DIAMOND | 67621 |  | 1 |  | 1 | 650 | 650
# |  | AUTO CLAVE |  | * |  | 1 |  | 1 | 65000 | 65000
# |  | ADULT WEIGHING MACHINE | CAMRY | * |  | 1 |  | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 16
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 207100
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 14497

## PHC DIGODA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-03
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DIGODA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | ADULT WEIGHING MACHINE | CAMRY | * |  | 1 |  | 1 | 2500 | 2500
# | LABOUR ROOM | SUCTION MACHINE | INDIAN |  |  | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | SS TECHNOMED | TIANA-NW |  | 1 |  | 1 | 38000 | 38000
# |  | NEEDLE CUTTER | MCP | * |  | 1 |  | 1 | 1200 | 1200
# |  | MINI STERLIZER |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MCP | * |  | 1 |  | 1 | 1200 | 1200
# |  | ADULT WEIGHING MACHINE | KRUPS | * |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS | TOP | * |  | 1 |  | 1 | 650 | 650
# |  | ADULT WEIGHING MACHINE | KRUPS | * |  |  | 1 | 1 | 2500 | 2500
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | VRE-204 |  | 1 |  | 1 | 15000 | 15000
# |  | BP APPARATUS | INDIAN | * |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | PROFIX | 10090188 |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | SMART CARE | SCH-103 |  |  | 1 | 1 | 650 | 650
# | OT | NEEDLE CUTTER | MCP | * |  | 1 |  | 1 | 1200 | 1200
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# | VACCINE ROOM | DEEP FREEZER | UNICEF | 20071020359 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | 20013902705 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | G | HBD-116/BE04G4E2600B2A580076 |  | 1 |  | 1 | 250000 | 250000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 18
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 836200
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 58534

## PHC BARANATHOR
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-03
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BARANATHOR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | INJECTION ROOM | NEEDLE CUTTER | * | * |  | 1 |  | 1 | 1200 | 1200
# |  | MINI STERLIZER | PIONEER | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | ADULT WEIGHING MACHINE | CAMRY | * |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS(DIGITAL) | SMART CARE | SCE-332 |  | 1 |  | 1 | 1100 | 1100
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 5
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 14800
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 1036

## PHC LIDHOURA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-03
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC LIDHOURA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OT ROOM | PHOTOTHERAPY | HICARE | HCFL-101H1040 |  | 1 |  | 1 | 15500 | 15500
# |  | RADIANT WARMER | SS TECHNOMED | TIANA-NW |  | 1 |  | 1 | 38000 | 38000
# |  | NEEDLE CUTTER | MCP | * |  | 1 |  | 1 | 1200 | 1200
# |  | MINI STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# | DRESSING ROOM | NEEDLE CUTTER | DUSTRAY | * |  | 1 |  | 1 | 1200 | 1200
# |  | MINI STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | BP APPARATUS | SMART CARE | SCH-10B |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS |  | * |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS |  | * |  |  | 1 | 1 | 650 | 650
# | STORE ROOM | NEBULIZER |  | CE-0434 |  | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE |  | * |  |  | 1 | 1 | 3500 | 3500
# |  | MINI STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | AUTO CLAVE | INDIAN | * |  |  | 1 | 1 | 65000 | 65000
# |  | AUTO CLAVE |  | * |  |  | 1 | 1 | 65000 | 65000
# |  | MINI STERLIZER |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | MINI STERLIZER |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | MINI STERLIZER |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | MINI STERLIZER |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | MINI STERLIZER |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | * |  | 1 |  | 1 | 15000 | 15000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 23
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 336850
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 23579.5

## PHC BAMHORI KALA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-03
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BAMHORI KALA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BP APPARATUS | SAI-LIFE | * |  | 1 |  | 1 | 650 | 650
# | VACCINE ROOM | DEEP FREEZER | HAIER | HBD-116/BE04G4E2600B2A5L0190 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | 65114024 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBC-70/BE07F4E0N00B2A990016 |  | 1 |  | 1 | 250000 | 250000
# |  | ADULT WEIGHING MACHINE | KRUPS | * |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS | DELUXE | * |  | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | RADIANT WARMER | ZEAL MEDITECH | LR/CO/RW/01 |  | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | BRAUN | * |  | 1 |  | 1 | 3500 | 3500
# |  | STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | MINI STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | MINI STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | MINI STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | MINI STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | MINI STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# | LAB | CENTRIFUGE | BIOCON | * |  | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | VKE-204 |  | 1 |  | 1 | 15000 | 15000
# |  | MONOCULAR MICROSCOPE | * | * |  | 1 |  | 1 | 18500 | 18500
# |  | MONOCULAR MICROSCOPE | * | * |  | 1 |  | 1 | 18500 | 18500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 18
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 892800
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 62496

## PHC MOHANGARH
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-03
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC MOHANGARH
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | RADIANT WARMER | * | * |  |  | 1 | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | SS TECHNOMED | * |  | 1 |  | 1 | 3500 | 3500
# |  | MINI STERLIZER | CROWN | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER |  | * |  | 1 |  | 1 | 6500 | 6500
# | STORE | BABY WEIGHING MACHINE | CROWN | * |  |  | 1 | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE |  | * |  | 1 |  | 1 | 3500 | 3500
# |  | ADULT WEIGHING MACHINE | CAMRY | * |  | 1 |  | 1 | 2500 | 2500
# |  | ADULT WEIGHING MACHINE | KRUPS | * |  |  | 1 | 1 | 2500 | 2500
# |  | ADULT WEIGHING MACHINE | KRUPS | * |  |  | 1 | 1 | 2500 | 2500
# |  | ADULT WEIGHING MACHINE | SMART CARE | * |  |  | 1 | 1 | 2500 | 2500
# |  | BP APPARATUS | SMART CARE | SCH-10B |  |  | 1 | 1 | 650 | 650
# | LAB | DOMESTIC REFRIGERATOR | VIDEOCON | CHILLMATE |  | 1 |  | 1 | 15000 | 15000
# |  | CALORIMETER | BIOCON | * |  | 1 |  | 1 | 1400 | 1400
# |  | BINOCULAR MICROSCOPE | OLYMPUS | * |  | 1 |  | 1 | 30000 | 30000
# |  | ILR | HAIER | HBC-70/BE0581E0100B2881320 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | 20013902502 |  |  | 1 | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G0E0100B296D0184 |  | 1 |  | 1 | 250000 | 250000
# |  | GLUCOMETER | DR. MOREPEN | BG-03 |  | 1 |  | 1 | 1500 | 1500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 19
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 884050
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 61883.5

## CHC PALERA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-03
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC PALERA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | NRC | BABY WEIGHING MACHINE | BABY LINE | * |  | 1 |  | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE | DOCKBEL | * |  | 1 |  | 1 | 3500 | 3500
# | LABOUR ROOM | RADIANT WARMER | HICARE | * |  | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | HICARE | * |  | 1 |  | 1 | 15500 | 15500
# |  | RADIANT WARMER | HICARE | INC-1002426 |  | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE |  | * |  | 1 |  | 1 | 3500 | 3500
# |  | DOMESTIC REFRIGERATOR | KELVINATOR | * |  | 1 |  | 1 | 15000 | 15000
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | STERLIZER |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | DIGITAL BP APPARATUS | OMRON | HEM-7112/20130711302VGI |  | 1 |  | 1 | 1100 | 1100
# |  | LABOUR TABLE |  | * |  | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE |  | * |  | 1 |  | 1 | 14000 | 14000
# | OT | AUTO CLAVE |  | * |  | 1 |  | 1 | 65000 | 65000
# |  | STERLIZER |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFRIGERATOR | KELVINATOR | * |  |  |  | 1 | 15000 | 15000
# |  | AUTO CLAVE |  | * |  | 1 |  | 1 | 65000 | 65000
# | VACCINE ROOM | ILR | UNICEF | 20102775357 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | HBC-200/BE07G5E0N00B2A8A0067 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBC-116/BE04G4E2600B2A750079 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | 91308046 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | HBD-286/BE04F4E2600B2A800053 |  | 1 |  | 1 | 250000 | 250000
# | X-RAY ROOM | X-RAY MACHINE | SYNDEX | 60MA |  | 1 |  | 1 | 450000 | 450000
# | LAB | DOMESTIC REFRIGERATOR | VIDEOCON | VKE-204 |  | 1 |  | 1 | 15000 | 15000
# |  | CENTRIFUGE | REMI | * |  | 1 |  | 1 | 6500 | 6500
# |  | BINOCULAR MICROSCOPE | OLYMPUS | 519816 |  | 1 |  | 1 | 30000 | 30000
# |  | GLUCOMETER | DR. MOREPEN | BG-03 |  | 1 |  | 1 | 1500 | 1500
# |  | MONOCULAR MICROSCOPE | OLYMPUS | 227170 |  | 1 |  | 1 | 18500 | 18500
# |  | COLORIMETER | INDIAN | 13357 |  | 1 |  | 1 | 1400 | 1400
# |  | GLUCOMETER | SD-CODE FREE | M03B10EAA08270 |  | 1 |  | 1 | 1500 | 1500
# |  | AUTO ANALYSER | ASPEN | STAR-II/E-650193 |  | 1 |  | 1 | 200000 | 200000
# | STORE ROOM | BP APPARATUS | MEDITECH | * |  | 1 |  | 1 | 650 | 650
# |  | ADULT WEIGHING MACHINE | PERSONAL SCALE | * |  | 1 |  | 1 | 2500 | 2500
# | OPD | DOMESTIC REFRIGERATOR | GODREJ | GDE-23B1 |  | 1 |  | 1 | 15000 | 15000
# | DR. ROOM | DIGITAL BP APPARATUS | OMRON | HEM-7112/20130710192VGI |  | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS | MCP | 8677709 |  | 1 |  | 1 | 650 | 650
# |  | ADULT WEIGHING MACHINE | KRUPS | * |  | 1 |  | 1 | 2500 | 2500
# |  | SUCTION MACHINE |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | PULSE OXIMETER | SS MED | SONO-0X-PL/41503004 |  | 1 |  | 1 | 55000 | 55000
# |  | BP APPARATUS | MCP | 8677712 |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | MCP | 8377418 |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | MCP | 8378419 |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | OMRON | HEM-7112/2013070812VGI |  | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 43
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 2375000
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 166250

## CHC JATARA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-03
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC JATARA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | RADIANT WARMER | HICARE | TKG/CHC/JAT/BC/EQ/RW/03 |  | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | SMART CARE | * |  | 1 |  | 1 | 650 | 650
# |  | SUCTION MACHINE | MONARCH | 14S1-RG02 |  | 1 |  | 1 | 6500 | 6500
# | NBSU | DOMESTIC REGRIGERATOR | KELVINATOR | KG203 |  | 1 |  | 1 | 15000 | 15000
# |  | RADIANT WARMER | MEDITRIN | RW/02 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | SS TECHNOMED | TIANA NW |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | HICARE |  |  | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | HICARE | HCFL-101H-1037 |  | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | MEDITRIN | PT/02 |  | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | MEDITRIN | PT/01 |  | 1 |  | 1 | 15500 | 15500
# |  | BABY WEIGHING MACHINE | * | * |  | 1 |  | 1 | 3500 | 3500
# | OT | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | ANNESTHESIA MACHINE | ALLIED | JUPITER 2001272 |  | 1 |  | 1 | 450000 | 450000
# |  | SPOT LIGHT | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | SPOT LIGHT | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# | LAB | INCUBATOR | * | * |  | 1 |  | 1 | 375000 | 375000
# |  | INCUBATOR | * | * |  |  | 1 | 1 | 375000 | 375000
# |  | CENTRIFUGE | REMI | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | ARIETTE | * |  | 1 |  | 1 | 1200 | 1200
# |  | CALORIMETER | BIOCON | * |  | 1 |  | 1 | 1400 | 1400
# |  | BINOCULAR MICROSCOPE | OLYMPUS | 519886 |  | 1 |  | 1 | 30000 | 30000
# |  | MONOCULAR MICROSCOPE | OLYMPUS | * |  | 1 |  | 1 | 18500 | 18500
# |  | CENTRIFUGE | REMI | * |  | 1 |  | 1 | 6500 | 6500
# |  | SEMI AUTO ANALYSER | ASPEN | E65019R |  | 1 |  | 1 | 200000 | 200000
# | X-RAY ROOM | X-RAY MACHINE | ELPRO | * |  | 1 |  | 1 | 450000 | 450000
# | VACCINE ROOM | DEEP FREEZER | HAIER | HBD-116/BE04G4E2600B2A5L0213 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | VESTFROST | MK-304/20102875589 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | VESTFROST | MF-142/65114012 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBC-200/BE07G5E0N00B2A5K0068 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-200/BE04E4E2600B24BL0106 |  | 1 |  | 1 | 250000 | 250000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 40
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 3819250
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 267347.5

## CHC BADAGAON
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-04
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC BADAGAON(DHASAN)
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | DR. ROOM | BP APPARATUS | MCP | 10H7214 |  | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | MINI STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | MEDITRIN | * |  | 1 |  | 1 | 38000 | 38000
# |  | NEEDLE CUTTER | DUSTRAY | * |  | 1 |  | 1 | 1200 | 1200
# |  | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | SUCTION MACHINE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | PHOTOTHERAPY | HICARE | * |  | 1 |  | 1 | 15500 | 15500
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE | KINLEE | EBSA-20 |  | 1 |  | 1 | 3500 | 3500
# |  | BP APPARATUS | PAGODA | 304820 |  | 1 |  | 1 | 650 | 650
# |  | FETAL DOPPLER | EURODOPE | * |  | 1 |  | 1 | 80000 | 80000
# |  | NEBULIZER | PRONEB | CBY8AA0325 |  |  | 1 | 1 | 6500 | 6500
# |  | ADULT WEIGHING MACHINE | VICTORIA DX | * |  | 1 |  | 1 | 2500 | 2500
# | COLD CHAIN ROOM | ILR | UNICEF | 24511349 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBC-70/BE07F4E0N00B2A8U0015 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G4E2600B2A5C0205 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G4E2600B2A7T0085 |  | 1 |  | 1 | 250000 | 250000
# | LAB | COLORIMETER |  | * |  | 1 |  | 1 | 1400 | 1400
# |  | NEEDLE CUTTER | LIFE CARE | * |  | 1 |  | 1 | 1200 | 1200
# |  | BINOCULAR MICROSCOPE | OLYMPUS | 22993 |  | 1 |  | 1 | 30000 | 30000
# |  | MONOCULAR MICROSCOPE | OLYMPUS | * |  | 1 |  | 1 | 18500 | 18500
# |  | CENTRIGUGE | BIOCON | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTO ANALYSER | ASPEN | E6650178 |  |  | 1 | 1 | 200000 | 200000
# |  | DIGITAL BP APPARATUS | SMART CARE | SCE-332 |  |  | 1 | 1 | 1100 | 1100
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | * |  | 1 |  | 1 | 15000 | 15000
# |  | ADULT WEIGHING MACHINE | SAMSO | * |  | 1 |  | 1 | 2500 | 2500
# |  | GLUCOMETER | DR. MOREPEN | BG-03 |  | 1 |  | 1 | 1500 | 1500
# | OT | AUTO CLAVE(VERTICAL) | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | AUTO CLAVE(HORIZONTAL) | INDIAN | * |  | 1 |  | 1 | 55000 | 55000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | OT LIGHT | INDIAN | * |  |  | 1 | 1 | 45000 | 45000
# | STORE ROOM | DOMESTIC REFRIGERATOR | KELVINATOR | * |  | 1 |  | 1 | 15000 | 15000
# |  | BP APPARATUS | MCP | 10H721138 |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | MEDITECH | 15PM081 |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | MEDITECH | 15M0130 |  | 1 |  | 1 | 650 | 650
# |  | GLUCOMETER | DR. MOREPEN | BG-03 |  | 1 |  | 1 | 1500 | 1500
# | NRC | DOMESTIC REFRIGERATOR | LG | GL-195RL4 |  | 1 |  | 1 | 15000 | 15000
# |  | BABY WEIGHING MACHINE | SECA | * |  | 1 |  | 1 | 3500 | 3500
# | ANC | BP APPARATUS | MCP | 10H72199 |  | 1 |  | 1 | 650 | 650
# |  | ADULT WEIGHING MACHINE | SAMSO | * |  | 1 |  | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 43
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1803300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 126231

## PHC ASTOUN
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-04
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC ASTOUN
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OPD | BP APPARATUS | SMART CARE | SCH-113 |  | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | RADIANT WARMER | ZEAL MEDITECH | * |  | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | DOCKBEL | BARUN |  | 1 |  | 1 | 3500 | 3500
# |  | STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTO CLAVE(ELECTRICAL) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | AUTO CLAVE(ELECTRICAL) | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | NEEDLE CUTTER | DUSTRAY | * |  | 1 |  | 1 | 1200 | 1200
# |  | DIGITAL BP APPARATUS | LIPIKIND | REF-CH-432 |  | 1 |  | 1 | 1100 | 1100
# |  | ADULT WEIGHING MACHINE | KRUPS | * |  | 1 |  | 1 | 2500 | 2500
# |  | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | VKE-204 |  | 1 |  | 1 | 15000 | 15000
# | STORE ROOM | BP APPARATUS | MCP | 0H7405 |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | DELUXE | 70377 |  | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 13
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 244750
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 17132.5

## PHC SIMNA
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-04
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SIMNA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | DR. ROOM | ADULT WEIGHING MACHINE | VICTORIA DX | * |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS | DELUXE | * |  | 1 |  | 1 | 650 | 650
# | LABOUR ROOM | RADIANT WARMER | ZEAL MEDITECH | RHW/200/4B/1213/55 |  | 1 |  | 1 | 38000 | 38000
# |  | MINI STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | SUCTION MACHINE | * | * |  | 1 |  | 1 | 6500 | 6500
# | DRESSING ROOM | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# | STORE | BP APPARATUS | DELUXE | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | DELUXE | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | DELUXE | * |  | 1 |  | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 11
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 131100
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 9177

## PHC JENON
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-04
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC JENON
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | ZEAL MEDITECH | * |  | 1 |  | 1 | 38000 | 38000
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | INDIAN | * |  | 1 |  | 1 | 14000 | 14000
# | ANC | BP APPARATUS | MCP | 10H7340 |  | 1 |  | 1 | 650 | 650
# |  | ILR | UNICEF | 20013902563 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | 65114002 |  | 1 |  | 1 | 250000 | 250000
# |  | BINOCULAR MICROSCOPE | OLYMPUS | 519551 |  | 1 |  | 1 | 30000 | 30000
# |  | GLUCOMETER | DR. MOREPEN | BG-03 |  | 1 |  | 1 | 1500 | 1500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 9
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 590650
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 41345.5

## CHC PRITHVIPUR
Name of Consultant :- | [6 empty] | Date:- |  | 2015-09-04
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC PRITHVIPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | X-RAY ROOM | X-RAY MACHINE | MEDITRONICS | MEDEX-6018-FR78049 |  | 1 |  | 1 | 450000 | 450000
# | COLD CHAIN ROOM | ILR | UNICEF | 2001102567377 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | HAIER | HBC-200/BE07G5E0NN00B2A8A0071 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-286/BE04E4E2600B2A8T0041 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G0E0100B296H0054 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-286/BE04E2600B2A800082 |  | 1 |  | 1 | 250000 | 250000
# | N.R.C | DOMESTIC REFRIGERATOR | VIDEOCON | VKE-204 |  | 1 |  | 1 | 15000 | 15000
# |  | BP APPARATUS | DELUXE | * |  | 1 |  | 1 | 650 | 650
# | NBSU | INCUBATOR | * | * |  | 1 |  | 1 | 375000 | 375000
# |  | SUCTION MACHINE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | ZEAL MEDITECH | * |  |  | 1 | 1 | 38000 | 38000
# |  | STERLIZER | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFRIGERATOR | KELVINATOR | KS203 |  | 1 |  | 1 | 15000 | 15000
# | LABOUR ROOM | LABOUR TABLE | * | * |  | 1 |  | 1 | 14000 | 14000
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | DIGITAL BP APPARATUS | SMART CARE | SCE-332 |  | 1 |  | 1 | 1100 | 1100
# |  | PULSE OXIMETER | SSMED | SONO-OX-PL |  | 1 |  | 1 | 55000 | 55000
# | OT | AUTO CLAVE(VERTICAL) | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | SPOT LIGHT | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# | LAB | BINOCULAR MICROSCOPE | GODREJ | GDN185C |  | 1 |  | 1 | 30000 | 30000
# |  | MONOCULAR MICROSCOPE | OLYMPUS | 520148 |  | 1 |  | 1 | 18500 | 18500
# |  | SEMI AUTO ANALYSER | WARSZAWA | 9488 |  | 1 |  | 1 | 200000 | 200000
# |  | CENTRIFUGE | ASPEN | E650169 |  | 1 |  | 1 | 6500 | 6500
# |  | CENTRIFUGE | INDIAN | * |  |  | 1 | 1 | 6500 | 6500
# |  | GLUCOMETER | DR. MOREPEN | BG-03 |  | 1 |  | 1 | 1500 | 1500
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | HOT AIR OVEN | INDIAN | * |  | 1 |  | 1 | 4500 | 4500
# | STORE | BP APPARATUS | DELUXE | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | INDIAN | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | INDIAN | * |  | 1 |  | 1 | 650 | 650
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | DELUXE | * |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | DELUXE | * |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | DELUXE | * |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | DELUXE | * |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | DELUXE | * |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | DELUXE | * |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | DELUXE | * |  |  | 1 | 1 | 650 | 650
# |  | BP APPARATUS | DELUXE | * |  |  | 1 | 1 | 650 | 650
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 47
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 2872400
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 201068

## DISTRICT HOSPITAL
Name of Consultant :- | [6 empty] | Date:- |  | 1/9/20115
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | DISTRICT HOSPITAL TIKAMGARH
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | OT | SPOT LIGHT | INDO MEDICAL | * |  | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | INDO MEDICAL | * |  | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | INDO MEDICAL | * |  | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | INDO MEDICAL | * |  | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | ZEAL MEDITECH | * |  | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | MULTI PARA MONITOR | BPL | ECTA2F1266 |  | 1 |  | 1 | 80000 | 80000
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MEDI WAVES | * |  | 1 |  | 1 | 1200 | 1200
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | DIATHERMY | SPARK | 400B |  | 1 |  | 1 | 250000 | 250000
# |  | SPOT LIGHT | NIVIA INDUSTRIAL | * |  |  | 1 | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | RADIANT WARMER | MEDITRIN | 2411 |  | 1 |  | 1 | 38000 | 38000
# |  | OT TABLE | * | * |  | 1 |  | 1 | 45000 | 45000
# |  | AUTO CLAVE | * | * |  | 1 |  | 1 | 65000 | 65000
# |  | BP APPARATUS | MCP | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | MCP | * |  | 1 |  | 1 | 650 | 650
# | EYE OPD | SLIT LAMP | APPA SWAMI | * |  | 1 |  | 1 | 13000 | 13000
# |  | KARETO METER | APPA SWAMI | * |  | 1 |  | 1 | 45000 | 45000
# |  | OPERATING MICROSCOPE | TOPLON | OMS-90/314569 |  | 1 |  | 1 | 150000 | 150000
# |  | OPERATING MICROSCOPE | * | * |  |  | 1 | 1 | 150000 | 150000
# |  | FUMIGATOR | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | CRYOUNIT | APPA SWAMI | * |  | 1 |  | 1 | 250000 | 250000
# |  | ASCAN (BIOMETER) | BIO MEDICS | * |  | 1 |  | 1 | 450000 | 450000
# |  | ASCAN (BIOMETER) | INOO MADE | * |  |  | 1 | 1 | 450000 | 450000
# |  | INDIRECT OPTHERMOSCOPE | NEITZ | * |  | 1 |  | 1 | 15500 | 15500
# |  | DIRECT OPTHERMOSCOPE | WELCH ALLYN | * |  | 1 |  | 1 | 15500 | 15500
# |  | STREAK RETINOSCOPE | WELCH ALLYN | * |  | 1 |  | 1 | 175000 | 175000
# | X-RAY ROOM | X-RAY MACHINE(100MA) | MEDITRONICS | DIAGNOX/100/6C046 |  | 1 |  | 1 | 450000 | 450000
# |  | X-RAY MACHINE(60MA) | MEDITRONICS | MVDEX6010FR/6H8806 |  |  | 1 | 1 | 450000 | 450000
# |  | X-RAY MACHINE(300MA) | PDX | 3010-D |  |  | 1 | 1 | 450000 | 450000
# | PATHLOGY | MOBOCULAR MICROSCOPE | OLYMPUS | * |  | 1 |  | 1 | 30000 | 30000
# |  | CELL COUNTER | ERHA | PCE-210 |  | 1 |  | 1 | 350000 | 350000
# |  | CENTRIFUGE | ELLETTICH | * |  | 1 |  | 1 | 6500 | 6500
# |  | BINOCULAR MICROSCOPE | LABO MED | VISION-2000/4723 |  | 1 |  | 1 | 30000 | 30000
# |  | BINOCULAR MICROSCOPE | QUASMO | PZB-22 |  | 1 |  | 1 | 30000 | 30000
# |  | BINOCULAR MICROSCOPE | * | PZB-22/62639 |  | 1 |  | 1 | 30000 | 30000
# | ECG DEPARTMENT | DIGITAL BP APPARATUS | * | 812K1136200002585 |  | 1 |  | 1 | 1100 | 1100
# |  | GLUCOMETER | SD-CODE FREE | MD3E10AA9843 |  | 1 |  | 1 | 1500 | 1500
# |  | ECG MACHINE | BPL | CARDIART280/00TD205720 |  |  | 1 | 1 | 52000 | 52000
# | SNCU | MULTI PARA MONITOR | BPL | DYHD3K1855 |  | 1 |  | 1 | 80000 | 80000
# |  | OXYGEN CONCENTRATOR | BPL | OG4203/AXTCO1+5483 |  | 1 |  | 1 | 45000 | 45000
# |  | OXYGEN CONCENTRATOR | BPL | OG4203/EYTA4G542 |  | 1 |  | 1 | 45000 | 45000
# |  | OXYGEN CONCENTRATOR | BPL | OG4203/EYTA4G1551 |  | 1 |  | 1 | 45000 | 45000
# |  | RADIANT WARMER | ZEAL MEDITECH | NRO2101A/10213163 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | INOVA C-682143 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | INOVA C-682111 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | INOVA C-682064 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | INOVA C-682130 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | INOVA C-682159 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | INOVA C-682102 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | INOVA C-682099 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | INOVA C-62152 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | NR0210A/0213164 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | 20-06/PS |  | 1 |  | 1 | 38000 | 38000
# |  | MULTI PARA MONITOR | BPL | ECTA3E1541 |  | 1 |  | 1 | 80000 | 80000
# |  | MULTI PARA MONITOR | BPL | DYHD3K1917 |  | 1 |  | 1 | 80000 | 80000
# |  | SYRING PUMP | ASPEN | SP-1/10037752 |  | 1 |  | 1 | 40000 | 40000
# |  | SYRING PUMP | BPL | EJTA3H1567 |  | 1 |  | 1 | 40000 | 40000
# |  | PHOTOTHERAPY | PHOENIX | PT104/2695 |  | 1 |  | 1 | 15500 | 15500
# |  | PHOTOTHERAPY | PHOENIX | PT104/2664 |  | 1 |  | 1 | 15500 | 15500
# |  | CPAP | ZEAL MEDICAL | 20-60-PSI |  | 1 |  | 1 | 55000 | 55000
# |  | PHOTOTHERAPY | PHOENIX | PT104/2693 |  | 1 |  | 1 | 15500 | 15500
# |  | SUCTION MACHINE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | CPAP | ZEAL MEDICAL | 20-60-PSI |  | 1 |  | 1 | 55000 | 55000
# |  | RADIANT WARMER | ZEAL MEDITECH | C682107 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | C682121 |  |  | 1 | 1 | 38000 | 38000
# |  | SYRING PUMP | ASPEN | SP-1/10037562 |  | 1 |  | 1 | 40000 | 40000
# |  | BABY WEIGHING MACHINE | EQUINOX | BE-E022/514 |  | 1 |  | 1 | 3500 | 3500
# |  | SUCTION MACHINE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | ZEAL MEDITECH | C682114 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | C682057 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | C682131 |  | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | SYRING PUMP | BPL | EJTA3K1668 |  | 1 |  | 1 | 40000 | 40000
# |  | SYRING PUMP | ASPEN | SP-1/10037152 |  | 1 |  | 1 | 40000 | 40000
# |  | PHOTOTHERAPY | PHOENIX | PT-104/2687 |  | 1 |  | 1 | 15500 | 15500
# |  | MULTI PARA MONITOR | BPL | DYMD3K1924 |  | 1 |  | 1 | 80000 | 80000
# |  | RADIANT WARMER | ZEAL MEDITECH | C612106 |  | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | PHOENIX | PT-104/2691 |  | 1 |  | 1 | 15500 | 15500
# |  | SYRING PUMP | ASPEN | SP-1/1037782 |  | 1 |  | 1 | 40000 | 40000
# |  | RADIANT WARMER | ZEAL MEDITECH | C682108 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | C682147 |  | 1 |  | 1 | 38000 | 38000
# |  | SYRING PUMP | ASPEN | SP-1/10037112 |  | 1 |  | 1 | 40000 | 40000
# |  | SYRING PUMP | BPL | EJPA3H1574 |  | 1 |  | 1 | 40000 | 40000
# |  | RADIANT WARMER | ZEAL MEDITECH | C682194 |  | 1 |  | 1 | 38000 | 38000
# |  | MULTI PARA MONITOR | BPL | DYM83K1864 |  | 1 |  | 1 | 80000 | 80000
# |  | RADIANT WARMER | ZEAL MEDITECH | NRO2101A/0213/65 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | C682124 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | C682178 |  | 1 |  | 1 | 38000 | 38000
# |  | RADIANT WARMER | ZEAL MEDITECH | C682066 |  | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | PHOENIX | PT-104/2683 |  | 1 |  | 1 | 15500 | 15500
# |  | OXYGEN CONCENTRATOR | BPL | OG420305/EYTA4G1532 |  | 1 |  | 1 | 45000 | 45000
# |  | OXYGEN CONCENTRATOR | BPL | OG4305/EYTA4G15138 |  | 1 |  | 1 | 45000 | 45000
# |  | MULTI PARA MONITOR | BPL | DYMB3K1925 |  | 1 |  | 1 | 80000 | 80000
# |  | NEBULIZER | FLAEM | N443956/L5 |  | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | INDIAN |  |  | 1 |  | 1 | 6500 | 6500
# |  | SYRING PUMP | ASPEN | SP-1/10037662 |  | 1 |  | 1 | 40000 | 40000
# |  | SUCTION MACHINE | INDIAN |  |  | 1 |  | 1 | 6500 | 6500
# |  | SYRING PUMP | BPL | EJTA3K1627 |  |  | 1 | 1 | 40000 | 40000
# |  | PULSE OXIMETER | MEASTROSS MEDLINE | LOTUS500 |  |  | 1 | 1 | 55000 | 55000
# |  | CENTRIFUGE | REMI | RM-12C/LNLC-8302 |  | 1 |  | 1 | 6500 | 6500
# |  | AVG MACHINE | NOVA BIOMEDICAL | Y04511350 |  | 1 |  | 1 | 450000 | 450000
# |  | TMT MACHINE | APEL | BR-510P/C682506 |  | 1 |  | 1 | 850000 | 850000
# |  | BABY WEIGHING MACHINE | EQUINOX | BE-E022528 |  | 1 |  | 1 | 3500 | 3500
# |  | X-RAY MACHINE | ALLENGERS | MARS3.5/SBM/2K101003703-X |  |  | 1 | 1 | 450000 | 450000
# |  | PHOTOTHERAPY | MEDITRIN | 2411 |  |  | 1 | 1 | 15500 | 15500
# |  | OXYGEN CONCENTRATOR | BPL | OG4203/AZTCOH5461 |  |  | 1 | 1 | 45000 | 45000
# |  | OXYGEN CONCENTRATOR | BPL | OG4203/AZTCOH5452 |  |  | 1 | 1 | 45000 | 45000
# |  | OXYGEN CONCENTRATOR | BPL | OG4203/AZTCOH5444 |  |  | 1 | 1 | 45000 | 45000
# |  | PULSE OXIMETER | MEASTROSS MEDLINE | LOTUS500 |  |  | 1 | 1 | 55000 | 55000
# | BLOOD BANK | ELISH READER | TRANSASIA | * |  |  |  | 1 | 200000 | 200000
# |  | ELISH READER | TRANSASIA | * |  |  |  | 1 | 200000 | 200000
# |  | CALORIMETER | ANALAB | 5899101 |  |  | 1 | 1 | 1400 | 1400
# |  | SEMI AUTO ANALYSER | TRANSASIA | CHEM-5XN130324 |  |  | 1 | 1 | 200000 | 200000
# |  | COAGULATION METER | TULIP DIAGNOSTE | COASTAT-1/C1E1009E |  |  | 1 | 1 |  | 0
# |  | INCUBATOR | COAS LAB | * |  |  | 1 | 1 | 375000 | 375000
# |  | BBR | HAIER | HXC-08/BE06PE1T0082A790005 |  |  | 1 | 1 | 250000 | 250000
# |  | BBR | HAIER | HXC-08 |  |  | 1 | 1 | 250000 | 250000
# |  | BBR | JEWETT | BBR25/63500194 |  | 1 |  | 1 | 250000 | 250000
# |  | BBR | REHL | BR-40/BDI-125E |  | 1 |  | 1 | 250000 | 250000
# |  | BBR | ELECTROLUX | HL150 |  | 1 |  | 1 | 250000 | 250000
# |  | BBR | YARCO | BR405R/BDI-2313 |  | 1 |  | 1 | 250000 | 250000
# |  | SEMI AUTO ANALYSER | RAYTO | RT-1904C400705077 |  | 1 |  | 1 | 200000 | 200000
# |  | TUBE SALER | LIONGBERG & EOGELAB | CR6BC-28-12 |  | 1 |  | 1 | 4500 | 4500
# |  | BINOCULAR MICROSCOPE | NOVEX | * |  |  | 1 | 1 | 30000 | 30000
# |  | CENTRIFUGE | LAB LINE | * |  | 1 |  | 1 | 6500 | 6500
# |  | WATER BATH | VIKRANT | * |  | 1 |  | 1 | 4500 | 4500
# | MINOR OT | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | SUCTION MACHINE | MONARCH | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | ELITA | * |  | 1 |  | 1 | 650 | 650
# | COLD CHAIN | ILR | HAIER | HBC-70/BE07F4EBN00B2A9A0060 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE040G0E0100B296D0209 |  | 1 |  | 1 | 250000 | 250000
# | PERIODETRIC WARD | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | RADIANT WARMER | ZEAL MEDITECH | INOVA/1213 |  | 1 |  | 1 | 38000 | 38000
# |  | SUCTION MACHINE |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | LIFE LINE | * |  |  | 1 | 1 | 650 | 650
# |  | NEBULIZER | FLAEM | KK3960/LS |  | 1 |  | 1 | 6500 | 6500
# |  | GLUCOMETER | SD-CODE FREE | M03E07AD3A70 |  | 1 |  | 1 | 1500 | 1500
# | SURGICAL WARD | SUCTION MACHINE |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | LIFE LINE | * |  | 1 |  | 1 | 650 | 650
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# | MALE MEDICAL WARD | CONCEPT INTEGRATION | CI07-IT69 | * |  | 1 |  | 1 |  | 0
# |  | SUCTION MACHINE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | FLAEM | 17399116 |  | 1 |  | 1 | 6500 | 6500
# |  | ECG MACHINE | BPL | 6208/DDRB2K4402 |  | 1 |  | 1 | 52000 | 52000
# |  | DEFIBRILATOR | BPL | DF2509/RBXHA5K1361 |  |  | 1 | 1 | 170000 | 170000
# |  | ECG MACHINE | BPL | CARDIART6208/1G0022 |  |  | 1 | 1 | 52000 | 52000
# |  | STANDING BP APPARATUS | MCP | * |  | 1 |  | 1 | 1100 | 1100
# |  | SUCTION MACHINE | OLEX | * |  | 1 |  | 1 | 6500 | 6500
# | ICU | PULSE OXIMETER | FLAEM | * |  | 1 |  | 1 | 55000 | 55000
# |  | NEBULIZER | BPL | 44395/LS |  | 1 |  | 1 | 6500 | 6500
# |  | MULTI PARA MONITOR | BPL | ECTA2C1227 |  | 1 |  | 1 | 80000 | 80000
# |  | MULTI PARA MONITOR | BPL | ECTA3E1530 |  | 1 |  | 1 | 80000 | 80000
# |  | MULTI PARA MONITOR | BPL | ECTA3L1631 |  | 1 |  | 1 | 80000 | 80000
# |  | MULTI PARA MONITOR | BPL | ECTA3M1717 |  | 1 |  | 1 | 80000 | 80000
# |  | BIPAP | PHILLIPS | C12464034D64A |  | 1 |  | 1 | 55000 | 55000
# | FEMALE MEDICAL WARD | SUCTION MACHINE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEBULIZER | FLAEM | 443957/LS |  | 1 |  | 1 | 6500 | 6500
# |  | BP APPARATUS | LIFE LINE | * |  | 1 |  | 1 | 650 | 650
# | NRC | RADIANT WARMER | ZEAL MEDITECH | C60423 |  | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | PHOENIX | NBY-20 |  | 1 |  | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE | PHOENIX | * |  | 1 |  | 1 | 3500 | 3500
# | LABOUR ROOM | RADIANT WARMER | ZEAL MEDITECH | INOVA-1213 |  | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | * | M-20 |  | 1 |  | 1 | 3500 | 3500
# |  | SUCTION MACHINE | SUCTION UNIT | 7E-D/0013 |  | 1 |  | 1 | 6500 | 6500
# |  | SPOT LIGHT | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | PULSE OXIMETER | BPL | DYHD3K1882 |  | 1 |  | 1 | 55000 | 55000
# |  | PULSE OXIMETER | OLEX | * |  | 1 |  | 1 | 55000 | 55000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 178
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 12987700
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 909139

## CHC KHARGAPUR
Name of Consultant :- | [6 empty] | Date:- |  | 1/9/20115
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC KHARGAPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | ANC | DIGITAL BP APPARATUS | OMRON | 20130711339VGI |  | 1 |  | 1 | 1100 | 1100
# | LAB | DOMESTIC REFRIGERATOR | VIDEOCON | VKE204 |  | 1 |  | 1 | 15000 | 15000
# |  | BINOCULAR MICROSCOPE | MAGNUS | 520045 |  | 1 |  | 1 | 30000 | 30000
# |  | CENTRIFUGE |  | * |  | 1 |  | 1 | 6500 | 6500
# |  | MONOCULAR MICROSCOPE | INDIAN | * |  | 1 |  | 1 | 18500 | 18500
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | VKE204 |  | 1 |  | 1 | 15000 | 15000
# | DUTY ROOM | DIGITAL BP APPARATUS | OMRON | HEM-7112/20130711340VGI |  | 1 |  | 1 | 1100 | 1100
# |  | BP APPARATUS | DELUXE | * |  | 1 |  | 1 | 650 | 650
# | VACCINE ROOM | ILR | HAIER | HBC-70/BE07F4E0N00B24940093 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | 6515222 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G4E2600B2A5L0214 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | 65113956 |  | 1 |  | 1 | 250000 | 250000
# | OT | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# | LABOUR ROOM | LABOUR ROOM | INDIAN | * |  | 1 |  | 1 | 14000 | 14000
# |  | LABOUR ROOM | INDIAN | * |  | 1 |  | 1 | 14000 | 14000
# |  | RADIANT WARMER | HICARE | TKG/CHG/KHA/LR/EQ/RW/01 |  | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY | HICARE | LR/EQ/PT/01 |  | 1 |  | 1 | 15500 | 15500
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | ADULT WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 2500 | 2500
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 21
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1330350
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 93124.5

## PHC SARKANPUR
Name of Consultant :- | [6 empty] | Date:- |  | 1/9/20115
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC SARKANPUR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | LABOUR ROOM | RADIANT WARMER | ZEAL MEDITECH | * |  | 1 |  | 1 | 38000 | 38000
# |  | BABY WEIGHING MACHINE | BRAUN | * |  | 1 |  | 1 | 3500 | 3500
# |  | MINI STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | ADULT WEIGHING MACHINE | PRESTIGE | * |  | 1 |  | 1 | 2500 | 2500
# |  | BP APPARATUS | EXTRA CARE | 51001 |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | INDIAN | * |  | 1 |  | 1 | 650 | 650
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | CHILLMATE |  | 1 |  | 1 | 15000 | 15000
# |  | LABOUR TABLE | INDIAN | * |  | 1 |  | 1 | 14000 | 14000
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * |  |  | 1 | 1 | 65000 | 65000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 10
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 152300
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 10661

## PHC BAISA
Name of Consultant :- | [6 empty] | Date:- |  | 1/9/20115
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BAISA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# |  | BP APPARATUS | PAGODA | CM/L-0896172 |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | DIAMOND | REGULAR |  | 1 |  | 1 | 650 | 650
# |  | ADULT WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 2500 | 2500
# |  | DIGITAL BP APPARATUS | ACON | REF0B11-11903A000924C |  |  | 1 | 1 | 1100 | 1100
# |  | DIGITAL BP APPARATUS | SMART CARE | SCE-332 |  |  | 1 | 1 | 1100 | 1100
# | LABOUR ROOM | LABOUR TABLE | INDIAN | * |  | 1 |  | 1 | 14000 | 14000
# |  | RADIANT WARMER | ZEAL MEDITECH | RHW200/48/1213/50 |  | 1 |  | 1 | 38000 | 38000
# |  | DIGITAL BABY WEIGHING MACHINE | * | * |  | 1 |  | 1 | 3500 | 3500
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | AUTO CLAVE | INDIAN | * |  |  | 1 | 1 | 65000 | 65000
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | NEEDLE CUTTER | MCP | * |  | 1 |  | 1 | 1200 | 1200
# |  | COLORIMETER | BIOCON INDIA | * |  | 1 |  | 1 | 1400 | 1400
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | CHILL MATE |  | 1 |  | 1 | 15000 | 15000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 157100
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 10997

## PHC BUDERA
Name of Consultant :- | [6 empty] | Date:- |  | 1/9/20115
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BUDERA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | VACCINE ROOM | ILR | UNICEF | 90405473 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | UNICEF | 2001020279 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | BE0581E0100B28811320 |  |  | 1 | 1 | 250000 | 250000
# | LABOUR ROOM | DIGITAL BP APPARATUS | OMRON | HEM-711220130708408VGI |  | 1 |  | 1 | 1100 | 1100
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | RADIANT WARMER | ZEAL MEDITECH | TKG/CHG/BON/LR/EQ/RW/01 |  | 1 |  | 1 | 38000 | 38000
# |  | LABOUR TABLE | INDIAN | * |  | 1 |  | 1 | 14000 | 14000
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | NEEDLE CUTTER | DUSTRAY | * |  | 1 |  | 1 | 1200 | 1200
# |  | AUTO CLAVE(ELECTRICAL) | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | AUTO CLAVE(ELECTRICAL) | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | BP APPARATUS | DIAMOND | * |  |  | 1 | 1 | 650 | 650
# | LAB | DOMESTIC REFRIGERATOR | LG | INTELL COOL |  | 1 |  | 1 | 15000 | 15000
# |  | CENTRIFUGE | REMI | * |  | 1 |  | 1 | 6500 | 6500
# |  | BINOCULAR MICROSCOPE | MEDICO | 620 |  | 1 |  | 1 | 30000 | 30000
# |  | BP APPARATUS | DOCTORS | * |  |  | 1 | 1 | 650 | 650
# |  | GLUCOMETER | SD-CHEK | M01E054B6761 |  | 1 |  | 1 | 1500 | 1500
# |  | NEEDLE CUTTER | LITE CARE | * |  | 1 |  | 1 | 1200 | 1200
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 18
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 999800
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 69986

## CHC BALDEOGARH
Name of Consultant :- | [6 empty] | Date:- |  | 1/9/20115
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC BALDEOGARH
Equipment ID | Department | Equipment Description | Manufacturer | Model No./ Serial No. |  | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[6 empty] | W | NW
# | N.R.C | DOMESTIC REFRIGERATOR | VIDEOCON | 5192 |  |  | 1 | 1 | 15000 | 15000
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | BABY WEIGHING MACHINE | SECA | BWM/14 |  | 1 |  | 1 | 3500 | 3500
# | LABOUR ROOM | RADIANT WARMER | MEDITRIN | E/3 |  | 1 |  | 1 | 38000 | 38000
# |  | PHOTOTHERAPY |  | * |  | 1 |  | 1 | 15500 | 15500
# |  | STERLIZER | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | LABOUR TABLE | INDIAN | * |  | 1 |  | 1 | 14000 | 14000
# |  | LABOUR TABLE | INDIAN | * |  | 1 |  | 1 | 14000 | 14000
# |  | OT LIGHT | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | BABY WEIGHING MACHINE | CROWN | * |  | 1 |  | 1 | 3500 | 3500
# |  | ADULT WEIGHING MACHINE | * | * |  | 1 |  | 1 | 2500 | 2500
# |  | SUCTION MACHINE | ABCO | LR/EQ/E5/01 |  | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFRIGERATOR | KELVINATOR | NUTRICOOL/K5203 |  | 1 |  | 1 | 15000 | 15000
# |  | AUTO CLAVE | INDIAN | * |  | 1 |  | 1 | 65000 | 65000
# |  | DIGITAL BP APPARATUS | OMRON | * |  |  | 1 | 1 | 1100 | 1100
# |  | BP APPARATUS | GOLD SUPREME | * |  | 1 |  | 1 | 650 | 650
# | LAB | MONOCULAR MICROSCOPE | QUASMO | EQ/VM/01 |  | 1 |  | 1 | 18500 | 18500
# |  | CENTRIFUGE | * | * |  | 1 |  | 1 | 6500 | 6500
# |  | DOMESTIC REFRIGERATOR | VIDEOCON | CHILL MATE |  | 1 |  | 1 | 15000 | 15000
# |  | INCUBATOR | * | * |  | 1 |  | 1 | 375000 | 375000
# |  | WATER BATH | * | EQ/WB/01 |  | 1 |  | 1 | 4500 | 4500
# |  | HOT AIR OVEN | * | * |  | 1 |  | 1 | 4500 | 4500
# |  | COLORIMETER | SCIENTEX | * |  | 1 |  | 1 | 1400 | 1400
# |  | CENTRIFUGE | INDIAN | * |  | 1 |  | 1 | 6500 | 6500
# |  | GLUCOMETER | DR. MOREPEN | BG-03 |  | 1 |  | 1 | 1500 | 1500
# |  | BP APPARATUS | DIAMOND | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | GOLD SUPREME | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | GOLD SUPREME | * |  | 1 |  | 1 | 650 | 650
# |  | BP APPARATUS | DIAMOND | * |  | 1 |  | 1 | 650 | 650
# |  | ILR | HAIER | HBC-70/BE07F4E0N00B2A9B0021 |  | 1 |  | 1 | 250000 | 250000
# |  | ILR | UNICEF | 44700072 |  | 1 |  | 1 | 250000 | 250000
# |  | DEEP FREEZER | HAIER | HBD-116/BE014G4E2600B2A750002 |  | 1 |  | 1 | 250000 | 250000
# | VACCINE ROOM | DEEP FREEZER | UNICEF | 65114008 |  | 1 |  | 1 | 250000 | 250000
# | OT | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
# |  | OT TABLE | INDIAN | * |  | 1 |  | 1 | 45000 | 45000
NOTE
[6 empty] | Total No.of Equipment |  |  |  | 36
# | Not Created / Not Found |  |  |  |  | Total Equipment Cost |  |  |  | 1820250
* | Not Available |  |  |  |  | Total CMC Value |  |  |  | 127417.5