## PHC DARAK
Name of Consultant :- | [7 empty] | DATE:- | 2015-10-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DARAK
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | BP APPARATUS | NOVA PHONE | 115155 | 1 |  | 1
# | # | WEIGHING M/C | VICTORIA | VICTORIA DX | 1 |  | 1
# | # | BP APPARATUS | PREMIER | * |  | 1 | 1
# | # | BP APPARATUS | ABCO DELUXE | * |  | 1 | 1
# | # | STERLIZER | INDIAN | * |  | 1 | 1
# | # | WEIGHING M/C | EQUINOX | * | 1 |  | 1
# | # | STERLIZER | * | * | 1 |  | 1
# | # | EXAMINATION TABLE | * | * | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  |  | 0
* | Not Available
23450

## PHC TALO
Name of Consultant :- | [7 empty] | DATE:- | 2015-12-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC TALO
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | BP APPARATUS | DESK | * | 1 |  | 1
# | # | WEIGHING M/C | VENUS | * | 1 |  | 1
# | # | BP APPARATUS | PREMIER | * |  | 1 | 1
# | # | WEIGHING M/C | CROWN | * |  | 1 | 1
# | # | STERLIZER | INDIAN | * |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 5
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
12800

## CHC LIKABALI
Name of Consultant :- | [7 empty] | DATE:- | 2015-12-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC LIKABALI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | BABY WARMER | * | * |  | 1 | 1
# | # | BP APPARATUS | * | * | 1 |  | 1
# | # | BP APPARATUS | * | * | 1 |  | 1
# | # | BP APPARATUS | * | * | 1 |  | 1
# | # | BP APPARATUS | * | * | 1 |  | 1
# | # | BP APPARATUS | * | * | 1 |  | 1
# | # | WEIGHING M/C | * | * | 1 |  | 1
# | # | WEIGHING M/C | * | * | 1 |  | 1
# | # | WEIGHING M/C | * | * | 1 |  | 1
# | # | STERLIZER | * | * |  | 1 | 1
# | # | AUTO CLAVE | * | * |  | 1 | 1
# | # | MICROSCOPE | * | * |  | 1 | 1
# | # | LABOUR TABLE | * | * | 1 |  | 1
# | # | CENTRIFUGE | * | * | 1 |  | 1
# | # | WEIGHING M/C | * | * |  | 1 | 1
# | # | DEEP FREEZER | * | * | 1 |  | 1
# | # | ILR | * | * | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 17
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
673250

## PHC GENSI
Name of Consultant :- | [7 empty] | DATE:- | 2015-12-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC GENSI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | WEIGHING M/C | * | * | 1 |  | 1
# | # | STERLIZER | * | * | 1 |  | 1
# | # | BP APPARATUS | * | * | 1 |  | 1
# | # | WEIGHING M/C | * | * |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 4
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
12150

## PHC LIROMOBA
Name of Consultant :- | [7 empty] | DATE:- | 2015-12-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC LIROMOBA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | BP APPARATUS | * | * | 1 |  | 1
# | # | WEIGHING M/C | * | * | 1 |  | 1
# | # | STERLIZER | * | * | 1 |  | 1
# | # | BP APPARATUS | * | * |  | 1 | 1
# | # | WEIGHING M/C | * | * |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 5
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
12800

## PHC TIRBIN
Name of Consultant :- | [7 empty] | DATE:- | 2015-11-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC TIRBIN
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | BP APPARATUS | * | * | 1 |  | 1
# | # | WEIGHING M/C | * | * | 1 |  | 1
# | # | STERLIZER | * | * | 1 |  | 1
# | # | MICROSCOPE | * | * |  | 1 | 1
# | # | AUTO CLAVE | * | * |  | 1 | 1
# | # | BP APPARATUS | * | * |  | 1 | 1
# | # | WEIGHING M/C | * | * | 1 |  | 1
# | # | WEIGHING M/C | * | * |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
110300

## PHC DARING
Name of Consultant :- | [7 empty] | DATE:- | 2015-11-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC DARING
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | BP APPARATUS | DISHA | * | 1 |  | 1
# | # | WEIGHING M/C | VENUS | * | 1 |  | 1
# | # | WEIGHING M/C | CROWN | * |  | 1 | 1
# | # | STERLIZER | INDIAN | * | 1 |  | 1
# | # | BP APPARATUS | DESK | * |  | 1 | 1
# | # | BABY WEIGHING M/C | CROWN | * | 1 |  | 1
# | # | MICROSCOPE | LABOMED | * |  | 1 | 1
# | # | AUTO CLAVE | INDIAN | * |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
111300

## CHC RUMGONG
Name of Consultant :- | [7 empty] | DATE:- | 2015-10-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC RUMGONG
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | BP APPARATUS | * | * | 1 |  | 1
# | # | BP APPARATUS | * | * | 1 |  | 1
# | # | WEIGHING M/C | * | * | 1 |  | 1
# | # | WEIGHING M/C | * | * | 1 |  | 1
# | # | BABY WARMER | * | * | 1 |  | 1
# | # | AUTO CLAVE | * | * | 1 |  | 1
# | # | MICROSCOPE | * | * | 1 |  | 1
# | # | INCUBATOR | * | * | 1 |  | 1
# | # | NEEDLE CUTTER | * | * | 1 |  | 1
# | # | COLORIMETER | * | * | 1 |  | 1
# | # | X-RAY M/C | * | * |  | 1 | 1
# | # | SPOT LIGHT | * | * | 1 |  | 1
# | # | LABOUR TABLE | * | * | 1 |  | 1
# | # | SPOT LIGHT | * | * |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
997000

## PHC NIKTE
Name of Consultant :- | [7 empty] | DATE:- | 2015-10-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC NIKTE
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | BP APPARATUS | DOCTORS | * | 1 |  | 1
# | # | BP APPARATUS | PREMIER | * |  | 1 | 1
# | # | WEIGHING M/C | CROWN | * | 1 |  | 1
# | # | WEIGHING M/C | CROWN | * |  | 1 | 1
# | # | STERLIZER | INDIAN | * |  | 1 | 1
# | # | STERLIZER | INDIAN | * |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 6
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
19300

## CHC BASAR
Name of Consultant :- | [7 empty] | DATE:- | 2015-09-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC BASAR
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | OPD | WEIGHING M/C | VENUS | * | 1 |  | 1
# |  | BP APPARATUS | DESK | * | 1 |  | 1
# | DENTAL OPD | DENTAL CHAIR | CONFIDENT | * | 1 |  | 1
# |  | STERLIZER | INDIAN | * | 1 |  | 1
# | OPD | BP APPARATUS | DISHA | * |  | 1 | 1
# |  | WEIGHING M/C | CROWN | * | 1 |  | 1
# |  | BP APPARATUS |  | * | 1 |  | 1
# | LAB | MICROSCOPE | OLYMPUS | * | 1 |  | 1
# |  | CENTRIFUGE | INDIAN | * |  | 1 | 1
# |  | INCUBATOR | INDIAN | * | 1 |  | 1
# |  | MICROSCOPE | LABOMED | * |  | 1 | 1
# |  | INCUBATOR | INDIAN | * |  | 1 | 1
# |  | CENTRIFUGE | REMI | * | 1 |  | 1
# | LABOUR ROOM | LABOUR TABLE | INDIAN | * | 1 |  | 1
# |  | SPOT LIGHT | INDIAN | * | 1 |  | 1
# |  | BABY WARMER |  | * | 1 |  | 1
# |  | BABY WEIGHING M/C | CROWN | * | 1 |  | 1
# |  | SUCTION M/C | INDIAN | * | 1 |  | 1
# |  | SUCTION M/C | INDIAN | * |  | 1 | 1
# |  | STERLIZER | INDIAN | * | 1 |  | 1
# |  | AUTO CLAVE | INDIAN | * |  | 1 | 1
# | MCH ROOM | ILR | HAIER | * | 1 |  | 1
# |  | DEEP FREEZER | HAIER | * | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 23
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
1632950

## CHC YOMDA
Name of Consultant :- | [7 empty] | DATE:- | 2015-09-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC YOMDA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | OPD | BP APPARATUS | DESK | * | 1 |  | 1
# |  | BP APPARATUS | DESK | * |  | 1 | 1
# |  | BP APPARATUS | PREMIER | * | 1 |  | 1
# |  | BP APPARATUS | DOCTORS | * | 1 |  | 1
# |  | BP APPARATUS | DOCTORS | * | 1 |  | 1
# |  | WEIGHING M/C | * | * | 1 |  | 1
# | DENTAL OPD | DENTAL CHAIR | * | * | 1 |  | 1
# |  | STERLIZER | * | * | 1 |  | 1
# | LAB | MICROSCOPE | LABOMED | * | 1 |  | 1
# |  | CENTRIFUGE | REMI | * | 1 |  | 1
# |  | INCUBATOR | INDIAN | * | 1 |  | 1
# |  | MICROSCOPE | OLYMPUS | * |  | 1 | 1
# |  | CENTRIFUGE | INDIAN | * |  | 1 | 1
# | LABOUR ROOM | LABOUR TABLE | INDIAN | * | 1 |  | 1
# |  | SPOT LIGHT | * | * | 1 |  | 1
# |  | BABY WARMER | * | * | 1 |  | 1
# |  | STERLIZER | * | * | 1 |  | 1
# |  | SUCTION M/C | INDIAN | * | 1 |  | 1
# |  | BABY WEIGHING M/C | SMART CARE | * | 1 |  | 1
# |  | AUTO CLAVE | INDIAN | * |  | 1 | 1
# |  | SUCTION M/C | * | * |  | 1 | 1
# | MCH | DEEP FREEZER | HAIER | * | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 22
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
1006750

## PHC LOGUNJINI
Name of Consultant :- | [7 empty] | DATE:- | 2015-08-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC LOGUNJINI
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty. | Approx Cost of Each Equipment | Total Cost of Equipment
[5 empty] | W | NW
CLOSED AT 1:00PM

## PHC BAGRA
Name of Consultant :- | [7 empty] | DATE:- | 2015-09-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC BAGRA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | BP APPARATUS | DESK | * | 1 |  | 1
# | # | WEIGHING M/C | CROWN | * | 1 |  | 1
# | # | BP APPARATUS | DISHA | * |  | 1 | 1
# | # | STERLIZER | INDIAN | * | 1 |  | 1
# | # | BABY WEIGHING M/C | SMART CARE | * | 1 |  | 1
# | # | WEIGHING M/C | VENUS | * |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 6
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
16300

## CHC KAMBA
Name of Consultant :- | [7 empty] | DATE:- | 2015-08-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | CHC KAMBA
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | OPD | BP APPARATUS | DESK | * | 1 |  | 1
# |  | WEIGHING M/C | CROWN | * | 1 |  | 1
# |  | ILR | VESTFROST | MK-144/85008225 | 1 |  | 1
# | LAB | INCUBATOR | * | * | 1 |  | 1
# |  | CENTRIFUGE | ALMICRO | * | 1 |  | 1
# |  | COLORIMETER | * | * | 1 |  | 1
# |  | BINOCULAR MICROSCOPE | LABOMED | VISION 2000 | 1 |  | 1
# |  | BINOCULAR MICROSCOPE | * | * |  | 1 | 1
# |  | MONOCULAR MICROSCOPE | * | * |  | 1 | 1
# | LABOUR ROOM | BABY WARMER | MEDITRIN | * |  | 1 | 1
# |  | BABY WEIGHING M/C | MISAKI | * | 1 |  | 1
# |  | SPOT LIGHT | * | * | 1 |  | 1
# |  | BP APPARATUS | DISHA | RF011124 |  | 1 | 1
# |  | DEEP FREZER | HAIER | BB-116/BE04G0E0100B296A0024 |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 14
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
1016300

## PHC KOMBO
Name of Consultant :- | [7 empty] | DATE:- | 2015-08-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KOMBO
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | OPD | BP APPARATUS | DESK | * | 1 |  | 1
# |  | WEIGHING M/C | CROWN | * | 1 |  | 1
# |  | WEIGHING M/C | * | * |  | 1 | 1
# | STORE | AUTO CLAVE | INDIAN | * |  | 1 | 1
# |  | STERLIZER | INDIAN | * |  | 1 | 1
# |  | MICROSCOPE | * | * |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 6
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
107150

## PHC PESSING
Name of Consultant :- | [7 empty] | DATE:- | 2015-07-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC PESSING
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | # | DEEP FREEZER | HAIER | HBD-116/BE04G4E2600B2A850081 | 1 |  | 1
# | # | BINOCULAR MICROSCOPE | SUSWOX | SKC400 | 1 |  | 1
# | # | BP APPARATUS | BESMED | * | 1 |  | 1
# | # | BP APPARATUS | EXTRA CARE | * | 1 |  | 1
# | # | WEIGHING M/C | INDIAN | * | 1 |  | 1
# | # | BABY WEIGHING M/C | MISAKI | * |  | 1 | 1
# | # | STERLIZER | INDIAN | * | 1 |  | 1
# | # | BP APPARATUS | PREMIER | * |  | 1 | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 8
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
0
294450

## PHC KAYING
Name of Consultant :- | [7 empty] | DATE:- | 2015-08-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | PHC KAYING
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | OPD | BP APPARATUS | EXTRA CARE | * | 1 |  | 1
# |  | WEIGHING M/C | EQUINOX | * |  | 1 | 1
# |  | WEIGHING M/C | EQUINOX | * | 1 |  | 1
# |  | BP APPARATUS | NAMATT | 7285E | 1 |  | 1
# | MCH ROOM | ILR | HAIER | * |  | 1 | 1
# |  | DEEP FREEZER | HAIER | HBD-116/BE04G0E0100B29680204 | 1 |  | 1
# | LAB | CENTRIFUGE | REMI | * | 1 |  | 1
# |  | INCUBATOR | INDIAN | * |  | 1 | 1
# |  | BINOCULAR MICROSCOPE | OLYMPUS | CH20IBI MF/110D231 | 1 |  | 1
# |  | SUCTION M/C | SURGI-VAC | * |  | 1 | 1
# |  | AUTO CLAVE | INDIAN | * |  | 1 | 1
# | OPD | BP APPARATUS | PIONEER | * | 1 |  | 1
# |  | BP APPARATUS | EXTRA CARE | * | 1 |  | 1
# |  | WEIGHING M/C | EQUINOX | * | 1 |  | 1
| LABOUR ROOM | STERLIZER | INDIAN | * |  | 1 | 1
|  | STERLIZER | INDIAN | * |  | 1 | 1
|  | WATER BATH | * | * |  | 1 | 1
|  | BABY WARMER | CAREVEL | * | 1 |  | 1
|  | BABY WEIGHING M/C | MISAKI | * | 1 |  | 1
|  | AUTO CLAVE | INDIAN | * |  | 1 | 1
|  | SPOT LIGHT | * | * | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 21
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
1123600

## GENERAL HOSPITAL AALO
Name of Consultant :- | [7 empty] | DATE:- | 2015-07-10
Name of Dist./Type of Facility/Name of the Facility :- |  |  |  |  | GENERAL HOSPITAL AALO
Equipment ID | Department | Equipment Description | Manufacturer | Model No./Serial No. | Functional Status |  | Qty.
[5 empty] | W | NW
# | MALE OPD | BP APPARATUS | DESK | * | 1 |  | 1
# |  | BP APPARATUS | DESK | TXT-10/0197 | 1 |  | 1
# |  | WEIGHING M/C | VENUS | * | 1 |  | 1
# | FEMALE OPD | BP APPARATUS | DESK | TXT-10/0197 | 1 |  | 1
# |  | BP APPARATUS | DESK | TXT-10/0197 | 1 |  | 1
# |  | BP APPARATUS | PREMIER | 197 | 1 |  | 1
# |  | BP APPARATUS | SMART CARE | * | 1 |  | 1
# |  | WEIGHING M/C | CROWN | * | 1 |  | 1
# | DENTAL OPD | DENTAL CHAIR | MODULAR | * |  | 1 | 1
# |  | STERLIZER | INDIAN | * | 1 |  | 1
# |  | DENTAL CHAIR | CONFIDENT | * | 1 |  | 1
# |  | DENTAL CHAIR | DENFORT | * | 1 |  | 1
# |  | STERLIZER | INDIAN | * | 1 |  | 1
# | PEDETRICS OPD | WEIGHING M/C | VENUS | * | 1 |  | 1
# |  | BABY WEIGHING M/C | SMART CARE | * | 1 |  | 1
# |  | WEIGHING M/C | CROWN | * | 1 |  | 1
# | NPC DLS | BP APPARATUS | DESK | * | 1 |  | 1
# |  | DIGITAL BP APPARATUS | OMRON | HEM-714/20140607567VGI | 1 |  | 1
# |  | WEIGHING M/C | DR. DIAZ | * | 1 |  | 1
# | LAB | CENTRIFUGE | HATTICH | EBA8 | 1 |  | 1
# |  | COLORIMETER | LABOMED | 12349/12/06 | 1 |  | 1
# |  | MONOCULAR MICROSCOPE | SPENCER | BUFFALO/177949 |  | 1 | 1
# |  | MONOCULAR MICROSCOPE | PZO | 38814 |  | 1 | 1
# |  | ILR | ELECTROLUX | MRB-2000 |  | 1 | 1
# |  | WEIGHING M/C | VENUS | * | 1 |  | 1
# | SPECIMAN ROOM | INCUBATOR | INDIAN | * | 1 |  | 1
# |  | SEMI AUTO ANALYSER | ERBA | 130814 | 1 |  | 1
# |  | BINOCULAR MICROSCOPE | MAGNUS | HLX/527458 | 1 |  | 1
# |  | WASHER H/C | ERBA | ERBA/130717 | 1 |  | 1
# |  | BINOCULAR MICROSCOPE | COSLAB | HL-10/000506 | 1 |  | 1
# |  | CENTRIFUGE | LAB TECH | AC-2304 | 1 |  | 1
# |  | BINOCULAR MICROSCOPE | OLYMPUS | CH20L/14D0535 |  | 1 | 1
# | X-RAY ROOM | X-RAY M/C | GME | GM-100/5R2K14D4XR2082 | 1 |  | 1
# |  | X-RAY M/C | SIEMENS | * |  | 1 | 1
# |  | X-RAY M/C | SIEMENS | 8781 |  | 1 | 1
# | OT | OT TABLE | INDIAN | * |  | 1 | 1
# |  | ANNESTHESIA | ASTEROS | 9000 PLUS | 1 |  | 1
# |  | OT TABLE | QIC | * | 1 |  | 1
# |  | MULTIPARA MONITOR | ASPEN | G3FT010021 |  | 1 | 1
# |  | BP APPARATUS | DIAMOND | * | 1 |  | 1
# |  | SUCTION M/C | ANAND | EUROVAC | 1 |  | 1
# |  | STERLIZER | INDIAN | * | 1 |  | 1
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1
# |  | BABY WARMER | DETA | DRHWP421580304103 |  | 1 | 1
# |  | WEIGHING M/C | KRUPS | * | 1 |  | 1
# |  | BABY WEIGHING M/C | TANITA | * | 1 |  | 1
# |  | BP APPARATUS | NOVA PHONE | 2200831105 | 1 |  | 1
# |  | SURGICAL DIATHERMY UNIT | BASCO | B-250W | 1 |  | 1
# |  | OT LIGHT | INDIAN | * |  | 1 | 1
# | EYE OPD | NEAR VISIO0N BOX | * | * | 1 |  | 1
# |  | VISION BOX | * | * | 1 |  | 1
# |  | MICROSCOPE | MEDIVISION | MSC-2000 HD/1504170V |  | 1 | 1
# | EYE OT | OPERATING MICROSCOPE | * | * |  | 1 | 1
# |  | OT TABLE | * | * | 1 |  | 1
# |  | STERLIZER | LIFE X | * | 1 |  | 1
# |  | AUTO CLAVE | INDIAN | * | 1 |  | 1
# | STORE | MICROSCOPE | * | * |  | 1 | 1
# |  | OPERATING MICROSCOPE | * | * |  | 1 | 1
# |  | STERLIZER | * | * |  | 1 | 1
# | LABOUR ROOM | BABY WARMER | NEO-THEON | IW4100SR/NTD102K1401014104 | 1 |  | 1
# |  | BABY WARMER | NEO-THEON | IW4100SR/NTD102K1401014107 | 1 |  | 1
# |  | BABY WARMER | NEO-THEON | IW4100SR/NTD102K1401014104 | 1 |  | 1
# |  | SPOT LIGHT | * | * |  | 1 | 1
# |  | BABY WEIGHING M/C | KOHINOOR | * | 1 |  | 1
# |  | BABY WEIGHING M/C | KOHINOOR | * | 1 |  | 1
# |  | STERLIZER | * | * | 1 |  | 1
# |  | LABOUR TABLE | * | * | 1 |  | 1
# |  | LABOUR TABLE | * | * | 1 |  | 1
# |  | LABOUR TABLE | * | * | 1 |  | 1
# |  | ULTRA SOUND M/C | MEDISON | SOHOACER5/SOIBM3HCC00023N | 1 |  | 1
# | ICTC | CENTRIFUGE | SYMAX | * | 1 |  | 1
# |  | INCUBATOR | INDIAN | * |  | 1 | 1
# |  | CENTRIFUGE | ALMICRO | * |  | 1 | 1
# |  | MICROSCOPE | * | * |  | 1 | 1
# | OPD | DIGITAL BP APPARATUS | DISHA | ANTIQUE/RF011125 | 1 |  | 1
# |  | ADULT WEIGHING M/C | CROWN | * | 1 |  | 1
# | DMS | SUCTION M/C | INDIAN | * | 1 |  | 1
# |  | PHOTOTHERAPY | DELTA | * |  | 1 | 1
# |  | VENTILLATOR | MONNAL | T50 | 1 |  | 1
# |  | SPOT LIGHT | BASO | HL-200 | 1 |  | 1
# |  | OXYGEN CONCENTRATOR | PHILLIPS | 23047 | 1 |  | 1
# |  | OXYGEN CONCENTRATOR | PHILLIPS | 23000 | 1 |  | 1
# |  | OXYGEN CONCENTRATOR | PHILLIPS | 22643 | 1 |  | 1
# |  | OXYGEN CONCENTRATOR | PHILLIPS | * | 1 |  | 1
# |  | OXYGEN CONCENTRATOR | PHILLIPS | * | 1 |  | 1
# | ECG ROOM | ECG M/C | BPL | CARDIART 108T/BAMA4G5434 | 1 |  | 1
# | MALARIA DEPARTMENT | CENTRIFUGE | BECTON | 3560047 | 1 |  | 1
# |  | BINOCULAR MICROSCOPE | ALCO | STANDARD | 1 |  | 1
NOTE
[5 empty] | Total No.of Equipment |  |  |  | 88
# | Not Created / Not Found |  |  |  | Total Equipment Cost |  |  |  | 0
* | Not Available
6937550