## 20 Ariyalur
DIRECTORATE OF PUBLIC HEALTH AND PREVENTIVE MEDICINE
GOVERNMENT OF TAMIL NADU
REPORT : EQUIPMENT RECEIPT DETAILS REPORT-HUD Wise
District : ARIYALUR
HUD : ARIYALUR
PERIOD : 01/12/2010-31/03/2015
S.No. | Institution Name | Equipment Name | Equipment Category | Equipment Model No | Equipment Serial No | Date of Receipt | Supplier Name | Location of Equipment | Source of Supply | Purchase Order No | Date of Installation | Warranty Valid Upto | Cost of the item | Working Status | Reported Date
1 | Suthamalli | oxyzen cylinder B type with key |  | ANS110 | ANS110 | 2010-07-27 | JUPITER MANUFACTRUING WORKS~KOVAI | LABOUR WARD | SRHM/RCH | TRA/389 15/07/2010 | 2010-07-16 |  | 0 | Not Required | 20-4-2012
2 | Suthamalli | LABOUR BOARD |  |  |  | 2011-06-02 |  | LOBOUR WARD | DDHS |  | 2011-06-02 |  | 0 | Not Required | 21-4-2012
3 | Suthamalli | ADULT WEIGHING SCALE |  | OBS 063 | OBS053 | 2010-07-27 | JUPITER MANUFATACTURING WORKS~KOVAI | DR OP ROOM | SRHM/RCH | TRA/393 15/07/2010 | 2010-07-27 |  | 499 | Working | 20-4-2012
4 | Suthamalli | STEEL COT |  |  |  | 2009-02-25 |  | PNWARD |  |  |  |  | 0 | Not Required | 21-4-2012
5 | Suthamalli | MATREES |  |  |  | 2009-02-16 | RECEIVED FROM MAIN PHC~T.PALUR | PNWARD |  |  | 2009-02-17 |  | 0 | Not Required | 21-4-2012
6 | Udhayanatham | WASHING MACHINE |  | AW6563 | 8903287006043 | 2011-07-28 | TNMSC | PN WARD | TNMSC | 4100B/TNMSC/ENG | 2012-02-21 |  | 12838 | Working | 23-4-2012
7 | Suthamalli | Electri centrifuger | C |  |  | 2011-01-24 | RECEIVED FROM MAIN PHC T.PALUR | LABl |  |  | 2011-01-24 |  | 12000 | Working | 22-4-2012
8 | Suthamalli | STETHASCOPE |  |  |  | 2011-07-23 | BHARAT SURGICALS TRICHY-18 | DOCTOR ROOM~LABOUR WARD | OTHERS |  | 2011-07-25 |  | 420 | Working | 22-4-2012
9 | T.Palur | dental master unit |  | 70 kv blue- x |  | 2010-03-01 | confident dental |  | TNMSC |  |  | 2010-03-02 | 72000 | Working | 19-4-2012
10 | T.Palur | pulse oximeter |  | plura pleth |  | 2009-11-09 | silicon lab | delivery room | SRHM/RCH |  | 2009-11-09 |  | 18500 | Working | 19-4-2012
11 | T.Palur | blood bank refference |  | frosto 225 |  | 2010-03-29 | eakcon system | blood bank room | SRHM/RCH |  | 2010-03-29 |  | 51750 | Working | 19-4-2012
12 | T.Palur | 100 ma x ray portable |  | mfd 100 |  | 2007-05-15 | medford mdl system | x ray room | TNMSC |  | 2007-05-27 | 2009-05-27 | 140875 | Working | 19-4-2012
13 | T.Palur | dental chair |  | excel 9 dental chair |  | 2010-03-01 | confident dental equipment | dental room | TNMSC |  | 2010-03-25 |  | 130560 | Working | 19-4-2012
14 | T.Palur | RO Plant | B2 | type 2006 |  | 2007-09-13 | aqua sure | kitchen room | OTHERS |  | 2007-08-13 | 2007-08-13 | 9000 | Working | 19-4-2012
15 | T.Palur | Electri centrifuger | C | bdi 152 |  | 2012-01-12 | solokrafts industries | lab | TNMSC |  |  | 2012-01-12 | 5090 | Working | 19-4-2012
16 | Suthamalli | Binocular Mircroscope | B2 | JP-MIA |  | 2011-03-03 |  | LAB | DDHS |  | 2011-03-04 |  | 8456 | Working | 19-4-2012
17 | T.Palur | air rotor |  | - |  | 2010-06-08 | jupiter |  | TNMSC |  |  | 2011-07-08 | 441 | Working | 19-4-2012
18 | T.Palur | suction apparatus |  | vibash |  | 2009-10-30 | vibash | labour room | SRHM/RCH |  | 2009-10-30 |  | 750 | Working | 19-4-2012
19 | Irumpuli Kurichi | RING LENS |  |  | 960 | 2012-01-26 |  | LABOUR ROOM | TNMSC | AG31/2011 | 2012-01-26 | 2013-01-26 | 6987 | Working | 2012-07-02
20 | T.Palur | ECG machine |  | medicare system |  | 2009-09-14 | medicare system | X RAY room | OTHERS |  | 2009-08-14 |  | 24500 | Working | 19-4-2012
21 | T.Palur | shadowless lamp |  | 18 diodoom |  | 2009-11-26 | general surgical | operation theatre | SRHM/RCH |  | 2009-11-26 |  | 9700 | Working | 19-4-2012
22 | T.Palur | washig machine |  | ramson rvwe -10 |  | 2011-05-10 | ramsons | near theatre | TNMSC |  | 2011-06-06 |  | 104891 | Working | 19-4-2012
23 | T.Palur | Semi auto analyser | B2 |  |  | 2007-04-03 |  | lab | DDHS |  | 2007-04-03 |  | 42738 | Working | 19-4-2012
24 | T.Palur | Auto Clave HP Horizontal-CYLINDRICAL | C |  |  | 2006-08-13 |  | operation theatre | OTHERS |  | 2006-08-14 |  | 32000 | Working | 19-4-2012
25 | T.Palur | Auto Clave HP Vertical (2 bin) | C |  |  | 2005-09-05 |  | opreation theatre | DDHS |  | 2012-09-05 |  | 32000 | Working | 19-4-2012
26 | T.Palur | shadowless lamp minor |  | 10138 |  |  | central surgical | operatio theatre | TNMSC |  | 2009-11-28 | 2009-11-26 | 9700 | Working | 19-4-2012
27 | T.Palur | Operating table non-hydraulic field type | B | [9 empty] | 0 | Not Required | 19-4-2012
28 | Suthamalli | Suction Apparatus - Foot operated | C |  |  | 2011-02-21 |  | LABOUR ROOM |  |  |  |  | 750 | Working | 19-4-2012
29 | T.Palur | boyles apparatus |  | - |  |  | ddhs | operation theatre | DDHS |  | 2011-11-26 | 2011-11-21 | 101400 | Working | 19-4-2012
30 | T.Palur | blood bank refriderator |  | ja r03 |  | 2010-02-08 | powerr electro system | blood bank room | TNMSC |  | 2010-02-08 | 2010-02-08 | 51750 | Working | 19-4-2012
31 | T.Palur | Electri centrifuger | C | bd 153m |  | 2009-12-15 | alan medical | lab | DDHS |  | 2009-12-15 |  | 9256 | Working | 19-4-2012
32 | T.Palur | Shadowless lamp ceiling type major | B |  |  | 2009-12-15 |  | operation theatre | TNMSC |  | 2009-12-15 |  | 34424 | Working | 19-4-2012
33 | T.Palur | Operation Table Hydraulic Major | B2 | 5d |  | 2005-08-13 | gesco | operation theatre | DDHS |  | 2005-09-14 |  | 45000 | Working | 19-4-2012
34 | Vilapallam | Pulse Oximeter with NIB.P | B2 | futura pleth |  | 2009-11-11 | silicon labs | delivery room | SRHM/RCH |  | 2009-11-11 |  | 18500 | Working | 19-4-2012
35 | Vilapallam | Semi auto analyser | B2 | prietest touch |  | 2011-06-10 | robonik | lab | TNMSC |  | 2011-07-16 | 2014-05-19 | 37981 | Working | 19-4-2012
36 | Vilapallam | Electri centrifuger | C | BDI 152 |  | 2012-01-12 | solokrafts | lab | TNMSC |  |  |  | 5090 | Working | 19-4-2012
37 | Vilapallam | weighting machine |  | prestige |  | 2012-01-10 | alan medical | OP hall | TNMSC |  | 2012-03-12 | 2012-01-10 | 598 | Working | 19-4-2012
38 | Vilapallam | shadowless lamp stand |  |  |  | 2009-11-21 | general surgical | delivery room | SRHM/RCH |  | 2009-11-21 |  | 9700 | Working | 19-4-2012
39 | Vilapallam | Suction Apparatus - Foot operated | C | vibaash |  | 2009-11-26 | vibaash | delivery room | SRHM/RCH |  | 2009-10-26 |  | 750 | Working | 19-4-2012
40 | Vilapallam | RO Plant | B2 | dalphin |  | 2010-11-10 | aqua pure tech | pharmacy room | OTHERS |  | 2010-11-10 | 2010-11-10 | 10500 | Working | 19-4-2012
41 | Vilapallam | Washing Machine | B2 | aw 6563 |  | 2011-07-15 | IFB industries | injection room | TNMSC |  | 2011-07-15 |  | 12838 | Working | 19-4-2012
42 | Vilapallam | ring lens system |  | magnascope |  | 2012-01-13 | solokrafts | delivery room | TNMSC |  |  |  | 6987 | Working | 19-4-2012
43 | Anikudhican | Electrical Auto clave 1 |  |  |  | 2011-11-07 | Bharat Surgical | Injection Room | OTHERS |  | 2011-11-08 |  | 4975 | Working | 24-12-2011
44 | Irumpuli Kurichi | Washing Machine | B2 | AW6563 | 8903287006043 | 2011-07-28 |  | LABOUR ROOM | DPH | 3346657 | 2011-08-09 | 2013-07-07 | 16300 | Working | 2012-07-02
45 | Irumpuli Kurichi | ECG machine ordinary | B2 | CARADIAR6108T | 1 | 2007-09-06 | BPL SRIVIGNESH ENGG HEALTH CARE | LABOUR ROOM | OTHERS |  | 2007-09-06 | 2009-09-05 | 34000 | Working | 2012-05-01
46 | T.Palur | ultra sonogram fortable |  | sonata plus |  | 2005-05-11 | larson andamp; turbo | x ray room | TNMSC |  | 2005-05-11 | 2006-08-11 | 275000 | Working | 19-4-2012
47 | T.Palur | binocular microscope |  | BP M3 |  | 2009-06-21 | alan medical | lab | TNMSC |  | 2009-12-21 |  | 8900 | Working | 19-4-2012
48 | Suthamalli | RINGLENS SYSTEM WITH ILLUMINATION |  | MAGNASCOPE |  | 2012-01-27 | SOLO GRAFT INDUSTRIES~CHENNAI | LABOUR ROOM | TNHSP | TNHSP/TNMSC/ICB/AG31/2011 19/10/2011 |  |  | 7337 | Working | 19-4-2012
49 | Kulumor | AUTO ANALYSER |  | PRIETEST TOUCH ATO0770211RBK | 279 | 2011-05-19 | ROBONIK | LAB ROOM | TNMSC | 9352 | 2011-06-01 |  | 37987 | Working | 2012-09-02
50 | Suthamalli | CHIRAG COMPUTERS |  | U2F | 211210U2FU106800269P | 2011-01-28 | RP INFO SYSTEMS PVT LMT~CHENNAI | DR ROOM | SRHM/RCH | RCH2/TNMSC/ENGG/E41/2010 | 2011-02-05 | 2011-07-28 | 30500 | Working | 21-4-2012
51 | Suthamalli | STETHOSSCOPE |  |  |  | 2009-02-18 | MAIN PHC T.PALUR | DOCOTOR ROOM |  |  |  |  | 450 | Working | 21-4-2012
52 | Suthamalli | BP APPARATUS |  | GEN 024 | GEN024 | 2010-07-27 | MANUFACTURING WORJUPITER KS~ KOVAI | LABOUR WARD andamp;DR ROOM | SRHM/RCH | TRA/393 15/07/2010 | 2010-07-30 |  | 3271 | Working | 20-4-2012
53 | Udhayanatham | BIOCHEMISTRY ANALYSER |  |  | AT0800211RBK | 2011-05-19 | TNMSC | OM ROOM 2 | TNMSC | 9352/TNMSC/ENGG/2010 | 2011-05-19 | 2011-05-19 | 37987 | Working | 23-4-2012
54 | Udhayanatham | CENTRIFUGE MACHINE WITH 6 BUCKETS |  | BDI 152 | 1 | 2012-01-12 | TNMSC |  | TNMSC | TNHSP/TNMSC/AG29E/2011-04.10.11 | 2012-01-12 | 2012-11-22 | 5090 | Working | 23-4-2012
55 | Udhayanatham | RING LENSE SYSTEMS WITH ILLIMINATION |  |  | 1 | 2012-01-13 | TNMIS | PN WARD | TNMSC | TNHSP/TNMSC/ICB/AG31/2011 19.10 |  |  | 6988 | Working | 23-4-2012
56 | Irumpuli Kurichi | Electri centrifuger | C | BD1152 | 2011374 | 2012-01-26 | SOLAKRAFTS | LABORATORY | TNMSC | AG29E/2011 | 2012-01-26 | 2013-01-26 | 5090 | Working | 2012-07-02
57 | Suthamalli | Semi auto analyser | B2 | AT0820211RBK | AT0820211RBK | 2011-05-20 | ROBONIKINDIA PVT.LTD. | LAB | TNMSC | 284 | 2011-05-23 | 2013-05-20 | 42738 | Working | 18-4-2012
58 | Suthamalli | Electri centrifuger | C | BDI- 152 |  | 2012-01-27 | SOLOKRAFTS INDUSTRIES CHENNAI | LAB | TNHSP | AG29E/2011 | 2012-01-30 | 2014-12-27 | 5345 | Working | 19-4-2012
59 | Suthamalli | Washing Machine | B2 | AW-6563 | 8903287006043 | 2011-07-28 | IFB INDUSTIRIES CHENNAI | NEAR BY BATH ROOOM | TNMSC | 3347276 | 2011-07-28 | 2012-08-28 | 14700 | Working | 19-4-2012
60 | Suthamalli | Autoclave Mini | B | GEN021 |  | 2011-07-27 | JUPITAR MANUFACTURATING WORKS~KOVAI | INJECTION ROOM | SRHM/RCH | 3376/P4/SHS/10/ 24/05/2010 | 2010-07-30 |  | 3567 | Working | 19-4-2012
61 | KADUGUR | ULTRA SOUND SCAN |  | DP 2200 | AG40A122399 | 2010-11-24 | ULTRA SERVICE SYSTEM~ CHENNAI | SCAN ROOM | TNMSC | 4984/NRHM/125PHC/TNMSC/ENGG/2010 Dt.03.02.2010 | 2010-11-24 | 2013-11-23 | 145000 | Working | 2012-10-05
62 | KADUGUR | Operation Table Ordinary Paediatric | B2 | (PAE 084) PAEDIATRIC |  | 2010-09-13 | STATE HEALTH SOCIETY | OPREATIONTHEATRE | OTHERS | 4984/P4/SHS/09~6.7.10 | 2010-09-13 | 2011-09-12 | 56840 | Working | 2012-12-05
63 | Vettiyarvettu | Pulse Oximeter | B2 | FUTURA PLETH | 911029 | 2009-11-11 | SILICON LABS | LABOUR WARD | SRHM/RCH | RCH-II/TNMSC/E21/ENGG/2009 DATED 28.08.2009 | 2009-11-11 |  | 18500 | Working | 13-5-2012
64 | KADUGUR | Shadowless Lamp stand model | B |  |  | 2011-06-16 | STATE HEALTH SOCIETY | OPREATION THEATER | SRHM/RCH | 4984/P4/SHS/09~ 28.02.2011 | 2011-06-16 |  | 32424 | Working | 14-5-2012
65 | KADUGUR | NILKAMAL ROTO COLD BOX RCB 316L |  |  |  | 2010-04-22 | TNMSC | BLOOD BANK LABORATORY | TNMSC | RCH-II/TNMSC/ENGG/E30/2009~18.02.2010 | 2010-04-22 |  | 4350 | Working | 17-5-2012
66 | KADUGUR | ICE LINED REFRIGERATOR/CHEST FREEZER |  | FROSTO 225~MAKE -ROCK WELL |  | 2010-07-14 | TNMSC | BLOOD BANK | TNMSC | RCH-II/TNMSC/ENGG/E30/2009.13.01.2010 | 2010-07-14 |  | 40500 | Working | 17-5-2012
67 | KADUGUR | Electri centrifuger | C | Model-BDI 152 |  | 2012-01-28 | TN.GOVT.SUPPLY | LAB | TNMSC | TNHSP/TNMSC/AG29E/2011~04.10.11 | 2012-01-28 | 2015-01-27 | 5345 | Working | 2012-11-05
68 | KADUGUR | Semi auto analyser | B2 | PRIEST TOUCH | AT0961010RBK | 2010-11-17 | TNMSC | LAB | TNMSC | 4984/NRHM/125PHC/TNMSC/ENGG/2010-1~23.09.10 | 2010-11-17 | 2013-11-16 | 44355 | Working | 2012-11-05
69 | KADUGUR | Electri centrifuger | C | T-10~CAPACITY 16X15 ML | 611/MH/10 | 2010-10-01 | TNMSC | LAB | TNMSC | RCH-II/TNMSC/E 30/ENGG/2009~01.03.2010 | 2010-10-01 |  | 13200 | Working | 2012-11-05
70 | KADUGUR | ECG machine ordinary | B2 | PHY027 | 1222103109762 | 2010-05-20 | STATE HEALTH SOCIETY-TAMILNADU | ECG ROOM | OTHERS | 4984/P4/SHS/09~3.3.10 | 2010-05-20 | 2011-05-20 | 21450 | Working | 2012-11-05
71 | KADUGUR | Pulse Oximeter | B2 | FUTURA PLETH | 911030 | 2009-11-11 | TNMSC | NEW BORN CORNER | TNMSC | RCH-II/TNMSC/E21/ENGG/2009~28.8.09 | 2009-11-11 | 2010-11-10 | 18500 | Working | 2012-12-05
72 | KADUGUR | Binocular Mircroscope | B2 | BPM-3 |  | 2010-05-14 | TNMSC | LABORATARY | TNMSC | RCH-II/TNMSC/ENGG/E30/20099 | 2010-05-14 | 2011-05-14 | 8456 | Working | 2012-12-05
73 | Vettiyarvettu | Suction Apparatus - Foot operated | C |  |  | 2009-11-01 | VIBASH COIMBATORE SURGICALS PVT LTD | LABOUR WARD | SRHM/RCH | RCH-II/TNMSC/ENGG/E27/2009-1 DATED 30.07.2009 | 2009-11-02 |  | 750 | Working | 13-5-2012
74 | KADUGUR | Shadowless Lamp stand model | B |  |  | 2009-11-26 | TNMSC | LABOUR WARD | TNMSC | RCH-II/TNMSC/ENGG/E27/2009~17.09.2009 | 2009-11-26 | 2012-11-25 | 9700 | Working | 14-5-2012
75 | KADUGUR | FOGMASTER (EASYFOG) | B | EASYFOG |  | 2010-10-28 | TNMSC | PHC | TNMSC | 4984/NRHM/125PHC/TNMSC/ENGG/2010 ~19.08.2010 | 2010-10-28 |  | 15000 | Working | 14-5-2012
76 | KADUGUR | RING LENS SYSTEMS WITH ILLUMINATION |  |  |  | 2012-01-28 | TNMSC | LABOUR WARD | TNMSC | TNHSP/TNMSC/ICB/AG31/2011~19.10.11 | 2012-01-28 | 2013-01-27 | 6987 | Working | 17-5-2012
77 | KADUGUR | 5 KVA GENERATOR |  | LOMBARDINI 15 LD 440 MAKE-TRINITY GENSETS |  | 2010-11-01 | TNMSC | OPREATION THEATRE | TNMSC | RCH-II/TNMSC/ENGG/E30/2009~01.03.2010 | 2010-11-01 |  | 122987.5 | Not Working | 17-5-2012
78 | KADUGUR | 1.5 TON SPLIT AC |  | VYS53GL1~MAKE- VIDEOCON |  | 2010-02-23 | TNMSC | BLOOD BANK | TNMSC | RCH-II/TNMSC/ENGG/E30/2009~31.01.2010 | 2010-02-23 |  | 32500 | Working | 17-5-2012
79 | KADUGUR | Suction Apparatus - Foot operated | C |  |  | 2009-10-26 | TNMSC | LABOUR WARD | TNMSC | RCH-II/TNMSC/ENGG/E27/~30.7.09 | 2009-10-26 |  | 750 | Working | 2012-12-05
80 | Vettiyarvettu | Semi auto analyser | B2 | PRIETEST TOUCH | AT0710211RBK | 2011-06-17 | ROBONIK (INDIA) PVT LTD | LAB ROOM | TNMSC | 9352/TNMSC/ENGG/2010 DT 26/04/2011 | 2011-07-15 | 2014-07-14 | 37987 | Working | 13-5-2012
81 | KADUGUR | Binocular Mircroscope | B2 | BPM-3 |  | 2010-05-14 | TNMSC | LABORATORY | TNMSC | RCH-II/TNMSC/ENGG/E30/20099 | 2010-05-14 | 2013-05-13 | 8456 | Working | 14-5-2012
82 | KADUGUR | WHEEL CHAIR SS |  |  |  | 2010-07-08 | SHS-TN | PHC-OP | SRHM/RCH | 4984/P4/SHS/09~03.03.2010 | 2010-07-08 |  | 0 | Not Required | 17-5-2012
83 | KADUGUR | Boyles Apparatus with Fluotec and circle absorber | B | JUPITAR 200 | 2002089(101055127) | 2010-10-10 | TRANS HEALTH CARE INDIA PVT.LTD~CHENNAI | OT | TNMSC | 4984/NRHM/125PHC/TNMSC/ENGG/2010-3~23.09.10 | 2010-11-10 | 2013-11-10 | 105456 | Working | 2012-11-05
84 | Vettiyarvettu | Electri centrifuger | C | BDI-152 | 20111719 | 2012-01-26 | SOLOKRAFTS INDUSTRIES | LAB ROOM | TNHSP | TNHSP/TNMSC/AG29E/2011 DATED 10.03.2011 | 2012-01-26 | 2015-01-25 | 5090 | Working | 13-5-2012
85 | KADUGUR | WEIGHING MACHINE |  |  |  | 2012-02-20 | TNMSC | ANC CLINIC | TNMSC | TNHSP/TNMSC/ENGG/AG 24/2011~09.12.2012 | 2012-02-20 |  | 598 | Working | 17-5-2012
86 | KADUGUR | Washing Machine | B2 | RVWE-10~ |  | 2011-05-08 | TNMSC | PN WARD | TNMSC | 4100R/TNMSC/ENGG/2010~14.01.11 | 2011-06-05 | 2012-05-07 | 104891 | Not Working | 2012-11-05
87 | KADUGUR | (I)S7 AMB S 4 (BABY AMBUS BAG)-4~(II)M4STETHPI (STETHOSCOPE (PAEDIATRIC) -2 |  |  |  | 2010-05-11 | SHS-TN | LABOURWARD andamp; OP | SRHM/RCH | 4984/P4/SHS/09-03.03.2010 | 2010-05-11 |  | 2650 | Working | 17-5-2012
88 | KADUGUR | Blood Bank Refrigerator | B2 | JA R03 | R 10061122 | 2011-07-05 | TNMSC | BLOOD BANK | TNMSC | RCH- II/TNMSC /ENGG/E30/2009~01.03.2010 | 2011-07-05 | 2012-07-04 | 50750 | Working | 2012-11-05
89 | KADUGUR | S 7 AMBU S 4 (BABY AMBU BAG) |  |  |  | 2010-05-11 | SHS-TN | LABOUR WARD | SRHM/RCH | 4984/P4/SHS/09~03.03.2010 | 2010-05-11 |  | 0 | Not Required | 17-5-2012
2524916.5
For Ariyalur Dist:
Total Value: Rs.25,24,916.50
AMC @ 7%: Rs.1,76,744.15
AMC @ 7% after rounded off: Rs.1,76,744.00