## GH
MASTER EQUIPMENT BASE
Name of District-Sonipat- Type of Facility- GH Name of Facility- GH Sonipat
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Blood Bank | ELISA PLATE READER | 1 | ROBONIK | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | ELISA WASHER | 1 | ROBONIK | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | WATER BATH | 1 | SEROLOGICAL | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | CENTRIFUGE MACHINE | 1 | EITEK | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | INCUBATOR | 1 | UNIVERSAL | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | REFRIGRATOR | 1 | LG | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | REFRIGRATOR | 1 | CFC-FREE | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | OPTISEALER | 1 | BAXTER | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | MICROSCOPE | 1 | OLYMPUS | NA | NA | NA | 0 | NA | 0 | NA | W
10 |  | Dielected Tube Scaler | 1 | Terumo Penpol ltd. | NA |  | 02.1.2013 | 0 |  | 0 | NA | W
11 |  | BLOOD BANK REFRIGRATOR | 1 | YORKO | NA | NA | NA | 0 | NA | 0 | NA | W
12 |  | A/C | 1 | LG | SPLIT | NA | NA | 0 | NA | 0 | NA | W
13 |  | A/C | 1 | LG | SPLIT | NA | NA | 0 | NA | 0 | NA | W
14 |  | A/C | 1 | LG | SPLIT | NA | NA | 0 | NA | 0 | NA | w
15 |  | A/C | 1 | LG | SPLIT | NA | NA | 0 | NA | 0 | NA | W
16 | Dental | DENTAL CHAIR | 1 | COINFIDENT | Mokombika | NA | 12.06.2013 | 0 | NA | 0 |  | W
17 |  | DENTAL CHAIR | 1 | SUZDENT | NA | NA | 23-3-09 | 0 | NA | 0 |  | W
18 |  | DENTAL CHAIR | 1 | COINFIDENT | Mokombika | NA | 13.06.2013 | 0 | NA | 0 |  | W
19 |  | DENTAL X-RAY | 1 | INDIAN DENTAL SURGICAL | NA | Na | 20-3-95 | 0 | NA | 0 |  | W
20 | Eye | SLIT LAMP | 1 | SHIN NIPPON | SL-102 | SL1021451 | 17-7-95 | 0 | NA | 0 | NA | 2
21 |  | SLIT LAMP | 1 | APPASAMY | AIA11AS | 151091295 | 2002-10-01 | 0 | NA | 0 | NA
22 |  | NON CONTRACT TONOMETER | 1 | APPASAMY | AC002 | ATM1170110 | NA | 0 | NA | 0 | NA | 1
23 |  | AUTO REFRACTOMETER | 1 | APPASAMY | R-F 10M | NA | NA | 0 | NA | 0 | NA | 1
24 |  | KERATOMETER | 1 | APPASAMY | KMS-6 | NA | NA | 0 | NA | 0 | NA | 1
25 |  | A-SCAN | 1 | APPASAMY | APPASCAN | NA | NA | 0 | NA | 0 | NA | 1
26 |  | IN DIRECT OPTHALMOSCOPE | 1 | APPROXIMITY | NA | NA | 1993-09-12 | 0 | NA | 0 | NA | 2
27 |  | IN DIRECT OPTHALMOSCOPE | 1 | ARM STRONG | NA | NA | NA | 0 | NA | 0 | NA
28 |  | KEROTMETER | 1 | OMEGA | NA | NA | NA | 0 | NA | 0 | NA |  | 1
29 |  | DIRECT OPTHALMSCOPE | 1 | HEINE | NA | NA | NA | 0 | NA | 0 | NA | 1
30 | Laboratory | MICROSCOPE | 1 | OLYMPUS | CH20I | 19K0146 | 30-10-09 | 0 | NA | 0 | NA | 1
31 |  | MICROSCOPE | 1 | OLYMPUS | CH20I | NA | 27-3-10 | 0 | NA | 0 | NA |  | 1
32 |  | MICROSCOPE | 1 | OLYMPUS | CH20I | NA | NA | 0 | NA | 0 | NA |  | 1
33 |  | SEMI AUTO ANALYZER | 1 | TRANASIA | CHEM-7 | 80342 | 24-4-08 | 0 | NA | 0 | NA | 1
34 |  | SEMI AUTO ANALYZER | 1 |  | CHEM-5 | 70314 | NA | 0 | NA | 0 | NA |  | 1
35 |  | DISTILLATION PLANT | 1 | MILIPORE | BMIPN2630 | NA | 19-2-07 | 0 | NA | 0 | NA |  | 1
36 |  | VDRL ROTATOR | 1 | YORKO | YSI-148 |  | NA | 0 | NA | 0 | NA | 1
37 |  | VDRL ROTATOR | 1 | REMI | RS-12 | ADCM-122 | 27-3-10 | 0 | NA | 0 | NA | 1
38 |  | REFRIGRATOR | 1 | SAMSUNG | NA | NA | NA | 0 | NA | 0 | NA | 1
39 |  | REFRIGRATOR | 1 | KELVINATOR | NA | NA | 1987-02-04 | 0 | NA | 0 | NA | 1
40 |  | REFRIGRATOR | 1 | LG |  |  | 24/2/90 | 0 | NA | 0 | NA | 1
41 |  | WATER BATH | 1 | VIKRANT | NA | NA | NA | 0 | NA | 0 | NA | 1
42 |  | INCUBATOR | 1 | UNIVERSAL | NA | NA | NA | 0 | NA | 0 | NA | 1
43 |  | CENTRIFUGE MACHINE | 1 | REMI | R-303 | EBLC-5305 | NA | 0 | NA | 0 | NA | 1
44 |  | NEEDLE DESTROYER | 1 | OSPI TIME | NA | NA | NA | 0 | NA | 0 | NA | 1
45 |  | NEEDLE DESTROYER | 1 | SAPNA | NA | NA | 2002-08-07 | 0 | NA | 0 | NA |  | 1
46 |  | PHOTOELECTRIC COLORIMETER | 1 | LABY INDUSTRIES | NA | 42 | 31-10-09 | 0 | NA | 0 | NA | 1
47 |  | GLUCOMETER | 1 | MEDSOURCE | TD-4209 | NA | NA | 0 | NA | 0 | NA | 1
48 |  | HOT AIR OVEN | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | 1
49 |  | AC | 1 | SAMSUNG | NA | NA | NA | 0 | NA | 0 | NA | 1
50 |  | AC | 1 | LG | NA | NA | NA | 0 | NA | 0 | NA | 1
51 |  | HEAMOMETER | 1 |  |  |  | NA | 0 | NA | 0 | NA | 1
52 |  | HOT PLATE | 1 | NAVYUG | NA | NA | 30-10-09 | 0 | NA | 0 | NA | 1
53 |  | MICROTOME | 1 | WESTMIX | MT-1090A | 12434 | 30-10-09 | 0 | NA | 0 | NA | 1
54 |  | KNIFE SHARPNER | 1 | NA | NA | NA | 30-10-09 | 0 | NA | 0 | NA | 1
55 |  | AUTOCLAVE | 1 | VERTICAL | NA | NA | NA | 0 | NA | 0 | NA | 1
56 |  | AUTOCLAVE | 1 | HORIZONTAL | NA | NA | NA | 0 | NA | 0 | NA | 1
57 |  | ELECTRIC BALANCE | 2 |  |  |  | NA | 0 | NA | 0 | NA |  | 2
58 |  | REFRIGRATOR | 1 | KELVINATOR | NA | NA | NA | 0 | NA | 0 | NA | 1
59 |  | REFRIGRATOR | 1 | GEM | NA | NA | NA | 0 | NA | 0 | NA |  | 1
60 |  | MICROSCOPE | 8 | QUASMO | NA | NA | NA | 0 | NA | 0 | NA |  | 8
61 |  | WEIGHING MACHINE | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA |  | 2
62 |  | ILR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA |  | 1
63 |  | BLOOD BANK REFRIGRATOR | 1 | REMI | NA | NA | NA | 0 | NA | 0 | NA |  | 1
64 | Labour Ward | BP APPRATUS | 1 | NA | NA | NA | 2008-01-05 | 0 | NA | 0 |  | 1
65 |  | BP APPRATUS | 1 | NA | NA | NA | 2008-09-05 | 0 | NA | 0 |  | 1
66 |  | BP APPRATUS | 1 | NA | NA | NA | 24/5/10 | 0 | NA | 0 |  | 1
67 |  | BP APPRATUS | 1 | NA | NA | NA | 24/5/10 | 0 | NA | 0 |  | 1
68 |  | LABOUR TABLE | 1 | NA | NA | NA | 30-4-07 | 0 | NA | 0 |  | 1
69 |  | LABOUR TABLE | 1 | NA | NA | NA |  | 0 | NA | 0 |  | 1
70 |  | LABOUR TABLE | 1 | NA | NA | NA | 2008-01-04 | 0 | NA | 0 |  | 1
71 |  | OT LIGHT PORTABLE | 1 | SURGICOIN | NA | NA | 2008-08-08 | 0 | NA | 0 |  | 1
72 |  | NEEDLE DESTROYER | 1 | MICROSIL | ND-100 | 005/06-07 | 27/4/08 | 0 | NA | 0 |  | 4
73 |  | NEEDLE DESTROYER | 1 | NA | NA | NA | NA | 0 | NA | 0 |  | 1
74 |  | NEEDLE DESTROYER | 1 | NA | NA | NA | NA | 0 | NA | 0 |  | 1
75 |  | PHOTO THERAPY UNIT2 | 1 | NA | NA | NA | NA | 0 | NA | 0 |  | 1
76 |  | PHOTO THERAPY UNIT2 | 1 | NA | NA | NA | NA | 0 | NA | 0 |  | 1
77 |  | INCUBATOR | 1 | NA | NA | NA | NA | 0 | NA | 0 |  | 1
78 |  | BABY WEIGHING SCALE | 2 | NA | NA | NA | NA | 0 | NA | 0 |  | 2
79 |  | FOOT SUCTION MACHINE | 1 | NA | NA | NA | 29-4-10 | 0 | NA | 0 |  | 1
80 |  | INFANT RADIANT WARMER | 2 | NA | NA | NA | 29-4-10 | 0 | NA | 0 |  | 2
81 |  | BABY CRADLE | 13 | NA | NA | NA | 2008-01-04 | 0 | NA | 0 |  | 13
82 |  | FOETAL DOPPLER | 1 | NA | NA | NA | 2008-01-04 | 0 | NA | 0 |  | 1
83 |  | FOETAL DOPPLER | 1 | NA | NA | NA | 2008-01-04 | 0 | NA | 0 |  | 1
84 |  | FOETAL DOPPLER | 1 | NA | NA | NA | 29/5/10 | 0 | NA | 0 |  | 1
85 |  | FOETAL DOPPLER | 1 | NA | NA | NA | 29/5/10 | 0 | NA | 0 |  | 1
86 |  | SUCTION MACHINE | 1 | NA | NA | NA | 2008-01-04 | 0 | NA | 0 |  | 1
87 |  | SUCTION MACHINE | 1 | NA | NA | NA | 2008-01-04 | 0 | NA | 0 |  | 1
88 |  | SUCTION MACHINE | 1 | NA | NA | NA | 2008-01-04 | 0 | NA | 0 |  | 1
89 |  | SUCTION MACHINE | 1 | NA | NA | NA | 29/4/10 | 0 | NA | 0 |  | 1
90 |  | OXYGEN CYLINDER | 2 | NA | NA | NA |  | 0 | NA | 0 |  | 2
91 |  | NEBULIZER | 1 | NA | NA | NA | 2009-02-10 | 0 | NA | 0 |  | 1
92 |  | FORMALIN CHAMBER | 1 | NA | NA | NA | 2008-01-04 | 0 | NA | 0 |  | 1
93 |  | PATIENT TROLLEY | 1 | NA | NA | NA | 2008-01-04 | 0 | NA | 0 |  | 1
94 |  | PATIENT TROLLEY | 1 | NA | NA | NA | 29-4-08 | 0 | NA | 0 |  | 1
95 |  | PULSE OXYMETER | 1 | NA | NA | NA | 29-4-10 | 0 | NA | 0 |  | 1
96 |  | PULSE OXYMETER | 1 | NA | NA | NA | 29-410 | 0 | NA | 0 |  | 1
97 |  | LYRANGOSCOPE | 1 | NA | NA | NA | 2010-02-05 | 0 | NA | 0 |  | 1
98 |  | LYRANGOSCOPE | 1 | NA | NA | NA |  | 0 | NA | 0 |  | 1
99 |  | SHADOW LAMP | 1 | NA | NA | NA | 2008-01-04 | 0 | NA | 0 |  | 1
100 |  | SHADOW LAMP | 1 | NA | NA | NA |  | 0 | NA | 0 |  | 1
101 |  | SHADOW LAMP | 1 | NA | NA | NA |  | 0 | NA | 0 |  | 1
102 |  | PATIENT BED | 22 | NA | NA | NA |  | 0 | NA | 0 |  | 21 | 1
103 |  | IV STAND | 11 | NA | NA | NA |  | 0 | NA | 0 |  | 11
104 |  | BED SIDE LOCKER | 15 | NA | NA | NA |  | 0 | NA | 0 |  | 15
105 |  | NURSE CALL SYATEM | 15 | NA | NA | NA |  | 0 | NA | 0 |  | 15
106 | Medical Ward | PATIENT BED | 44 | NA | NA | NA | NA | 0 | NA | 0 | NA | 43 | 1
107 |  | I V STAND | 17 | NA | NA | NA | NA | 0 | NA | 0 | NA | 17
108 |  | BED SIDE LOCKER | 32 | NA | NA | NA | NA | 0 | NA | 0 | NA | 32
109 |  | NURSE CALL SYSTEM | 48 |  |  |  | NA | 0 | NA | 0 | NA | 48
110 |  | NEEDLE DESTROYER | 1 | MICROSIL | ND-350 | NA | NA | 0 | NA | 0 | NA | 1
111 |  | DRUG TROLLEY | 1 | SURGICOIN | ALCON | NA | NA | 0 | NA | 0 | NA | 1
112 |  | OXYGEN CYLINDER | 2 | SMALL | NA | NA | NA | 0 | NA | 0 | NA | 2
113 |  | WHEEL CHAIR | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | 2
114 |  | STRECTER | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | 2
115 |  | SUCTION MACHINE | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | 2
116 | Nursery Ward | Neonatal Ventilator | 2 | Sechrist | 120 | 93/42/EEC | 0.0.2009 | 0 | NA | 0 | NA | W
117 |  | Neonatal Ventilator |  | Sechrist | 120 | 93/43/EEC |  | 0 | NA | 0 | NA
118 |  | Intensive Care Incubator | 1 | Phonix | INC-100 | 2306 | NA | 0 | NA | 0 |  | W
119 |  | Intensive Care Incubator | 1 | Phonix | INC-100 | 2308 | NA | 0 | NA | 0 | NA | W
120 |  | Intensive Care Incubator | 1 | Phonix | INC-100 | 2307 | NA | 0 | NA | 0 | NA | W
121 |  | Intensive Care Incubator | 1 | NA |  |  |  | 0 | NA | 0 |  | W
122 |  | Multipara Monitor | 1 | Mindray |  | CV-21107576 | NA | 0 | NA | 0 | NA | W
123 |  | Multipara Monitor | 1 | Mindray |  | CV-21107574 | NA | 0 | NA | 0 | NA | W
124 |  | Multipara Monitor | 1 | Mindray |  |  | NA | 0 | NA | 0 | NA | W
125 |  | Multipara Monitor | 1 | Mindray |  |  | NA | 0 | NA | 0 | NA | NW
126 |  | Multipara Monitor | 1 | L&T medical |  | C09P0613 | NA | 0 | NA | 0 | NA | W
127 |  | Multipara Monitor | 1 | L&T medical | Star-55 | A09SR1843 | NA | 0 | NA | 0 | NA | NW
128 |  | Infant Radiant warmer | 1 | S.S Technomed | NA |  | NA | 0 | NA | 0 | NA | W
129 |  | Infant Radiant warmer | 1 | Surgicoin |  |  | NA | 0 | NA | 0 | NA | W
130 |  | Infant Radiant warmer | 1 | Surgicoin |  |  | NA | 0 | NA | 0 | NA | W
131 |  | Infant Radiant warmer | 1 | Surgicoin |  |  | NA | 0 | NA | 0 | NA | NW
132 |  | Phototheraphy Unit | 1 | S.S Technomed | CFL single surface | SST/PT/12-13/0087 | NA | 0 | NA | 0 | NA | W
133 |  | Phototheraphy Unit | 1 | S.S Technomed | CFL single surface | SST/PT/12-13/0040 | NA | 0 | NA | 0 | NA | W
134 |  | Phototheraphy Unit | 1 | S.S Technomed | CFL single surface | SST/PT/12-13/0045 | NA | 0 | NA | 0 | NA | W
135 |  | Phototheraphy Unit | 1 | S.S Technomed | CFL single surface | SST/PT/12-13/0039 | NA | 0 | NA | 0 | NA | W
136 |  | Phototheraphy Unit | 1 | Phonix | CFL101 | 3956 | NA | 0 | NA | 0 | NA | W
137 |  | Phototheraphy Unit | 1 | Phonix | CF101 | 3957 | NA | 0 | NA | 0 | NA | W
138 |  | Phototheraphy Unit | 1 | S.S Technomed | NA |  | NA | 0 | NA | 0 | NA | W
139 |  | Phototheraphy Unit | 1 | Surgicoin | NA |  | NA | 0 | NA | 0 | NA |  | NW
140 |  | Phototheraphy Unit | 1 | Surgicoin | NA |  | NA | 0 | NA | 0 | NA |  | NW
141 |  | Phototheraphy Unit | 1 | Surgicoin | NA |  | NA | 0 | NA | 0 | NA |  | NW
142 |  | Phototheraphy Unit | 1 | Surgicoin | NA |  | NA | 0 | NA | 0 | NA | W
143 |  | Phototheraphy Unit | 1 | Surgicoin | NA |  | NA | 0 | NA | 0 | NA | W
144 |  | Phototheraphy Unit | 1 | Surgicoin | NA |  | NA | 0 | NA | 0 | NA | W
145 |  | Oxygen Concentator | 2 | Taurus Healthcare | Oxywave | TCH/OXY02/2000/467 | NA | 0 | NA | 0 | NA | W
146 |  | Syringe Infusion pump | 1 | SS Technomed | Techno |  | NA | 0 | NA | 0 | NA | W
147 |  | Syringe Infusion pump | 1 | Taurus Healthcare | Oxywave | TCH/OXY02/2000/466 | NA | 0 | NA | 0 | NA | W
148 |  | Suction Machine-Foot operated | 1 | Dynamic |  | NA | NA | 0 | NA | 0 | NA | W
149 |  | Suction Machine-Electrical | 2 | Devine medihealth Pvt.ltd |  | NA | NA | 0 | NA | 0 | NA | W
150 |  | Needle Destroyer | 1 | Microsil India | ND-120 | 038/08/07 | NA | 0 | NA | 0 | NA | W
151 |  | baby weighing Machine | 1 | Local |  |  | NA | 0 | NA | 0 | NA | W
152 | OT | C-ARM | 1 | MEDITRONICS | 60DHF-6 | G9K121 | 23-12-09 | 0.0.0 | NA | 0 | NA | 1
153 |  | C-ARM | 1 | ALLENGERS |  |  | 2006-08-08 | 0 | NA | 0 | NA |  | 1
154 |  | OT LIGHT PORTABLE | 1 | SURGICOIN | NA | NA | 30-4-07 | 0 | NA | 0 | NA | 1
155 |  | OT LIGHT PORTABLE | 1 | SURGICOIN | NA | NA | 30-4-07 | 0 | NA | 0 | NA | 1
156 |  | OT LIGHT PORTABLE | 1 | SURGICOIN | NA | NA | 30-4-07 | 0 | NA | 0 | NA | 1
157 |  | OT LIGHT PORTABLE | 1 | SURGICOIN |  | 08C07 | 30-4-07 | 0 | NA | 0 | NA | 1
158 |  | OT LIGHT Celing | 2 | Cognate india(2 qty) | C1500CIL/LT26 |  |  | 0 | NA | 0 | NA | 4
159 |  | OT LIGHT Celing | 2 | Surgicoin(double dom)2qty |  | NA |  | 0 | NA | 0 | NA
160 |  | Autoclave machine | 1 | Natt |  | 1173 |  | 0 | NA | 0 | NA | 1
161 |  | Autoclave machine | 1 | Natt |  | 1177 |  | 0 | NA | 0 | NA | 1
162 |  | Autoclave machine | 1 | Surgicoin | Surgico | NA |  | 0 | NA | 0 | NA | 1
163 |  | Autoclave machine | 1 | Yorko | York | NA |  | 0 | NA | 0 | NA | 1
164 |  | Autoclave machine | 1 | Sciemns |  | NA |  | 0 | NA | 0 | NA | 1
165 |  | SUCTION MACHINE | 1 | ANAND INSTRUMENTS | HI-VAC | NA |  | 0 | NA | 0 | NA | 1
166 |  | SUCTION MACHINE | 1 | SURGICOIN |  | NA | 30-4-07 | 0 | NA | 0 | NA | 1
167 |  | SUCTION MACHINE | 1 | SURGICOIN |  | NA | 30-4-07 | 0 | NA | 0 | NA | 1
168 |  | PULSE OXYMETER | 1 | DATEX OHEMDA | OHMEDA TRU SAT | FCC07360032SA | 13-12-07 | 0 | NA | 0 | NA | 1
169 |  | PULSE OXYMETER | 1 | DATEX OHEMDA | OHMEDA TRU SAT | FCC07360031SA | 13-12-07 | 0 | NA | 0 | NA | 1
170 |  | MULTI PARA MONITOR | 1 | MEDITRONICS | PAMO-11 MP-800 | 800-05B0043 |  | 0 | NA | 0 | NA | 1
171 |  | BOYLES APPRATUS | 1 | L& T | CARDIO-CARE | 1007ac/03 |  | 0 | NA | 0 | NA | 1
172 |  | BOYLES APPRATUS | 1 | SURGICOIN |  | NA | 2002-09-05 | 0 | NA | 0 | NA | 1
173 |  | BOYLES APPRATUS | 1 | SURGICOIN |  | NA |  | 0 | NA | 0 | NA | 1
174 |  | SURGICAL DIATHERMY | 1 | valley lab | force -fx | f6c51348 | 30-3-07 | 0 | NA | 0 | NA | 1
175 |  | SURGICAL DIATHERMY | 1 | SURGICOIN | DX-400 | NA | 30-4-07 | 0 | NA | 0 | NA | 1
176 |  | MEDICINE TROLLEY | 1 | surgicoin | ALCON | NA |  | 0 | NA | 0 | NA | 1
177 |  | MEDICINE TROLLEY | 1 | SURGICOIN | ALCON | NA |  | 0 | NA | 0 | NA | 1
178 |  | OT TABLE | 1 | COGNATE |  | NA |  | 0 | NA | 0 | NA | 1
179 |  | OT TABLE | 1 | SURGICOIN | CHD-1 | NA |  | 0 | NA | 0 | NA | 1
180 |  | OT TABLE | 1 | SURGICOIN | CHD-1 | NA | 14-7-04 | 0 | NA | 0 | NA | 1
181 |  | OT TABLE | 1 | SURGIDENT |  | NA | 21-5-94 | 0 | NA | 0 | NA |  | 1
182 |  | OT TABLE | 1 | SURGIDENT |  | NA | 21-5-94 | 0 | NA | 0 | NA |  | 1
183 |  | EYE MICROSCOPE | 1 | NIKON | SMZ645 | NA | 25/3/08 | 0 | NA | 0 | NA | 1
184 |  | EYE MICROSCOPE | 1 | GUARDLINE OPLINE | GRA376 | 19426 | 15/5/04 | 0 | NA | 0 | NA | 1
185 |  | EYE MICROSCOPE | 1 | Takagi | OM-8 | 711233 |  | 0 | NA | 0 | NA | 1
186 |  | EYE MICROSCOPE | 1 | Takagi | OM-8 | 911261 |  | 0 | NA | 0 | NA | 1
187 |  | STERLISER | 1 | NA | NA | NA | 27-8-91 | 0 | NA | 0 | NA | 1
188 |  | STERLISER | 1 | NA | NA | NA | 27-8-91 | 0 | NA | 0 | NA | 1
189 |  | STERLISER | 1 | NA | NA | NA | 27-8-91 | 0 | NA | 0 | NA | 1
190 |  | STERLISER | 1 | Sturdy | SA232xFa100 | NA |  | 0 | NA | 0 | NA | 1
191 |  | AUTOCLAVE M/C | 1 | SIEMENS | NA | NA |  | 0 | NA | 0 | NA |  | 1
192 |  | AUTOCLAVE M/C | 1 | YORKO | NA | NA |  | 0 | NA | 0 | NA |  | 1
193 |  | AUTOCLAVE M/C | 1 | SURGICOIN | NA | NA | 30-4-07 | 0 | NA | 0 | NA | 1
194 |  | Phaco machine | 1 | Appasamy |  | NA |  | 0 | NA | 0 | NA | 1
195 |  | Green laser with slit lamp | 1 | Appasamy | Amog532NM | NA |  | 0 | NA | 0 | NA | 1
196 |  | AIR CONDITION | 9 | Voltas |  | NA |  | 0 | NA | 0 | NA | 9
197 |  |  |  | SAMSUNG |  | NA |  | 0 | NA | 0 | NA
198 |  |  |  | FEDDERS LLYOD |  | NA |  | 0 | NA | 0 | NA
199 |  |  |  | LG |  | NA |  | 0 | NA | 0 | NA | 1
200 |  | DRILL MACHINE | 2 |  |  | NA | 2006-10-05 | 0 | NA | 0 | NA |  | 1
201 |  | NEEDLE DESTROYER | 1 |  |  | NA |  | 0 | NA | 0 | NA | 1
202 |  | BP APPRATUS | 2 | DIAMOND |  | NA |  | 0 | NA | 0 | NA | 2
203 |  | Cautry Machine | 1 |  |  | NA |  | 0 | NA | 0 | NA | 2
204 |  | Cautry Machine | 1 |  |  |  |  | 0 | NA | 0 | NA
205 |  | Cautry Machine | 1 | DIAMOND |  | NA |  | 0 | NA | 0 | NA | 1
206 |  | VENTILATOR | 1 | MEDISYS |  | NA |  | 0 | NA | 0 | NA | 1
207 |  | DEFIBRILATOR | 3 |  |  | NA |  | 0 | NA | 0 | NA | 3
208 |  | IV STAND | 2 |  |  | NA | 30-4-07 | 0 | NA | 0 | NA | 2
209 |  | PATIENT BED | 6 |  |  | NA |  | 0 | NA | 0 | NA | 6
210 |  | STERCHER | 2 |  |  | NA |  | 0 | NA | 0 | NA | 2
211 |  | INVERTER | 1 | MICROTEK | 1400 | NA |  | 0 | NA | 0 | NA | 1
212 |  | INVERTER | 1 | MICROTEK | 1400 | NA |  | 0 | NA | 0 | NA | 1
213 |  | WHEEL CHAIR | 1 |  |  | NA | 30-4-07 | 0 | NA | 0 | NA | 1
214 | Physiotherapy | IFT THERAPHY UNIT | 1 | PHYSIOCARE | PHYSIOCARE IFT | PP-10051214 | 2010-02-01 | 0 | NA | 0 | NA | 1
215 |  | ULTRASOUND THERAPHY UNIT | 1 | PHYSIOCARE | PHYSIONIC P-4 | PC-10051213 | 2010-02-01 | 0 | NA | 0 | NA | 1
216 |  | HYDRO COLLATOR | 1 | PHYSIOCARE | PHYSIOCARE | 4RH10051206 | 2010-02-01 | 0 | NA | 0 | NA | 1
217 |  | MUSCLE STIMULATOR | 1 | PHYSIOCARE | PHYSISTIM | PC-10051211 | 2010-02-01 | 0 | NA | 0 | NA | 1
218 |  | TENS -4 CHANNEL | 1 | PHYSIOCARE | PHYSITENS | PTS-10051205 | 2010-02-01 | 0 | NA | 0 | NA | 1 | 1
219 |  | SHORT WAVE DIATHERMY | 1 | PHYSIOCARE | PHYSITHERM | PC-10051215(P) | 2010-02-01 | 0 | NA | 0 | NA | 1 | 1
220 |  | TRACTION UNIT WITH 4 FOLD BED | 1 | PHYSIOCARE | PHYSITRAC | PT -10051213 | 2010-02-01 | 0 | NA | 0 | NA | 1
221 |  | EXERCISE THERAPHY UNIT | 1 | PHYSIOCARE | NA | NA | 2010-02-01 | 0 | NA | 0 | NA | 1
222 |  | INFRA RED LAMP | 1 | PHYSIOCARE | PHYSIOCARE-IR | NA | 2010-02-01 | 0 | NA | 0 | NA | 1
223 |  | WAX BATH | 1 | PHYSIOCARE | PHYSIOCARE-WB | PC-10051212 | 2010-02-01 | 0 | NA | 0 | NA | 1
224 |  | SHOULDER WHEEL | 1 | PHYSIOCARE | MARINE WHEEL | NA | 2010-02-01 | 0 | NA | 0 | NA | 1
225 |  | COMBINATION MICRODIATHERMY | 1 | MW ENTERPRISES |  |  | 24-8-07 | 0 | NA | 0 | NA | 1
226 |  | PARALLEL WALK | 1 | NA | NA | NA | 2010-02-01 | 0 | NA | 0 | NA | 1
227 |  | IR-LAMP | 1 | NA | NA | NA | 2010-02-01 | 0 | NA | 0 | NA | 1
228 |  | PATIENT BED | 2 | N A | N A | NA | 2010-02-01 | 0 | NA | 0 | NA | 2
229 | Radiology | X-RAY MACHINE | 1 | WIPRO GE | DXD-300 | 11166 | 2003-01-04 | 0 | NA | 1 | 2016-02-01 | 1
230 |  | X-RAY MACHINE | 1 | WIPRO GE | DXD-300 | 106-36608 |  | 0 | NA | 1 | 2016-02-01 | 1
231 |  | CR SYSTEM | 1 | AGFA HEALTHCARE | CR-35 | NA | 18-12-07 | 0 | NA | 1 | 31.01.2016 | 1
232 |  | ULTRA SOUND MACHINE | 1 | LARSEN& TOUBROLTD | SONNET | N09T8327 |  | 0 | NA | 0 | NA | 1
233 |  | ULTRA SOUND MACHINE | 1 | FUKUDA DENS |  | NA | 21-5-96 | 0 | NA | 0 | NA |  | 1
234 | Surgical Ward | DRUG TROLLEY | 1 | SURGICOIN | ALCON |  | NA | 0 | NA | 0 |  | 1
235 |  | STERLISER | 1 | NA | NA | NA | NA | 0 | NA | 0 |  | 1
236 |  | AUTOCLAVE DRUM | 3 | NA | NA | NA | NA | 0 | NA | 0 |  | 3
237 |  | STERTCHER | 2 | NA | NA | NA | NA | 0 | NA | 0 |  | 2
238 |  | BP APPRATUS | 2 | NA | ELITE | NA | NA | 0 | NA | 0 |  | 1 | 1
239 |  | SUCTION MACHINE | 1 | NA | NA | NA | NA | 0 | NA | 0 |  | 1
240 |  | PATIENT BED | 40 | NA | NA | NA | NA | 0 | NA | 0 |  | 40
241 |  | IV STAND | 10 | NA | NA | NA | NA | 0 | NA | 0 |  | 10
242 |  | BED SIDE LOCKER | 34 | NA | NA | NA | NA | 0 | NA | 0 |  | 34
243 |  | NEEDLE DESTROYER | 2 | MICROSIL | ND-100 | 471/06-07 | NA | 0 | NA | 0 |  | 1
244 | TB Clinic | MICROSCOPE | 1 | LAB MATE | BINOCULAR | 980715 | NA | 0 | NA | 0 |  | 1
245 |  | X-RAY MACHINE(300mA) | 1 | ALLENGERS | NA | NA | NA | 0 | NA | 0 |  | 1
Contact details :8295936589
Facility Incharge :Dr.C.P Arora(Medical Superintendent)
Store Incharge :Jhonny Kumar
Store keeper :Jhonny Kumar
Biomedical Engineer :Sonu Tihal
Note on F226: Author:

## CHC BADKHALSA
MASTER EQUIPMENT BASE
Name Of District-Sonipat Type of Facility-CHC Nmae Of facility-Badkhalsa
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Radiology | X-RAY MACHINE | 1 | SIEMENS | NANAPOS-100/5343 | 01518-524 | NA | 0 | NA | 0 | NA | W
2 | Labour | SUCTION MACHINE | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 | Labour | BABY WEIGH MACHINE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 | OT | AUTOCLAVE(VERTICLE) | 1 | TECHNO INDIA |  | 7529 | NA | 0 | NA | 0 | NA | W
5 |  | STEAM STERLIZER | 1 | TECHNO INDIA | NA | NA | NA | 0 | NA | 0 | NA | W
6 | OT | TO LIGHT(SINGLE DOM) | 1 | ARKO | NA | NA | NA | 0 | NA | 0 | NA | W
7 | OT | BP APPRATUS | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 | OT | ELECTRIC NEEDLE DESTRYER | 1 | MICROSIL INDIA | NA | NA | NA | 0 | NA | 0 | NA | W
9 | Lab | MICROSCOPE | 5 | MLW INTERMED | MLW LAB | 320007-980714 | NA | 0 | NA | 0 | NA | W
| Lab |  |  | LABOTRON |  | 957761 | NA | 0 | NA | 0 | NA | NW
| Lab |  |  | MAGNUS | MLX |  | NA | 0 | NA | 0 | NA | NW
| Lab |  |  | LABO BIOPLAN | ML-81-M | 930255 | NA | 0 | NA | 0 | NA | W
| Lab |  |  | LABO OPTIK |  | 88-R418 | NA | 0 | NA | 0 | NA | W
10 | Lab | CENTRIFUGE MACHINE | 2 | HETTICH-LOCAL | EBA-8 | 6250 | NA | 0 | NA | 0 | NA | NW
|  |  |  | HAEMOTOKRIT-LOCAL | HETTICH | D78532 | NA | 0 | NA | 0 | NA | W
| TOTAL |  | 17 | [8 empty] | 14 | 3
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## fIROJPUR BANGAR
MASTER EQUIPMENT BASE
Name of District-Sonipat Type Of facility-CHC Name of facility-Firojpur Bangar
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Lab | MICROSCOPE | 1 | LABO OPTIK | VS-5 | 88R309 |  | 0 | NA | 0 | NA | W
2 | Lab | CENTRIFUGE MACHINE | 1 | MICRISIL | T-10 | LIC-348 |  | 0 | NA | 0 | NA | W
3 | Lab | MICROSCOPE | 1 | MAGNAT |  | 5908 |  | 0 | NA | 0 | NA | W
4 | Lab | CHLORIMETER | 1 | PHOTIC20 | PHOTIC-20 | 274 |  | 0 | NA | 0 | NA
5 | Labour | BP APPRATUS | 3 | DIAMAND |  | 409061 |  | 0 | NA | 0 | NA | W
| Labour |  |  | PAGODA |  | 235788 |  | 0 | NA | 0 | NA |  | NW
| Labour |  |  | NEOLAB |  | NA |  | 0 | NA | 0 | NA | W
6 | Labour | FETAL DOPPLER | 1 | NEOLAB |  | NA |  | 0 | NA | 0 | NA | W
7 | Labour | ELECTRIC NEEDLE DESTROYER | 1 | NA |  | 350 |  | 0 | NA | 0 | NA
8 | Labour | SUCTION MACHINE | 1 | SUPREME ENTERPRISES | NA | D5L01 |  | 0 | NA | 0 | NA | W
9 | Labour | WEIGHING MACHINE-ADULT | 1 |  |  |  |  | 0 | NA | 0 | NA | W
10 |  | INVERTER | 1 | SUKAM |  |  |  | 0 | NA | 0 | NA | W
11 |  | DEFREEZER | 1 | HAIER | HBD-116 | BEOGDOE010OB296BO127 WITH STABLIZER OF 1KVA |  | 0 | NA | 0 | NA | W
12 |  | ILR | 2 | HAIER | HBC-70 | BF058IE010OB29740044 |  | 0 | NA | 0 | NA | W
13 |  |  |  | HAIER | HBC-70 | BDO580E0100BQ49R0373 |  | 0 | NA | 0 | NA | W
14 |  | PC SYSYEM | 1 | HP | MONITOR,LASER PRINTER,CPU AND LCD SCREEN WITH LUMINIOUS UPS OF1/2KV |  |  | 0 | NA | 0 | NA | W
| TOTAL |  | 16 | [8 empty] | 15 | 1
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## JUAN
MASTER EQUIPMENT BASE
Name Of district-Sonipat Type of facility-CHC Name Of Facility-Juan
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Dental | Dental Chair | 1 | Confident | NA | NA | 10.5.2013 | 0 | NA | 0 | NA | W
2 | Dental | Needal Destroyer | 1 | Microsil | NA | NA | NA | 0 | NA | 0 | NA | W
3 | Labour | Autoclave Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 | Labour | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 | Labour | Stethoscope | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 | Labour | Sterlizer | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W | NW
7 | Labour | Microscope | 1 | Labo Optik | NA | NA | NA | 0 | NA | 0 | NA | W
8 | Labour | BP Appratus | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W | NW
9 | Ward | Patient Bed | 7 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
10 | Labour | Baby Weighing Machine | 1 | Local | NA | NA | NA | 0 | NA | 0 | NA | W
11 | Lab | ILR | 1 | Westfrost | NA | 10006677 | NA | 0 | NA | 0 | NA | W
12 | Lab | Refrigerator | 1 | Samsung | NA | Z30083 | NA | 0 | NA | 0 | NA | W
13 | Lab | Inverter | 3 | Luminous | NA | BOCLFF003337-1209 | NA | 0 | NA | 0 | NA | W
| Lab |  |  |  | NA | BOGLEP032938-2310 | NA | 0 | NA | 0 | NA | W
| Lab |  |  |  | NA | B2CLFF013544-2209 | NA | 0 | NA | 0 | NA | W
14 | Radiology | X-Ray Machine | 1 | Allengers | MARS-30/FC | 2K140330129 | NA | 0 | 20.10.2014 | 0 | NA | W
| Total |  | 25 | [8 empty] | 23 | 2
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## MUDLANA
MASTER EQUIPMENT BASE
Name of District-Sonipat Type of facility-CHC Name of Facility-Mudlana
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Lab | ELECTRIC NEEDLE DESTROYER | 1 | MICROSIL INDIA | ND-100 | 482/06/07 | 19.3.11 | 0 | NA | 0 | NA | W
2 | Lab | CENTRIFUGE MACHINE | 1 | NA | NA | NA | 19.3.11 | 0 | NA | 0 | NA | W
3 | Lab | MICROSCOPE | 3 | AJAY OPTIC |  | 05-A-5150 |  | 0 | NA | 0 | NA |  | NW
| lab |  |  | SCIENTFIC INDIA |  | 06-A-157 |  | 0 | NA | 0 | NA |  | NW
| lab |  |  | MLW INTER.GERMANY |  | 320008-980715 |  | 0 | NA | 0 | NA | W
4 | Radiology | X-RAY MACHINE | 1 | ELPRO INTER. LTD. | SL-50 |  |  | 0 | NA | 0 | NA | W
5 | Dental | DENTAL CHAIR | 1 | CONFIDENT | NA |  | 15.05.2013 | 0 | 14 05.2015 | 0 | NA | W
6 | Labour | SUCTION MACHINE | 1 | MONARCH SUGICAL INDUSTRIES |  | 657304 |  | 0 | NA | 0 | NA | W
7 | Labour | ELECTRIC NEEDLE DESTROYER | 1 | MICROSIL INDIA | ND-100 | 6257/03 |  | 0 | NA | 0 | NA | W
8 | Labour | GLASS BED STERLIZER | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 | Labour | BABY WEIGHING MACHINE | 1 | RAMAN SURGICAL | NA | NA | NA | 0 | NA | 0 | NA | W
10 | Labour | SUCTION MACHINE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
11 | labour | BIOLER | 1 | TECHNO INDIA |  | 34388 |  | 0 | NA | 0 | NA | W
12 | Labour | BABY TROLLY | 1 |  |  |  |  | 0 | NA | 0 | NA | W
13 | Labour | ELECTRIC NEEDLE DESTROYER | 1 | MICROSIL INDIA | ND-100 | 1056/07/08 |  | 0 | NA | 0 | NA | W
14 | Labour | NEBULIZER BABY | 1 | MEDIMIST |  |  |  | 0 | NA | 0 | NA | W
15 | labour | SUCTION MACHINE(ELECTRIC) | 1 | NA | NA | NA |  | 0 | NA | 0 | NA | W
16 | Labour | BP APPRATUS | 2 | NA | NA | NA |  | 0 | NA | 0 | NA |  | NW
17 | Lab | HEAT CONVERTER | 1 | NA | NA | NA |  | 0 | NA | 0 | NA | W
18 | Labour | FEETAL DOPPLER | 1 | BISTOS CO. LTD. | BAA-922019 |  |  | 0 | NA | 0 | NA | W
| Total |  | 21 | [8 empty] | 17 | 4
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## BHUTANA
MASTER EQUIPMENT BASE
Name of District-Sonipat Type of facility-PHC Name Of Facility-Bhutana
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Labour | SUCTION MACHINE | 2 | MONARCH | NA | 726304 | NA | 0 | NA | 0 | NA | W
| Labour |  |  | SUPREME ENTERPRISES | NA | 05L01 | NA | 0 | NA | 0 | NA | W
2 | Labour | BIOLER | 2 | TECHNO INDIA | NA | 3497 | NA | 0 | NA | 0 | NA |  | NW
| Labour |  |  | TECHNO INDIA | NA | NA | NA | 0 | NA | 0 | NA | W
3 | Labour | ELECTRIC NEEDLE DESTROYER | 1 | MICROSIL INDIA | NA | NA | NA | 0 | NA | 0 | NA | W
4 | Labour | WEIGHING MACHINE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA
5 | Labour | BABY TROLLY | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 | Labour | BP APPRATUS | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
7 | Labour | STEHOSCOPE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
8 | Dental | DENTAL CHAIR | 1 | CONFIDENT | NA | NA | NA | 0 | NA | 0 | NA | W
| Total |  | 10 | [8 empty] | 7 | 3
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## BIDHLAN
MASTER EQUIPMENT BASE
Name of district-Sonipat Type of facility-PHC Nmae of facility-Bidhlan
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Lab | Semi autoclave(Vertical) | 1 | Techno india | NA | NA | 2009 | 0 | NA | 0 | NA | W
2 | Lab | ILR | 3 | Westfrost | NA | 44710570 | 2009 | 0 | NA | 0 | NA | W
3 | Lab |  |  | Haier | HBD-116 | BE04G0E0100B296L0115 | 2009 | 0 | NA | 0 | NA | W
4 | Lab |  |  | Haier | HBD-116 |  | 2009 | 0 | NA | 0 | NA | W
5 | Labour | Digital feetal doppler | 1 | Crown-dx | DOPP-ZX | M20020310205 | 2009 | 0 | NA | 0 | NA | W
6 | Labour | Phototherpy Unit | 1 |  | NA | W00031006-DX | 2009 | 0 | NA | 0 | NA | W
7 | Labour | Wheel Chair | 1 |  | NA |  | 2009 | 0 | NA | 0 | NA | W
8 | labour | Needle Destroyer | 6 | Microsil india | ND-100 | 54402-05-06 | 2009 | 0 | NA | 0 | NA | W
| Labour |  | 1 |  | NA | NA | NA | 0 | NA | 0 | NA | NW | NW
9 | Labour | Foot suction m/c | 1 |  | NA | NA | NA | 0 | NA | 0 | NA | W
10 | Labour | Boiler | 1 | Techno india | NA | 34837 |  | 0 | NA | 0 | NA | W
11 | Dental | dental Chair | 1 | Confident | C34 | NA | NA | 0 | NA | 0 | NA | W
| TOTAL |  | 17 | [8 empty] | 16 | 1
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## DHUBETA
MASTER EQUIPMENT BASE
Name of Distrct-Sonipat Type of fcaility-PHC Name Of facility-Dhueta
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | LAB | BIONU.MICROSCOPE | 1 | LABO OPTIC | NA | VJ-5/88R275 | NA | 0 | NA | 0 | NA | W
2 |  | STETHOSCOPE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | STEAM STERLIZER | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | BP APPRATUS | 1 | OMEX | NA | M-436842 | NA | 0 | NA | 0 | NA | W
| Total |  | 4 | [8 empty] | 4 | 0
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## FARMANA
MASTER EQUIPMENT BASE
Name of District-Sonipat Type of fcaility-PHC Name of Facility-Farmana
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | LAB | ILR | 2 | Westfrost | NBK-142 | 44700308 | NA | 0 | NA | 0 | NA | W
2 | LAB | Centrifuge M/c | 1 | Remi | Na |  | NA | 0 | NA | 0 | NA |  | nw
3 | LAB | Binocular microscope | 1 | MLW Intermed | MLW Lab | 320008980715 | NA | 0 | NA | 0 | NA | W
4 | LAB | Refrigerator | 1 | LG | GL-195 | NL4/2011 | NA | 0 | NA | 0 | NA | W
5 | LABOUR | Suction m/c | 1 | Supreme Enterprises | 05L01 | NA | NA | 0 | NA | 0 | NA | W
6 | LABOUR | Boiler | 1 | Techno india | NA | 34222 | NA | 0 | NA | 0 | NA | W
7 | LABOUR | baby weighing M/c | 1 |  | NA | NA | NA | 0 | NA | 0 | NA | W
8 | LABOUR | baby trolly | 1 |  | NA | NA | NA | 0 | NA | 0 | NA | W
9 | LABOUR | Needle Dstroyer | 1 | Microsil india | ND-350 | NA | NA | 0 | NA | 0 | NA | W
10 | LABOUR | BP appratus | 2 | Bharat Enterprises | NA | 483 | NA | 0 | NA | 0 | NA | W
11 | DENTAL | Dental Chair | 1 | Confident | NA | NA | NA | 0 | NA | 0 | NA | W
12 | LABOUR | Radiant warmer | 1 | Phoenix | OCW100 | TU1309 | 14.07.2013 | 0 | NA | 0 | NA | W
| Total |  | 13 | [8 empty] | 12 | 1
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## HALALPUR
MASTER EQUIPMENT BASE
Name of District-Sonipat Type of facility-PHC Name Of facility-Halalpur
DEPARTMENT - DENTAL , LAB AND LABOUR ROOM
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | LAB | MICROSCOPE | 3 | OLYMPUS PVT LTD | MLX | 515714 | NA | 0 | NA | 0 | NA | W
| LAB |  |  | OLYMPUS-ORDINARY | NA | 38471 | NA | 0 | NA | 0 | NA |  | NW
| LAB |  |  | OLYMPUS-ORDINARY | NA | 42063 | NA | 0 | NA | 0 | NA | W
2 | DENTAL | DENTAL CHAIR | 1 | CONFIDENT | NA |  | NA | 0 | 3.9.2006 | 0 | NA | W
3 | LABOUR | ELECTRIC NEEDLE ESTROYER | 1 | MICROSIL INDIA | ND-100 | 1008-06-07 | NA | 0 | NA | 0 | NA | W
4 | LABOUR | STEAM STERLIZER | 2 |  | NA | NA | NA | 0 | NA | 0 | NA | W
5 | LABOUR | SUCTION MACHINE-FOOT OPERATED | 2 | NIL | NA | NA | NA | 0 | NA | 0 | NA | W
| LABOUR |  |  | MONARCH | NA | NA | NA | 0 | NA | 0 | NA |  | NW
6 | LABOUR | STEAM STERLIZER | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA |  | NW
7 | LABOUR | BP APPRATUS | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
| Total |  | 12 | [8 empty] | 9 | 3
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## JAGGSI
MASTER EQUIPMENT BASE
Name Of District-Sonipat Type of Facility-PHC Name of Facility-Jaggsi
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | LAB | SUCTION MACHINE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA |  | NW
2 |  | BIONU. MICROSCOPE | 1 | MLW INTER. GERMANY | MLW LAB | 320008-980715 | NA | 0 | NA | 0 | NA | W
3 |  | BP APRATUS | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
| Total |  | 4 | [8 empty] | 3 | 1
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## JAKHOLI
MASTER EQUIPMENT BASE
Hospital -PHC JAKHOLI
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | DENTAL | DENTAL CHAIR | 1 | CONFIDENT |  | NA | NA | 0 | 8.10.2006 | 0 |  | W
2 | OT | ELECTRIC NEEDLE DESTROYER | 1 | MICROSIL INDIA | ND-350 | NA | NA | 0 |  | 0 |  | W
3 | OT | BABY NEBULIZER | 1 | INFINITY MEDIQUIP INDIA | INF-MED | 131106 | NA | 0 |  | 0 |  | W
4 | OT | SUCTION MACHINE | 2 | SHIVA SURGICALCO. | NA | NA | NA | 0 |  | 0 |  | W
5 | OT | BABY WEIGHING MACHINE | 1 | KORPE PRECISION | NA | NA | NA | 0 |  | 0 |  | W
6 | Lab | STEM STERLIZER | 1 | TECHNO INDIA | NA | 34351 | NA | 0 |  | 0 |  | W
7 | Lab | CENTRIFUGE MACHINE | 1 |  | NA | NA | NA | 0 |  | 0 |  | W
8 | Lab | BIONU. MICROCOPE | 3 | SCIENTFIC INDIA | 05M-6049 | NA | NA | 0 |  | 0 |  | W
9 |  |  |  | MAGNUS | MLX | NA | NA | 0 |  | 0 |  | W
|  |  |  | OLYMPUS INDIA PVT LTD | NA | NA | NA | 0 |  | 0 |  |  | NW
| Total |  | 11 | [8 empty] | 10 | 1
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## MOI MAJRI
MASTER EQUIPMENT BASE
Nmae of District-Sonipat Type of Facility-PHC Name Of facility-Moi majri
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | ALL | MICROSCOPE | 2 | MAGNUS | NA | 51469 | NA | 0 | NA | 0 | NA | W
|  |  |  | QUASMO | NA | 54167 | NA | 0 | NA | 0 | NA | W
2 |  | SUCTION MACHINE-ELECTRICAL | 1 | SHIVA SURGICAL | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | BABY WEIGHING MACHINE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
| Total |  | 4 | [8 empty] | 4 | 0
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## ROHAT
MASTER EQUIPMENT BASE
Name Of District-Sonipat Type of facility-PHC Name Of facility-Rohat
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | All | Binoculars Microscope | 2 | Olympus | NA | NA | 1995 | 0 | NA | 0 | NA | W
2 |  | haemoglbino meter | 3 | Shali | NA | NA | 2010-2011 | 0 | NA | 0 | NA | W
3 |  | Glucometer | 1 | Entrust | NA | NA | 2005 | 0 | NA | 0 | NA | W
4 |  | Nebulizer Baby | 2 | Infinity mediquip | NA | NA | 2009-2010 | 0 | NA | 0 | NA | W
5 |  | Suction machine | 1 | Shiva Surgical | NA | NA | 2010 | 0 | NA | 0 | NA | W
6 |  | BP Appratus | 2 | Omax | NA | NA | 2011 | 0 | NA | 0 | NA | W
7 |  | IV stand | 1 | Local made | NA | NA | 2009 | 0 | NA | 0 | NA | W
8 |  | Centrifuge M/C | 1 | Remi | NA | 3422 | NA | 0 | NA | 0 | NA |  | NW
9 |  | Autoclave(Semi) | 1 | NA | NA | NA | 2010 | 0 | NA | 0 | NA | W
10 |  | ILR and Defrizer | 1 | Westfrost | NA | NA | NA | 0 | NA | 0 | NA | W
11 |  | Stethoscope | 1 |  | NA | NA | NA | 0 | NA | 0 | NA | w
| Total |  | 16 | [8 empty] | 15 | 1
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## SISANA
MASTER EQUIPMENT BASE
Name of District-Sonipat Type of facility-PHC Name Of Facility-Sisana
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | All | Foot suction m/c | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
2 |  | Baby weighing m/c | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | feetal heart monitor | 1 | Neocare | DX02 | 50769050 | NA | 0 | NA | 0 | NA | W
4 |  | ILR | 2 | Haier | HBC70 | BE07F4E0N00B2A980150 | NA | 0 | NA | 0 | NA | W
5 |  |  |  | Haier | HBC-116 | BE04GHE2600B2A860024 | NA | 0 | NA | 0 | NA | W
6 |  | BP Appratus | 2 | Meditech | 12010028 |  | NA | 0 | NA | 0 | NA | W
|  |  |  | Meditech |  |  | NA | 0 | NA | 0 | NA |  | NW
| Total |  | 7 | [8 empty] | 6 | 1
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## GOHANA OT
MASTER EQUIPMENT BASE
Name of District-Sonipat Type of facility-CHC Name Of facility-Gohana
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | OT | MOBILE OT LAMP | 4 | MULTILUX HOSPITAL PVT.LTD | DMS-20 | NA | NA | 0 |  | 0 | NA | W
2 |  | STEAMSTERLIZER | 4 | TECHNO INDIA |  | NA | NA | 0 |  | 0 | NA | W
3 |  | AUTOCLAVE-VERTICAL | 2 | NA |  | NA | NA | 0 |  | 0 | NA | W
4 |  | BP APPRATUS | 1 | DATEX OMEGA |  | NA | NA | 0 |  | 0 | NA | W
5 |  | SUCTION MACHINE | 2 | MONARCH | MSI-RH02 | NA | NA | 0 |  | 0 | NA | W
|  |  |  | MONARCH |  | 663304 |  | 0 |  | 0 | NA | W
6 |  | OT TABLE | 2 |  |  |  |  | 0 |  | 0 | NA | W
7 |  | BP APPRATUS | 3 | NAMATT-STAND MODE |  | 63767 | NA | 0 |  | 0 | NA | W
|  |  |  | ELITE |  | NA | NA | 0 |  | 0 | NA | W
|  |  |  | NOVA |  | NA | NA | 0 |  | 0 | NA |  | NW
| TOTAL |  | 18 | [8 empty] | 17 | 1
Contact details :8295936589
Facility Incharge :DR Karambir(SMO)
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## GOHANA EMERG.
MASTER EQUIPMENT BASE
Name Of District-Sonipat Type of Facility-CHC Name Of facility-Gohana
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Emergency | SUCTION MACHINE | 1 | NA | NA | NA | NA | 0 |  | 0 | NA | W
2 |  | BP APPRATUS | 1 | GOLD SUPREME | NA | NA | NA | 0 |  | 0 | NA | W | 1
3 |  | IV STAND | 4 |  | NA | NA | NA | 0 |  | 0 | NA | W
| TOTAL |  | 6 | [8 empty] | 5 | 1
Contact details :8295936589
Facility Incharge :DR Karambir(SMO)
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## GOHANA LAB
MASTER EQUIPMENT BASE
Name of District-Sonipat Type of Facility-CHC Name Of facility-Gohana
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | LABoratory | SEMI AUTO ANALYSER | 2 | ERBA-TRANSASIA | CHEM5X | N110231 |  | 0 | NA | 0 | NA | W
|  |  |  | ERBA-TRANSASIA | NA | NA | NA | 0 | NA | 0 | NA |  | NW-CONDUM
2 |  | CENTRIFUGE MACHINE | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
3 |  | ELECTRIC NEEDLE DESTROYER | 2 | MICROSIL INDIA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | SEMI AUTOCLAVE | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 |  | HOT PLATE | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
6 |  | ROTARY SHAKER | 2 | OXFORD | NA | NA | NA | 0 | NA | 0 | NA | W
7 |  | ELECTRIC WEIGHING MACHINE | 1 | JOHNSONS ELECTRONICS | NA | NA | NA | 0 | NA | 0 | NA | W
8 |  | INCUBATOR | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 |  | REFRIGERATOR | 1 | GODREJ | NA | NA | NA | 0 | NA | 0 | NA | W
| TOTAL |  | 15 | [8 empty] | 14 | 1
Contact details :8295936589
Facility Incharge :DR Karambir(SMO)
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## GOHANA DENTAL
MASTER EQUIPMENT BASE
Name Of District - Sonipat Type Of Facility-CHC Name Of Facility- Gohana
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 |  | DENTAL CHAIR | 1 | CONFIDENT | NA | NA | NA | 0 | NA | 0 |  | W
2 |  | X-RAY MACHINE | 1 | ELPRO | NA | NA | NA | 0 | NA | 0 |  | W
3 |  | ELECTRIC NEEDLE DESTROYER | 1 | MICROSIL INDIA | NA | NA | NA | 0 | NA | 0 |  | W
4 |  | STERLIZER | 1 | TECHNO INDIA |  | NA | NA | 0 | NA | 0 |  | W
|  | TOTAL | 4 | [8 empty] | 4 | 0
Contact details :8295936589
Facility Incharge :DR Karambir(SMO)
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## GOHANA LABOUR W
MASTER EQUIPMENT BASE
Name Of District - Sonipat Type Of Facility- CHC Name Of Facility-Gohana
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Labour Ward | PHOTOTHERPY UNIT | 2 | SS TECHNOMED | CFLS | SST/CSS/1112/17 | NA | 0 | NA | 0 | NA | W
|  |  |  | SS TECHNOMED | CFLS | NA | NA | 0 | NA | 0 | NA | W
2 |  | DOPPLER | 2 | NEOCARE | NA |  | NA | 0 | NA | 0 | NA |  | 2
3 |  | SUCTION MACHINE-ELECTRIC | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  | FOOT OPERATED | 3 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
4 |  | INFANT RADIANT WARMER | 1 | SS TECHNOMED | 1RW1723 | SST/1RW/11-12/118 | NA | 0 | NA | 0 | NA | W
5 |  | MOBILE OPERATING LAMP | 1 | NA |  | NA | NA | 0 | NA | 0 | NA | W
6 |  | BABY INCUBATOR | 1 | SS TECHNOMED | INC-1723 | SST/B1NC/11-12/002 | NA | 0 | NA | 0 | NA | W
7 |  | Open care System | 2 | Phoenix | OCW100 | TU1307-08 | NA | 0 | NA | 0 | NA | w
|  |  | 2 | Nice Neotac | 2010BC | NA | NA | 0 | NA | 0 | NA | w
8 |  | BP APPRATUS | 6 |  | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  | 5 |  |  |  | NA | 0 | NA | 0 | NA |  | 5
| TOTAL |  | 28 | [8 empty] | 21 | 7
Contact details :8295936589
Facility Incharge :DR Karambir(SMO)
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## GOHANA EYE
MASTER EQUIPMENT BASE
Name Of District - Sonipat Type Of Facility- CHC Name Of Facility-Gohana
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | EYE | OPTHALMOSCOPE | 2 | MEDICURE INSTRUMENT | NA | NA |  | 0 |  | 0 |  | W
|  |  |  | APPASAMY INSTRUMENT ASSOCIATES | NA | NA |  | 0 |  | 0 |  |  | NW(BAD COND.)
2 |  | BP APPRATUS | 1 | NA |  | NA |  | 0 |  | 0 |  | W
3 |  | STETHOSCOPE | 1 | MICROTONE |  | NA |  | 0 |  | 0 |  | W
| TOTAL |  | 4 | [8 empty] | 3 | 1
Contact details :8295936589
Facility Incharge :DR Karambir(SMO)
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## BHTANAJFRBAD
MASTER EQUIPMENT BASE
Name Of district-Sonipat Type Of facility-PHC Nmae of facility-Bhatanajfrabad
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Lab | Bionuclear Microscope | 1 | Labo optik | NA | 88R457 | NA | 0 | NA | 0 |  | W
2 | Lab | Needle Destroyer | 1 | Morphan | BG-03 | 8404124004901 | NA | 0 | NA | 0 |  | W
3 | Labour | BP Appratus | 3 | Nil | NA | NA | NA | 0 | NA | 0 |  | W
| Labour |  |  | NA | NA | NA | NA | 0 | NA | 0 |  |  | NW
| Labour |  |  | NA | NA | NA | NA | 0 | NA | 0 |  |  | NW
4 | Labour | Stethoscope | 2 | NA | NA | NA | NA | 0 | NA | 0 |  | W
5 | Lab | Glucometer | 1 | Microsil india | Nd-350 | NA | NA | 0 | NA | 0 |  | W
6 | Labour | BabyNebulizer | 1 | Infinity Mediquip | CN-01WB | 51932 | NA | 0 | NA | 0 |  | W
[7 empty] | NA | 0 | NA | 0
| Total |  | 9 | [8 empty] | 7 | 2
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## MAHRA
MASTER EQUIPMENT BASE
Name Of District-Sonipat Type Of facility-PHC Name Of facility-Mahra
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Lab | Bionuclear Microscope | 1 | Labo optik | VJ-5 | 88R477 | NA | 0 | NA | 0 | NA | W
2 | Labour | Suction Machine(Electrical) | 1 | Shiva Surgicalco. | NA | NA | NA | 0 | NA | 0 | NA | W
3 | Labour | Needle Destroyer | 1 | Microsil India | ND-120 | 6017103 | NA | 0 | NA | 0 | NA | W
4 | Labour | Boiler | 1 | Microsil India | NA | NA | NA | 0 | NA | 0 | NA |  | NW/Much bad con
5 | Labour | Nebulizer Baby | 1 | Omron Health care | NE-C-28 | 20061200510U | NA | 0 | NA | 0 | NA | W
6 | Labour | BP Appratus | 2 | Diamond | NA | M-436851 | NA | 0 | NA | 0 | NA | W
| Labour |  |  | Navophon | NA | 223950306 | NA | 0 | NA | 0 | NA | W
7 |  | ILR | 1 | Westfrost | NA | NA | NA | 0 | NA | 0 | NA | W
| Total |  | 8 | [8 empty] | 7 | 1
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## MURTHAL
MASTER EQUIPMENT BASE
Name Of district-Sonipat Type of facility-PHC Name of facility-Murthal
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Dental | Dental Chair | 1 | Rosh | C-60 |  | NA | 0 | NA | 0 | NA | W
2 | Lab | Bionuclear microscope | 2 | Olympus | Ak-11 | 41696 | NA | 0 | NA | 0 | NA | W
| Lab |  |  | Olympus | AK-11 | 09-600-00 | NA | 0 | NA | 0 | NA |  | NW/Bad Con
3 | Lab | Centrifuge Machine | 1 | Local | NA | NA | NA | 0 | NA | 0 | NA |  | NW/Bad Con
4 | Labour | Suction Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
5 | Labour | Needle Destroyer | 2 | Microsiol India | ND-120 | 1107107108 | NA | 0 | NA | 0 | NA | W
| Labour |  |  | Microsiol India | ND-350 |  | NA | 0 | NA | 0 | NA | W
6 | Labour | Boiler | 1 | Microsiol India | NA | 34320 | NA | 0 | NA | 0 | NA
7 |  | ILR | 2 | Westfrost | NA | 44710353 | NA | 0 | NA | 0 | NA | W
|  |  |  | Westfrost | HBD-116 | NA | NA | 0 | NA | 0 | NA | W
8 | Labour | BP Appratus | 2 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
|  |  |  | Citizen system zapan | CH-432B | 8091710 | NA | 0 | NA | 0 | NA | W
|  |  |  | Diamond | NA | 196043 | NA | 0 | NA | 0 | NA | W
9 | Labour | Stethoscope | 2 |  | NA | NA | NA | 0 | NA | 0 | NA | W
10 | Labour | Baby trolly | 1 |  | NA | NA | NA | 0 | NA | 0 | NA | W
11 | Labour | Radiant Warmer | 1 | Phoenix | NA | TU1304 | 11.7.2013 | 0 | NA | 0 | NA | w
| Total |  | 15 | [8 empty] | 13 | 2
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## PURKHAS
MASTER EQUIPMENT BASE
Name of District-Sonipat Type of facility-PHC Name of facility-Purkhas
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Radiology | X-ray Machine(50mA) | 1 | Escorts | S-300 | 8043 | NA | 0 | NA | 0 | NA |  | NW
2 | Dental | Dental chair | 1 | Cofident | c50 | NA | 08.05.2013 | 0 | NA | 0 | NA | W
3 | Medicine | IlR | 1 | NA | HBC-170 | BE07F4E0N00B2AAD0341 | NA | 0 | NA | 0 | NA | W
4 | Lab | Binuclear Microscope | 3 | Scientfic india | Microsean |  | NA | 0 | NA | 0 | NA | W
| Lab |  | NA | Scientfic india | M-20 |  | NA | 0 | NA | 0 | NA | W
| Lab |  | NA | Scientfic india | M-16 | 06-J-5028 | NA | 0 | NA | 0 | NA |  | NW
5 | Labour | Needle destroyer | 1 | Microsil India | ND-120 | 1518/06/07 | NA | 0 | NA | 0 | NA | W
6 | Labour | Centrifuge Machine | 1 | Local | NA | NA | NA | 0 | NA | 0 | NA |  | NW/V.Much bad con
7 | Labour | Suction Machine(Electrcal) | 1 | Shiva surgical | NA | NA | NA | 0 | NA | 0 | NA | W
8 | Labour | Baby Weighing Machine | 1 | NA | NA | NA | NA | 0 | NA | 0 | NA | W
9 | Lab | Refrigerator | 1 | Samsung | RA19/2010 |  | NA | 0 | NA | 0 | NA | W
10 | labour | BPAppratus | 1 |  | S-300 | 29154 | NA | 0 | NA | 0 | NA | W
| Total |  | 12 | [8 empty] | 9 | 3
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## BANWASA
MASTER EQUIPMENT BASE
Name of District-Sonipat Type of Facility-PHC Name of facility-Banwasa
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Labour | RADIANT WARMER | 1 | Phoenix | OCW100 | TU1305 | 12.7.2013 | 0 | na | 0 |  | W
2 | Labour | Sunction Machine | 1 | local | na | na | na | 0 | na | 0 |  | w
3 | Labour | needle destroyer | 1 | microsil india | nd-120 | na | na | 0 | NA | 0 |  | w
4 | Labour | BP appratus | 1 | na | NA | NA | NA | 0 | NA | 0 |  | w
|  | TOTAL | 4 | [8 empty] | 4 | 0
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## KHARKHODA
MASTER EQUIPMENT BASE
Name of District-Sonipat Type Of Facility- CHC Name of facility-Kharkhoda
S.no | Equipment Category | Equipment name | Qty | Manufacturer | Model | Equipment S.No. | Installation Date(m-yy) | Under Warranty(Y=1/N=0 | Warranty Upto(m-yy) | AMC/CMC(Y=1,N=0 | AMC/CMC Upto(m/yy | Working status
[12 empty] | Working | Non-Working
1 | Radiology | X-ray Machine | 1 | Allengers | MARs30 HF | 2k140730275 | 24.09.2014 | 0 | NA | 0 | NA | 1
2 | Dental | DentalChair | 3 | c50 |  |  | 15.5.2013 | 0 | NA | 0 | NA | 2
| Dental |  |  | c50 |  |  | na | 0 | NA | 0 | NA |  | 1
3 | labour | Radiant awrmer | 2 | Phoenix | ocw100 | TU1310-11 | 12.07.2013 | 0 | NA | 0 | NA | 2
4 | Labour | Open care warmer | 2 |  | 2010BC | 141506001454-53 | 20.11.2014 | 0 | NA | 0 | NA | 2
5 | Labour | Suction Machine Electrical | 2 | surgicoin | NA | NA | NA | 0 | NA | 0 | NA | 2
6 | Labour | BP aaaratus | 4 | Diamond | NA | NA | NA | 0 | NA | 0 | NA | 2 | 2
| TOTAL |  | 14 | [8 empty] | 11 | 3
Contact details :8295936589
Facility Incharge :
Store Incharge :
Store keeper :
Biomedical Engineer :Sonu Tihal

## consolidate
Equipment Name | Quantity
RADIANT WARMER | 3
Sunction Machine | 1
Bionuclear Microscope | 4
Semi autoclave(Vertical) | 1
WEIGHING MACHINE-ADULT | 1
STERCHER | 2
INVERTER | 6
DEFREEZER | 1
feetal heart monitor | 1
ILR | 14
Digital feetal doppler | 1
Phototherpy Unit | 3
Wheel Chair | 4
LABOUR TABLE | 3
GLASS BED STERLIZER | 1
Suction Machine(Electrcal) | 1
baby weighing Machine | 6
C-ARM | 2
OT LIGHT PORTABLE | 5
DRUG TROLLEY | 1
OXYGEN CYLINDER | 4
NEBULIZER | 1
FORMALIN CHAMBER | 1
PATIENT TROLLEY | 2
PULSE OXYMETER | 4
LYRANGOSCOPE | 2
SHADOW LAMP | 3
IFT THERAPHY UNIT | 1
ULTRASOUND THERAPHY UNIT | 1
HYDRO COLLATOR | 1
MUSCLE STIMULATOR | 1
TENS -4 CHANNEL | 1
SHORT WAVE DIATHERMY | 1
TRACTION UNIT WITH 4 FOLD BED | 1
EXERCISE THERAPHY UNIT | 1
INFRA RED LAMP | 1
WAX BATH | 1
SHOULDER WHEEL | 1
COMBINATION MICRODIATHERMY | 1
PARALLEL WALK | 1
IR-LAMP | 1
PATIENT BED | 121
Cautry Machine | 3
VENTILATOR | 1
DEFIBRILATOR | 3
IV STAND | 28
BED SIDE LOCKER | 81
NURSE CALL SYATEM | 15
I V STAND | 17
NURSE CALL SYSTEM | 48
Phototheraphy Unit | 13
Oxygen Concentator | 2
Syringe Infusion pump | 2
Suction Machine-Foot operated | 3
Suction Machine-Electrical | 3
MULTI PARA MONITOR | 1
BOYLES APPRATUS | 3
SURGICAL DIATHERMY | 2
MEDICINE TROLLEY | 2
OT TABLE | 7
EYE MICROSCOPE | 4
CR SYSTEM | 1
ULTRA SOUND MACHINE | 2
DRUG TROLLEY | 1
STERLISER | 5
AUTOCLAVE M/C | 3
Phaco machine | 1
Green laser with slit lamp | 1
AIR CONDITION | 9
DRILL MACHINE | 2
Suction Machine(Electrical) | 1
Binuclear Microscope | 3
needle destroyer | 22
X-RAY MACHINE | 7
BABY WEIGHING SCALE | 2
FOOT SUCTION MACHINE | 1
Neonatal Ventilator | 2
Intensive Care Incubator | 4
Multipara Monitor | 6
DOPPLER | 2
SUCTION MACHINE-ELECTRIC | 3
FOOT OPERATED | 3
INFANT RADIANT WARMER | 7
BABY CRADLE | 13
FOETAL DOPPLER | 4
STRECTER | 2
OT LIGHT Celing | 4
Needal Destroyer | 1
Autoclave machine | 6
BABY NEBULIZER | 1
SUCTION MACHINE | 26
BIOLER | 3
FETAL DOPPLER | 1
ELECTRIC NEEDLE DESTROYER | 9
MICROSCOPE | 8
WEIGHING MACHINE | 3
baby weighing M/c | 2
BABY TROLLY | 4
BABY WEIGH MACHINE | 1
AUTOCLAVE(VERTICLE) | 1
ELECTRIC NEEDLE ESTROYER | 1
STEAM STERLIZER | 5
TO LIGHT(SINGLE DOM) | 1
Needle Dstroyer | 1
CHLORIMETER | 1
AUTOCLAVE DRUM | 3
STERTCHER | 2
OPTHALMOSCOPE | 2
MOBILE OPERATING LAMP | 1
BABY INCUBATOR | 1
Open care System | 2
MOBILE OT LAMP | 4
STEAMSTERLIZER | 4
AUTOCLAVE-VERTICAL | 2
Nebulizer Baby | 4
SUCTION MACHINE(ELECTRIC) | 1
BP appratus | 48
BIONU.MICROSCOPE | 1
Autoclave(Semi) | 1
ILR and Defrizer | 1
Stethoscope | 8
PHOTOELECTRIC COLORIMETER | 1
Binoculars Microscope | 2
haemoglbino meter | 3
Glucometer | 3
BabyNebulizer | 1
STEHOSCOPE | 1
Foot suction m/c | 2
Centrifuge M/c | 2
Binocular microscope | 1
Refrigerator | 4
Suction m/c | 1
Boiler | 4
Dielected Tube Scaler | 1
ILR | 1
BLOOD BANK REFRIGRATOR | 2
A/C | 4
X-ray Machine(50mA) | 1
DENTAL CHAIR | 13
ELECTRIC NEEDLE DESTRYER | 1
PHOTO THERAPY UNIT2 | 2
SEMI AUTOCLAVE | 1
HOT PLATE | 3
ROTARY SHAKER | 2
ELECTRIC WEIGHING MACHINE | 1
INCUBATOR | 4
REFRIGRATOR | 2
OPTISEALER | 1
DENTAL X-RAY | 1
SLIT LAMP | 2
NON CONTRACT TONOMETER | 1
AUTO REFRACTOMETER | 1
KERATOMETER | 1
A-SCAN | 1
IN DIRECT OPTHALMOSCOPE | 2
KEROTMETER | 1
DIRECT OPTHALMSCOPE | 1
MICROSCOPE | 21
ELISA PLATE READER | 1
ELISA WASHER | 1
SEMI AUTO ANALYZER | 2
DISTILLATION PLANT | 1
VDRL ROTATOR | 2
HOT AIR OVEN | 1
AC | 2
HEAMOMETER | 1
HOT PLATE | 1
MICROTOME | 1
KNIFE SHARPNER | 1
AUTOCLAVE | 2
ELECTRIC BALANCE | 2
REFRIGRATOR | 5
WATER BATH | 2
SEMI AUTO ANALYSER | 2
STEM STERLIZER | 1
CENTRIFUGE MACHINE | 11
PC SYSYEM | 1
X-RAY MACHINE(300mA) | 1
STERLIZER | 4
BIONU. MICROSCOPE | 1
BP APRATUS | 2
BIONU. MICROCOPE | 3
DentalChair | 3
Radiant awrmer | 2
Open care warmer | 2
Suction Machine Electrical | 2
BP aaaratus | 4
HEAT CONVERTER | 1
FEETAL DOPPLER | 1
BPAppratus | 1